i.      Sludge and Grit Disposal

As part of the Application the City submitted [insert name document] for review by the Board.  The Report indicates that the WWTP will likely produce {insert background]

Following review by the Parties it was apparent that the management of the sludge which would be produced by the  treatment system is a significant outstanding issue. 
Both INAC and Environment Canada requested that the Applicant provide information concerning the planned methods of disposal for the primary and secondary sludges produced by the proposed WWTP.  Environment Canada noted that the report includes a provision for the incorporation of a grit removal system which could be implemented in the future, and requested that information regarding the ultimate disposal location for collected grit be provided.

INAC further requested that the Applicant clarify if the primary or secondary sludges produced by the proposed WWTP may be considered hazardous materials based on composition or pathogenicity, and that the Applicant include in this clarification a discussion of the criteria that will be applied in making this determination.  The NWB concurs with this request.

The Applicant is requested to provide to the NWB details of any Operations and Maintenance Plan (if we requested this earlier we should make reference to section and item number to indicated they can provide info in same document. that addresses the management of sludge to be produced by the proposed WWTP or a schedule for the delivery of same if said plan does not currently exist or is outdated.  The Applicant is further requested to provide to the NWB a detailed description of any additional facilities and/or infrastructure not currently contemplated by this application that will be required prior to the expiry of the license.  The NWB requests that the Applicant provide to the Board clarification as to whether the primary or secondary sludges produced by the proposed WWTP may be considered hazardous, and the evaluation criteria used in making this determination.
[for highlighted section make changes wording/format similar to previous section/comments]


