	[image: image1.jpg]Iqaluit
Ve N
-
NBEA‘




wclw5 kNoXs/z5

tt6v4f=4 $^)

wclw5, kNK5

X0A 0H0

scMstz G*^&H (&(_%^))

hv5g4f5 G*^&H (&(_%(@@

City of Iqaluit

Box 460

Iqaluit, Nunavut

X0A 0H0

Phone (867) 979-5600

Fax (867) 979-5922

Ville d’Iqaluit

C.P. 460

Iqaluit, Nunavut

X0A 0H0

Tél. (867) 979-5600

Télécop. (867) 979-5922

admin@city.iqaluit.nu.ca

www.iqaluit.nu.ca


	June 23,2009
Andrew Keim

INAC

Iqaluit,Nunavut

XOA OHO

Re : Decant of Landfill Detention Pond

The City of Iqaluit would like to inform Indian and Northern Affairs Canada of its intention to decant the Detention Pond at the West Fourty Landfill from Monday July

13,2009 up to and including Wednesday July 15,2009.

The planned decant is considered an emergency decant and this is the 15 day written notice required as per the City of Iqaluit Water License No.3AM-IQAO611 Part E Point 18 where written authorization from an Inspector is required.

This exercise is considered part of normal operations and maintenance of the landfill.

The Detention Pond will require decanting due to spring melt d allow for more freeboard in case weather conditions require it .The City of Iqaluit will take samples from the Detention Pond and will forward the results to the Inspector once they are received.
    Sincerely

   Steven Iyago

   Operations Superintendant

   Public Works

   City of Iqaluit

  Cc;Nunavut Water Board

       John Hussy,CAO




