## Richard Dwyer <richard.dwyer@nwb-oen.ca>

Licence No. 3BM-PAN1417 – Renewal Amendment Application 3AM-PAN----; Notice of Application and Invitation to Conduct Full Technical Review

FPP.CA / PPP.CA (DFO/MPO) <fisheriesprotection@dfo-mpo.gc.ca>	Fri, Jul 21, 2017 at 9:52 AM To: "licensing@nwb-oen.ca" <licensing@nwb-oen.ca>

Cc: "McCusker, Megan" <Megan.Mccusker@dfo-mpo.gc.ca> Dear Ms. Kharatyan,

## Subject:  Water Licence (Type A), Duval River, Municipality of Pangnirtung (17-HCAA- 00779)

The Fisheries Protection Program (the Program) of Fisheries and Oceans Canada received your Type A water licence renewal proposal which has been reviewed under the Fisheries Act and the Species at Risk Act.

Based on the information provided, your proposal has been identified as a project where a Fisheries Act Authorization is not required given that serious harm to fish can be avoided by following standard measures. Your project, as proposed, would not be considered to need an authorization from the Program under the Fisheries Act in order to proceed.  In order to comply with the Act, it is recommended that you follow our guidance tools which can be found at the following website (http://www.dfo-mpo.gc.ca/pnw-ppe/measures-mesures/measures-mesures-eng.html). It remains your responsibility to meet the requirements of other federal, provincial and municipal agencies.

Following the hydrology study that is to be conducted, should the proposed water taking be likely to result in a reduction in either the instantaneous flow or wetted width of Duval River, further advice from DFO should be sought.

Ans.: Hamlet is using a pump of capacity 31.67L/s. The mean flow is 5.2m3/s and 10% of the means flow is

0.52m3/s=520L/s. The extraction rate is less than 10% of the mean flow rate which is totally safe. Therefore impact

on the river flow is very minimal. However the Nunavut wide final hydrology study is attached.

Should your plans change or if you have omitted some information in your proposal such that your proposal meets the criteria for a site specific review, as described on our website (www.dfo-mpo.gc.ca/pnw-ppe/index-eng.html), you should submit the request for review form that is also available on the website.

Should you have any questions or concerns about the compliance of your proposal with the Fisheries Act, and/or those prohibitions of the Species at Risk Act that apply to listed aquatic species, you may wish to engage an environmental professional familiar with measures to avoid impacts to fish and fish habitat (www.dfo-mpo.gc.ca/pnw-ppe/env-pro- eng.html).

Yours sincerely,

Sara Eddy

Sara Eddy

# 905 336-4535 | Fax/télécopieur: 905 336-6285

# Sara.Eddy@dfo-mpo.gc.ca

A/Team Leader, Triage and Planning

Fisheries Protection Program | Programme de Protection des Pêches Central and Arctic Region | Région du Centre et de l'Arctique

Fisheries and Oceans Canada | 867 Lakeshore Road, Burlington ON  L7S 1A1 Pêches et Océans Canada | 867, ch. Lakeshore, Burlington ON  L7S 1A1 Government of Canada | Gouvernement du Canada

---------- Forwarded message ----------

From: Richard Dwyer <richard.dwyer@nwb-oen.ca> Date: Fri, Jun 9, 2017 at 4:49 PM

Subject: Licence No. 3BM-PAN1417 – Renewal Amendment Application 3AM-PAN----; Notice of Application and Invitation to Conduct Full Technical Review

To: broy@gov.nu.ca

Cc: Licensing Department <licensing@nwb-oen.ca> Good afternoon,

Please see attached pertaining to Licence No. 3BM-PAN1417 – Renewal Amendment Application 3AM-PAN----; Notice of Application and Invitation to Conduct Full Technical Review.

Regards,

Richard