## Sheet1
Name of the Community Water System kNos2 xtz5__________________________________________
|  | Date s9lu________________________________ |  |  | To tr9lA________________________________________
Operator xsM5tp___________________________
| Water Truck # |  | Monday N[Z0/s | Tuesday xw2]X | Wednesday WzJx | Thursday et6]f | Friday s9lgw8N | Saturday y?]b3F4 | Sunday ]N]ta/
Time c{yjx6t9lA5
Water Extraction Volume (Litre) from Lake or |  | First Reading yK9o6
Reservoir (Current) cktQ wmw/6X5 ]obi4 |  | Second Reading ra9o6
Flow Rate of Water Pump cktQ5 w7u6hw?
Chlorine Tank Level dW3DC]Mq/stc3Fs2
wmc3iz5
Chlorine Pump Stroke Setting
dW3DC]Mq/s7u u9lx3F4
Free Chlorine (mg/L) Between 0.2 and 0.5
dW3DC]Mq/stcq (uoAx7/]ob)
xf8izi 0.2 x7ml 0.5
Total Chlorine (mg/L) Greater than Free Chlorine
dW3DC]Mq/st5 (uoAx7/]ob)
dt8i6nsli
Pump Room
Building Temperature (oC) |  | u9lx3F4
w[]l2 s6]fiz |  | Generator Room
xsMstc3F4
Heat Trace Power On (Y or N) |  | Pump Room
s6]fnstz wfm1m]zb |  | u9lx3F4
(]w s=?]l1i ]]x4v) |  | Truck Fill
kNystk5
Operators Initials xdts2 xtos3Fz
Comments scsy4nw5: (Identify and make note of any problem / NlNw3lQ5 scsyElQ9l xvsqosD]]tnw5)