## Slide 1: 3AM-PAN- (3BM-PAN1417 renewal) Type “A” Municipal Water Licence – Amendment Application, Hamlet of Pangnirtung, NU Public Hearing
.
March 21-22, 2018

## Slide 2: Public Hearing
3
3AM-PAN-(3BM-PAN1417 renewal), Type “A” Municipal Water Licence-Amendment Application, Hamlet of Pangnirtung, NU
Licensee: Ron Ladd, Senior administrative Officer, Hamlet of Pangnirtung Licence Technical Representative: Bhabesh Roy, M.A.Sc., P.Eng.; Municipal Engineer, GN-CGS Technical support: Stephen Bliss, M.Sc.E., P.Eng., Senior Process Engineer, EXP Services Inc.

## Slide 3: Public Hearing
3
3AM-PAN-(3BM-PAN1417 renewal), Type “A” Municipal Water Licence-Amendment Application, Hamlet of Pangnirtung, NU
The existing Water licence covers three Environmental facilities: Water Supply System. Wastewater Treatment. Solid Waste Management.

## Slide 4: Public Hearing
3
3AM-PAN-(3BM-PAN1417 renewal), Type “A” Municipal Water Licence-Amendment Application, Hamlet of Pangnirtung, NU
Water Supply System: - Water Truck Filling Station; - Water Storage Reservoir; and, - The Duval River as the Potable Water Source.

## Slide 5
Lined Water Storage Reservoir
Capacity=120,000 cubic meters
Water Treatment Plant
(WTP)
Diesel pump
Duval River
Intake pipe
Diesel Pump
Submersible pump
WTFS
Duval River
1m free board
Cross Section
Plan
Filling Truck
Screen
Schematic of Water Treatment System