NUNAVUT WATER BOARD

TYPE "A" LICENCE NO. 3AM-RUT---, RENEWAL AND AMENDMENT APPLICATION

PUBLIC HEARING

Resolute Bay, Nunavut October 27, 2020

1	TABLE OF CONTENTS

2

3	Description	Page

4

5	October 27, 2020	Morning Session	8

- Opening Remarks	8

- Roll Call	22

- TONY WHALEN, DARYL BURKE, BHABESH ROY, Affirmed	29

- Via Teleconference

- ERIC BELL, Sworn	30

- JANISE IDLOUT, Affirmed	30

- Presentation by Government of Nunavut, Community	31

- Government Services (Type "A" Water Licence) 14

15	October 27, 2020	Afternoon Session	60

- Crown-Indigenous Relations and Northern Affairs	60

- Questions Government of Nunavut, Community

- Government Services

- Environment and Climate Change Canada Questions	69

- Government of Nunavut, Community Government

- Services

- Environment and Climate Change Canada Questions	69

- Government of Nunavut, Community Government

- Services

- Nunavut Water Board Staff Questions Environment	74

- and Climate Change Canada

- Nunavut Water Board Questions the Government of	91

- Nunavut, Community Government Services

- GODWIN OKONKWO, SARAH FORTE, Affirmed	95

- Presentation by Crown-Indigenous Relations and	96

- Northern Affairs Canada

- Comment by the Government of Nunavut, Community	110

- Government Services

- ANNA GRAHAM, MEAGAN TOBIN, Affirmed	113

9

10	October 27, 2020	Evening Session	121

- Community Session	121

- Opening Remarks (Community Session)	121

- Roll Call	126

- Presentation by the Nunavut Water Board Staff	130

- (Community Session)

- Presentation by Government of Nunavut, Community	140

- Government Services (Community Session)

- Nunavut Water Board Questions the Community	154

- (Community Session)

- The Community Questions the Government of Nunavut,156

- Government Community Services (Community Session)

- Presentation By Crown-Indigenous Relations and	167

- Northern Affairs (Community Session)

- The Community Questions Crown-Indigenous and	173

- Northern Affairs Canada (Community Session)

- Presentation by Environment and Climate Change	176

- Canada (Community Session)

- Nunavut Water Board Staff Questions Environment	180

- and Climate Change Canada (Community Session)

- Closing Remarks (Community Session)	182

- Community Session Concluded	183

- Discussion	183

- Response to Deferred Questions by Government of	186

- Nunavut, Community and Government Services

- Closing Remarks by Crown-Indigenous and Northern	189

- Affairs Canada

- Closing Remarks by Environment and Climate Change 190

- Canada

- Closing Remarks by Government of Nunavut,	190

| 14 | Community and Government Services |  |  |  |
| --- | --- | --- | --- | --- |
| 15 | Closing Remarks by the Chair |  |  | 191 |
| 16 | Certificate of Transcript |  |  | 194 |
| 17 |  |  |  |  |
| 18 |  |  |  |  |
| 19 | EXHIBITS |  |  |  |
| 20 | Description |  |  | Page |
| 21 |  |  |  |  |
| 22 | EXHIBIT 1 - PowerPoint presentation |  |  | 30 |
| 23 | for Type “A” water licence application | of | the |  |

- Resolute Bay utilidor system, Nunavut Water Board

- public hearing, October 27, 2020 (English) 26

- EXHIBIT 2 - PowerPoint presentation	30

- for Type “A” water licence application of the

- Resolute Bay utilidor system, Nunavut Water Board

- public hearing, October 27, 2020 (Inuktitut)

- EXHIBIT 3 - Correspondence from Bhabesh Roy to	30

- Richard Dwyer dated August 4, 2020, Re: Seeking

- approval for the renewal of the Type "A" water

- licence of the Resolute Bay utilidor system for 20

- years term (English)

- EXHIBIT 4 - Executive summary of the utilidor	31

- system (water and sewage treatment facilities) of

- the Municipality of Resolute Bay (English)

- EXHIBIT 5 - Executive summary of the utilidor	31

- system (water and sewage treatment facilities) of

- the Municipality of Resolute Bay (Inuktitut)

- EXHIBIT 6 - Hard copy executive summary of the	31

- utilidor system (water and sewage treatment

- facilities) of the Municipality of Resolute Bay

- (French)

- EXHIBIT 7 - Hamlet of Resolute Bay utilidor	96

- renewal application for Water Licence 3AM-RUT---

- (English/Inuktitut)

- EXHIBIT 8 - Summary of Crown-Indigenous and	96

- Northern Affairs Canada review of Water Licence

- Application 3AM-RUT	(English/French/Inuktitut)

26

- EXHIBIT 9 - PowerPoint presentation from	113

- Environment and Climate Change Canada to the

- Nunavut Water Board respecting the Resolute Bay

- Type "A" Water Licence Renewal and Amendment

- (English)

- EXHIBIT 10 - PowerPoint presentation from	114

- Environment and Climate Change Canada to the

- Nunavut Water Board respecting the Resolute Bay

- Type "A" Water Licence Renewal and Amendment

- (Inuktitut)

- EXHIBIT 11 - Nunavut Water Board community session184

- presentation regarding a new Type “A” Water

- Licence 3AM-RUT--- Hamlet of Resolute Bay utilidor

- system (English/Inuktitut)

- EXHIBIT 12 - GN-CGS community session PowerPoint	184

- presentation for the Type "A" Water Licence

- application of the Resolute Bay utilidor system

- (English)

- EXHIBIT 13 - Electronic copy of the	184

- Resolute bleed water clarification memo

- dated October 27, 2020 (English)

- EXHIBIT 14 - Electronic copy of email from Daryl	185

- Burke sent October 27, 2020, at 5:29 PM

- to Roy, Bhabesh, Subject: RE: Outstanding Issues

- for RB WLs (English) 26

- Proceedings taken at Resolute Bay Community Gymnasium,

- Resolute Bay, Nunavut.

3

4	October 27, 2020

5

- NUNAVUT WATER BOARD

- L. Toomasie	Chair of Hearing

- R. Mrazek	Panel Member

- S. Sowdlooapik	Panel Member 10

- NUNAVUT WATER BOARD STAFF

- K. Kharatyan	Director of Technical Services

- S. Autut	Executive Director

- S. Kuflevskiy	Technical Advisor

- R. Ikkutisluk	Licensing Administrator

- T. Meadows	Legal Counsel to the Board 17

- INTERVENERS

- Government of Nunavut, Community and Government

- Services

- B. Roy (Remotely)	Municipal Planning Engineer

- J. Idlout	Municipal Technical Officer

- E. Bell	Senior Engineer of EXP

- S. Piercey	CAO of the Municipality of

- Resolute Bay

- T. Whalen (Remotely)	Senior Engineer, EXP

1	D. Burke (Remotely)	Senior Engineer, EXP 2

- Crown-Indigenous Relations and Northern Affairs Canada

- G. Okonkwo	Manager Water Resources

- S. Forte	Water Management Specialist 6

- Environment and Climate Change Canada

- A. Graham (Remotely)	Environmental Assessment

- Coordinator

- M. Tobin (Remotely)	Water Quality Expert 11

- INTERPRETERS/TRANSLATORS

- T. Qitsualik	Language Translator 14

15	S. Anderson, CSR(A)	Official Court Reporter 16

17	R. Dempster	Sound Technician

18

- (PROCEEDINGS COMMENCED AT 9:20 AM)

- Opening remarks

- THE CHAIR:	Thank you.	Good morning.	And

- we're now start -- proceed to the public hearing here

- in Resolute Bay.	Welcome to our public hearing for

- Type "A" water licence application submitted by

- Government of Nunavut, Community and Government Service

- Department (GN-CGS).	This application is seeking

- authorization to renew and amend [sic] the expired

- Type "B" Water Licence No. 3BM-RUT1520 with a Type "A"

- Water Licence No. 3AM-RUT---.

- My name is Lootie Toomasie, and I'm the chairman

- of the Nunavut Water Board and the hearing chair for

- today's public hearing.	Over the next two days, the

- Nunavut Water Board will be considering the GN-CGS

- application to authorize activities associated with

- continued use of water and disposal of sewage through

- the utilidor system at the hamlet of Resolute Bay.	The

- Applicant initially requested a licence term of

- 10 years until 2030 but later updated it to 20 years to

- address the recommendation received from CIRNAC during

- the technical meeting.

- I would like to also note that some parties are

- joining the public hearing via Zoom conference call, so

- I would like to ask those participants who are calling

- in to mute your microphone to avoid any unnecessary

- noises.

- Before we proceed with the hearing, please let us

- begin with a prayer.	Let us stand and pray.

- Opening prayer

- THE CHAIR:	On behalf of the Nunavut Water

- Board, I welcome you to the hamlet of Resolute Bay.

- Now, to provide you with some background and set the

- stage for the hearing, the Nunavut Water Board, which I

- shall refer to as "the Board" or "NWB", is an

- institution of public government created under

- Article 13 of the agreement between the Inuit of the

- Nunavut settlement area and Her Majesty the Queen in

- Right of Canada, Nunavut Agreement.	The NWB is

- responsible for the use, management, and regulation of

- freshwater in the Nunavut settlement area.

- The purpose of this public hearing is to review an

- application filed by the Government of Nunavut,

- Community and Government Services Department -- I may

- refer to them as "GN-CGS" or "the Applicant" -- for a

- renewal and amendment of the existing Type "B" Water

- Licence No. 3BM-RUT1250 [sic], which expired March 29,

- 2020, as a Type "A" Water Licence No. 3AM-RUT--- under

- the Nunavut Waters and Nunavut Surface Rights Tribunal

- Act to authorize the continued use of water and deposit

- of sewage through the utilidor system at the hamlet of

- Resolute Bay.

- Under Article 13, Section 13.3.6, of the Nunavut

- Agreement and Section 29 of the Nunavut Waters and

- Nunavut Surface Rights Tribunal Act, the Board has

- delegated its power to dispose of all matters related

- to the processing of the GN-CGS's renewal and amendment

- application, including the conduct of this public

- hearing, to a Panel of the Board, which the Board

- refers to as the "Resolute Bay Panel" or "Panel P21".

- I will be chairing this Panel, and with me today,

- as members of the Panel, are the Board members:

- Ross Mrazek on my left, and to my right, Sakiasie

- Sowdlooapik.	Several staff members, who have

- contributed to the Board's administration and technical

- services, technical review of the application, are

- present, along with legal counsel to the Board.	I ask

- them to wave when I say their names:	Stephanie Autut,

- executive director; Karén Kharatyan, director of

- technical services; Sergey Kuflevskiy, technical

- advisor; Robin Ikkutisluk, licensing administrator; and

- Teresa Meadows from Meadow's Law, legal counsel to the

- Board.

- In addition, we have two interpreters available

- for simultaneous interpretation throughout the hearing,

- Tapitia Qitsualik, who is originally from Gjoa Haven,

- and Martha's not -- I think she's not here yet, but

- she'll join us today -- who is from Resolute Bay.

- For audio support, we have Ryan Dempster from

- PIDO.	If you experience any difficulty with your

- headsets, Ryan is able to provide assistance.

- To ensure an accurate record of the proceeding is

- kept, we have with us a court reporter, Sara Anderson,

- from Dicta Court Reporting Incorporated.

- Before I move on to an overview of this

- application and what to expect today during this public

- hearing, there are some important housekeeping items

- for everyone here.	First of all, I would like to

- remind everybody that we are currently in the middle of

- the global pandemic, so we'll be discussing safety

- measures on an ongoing basis throughout this meeting.

- As everyone can appreciate, due to the public health

- restrictions associated with the COVID-19 pandemic, our

- proceeding may look different than usual as we have had

- to modify our normal plans to keep us all safe and in

- compliance with local health requirements.

- Today, to provide our health and safety briefing,

- we have Mavis Manuk.	Is she here?	She's not here yet,

- but she'll probably join us.	Oh, okay.	Legal counsel,

- Teresa Meadows will take the -- take the floor.

- Go ahead, Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So as we all realize, we are in fairly exceptional

- circumstances as we embark on the public hearing for

- this application.	You will notice that as you come in

- the door we have a sign-in desk.	At that sign-in desk,

- before anyone can enter the hall, we are taking

- peoples' temperature, and we are getting them to fill

- out the health screening questionnaire.	Anyone who is

- presenting symptoms that would be similar to

- COVID-19 -- so anyone who has a fever, a runny nose, a

- sore throat -- will be asked not to enter the venue.

- You will notice that some people, when we can't

- maintain that distance of 6 feet, are putting masks on

- so that we can protect each other.	We also, at the

- back table, have hand sanitizer and masks available if

- anyone did not bring a mask with them but they would

- like to wear a mask.

- Once inside the hall here, you'll notice that the

- chairs have little 'X's underneath them.	That is where

- the chair must be placed so that it maintains that

- distance.	Please don't move your chair around.

- We also have refreshments on the side wall.	We

- ask that once you're in the venue, you come in through

- the entrance, and to go to the washrooms or to go to

- the -- where the snacks are, if you can use the far

- exit so that we're kind of one-way traffic so that we

- minimize the amount of time where we're in close

- proximity.	It would be appreciated.

- The Board has complied with all of the public

- health orders.	We have protocols in place, and the

- chief public health officer for Nunavut has reviewed

- the Board's protocols for these meetings and approved

- the Board's implementation of them.	If anyone at any

- time has concerns about the protocols that are in place

- or questions about the protocols that are in place, we

- invite you to see either Stephanie or I, and we can

- assist you in knowing what measures the Board is taking

- in more detail.

- For the people on the Zoom call, because this is

- the first time that the Board has conducted a meeting

- in this way, we ask that you identify yourself before

- you speak.	The court reporter cannot always see who is

- actually speaking on the Zoom call, so it's very

- important for everyone here to identify themselves

- before they speak.

- We also note that we are on a bit of a delay in

- terms of the video feed and the audio feed to the

- people who are on the Zoom call.	In the interest of

- both our interpreter, our court reporter, and the

- people in the room, we ask that you allow some time in

- between your remarks so that the interpreter can -- can

- hear what you said and interpret it for the people in

- the room and so that we're not talking over each other

- where we're not able to actually understand and hear

- what anyone on the Zoom call is saying.

- We very much appreciate everyone being willing to

- come out and join us today.	There are gathering

- limits -- indoor gathering limits in place in Nunavut,

- and so the maximum capacity of this building is

- 75 percent of the rated capacity, so we will have

- people monitoring how many community members are here

- so that we can make sure that we do not exceed the

- capacity of the building.

- And with that, Mr. Chair, those are the, sort of,

- rundown of the changes to the Board's modification of

- process to reflect COVID-19.	We really appreciate

- everyone doing their best, being patient and flexible,

- as we work through some new procedures for the Board.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you, Teresa.

- Additionally, I would like to ask everybody not

- to -- not to approach Sara Anderson, the court

- reporter, and Ross Mrazek, the Board member, directly

- since they travelled here from outside of Nunavut.

- Instead, please direct your questions to Teresa, and

- she will relay them to Sara and Ross.

- Second, I would like to ask, again, those

- participants who are calling in via Zoom to mute their

- microphone to avoid any unnecessary noises.	I would

- also like to remind everyone to please turn your cell

- phones off or put them on silent before you begin --

- before we begin.	So if you have -- if you have done

- so, you may -- put your mute -- put it on mute or so --

- or turn it off.

- Additionally, as indicated earlier, there is

- interpreter -- interpretation available throughout the

- hearing in English and Inuktitut.	Earpieces can be

- obtained from the table located just by the door as you

- enter this room.	Channel 1 broadcasts English while

- Channel 2 broadcasts Inuktitut.	When you are speaking

- into the microphone, please make sure you have turned

- it -- your earpieces off to prevent audio feedback or

- interference with the speakers.

- Thirdly, I would like to ask everybody, including

- the Applicant, interveners, and members of the public,

- to sign in and leave your contact information on the

- sheets located at the table by the entrance.

- Additionally, there are COVID-19 screening

- questionnaire forms available.	Please fill them out

- too.	This information is required by the Department of

- Health for contact tracing purposes, so we will

- appreciate your help in making sure this information is

- provided.

- Also, the agenda for the public hearing and the

- community session are available at the back.	Please

- pick one up and follow along with us as we proceed.

- The washrooms are located at the -- outside the

- hall by -- by -- by the coffee area on the side.	There

- will be snack and refreshment brought in -- brought in

- throughout the hearing during breaks, and you are

- welcome to help yourself throughout the day.	Please

- remember to wash your hands and use hand sanitizer

- prior to touching the snacks.	Also, the snacks will be

- individually packed, so please try to make -- try to

- take only the item you are going to consume.

- Finally, to assist both our court reporter and

- interpreters, please wait to have a microphone before

- you speak, then state your name, speak clearly and

- slowly, and avoid the use of abbreviation.	We

- appreciate your assistance in making sure your comments

- are recorded and the Board's record of proceeding is

- accurate and complete.

- Is there media?	Any present?	No.	Okay.

- Since the Board cannot comment on pending matters,

- either by confirming or denying accuracy of statements

- by others to the media, the Board would appreciate if

- all parties refrain from making any comment that may

- imply a certain action or decision by the Board.

- Following the close of the record of this public

- hearing, the Board's decision and recommendation with

- respect to the application will be communicated in a

- publicly available decision report.	Until that time,

- the Board reminds everyone that the Panel members and

- Board staff will not discuss the substance of the

- hearing or the matters before the Board with any of the

- parties or the media.

- If you have a question regarding the Board and its

- practice or procedures, please speak with the executive

- director, and she will assist you.

- Prior to identifying and introducing all the

  - parties in attendance today, I will proceed -- I will

  - provide, sorry -- I will provide a brief description of

  - the application that is before the Board.	The

  - application we'll be discussing today is for renewal

  - and amendment of the existing Type "B" Water Licence

  - No. 3BM-RUT1250 [sic] as a Type "A" Water Licence

  - No. 3AM-RUT--- requested by the Government of Nunavut,

  - Community and Government Services Department.	The

  - scope of the application is generally as follows:

  - Replacement of the Type "B" Licence Number 3BM-RUT1520,

  - expired as of March 29, 2020, with a new Type "A"

  - licence for a term of 20 years; storage and use of up

  - to 216,528 cubic metres of freshwater annually; the

  - water will be extracted from Char Lake; continued

  - management of utilidor system operated by the GN-CGS

  - through ATCO.

  - Now, I'm going to provide you with a brief

  - overview of the procedural history for the application

  - that is before the Board, which captures only the major

  - procedural steps.

21	January 22, 2020:	NWB received a renewal,

22	amendment application for GN-CGS.

23	January 23 to February 28, 2020:	NWB conducted an

- internal preliminary review of the application, GN-CGS

- submitted missing documents.

26	February 28, 2020:	NWB distributed the

- application for a preliminary technical assessment and

- completeness check with a deadline of March 20, 2020,

- and later extended until March 26, 2020.

4	March 20 to 26, 2020:	Preliminary review comments

5	were received from CIRNAC and ECCC.

6	March 27 to April 22, 2020:	Preliminary review

- were received -- sorry.	I missed -- preliminary

- comments from parties were addressed by the Applicant.

9	March 29, 2020:	The previous Type "B" water

10	licence governing the undertaking expired.

11	April 29, 2020:	NWB issued correspondence

- requesting that parties conduct full technical review

- of the application by June 12, 2020.

14	June 12, 2020:	NWB received technical review

15	comments from CIRNA and ECCC.

16	June 17, 2020:	NWB issued correspondence

- requesting that the Applicant respond to interveners'

- comments by June 22, 2020.

19	June 29, 2020:	NWB reviewed and distributed the

- GN-CGS's response to interveners' comments and

- recommendations.

22	June 29, 2020:	NWB distributed the draft agenda

- and correspondence to confirm that NWB would hold a

- technical meeting and prehearing conference for the

- file on July 14 and 15, 2020, via teleconference.

26	July 14, 2020:	NWB hosts the technical meeting

- and prehearing conference via teleconference and

- completed the both -- completed the -- both TM and PHC

- in a single day.

4	July 27, 2020:	NWB issued a prehearing conference

- decision in respect of the application, providing a

- list of commitments, timelines for the submission of

- additional documentation, a list of issues to be

- considered at this public hearing, and a tentative

- timeline for this in-person public hearing and

- community session; and ...

11	August 21, 2020:	NWB issued formal notice of this

- public hearing as required under the Nunavut Waters and

- Nunavut Surface Rights Tribunal Act.

14	October 8, 2020:	NWB issued a public hearing

- update correspondence with draft agenda for this public

- hearing and community session.

17	October 20, 2020:	NWB distributed the final

- agenda for this public hearing and community session.

- Complete details on all submissions received in

- relation to the application and key procedural steps

- are available on the NWB's FTP site.	If you need any

- assistance finding or reviewing any of the

- documentation files on the site, please check with our

- licensing administrator, Robin Ikkutisluk, at the

- table, and she will help you get access to the

- document.

  - I will now move on to a list of the issues to be

  - addressed at this hearing as identified during the

  - technical meeting and prehearing conference for this

  - file.

  - The scope of the licence:	Amendment to original

  - scope of Licence No. 3BM-RUT1520 to reflect

  - decommissioning at the various facilities (old dump

  - site -- oh, sorry, old pump station, blue building,

  - macerator unit building, old intake line, outfall line)

  - and construction/decommissioning of new wastewater

  - treatment plant, new outfall, collection point and

  - improvement to utilidor, and exclusions of the sewage

  - lagoon at the airport.

  - The terms of licence:	10 years -- 10-year term

  - originally requested but later amended to 20-year term.

  - Compliance:	Status of outstanding compliance

  - obligations under Licence No. 3BM-RUT1520, wastewater

  - effluent quality criteria in -- waste facilities.

  - Water supply:	Quantity of water requested, water

  - pumping capacity of new pump station, Char Lake as

  - water source and its capacity to handle increased water

  - use.

  - Waste management.

  - Wastewater treatment:	New wastewater treatment

  - plant, WWTP; decommissioning of macerator --

  - macerator -- sorry -- unit building and the outfall

- pipe.

- Management plans and reports:	Environmental

- plan -- management plan; spill contingency plan;

- quality assurance/quality control plan; operation and

- maintenance (O&M) manual, including updated O&M manual

- for water supply facility; timing of approval of plans.

- Monitoring program:	Compliance with sampling

- requirements; modification and required updates to

- sampling methods, sampling points; bioassay effluent

- testing; amendments; new requirements.

- Closure and Reclamation Planning:	Decommissioning

- and reclamation of old pump station, blue building;

- macerator unit building; and old intake line/outfall

- line.

- So now that I have given you the background to the

- renewal and amendment application we will be discussing

- throughout this public hearing and community session,

- I would like to turn to Item 4 on the agenda, the

- instruction of the Applicant and interveners

- participating in this public hearing.

- I will now ask -- I will now ask that the

- Applicant, GN-CGS, introduce their representative.

- Go ahead.

- Roll Call

- MR. BELL:	Thank you very much,

- Mr. Chairman.

- My name is Eric Bell, and I'm here with Janise,

- and we are representing, in the person, CGS.

- Bhabesh Roy is our lead liaison on this, and he is on

- the Zoom call, so perhaps now Bhabesh could give us a

- breakdown of how his team is working.

- THE CHAIR:	Thank you.

- I will now go to the local associations and

- representative interveners, intervening parties, to

- introduce -- okay.	Just hold on.

- Go ahead, Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	I

- believe that Mr. Roy is on the -- on the Zoom call and

- is going to introduce the people that are on the Zoom

- call for the Government of Nunavut, Community

- Government Services.

- Thank you, Mr. Chair.

- THE CHAIR:	Okay.	Thank you.	Thank you

- for the reminder.	Yeah.	I'm not used to this, so I

- keep forgetting.	All right.	I already forgot one.

- Okay.	Go ahead.

- MS. AUTUT:	Yeah.	Thank you, Mr. Chair.

- Bhabesh, we're going to stop you.	I believe your

- microphone may be on mute, so if you can make sure that

- you're unmuted at your end, then we can hear you.	We

- are still unable to hear you.

- We are still unable to hear you.	Stephanie Autut,

- Nunavut Water Board.

- MR. DEMPSTER:	If you could maybe unplug your

- headset and change the audio for your microphone.	If

- you go down to the little microphone on the left-hand

- side, you can pull up the pop-up and change it just to

- your -- your -- same as system here, your integrated

- audio.	You can also -- as an alternative, you can just

- dial the phone number on the link in the email and call

- in.	Yeah.	If you go to your bottom left-hand side of

- the Zoom screen ...

- THE CHAIR:	Okay.	Give us -- to -- to

- correct some -- some of the problem here and -- and

- something -- give us a 15-minute break.

- MS. AUTUT:	So as the Chair has indicated,

- we are going to take a short break.	We do ask anyone

- that is heading out to the refreshment table to use the

- proper exit and to maintain a -- 6 foot between each

- other as you proceed down the refreshment table.

- Thank you.

- (ADJOURNMENT)

- MR. ROY:	So we can start now?

- MR. DEMPSTER:	Correct.

- MR. ROY:	Okay.

- Thank you, Mr. Chairman, to give us the

- opportunity for -- to attend this meeting.	My name is

- Bhagesh Roy.	I'm the GN representative and licensee

- and main contract of this file.	In my team, I am being

- assisted by Janis Idlout, who is our municipal

- technical officer in my office.	I have a big team in

- this meeting.

- Some are physically attending; some are partially.

- Physically attended, Steve Piercey, who is the CEO of

- the Municipality of Resolute Bay.	Municipality is also

- part of this included operation.	He is also part of my

- team.

- Also, Eric Bell, who is the senior engineer of

- EXP, who is physically in this meeting, who is

- assisting me for this entire meeting.

- Beside that, I have Tony Whalen, who is the senior

- engineer of EXP, who is remotely attending this call.

- Also, Daryl Burke, who is also senior engineer,

- remotely attending to support the -- my licence --

- licence application process.

- Now, these are the team members:	two from sole GN

- office; one from municipality, CAO; and three from EXP.

- Mr. Chairman, I just want to let you know that our

- IT -- GN IT told me that Zoom is not friendly to the GN

- IT system.	So it means -- I'm outside of the GN

- network; that's why I'm getting to the system.	But if

- I was in the GN network, I could not -- into the Zoom

- system.	Just let you know in future meetings.

- Thank you, Mr. Chairman.	So these are the parties

  - working together with me to support the licensing

  - process and the meeting today and tomorrow.	Thank you.

  - THE CHAIR:	Thank you.

  - Now we'll proceed with the interveners and local

  - representative.

  - I'd like to call Crown-Indigenous Relations and

  - Northern Affairs, who is here in person and will be

  - providing a formal presentation.	Please have your --

  - have your introduction.

  - MR. OKONKWO:	Hello.	Thank you, Mr. Chair.

  - My name is Godwin Okonkwo.	I'm the manager water

  - resources with Crown-Indigenous Relations and Northern

  - Affairs Canada.	And with me here is Sarah, who's lead

  - of the file, but I'll let her introduce herself.

  - Thank you.

  - MS. FORTE:	Hello.	My name is Sarah

  - Forte, and I'm water management specialist with

  - Crown-Indigenous Relations and Northern Affairs, and

  - I've been working on this file.

  - THE CHAIR:	Thank you.

  - Ryan, you want to address something?

  - Now call the Environment and Climate Change Canada

  - who is joining us over teleconference and will be

  - providing a formal presentation.

  - MS. GRAHAM:	Anna Graham, Environment and

  - Climate Change Canada.	Can everyone hear me?

- THE CHAIR:	Yeah, we can hear you.

- MS. GRAHAM:	Okay.	Thank you.	Thank you.

- I am the environmental assessment coordinator for

- this project, and with me on Zoom today is Meagan

- Tobin, our water quality expert on this project.

- THE CHAIR:	Okay.	Thank you.

- Is there any other interveners who would like to

- speak?	Please identify yourself and introduce

- yourself -- your representative.	Okay.	I take

- that ...

- It is our tradition to give respect to all the

- elders; therefore, at any time during the proceeding an

- Elder may speak about the application that is before

- the Board.	I just ask that any Elder wanting to speak

- about the application wait until the Board staff can

- get you a microphone so that we can ensure we have a

- complete record of what you have to say.

- Are there any members of the general public who

- would like to identify themselves and make a formal

- request to speak to the Board about -- during this

- public hearing?

- I also want to mention any community member who

- wish to ask question or provide comments to the Board

- about this application will also have an opportunity to

- do so tonight during the community session starting at

- 7 PM.

- Are there any representative from agencies,

- association, et cetera, who have not submit

- intervention but would like to speak?

- I will now turn to getting identification of any

- motion or objection to the application that is before

- the Board.	We're not suspecting any motion, but --

- okay.	Okay.

- Seeing none, we will now proceed with Item 8 of

- the agenda, the presentation by the application -- by

- the Applicant.	Sorry.

- Applicant, go ahead.

- MR. BELL:	Thank you very much,

- Mr. Chairman.	The first part of the presentation will

- be presented by Mr. Roy.

- THE CHAIR:	Just hold on, Applicant.

- Sorry.	Go ahead.

- MS. MEADOWS:	Thank you, Mr. Chair.

- Teresa Meadows, legal counsel for the Nunavut

- Water Board.	Mr. Chair, there's a number of procedural

- matters that I have before the Applicant can make their

- presentation.

- First and foremost, I will require that the -- the

- parties who will be presenting and providing evidence

- on behalf of the Applicant, I will ask now that they be

- sworn in or affirmed.	So if I can have the witnesses

- please state and spell their name for the record,

- please.

- MR. BELL:	I will go first.	My name is

- Eric Bell, E-R-I-C B-E-L-L.

- MS. IDLOUT:	Hi.	I'm Janise Idlout,

- J-A-N-I-S-E I-D-L-O-U-T.	Thank you.

- MS. MEADOWS:	And I believe you have someone

- on the phone as well -- or several people on the phone.

- If I can have those -- or on Zoom.	If I can have those

- witnesses please state and spell their name for the

- record, please.

- MR. WHALEN:	Yeah.	Tony Whalen.

- T-O-N-Y W-H-A-L-E-N.

- MR. BURKE:	Also Daryl Burke, D-A-R-Y-L

- B-U-R-K-E.

- MS. AUTUT:	Stephanie Autut with the

- Board.

- Bhabesh, I believe you were on mute, but as a

- witness to this application, you will need to identify

- yourself and spell your name, please.	Bhabesh, we are

- unable to hear you.	If you can unmute your phone,

- please.

- MR. ROY:	Bhabesh Roy.	B-H-A-B-E-S-H.

- Last name is R-O-Y.

- MS. MEADOWS:	Thank you.	If I can have the

- witnesses who are on Zoom and on the phone ...

- TONY WHALEN, DARYL BURKE, BHABESH ROY, Affirmed Via

- Teleconference

- ERIC BELL, Sworn

- JANISE IDLOUT, Affirmed

- MS. MEADOWS:	Thank you.	Teresa Meadows,

- legal counsel for the Nunavut Water Board.

- Mr. Chair, I have six exhibits which consist of

- the presentation materials about to be presented by the

- Applicant in English and Inuktitut.	I also have their

- summary statements that are in several languages, and I

- also have a statement -- a letter that the Applicant

- provided to the Nunavut Water Board, and I propose to

- mark those as the first six exhibits in this public

- hearing.

- And, Mr. Chair, with that, those are all my

- procedural matters.	Thank you, Mr. Chair.

- EXHIBIT 1 - PowerPoint presentation

- for Type “A” water licence application of the

- Resolute Bay utilidor system, Nunavut

- Water Board public hearing, October 27, 2020

- (English)

- EXHIBIT 2 - PowerPoint presentation

- for Type “A” water licence application of the

- Resolute Bay utilidor system, Nunavut Water

- Board public hearing, October 27, 2020

- (Inuktitut)

- EXHIBIT 3 - Correspondence from Bhabesh Roy

- to Richard Dwyer dated August 4, 2020,

- Re: Seeking approval for the renewal of the

- Type "A" water licence of the Resolute Bay

- utilidor system for 20 years term (English)

- EXHIBIT 4 - Executive summary of the utilidor

- system (water and sewage treatment

- facilities) of the Municipality of

- Resolute Bay (English)

- EXHIBIT 5 - Executive summary of the utilidor

- system (water and sewage treatment

- facilities) of the Municipality of

- Resolute Bay (Inuktitut)

- EXHIBIT 6 - Hard copy executive summary of

- the utilidor system (water and sewage

- treatment facilities) of the Municipality of

- Resolute Bay (French)

- THE CHAIR:	Thank you, Teresa.

- So, Applicant, you may go ahead.

- Presentation by Government of Nunavut, Community

- Government Services (Type "A" Water Licence)

- MR. ROY:	Thank you, Mr. Chair.

- I am going to present for the Type "A" water

- licence application of the Resolute Bay utilidor

- system.	This presentation will be shared by myself and

- our senior advised technical advisor, Eric Bell, and to

- answer to the question of the -- provided to you by

- myself, Eric Bell, Tony, and Daryl.

- So let's go ahead to -- step by step.	I'm going

- slowly.	My first slide is for the Municipality of

- Resolute Bay.	As you know, the Municipality of

- Resolute Bay, it is 1970s settlement located at

- 74 degree, 43'01" second north and 94 degree 58'10"

- west.	The population -- the community was designed in

- a way at 1970 to accommodate roughly 1,500 people.

- Today, 2020's population is 290.	This is the base

- population of the town.	Interestingly, the town

- population increased dramatically in summer because

- this is the Canadian military training centre, and the

- military moved to the town for short term, so

- population moved from 290 to roughly 800.

- The entire town divided into two sections.	The

- town area is the utilidor system, is the one part where

- it's mostly the public area.	7 kilometres away there

- is another band of the settlement or be -- government

- offices are -- the airport are located, which is almost

- 7 kilometre from the town.

- The town is company -- water supplied by the

- utilidor system, and the airport area is water supplied

- by truck system.	In this -- in this small town, we

- have three water licence:	water licence of the

- utilidor system, 3BM-RUT1012, Type "B".	It was issued

26	March 30th, 2015.	This licence -- or the licence of

- the solid waste facility, this belonged to the Hamlet.

- It was issued on March 30, 2020.	At the airport

- facility, there is a sewage lagoon in the airport, it's

- 3BM-YRB1621, Type "B".	It was issued December 16,

- 2016.	This licence belonged to the GN, the Department

- of Economic Development and Transportation.	So out of

- the three licence, the utilidor licence belonged to

- Community Government Services, Government of Nunavut,

- and sharing with the Municipality of Resolute Bay.

- How this system is operated:	The operational mode

- of the utilidor system -- Nunavut is original system,

- and Baffin original headquartered in Pond Inlet.

- Pond Inlet office, we have the PO office and also the

- asset management division.	Asset management is under

- the PMO office, and we contacted a local contractor for

- day-to-day operation who's name is ATCO.

- Char Lake is the potable water source, and we pump

- water from Char Lake, and from there, we'll pump the

- water to the system plant.	So the old pump station is

- not functioning to the satisfaction.	We are building a

- new pump station about 60 feet -- 60-metre area from

- the existing one.	It is under construction right now.

- We are expecting to build -- build and complete and

- commission the new one in 2021.	It is half -- almost

- 75 percent done.

- Now, all pump station has a flow meter who is --

  - calculate the water coming from the Char Lake.	In the

  - new pump station, also a new flow meter has to go there

  - to model the future water extraction volume.

  - The water treatment plant is located at Signal

  - Hill, which is about 500 metre from the pump station,

  - and there is a storage tank next to the water plant,

  - approximately 500 metre cubed.

  - Now, in the airport area, the water is supplied by

  - the truck.	The truck water collected from the water

  - treatment plant.	The water distribution system in the

  - town is a circulation system.	It's -- the system is

  - controlled from the water treatment plant.	So, like --

  - how the town -- the public individual household in

  - Resolute Bay, they are getting the pipe water supply.

  - Chlorine is the only disinfectant reagent we are

  - using that now in the current water treatment plant.

  - In the future treatment plant, it will be

  - different.	I will explain later.

  - The operational mode continues in this chapter.

  - The linear length of the utilidor system is about

  - 4 kilometre.	This is a network system inside the town.

  - The utilidor system consists of buried water and sewer

  - line.	The waterline is 150-millimetre diameter, and

  - sewer line is 200-millimetre diameter.	The waterline

  - is a recirculation process under the pressure of 100

  - psi.	The estimated of bleeding water is roughly

- 227 litres per day.	The utilidor system consists of

- 36 access vault and 23 fire hydrants.	There is a water

- meter at each building to record water consumption, and

- it's billed to the Hamlet on monthly basis.

- The sewer line passes through the macerator unit

- where suspended solids are classed to make it smaller

- to discharge to the sea.

- A new wastewater treatment plant is proposed to be

- built next to the macerator unit.	The macerator unit

- will be decommissioned once the new wastewater

- treatment is built.

- The future wastewater treatment plant will receive

- the truck sewage coming from the airport, and once the

- system will be operational, the airport sewage lagoon

- will be decommissioned.

- The new wastewater treatment plant effluent

- recommended by ECCC, CBOD, and TSS, 25 milligram per

- litre both cases.

- The utilidor system -- different section have been

- updated at the current time.	The new utilidor system

- acquired the waterline, sewer line, head pump, fire

- hydrant, all have been updated, and to be operational

- is available for the audience and to the contact to

- operate the system.

- Here, this status of the water licence:	The

- existing water licence, 3BM-RUT1012, this licensee is

- Community Government Services of Government of Nunavut.

- It is Type "B" issued March 30, 2015, expired March 29,

- 2020.	It was a five years' licence.	The water permit

- of this particular licence is 126,020 cubic metres

- annually.

- Now, status of the future licence, part --

- Mr. Chair already explained.	The proposed licence is

- 3AM-RUT dash -- we are waiting for the number.	The

- licensee the same, Community Government Services of

- Government of Nunavut.	It will be Type "A" licence.

- The proposed duration is 20 years, and these 20 years

- will be ending on 2040.

- We are requesting for the permit of 2040.	This

- Type "A" water licence is 216,528 metre cube.

- The component of the utilidor system at par, we

- have 4 kilometre of buried water and sewer lines,

- 23 fire hydrants, 36 access vaults, the pump station at

- Char Lake.	We have 500-metre water storage tank at

- Signal Hill, a water treatment plant at Signal Hill, a

- macerator unit, 150-millimetre diameter intake line

- from Char Lake to pump station, 150-millimetre diameter

- water intake line to the pump station to Signal Hill,

- 200-millimetre diameter of outfall line from macerator

- unit to the sea.	The original utilidor system was

- built 1978 and upgraded 2014/'15.

- Here are the main components of the future

  - utilidor system, how -- next one -- next -- from now to

  - next five years, how the utilidor system will be look

  - like.

  - The main buried water and sewer line upgraded in

  - 2014/'15, the vaults upgraded in 2014/'15, fire hydrant

  - upgraded in 2014/'15.	And intake from the Char Lake to

  - the new pump station, it is already constructed.	Fish

  - screen were all -- already provided at the end of

  - intake of the new pump station.	The new pump

  - station -- sorry.	A new -- new pump station at

  - Signal -- a new water plant at Signal Hill is under

  - construction.	A standard flow meter will be installed

  - at the new pump station to -- it will be done in --

  - next year.	Because this year construction already

  - stop.

  - Intake from new pump station to Signal Hill water

  - treatment plant have -- already constructed.	The

  - storage tank is already built.	We are upgrading the

  - existing water treatment plant in order to meet our

  - current drinking water guidelines.	It is under

  - construction.	A new wastewater treatment plant, it's

  - under design phase; we did the site selection.	A new

  - outfall from the water treatment -- the wastewater

  - treatment plant to the sea, it will be built once the

  - future wastewater treatment plant is built.	A

  - collection point at the wastewater treatment plant to

- receive the trucks with, it will be located once the

- new wastewater treatment plant in operation.

- Once all these new utilidor -- new component of

- the utilidor system are in -- operational, the old pump

- station, macerator unit, outfall line, and the -- the

- old wastewater treatment plant, blue building, will be

- decommissioned.

- Here is a little sketch I'm presenting to you, how

- it is today and how it should be tomorrow.	We -- we

- have Char Lake.	This is our main source.	From

- Char Lake, the water presently -- the water is coming

- to the pump station, and pump station will push out the

- water to the storage tank to the Signal Hill water

- treatment plant.	And from there, it is coming to the

- main town for distribution.	And, also, the sewer line

- is running parallel to the waterline.

- And from there, the sewer -- sewer is passing

- through the macerator unit, and there is a grinding

- machine inside.	It's grinded up, the suspended solid,

- and running to the sea.	So outfall line -- there is a

- point called "compliance point", while you have to

- satisfy BOD and TSS level according to the water

- licence.

- The outfall is seen when there's a low tide.

- Outfall is submerged when there is high tide.	And,

- interestingly, the entire sewer system of -- of the

- town is a gravity system.	We don't have any mechanical

- device to drive the sewer from one point to other

- point.	But in the mechanical system, we are using the

- bleed water to mix with sewage to dilute and then back

- to the sea.

- So later on we'll be talking about the bleed

- water, its impact on our water supply system.

- So this is the present system.	How the future

- system will looking -- look like -- the future system

- is -- Char Lake will be there.	The new pump station is

- going to be built -- is under construction next to the

- existing pump station.	And then, same way, we are

- connecting the pump station to the same storage tank

- and then storage tank to the water treatment plant.

- Water treatment plant, as I said, is going to be highly

- upgraded to satisfy our present need.	And then

- connected will be the distribution line, the water

- sewer line.

- Right now, the water treatment plant is connected

- with the waterline.	So once, basically, the

- distrubution is completed, then sewer line -- the last

- vault are build.	Sewer line is connected also getting

- the sewage from treatment plant.	Now, once it's coming

- to the town, from the town, it will not go to macerator

- unit anymore because we are building a wastewater

- treatment plant, so all the wastewater is coming to the

- treatment plant.

- At the same time, we are getting the truck sewage

- from the airport location and then dumping to the

- sewage -- sewage plant.	So this sewage plant will be

- receiving sewage from the town from the pipe system,

- also sewage from the truck, and then will connect and

- then have to treat to the high degree to satisfy the

- BOD-TSS level as directed by ECCC, and then we have to

- flow the water to the sea.

- In this -- in this case, the compliance point is

- moved from the sea to the -- next to the water

- treatment plant.	It means once the water from the --

- treatment water coming out from the plant, it must

- satisfy our compliancy.

- So I just use one slide, and then I hand it over

- to Eric.

- The historical water extraction volume:	You see,

- the water extraction volume 2019 down to 2014, and in

- this period you will see the highest water extraction

- volume 2015 and then second highest is -- next highest

- is 2016.	Because 2015 to once we are -- we are

- updating the utilidor system -- prior to that, we have

- sewage leaking.	You can -- we must have lost almost

- 50 percent water leaking out.	And then once we built,

- then we have to do -- we have to do the hydraulic test

- of the entire pipe to make sure there is no -- there is

- no leak anywhere.	We have to store water and do the

- hydraulic test.	So that also take a lot of water.

- That's why 2014 and 2015 we have a huge extraction of

- water from the Char Lake.

- Now, as I said, the previous permit volume is

- 126,200 [sic] cubic metre, but due to the Water Board's

- current regulation, we have to move from Type "B" to

- Type "A", and we are requesting for 20 years' licence,

- and so definitely 20 years' licence -- the amount I

- already indicated -- that that was -- volume we are

- requested in the water permit.

- So from here, I'm leaving to Eric.	The -- EXP is

- our main consultant who would be the entire replacement

- of the utilidor system, and, also -- they are also

- current consultant for the pump station and also the

- water treatment plant.	They also do the site selection

- study, the simply -- for the wastewater treatment

- plant.

- So the most experienced three senior engineers who

- are involved with me for design and construction,

- renovation, and supporting all the necessary documents

- for the water licence application.	All three are

- present.	So Eric is on -- in the room, so I'm leaving

- to Eric to continue to present up to the end.

- Eric.

- MR. BELL:	Thank you very much, Mr. Roy.

- Moving on this slide right here, again, EXP has

- compiled a lot of these numbers on best practices and

- on historical data for the CGS group.	The design flow

- for the water source at the new pump station in

- Char Lake is by --

- THE CHAIR:	Stop.	Hold on.	Hold on.	The

- interpreter needs some -- slow down.	Sorry.	She

| 8 | can | ... |  |  |
| --- | --- | --- | --- | --- |
| 9 | MR. | BELL: | Thank | you very much, |

- Mr. Chairman.	I'm a little excited.

- The design flow for the water source from the new

- pump station is 720 litres a minute.	There will be

- three pumps installed with two in operation at any time

- for a capacity of each having 360 litres a minute.

- There's also a fish screen, as per DFO

- regulations, that has 2.3-millimetre wedge wire

- protecting the aquatic life.

- The maximum output from Char Lake pump station is

- 900 litres per minute with all pumps in operation.

- And, again, the gravity sewage flow rate from the

- macerator unit to the ocean is currently estimated at

- 280 litres a minute.

- If I could go to the next slide, please.

- So we are aware of revised turbidity ruling as of

25	May 13th, 2020, and the treatment design for the plant

26	takes this into account.	With filtration, normal

- operation will occur as long as the water turbidity

- remains less than or equal to 1 NTU.

- With dual filtration at the water treatment plant,

- which includes one stage of multimedia filters which

- are the large filters that remove large particles of

- turbidity, as well as giardia microorganisms -- the

- second stage of filtration is a 1-micron filter -- so

- it's much smaller -- which will remove smaller

- particles, as well as cryptosporidium microbio.	There

- should be no issues with meeting the turbidity limits

- so long as these filters are in operation.

- The 3-log, 99.9 percent inactivation of pathogens,

- is achieved with 2-log credits from filtration and an

- additional log credit for the addition of chlorine.

- Next slide, please.

- So on to the quantity of water that has been

- requested.	The annual water extraction from Char Lake

- has been calculated and forecasted from this current

- year all the way to 2047.	Included in this table are

- an estimated growth in the population, an estimate in

- the litres per person per day that a person in

- Resolute Bay would consume, and then the overall

- community consumption.	There's also the airport

- consumption for a total estimate of how much water is

- currently being utilized and how much will be in demand

- in 2047.	That number goes from 103,000 litres per

- day -- or a thousand -- litres per day, yes -- to

- upwards to 141,000 litres a day.

- Both of these numbers have max-day factors applied

- to them, okay, whether it's reflected in 2 units of

- flow, being litres per day or litres per second, and

- this accounts for the instantaneous time when everybody

- wants to use water at once.

- Also added in this chart is the bleed water rate,

- and that has to do with the amount of water that comes

- from the freshwater system to be added to the sewer

- system to keep that alive.	And the litres per day on

- the bleed water has been modified over the forecasted

- timeline, up to 2047, based on forecasted age and

- forecasted number of users.

- So the total annual consumption in metres cubed in

- 2020 is estimated to be 160,000 cubic metres; and then

- 2040, at the end of our request for permit, it's

- 216,000 cubic metres; and by 2047, it is estimated to

- be 236,000 cubic metres.

- Next slide.

- The total extracted water accounts for use within

- the community, the airport community, as well as the

- bleed water.	Annual consumption for 2020 is calculated 24	at sixteen -- 160,000 up to 236,000 in 2047.	Again,

- this has to do with the population increases; the user

- habits, being the per-capita consumption; and the

- increase in the estimates for bleed water.

- The Char Lake replacement capacity is estimated to

- be sufficient up to about 2040 to supply water for the

- community.	It is recommended that additional

- technologies be investigated, heat tracing, additional

- pumping, to replace bleed water systems and to prevent

- water from freezing since Char Lake cannot sustain

- supply in this fashion past 2040.

- Next slide, please.

- CGS is requesting a water measurement confirmation

- for Char Lake.	For this purpose, the measuring of

- water quality is being withdrawn on a consistent basis

- from Char Lake, and a flow totalizing flow meter is

- the -- is the desired technology.	Everything on this

- slide that is being presented has to do with a

- temporary flow measurement request that CGS has in

- order to confirm the measurement.	Once the ultimate

- Signal Hill water treatment plant has been upgraded,

- this will -- there will be adequate flow measurement

- incorporated into that.

- But in the short-term, the service conditions -- a

- turbine flow meter is what we would like to use.	The

- service conditions and the congestion that exists at

- the Char Lake pump house is provided -- tough to put a

- flow totalizer at Char Lake.	Ideally, you would have a

- nice piece of a pipe where you could just insert the

- flow meter, and, in our case, the flow meter is

- .58 metres long.

- If anyone has been down to Char Lake, there is not

- very much piping down there, and it's not very long.

- So we are proposing to install this at the

- Signal Hill plant directly on the intake as the line

- comes to Char Lake into the Signal Hill plant.	So that

- is an equal measurement of what leaves Char Lake.

- From Char Lake, a dedicated 6-inch line is

- utilized to connect to the Signal Hill water treatment

- plant.	It's proposed that that's where the flow meter

- be installed.	This will -- there will be no other flow

- measured on this line, only the withdrawal water that

- is from Char Lake.	And EXP has prepared the

- specifications and are currently working to have it

- installed as soon as possible.

- Next slide, please.

- So the plans for the Char Lake pump house:	There

- are both environmental management plans and

- decommissioning and remediation plans that have been

- submitted.	The environmental management plan assists

- with implementing the measures to protect the

- environment and minimize environmental impacts during

- the construction of both the new lake -- Char Lake pump

- house and the Signal Hill sites.

- The environmental management plan outlines

  - requirements and procedures to minimize the surface

  - water and fish habitat impacts by controlling erosion

  - and drainage and settlement and, in turn, turbidity in

  - the water.

  - Pollution control and procedures are also

  - implemented to reduce dust and particulate matter in

  - the construction area.	It also deals to -- determines

  - the procedures for management of hazardous materials

  - during the decommissioning should they become obvious.

  - A spill response procedure are also outlined for

  - spills on land, snow, and in water.	And, finally, the

  - environmental management plan describes in detail the

  - reporting requirements that any spill may occur.

  - Next slide.

  - Additional details are provided in the

  - decommissioning and remediation plan, as well as the

  - spill contingency plan.	The decommissioning plan

  - assists with implementing the specific work and

  - procedures in order to protect human health and

  - minimize the environmental impacts during the

  - decommissioning of the old Char Lake pump house.	Due

  - to the proximity of the pump house to Char Lake,

  - control measures must be implemented to prevent

  - movement of contaminants into the water that -- that

  - are -- could be potentially caused by disturbing the

  - soils and structure as it is being dismantled.

- The above-ground fuel tank must be safely removed,

- cleaned, and washed using a vacuum truck, and the metal

- will be disposed of in the community metal land

- field -- land disposal.

- Hazardous materials, such as lead-based paints,

- mercury-containing fluorescent light tubes, and PCBs in

- the light fixture ballasts are going to be securely

- removed and disposed of to recycling facilities.

- The scope of the new pump house and the

- remediation of the site and the new facility involve

- some of the following activities:	The site work

- including access by truck and personnel, as well as a

- new power line; a provision of a new building,

- including electrical and mechanical systems; a

- provision of a new intake into Char Lake with a new

- transmission water main interconnecting the pump house

- at Char Lake to the Signal Hill water treatment plant;

- and the remediation of the petroleum contamination of

- the existing site and management of the contaminated

- soil.

- As previously mentioned, the design flow from the

- water source at the new pump house is going to be

- 720 litres a minute.	And the site that has been

- selected is 60 metres to the east of the existing

- facility, and that meets the required criteria for

- water intake.

  - Next slide, please.

  - The Char Lake pump house design and construction:

  - A significant amount of work has already been done

  - during the 2020 construction season, and the Char Lake

  - site that includes the installation of silt fencing

  - around the work site --

  - THE CHAIR:	Excuse me?

  - MR. BELL:	Yes.

  - THE CHAIR:	You need to slow down a bit.

  - The court reporter cannot keep up with you.

  - MR. BELL:	Sorry.	Again, I'm awfully

  - excited.

  - The work that has been done at Char Lake in 2020

  - includes the installation of silt fencing around the

  - worksite; excavation of the new pump house and concrete

  - pours for foundations; and the new pump house building

  - that has been already constructed; boilers and glycol

  - pipes and pumps have also been installed; and bedding

  - material has been imported; the -- Char Lake, with the

  - turbidity curtain in place to prevent particulate

  - matter from entering the raw water supply; and new

  - intakes are being placed during the 2021 construction

  - season.	So there has been significant work done this

  - year.

  - Next, please.

  - The recommended water treatment process that is

- going to be implemented at Signal Hill includes

- multiple filtration steps and disinfection using

- chlorine in the form of calcium hypochlorite.

- The filtration will provide the suitable

- protection for microorganisms removal and any small

- amounts of TSS and turbidity to get picked up by the

- Char Lake pumps.

- The chlorine addition protects against viruses and

- other microorganisms from the water source and provide

- protection from any cross-contamination that may occur

- in the utilidor distribution system.

- The first stage of the filters are backwashable

- media filters.	A media filter is -- typically removes

- particles down to 7 to 10 microns in size, and that's

- suitable for the large turbidity particles as well as

- the giardia.

- The secondary proposed filters are disposable

- cartridge filters or polymer-based filters that filter

- down to 1 micron of size, which is suitable for further

- removal of small particles and include cryptosporidium.

- The disinfection method to be employed will be the

- use of chlorine in the form of calcium hypochlorite,

- and this will be delivered to site in dry format and

- prepared for a 24-hour period in a mixing or hydration

- tank.

- As can be seen in this drawing, the water will

  - flow in from Char Lake on the left-hand side and will

  - move towards the right; the first stage being

  - multimedia filters, the second stage being the

  - cartridge filters.	All water will be treated and

  - disinfected before entering into the reservoir, and

  - then from the reservoir, two locations it can go to,

  - being the hamlet utilidor system, where there is a

  - constant recirculation, and to the truck fill to

  - support the airport and any users that are on the

  - truck-fill system.

  - Next slide.

  - The upgrade to the water treatment plant on

  - Signal Hill examines the requirements for the water

  - treatment as outlined by the Canadian Drinking Water

  - Guidelines.	This includes the upgrade of disinfection

  - equipment and the inclusion of filtration equipment.

  - Capital costs, as well as operational costs for

  - the needs for the 30-year operation life, were

  - considered when selecting the technology.

  - The upgraded water treatment plant will be in the

  - same building but will incorporate additional

  - filtration equipment, new disinfection equipment, new

  - circulation pumps, a washroom facility, additional

  - equipment storage, and a laboratory area for -- as well

  - as a maintenance area.

  - Next side, please.

- The unused reservoir tank has been removed

- already, and the building has been expanded in an

- easterly direction.	A significant amount of this work

- has been completed during this construction year, and

- that includes the site grading; some concrete

- demolition work; building-addition work, including some

- concrete walls room; roof and cladding; and any

- obsolete equipment that was in the building and has

- been removed, as well as other materials.

- Next.

- So for quality assurance and quality control, a

- program has been developed and is used to maintain the

- standards of monitoring programs for both the

- wastewater treatment and disposal and the water supply

- and treatment, as well as solid waste disposal, as

- described in each one of the O&M manuals.

- The program describes quality assurance and

- quality control processes and procedures as applied

- during field activities to accurately reflect the

- attributes of either the water, the wastewater, or the

- leachate being tested.

- Field quality control addresses

- cross-contamination as a common source of -- and an

- error in sampling procedures and sample handling and

- storage of equipment; i.e., this is errors during our

- sampling.

  - So field QC samples must include field blanks, as

  - labelled as such, to trace sources of artificially

  - induced contamination.	Or blind duplicates can be

  - used, not labelled as such, to ensure the analytical

  - precision.

  - Laboratory quality control is applied by

  - laboratories after the samples have been received from

  - the field and to enable the laboratory to produce

  - accurate and reproducible results on an ongoing basis.

  - The samples are collected in laboratory supplied

  - bottles and jars and are analyzed at laboratories

  - certified by the Canadian Association of Lab

  - Accreditation.	All analytical reports are to include

  - QA/QC reports, and this hamlet has been using the

  - services at accredited labs in Ottawa named "Caduceon

  - Environmental Labs".

  - Next.

  - So for the spill containment -- or contingency

  - plan:	The spill contingency plan is used to address

  - the proper responses to the anticipated types of spills

  - that may be -- occur during the routine operation and

  - maintenance activities at the hamlet's facilities

  - associated with wastewater disposal, water supply, as

  - well as the solid waste disposal.

  - This contingency plan presents potential

  - contaminants, spill scenarios, and existing preventive

- measures and response organizations that are to be

- used.

- The spill contingency plan has action to include

- potential impact from -- and procedures for containing

- the chemical spills, such as sodium hypochlorite, being

- the chlorine, and any petroleum spills, such as diesel

- fuel, used for the powering of equipment.

- The spill contingency plan provides information in

- case of the spill and spill kit locations, as well as

- spill reporting procedures.

- It also includes the standard spill kit

- requirements, as well as forms for filling them out and

- reporting.

- And I think that's the last slide there, Sergey.

- Oh, sorry.	My bad.

- At the wastewater treatment plant a number of

- technical issues and concerns regarding the current and

- future wastewater treatment have been raised by the

- stakeholders.	As such, EXP, my company, has prepared

- and submitted a technical memo addressing the fecal

- coliform limits for the O&M plan for the existing

- macerator and a technical memo addressing the ammonia

- for the new wastewater treatment plant and technical

- memo that reviews the 2012 and the 2020 wastewater

- treatment plant designs.

- The calculated fecal coliform values, which were

  - determined based on linear regression of data reflected

  - from 2016 to 2020, and includes 18 results as a data

  - set.

  - For a flow greater than 600 litres per person per

  - day and a TSS -- so a total suspended solids -- of

  - 80 milligrams per day, the calculated fecal coliform

  - was calculated to be 157,000 units per hundred

  - millilitres.	For flows between 150 litres per person

  - per day and 600 and a TSS of 80, the calculated number

  - was increased to 183,000 coliform units per

  - 100 millimetres.

  - And that was the last slide, I believe.	No?	I

  - got ten more?	What?	Sergey, are you adding slides to

  - this?

  - MR. ROY:	No, no.	Continue.	"EXP has

  - previously noted" ...

  - MR. BELL:	EXP has previously noted that

  - the building macerator unit is an open flow and that

  - the heater has been -- exposed in a heating element,

  - including thermostat, and the fan is completely blocked

  - off with insulation.

  - Okay.	I was down at the building yesterday, so

  - yes.

  - There's not so much smell in the -- in the

  - building because the flow is so dilute, but it was

  - noted to the GN that this is a hazard as -- an

- explosion potential for operators, and there is

- ventilating issues.	This is the way it is in all

- macerator and head works buildings.

- As such, health and safety risks from these

- hazards need to be mitigated.

- The identified issues associated with the building

- are that it's not ventilated, has only a single-man

- door entry, and it's flushed to the exterior grade, a

- vent is not operating, electrical equipment is not

- explosion-proof in design and does not have any

- hazardous gas sensors.

- We've recommended a number of procedures that

- should be followed when entering the macerator

- building.	This is useful to investigate short-term

- options until a new water treatment plant -- wastewater

- treatment plant is constructed and commissioned.	These

17	may include things such as acquisition of gas detector

- and replacement of the heating, lighting, fans, plugs,

- and disconnects for the explosion-proof units.

- Further on this, the current trends in the

- wastewater regulations indicate that effluent ammonia

- is likely to become a parameter of concern throughout

- Nunavut, and specifically the hamlet the Resolute Bay

- in the future.

- There are currently no regulations in place in

- Nunavut or the hamlet that require biological

- electrification to meet the effluent ammonia discharge

- objectives; however, it's anticipated that there will

- be future regulatory changes for that far north -- that

- include the far north that could include new guidelines

- for the ammonia.

- With the uncertainty of future regulatory changes,

- the hamlet of Resolute Bay has -- will be well-served

- by installing a biological mechanical treatment system

- according to a predesign report that my company has

- done.

- The proposed process water technology could be

- designed for ammonia removal to meet the current WSER

- performance standards in effect throughout Canada.

- There are a number of key design factors that

- remain very similar or unchanged between the original

- 2012 design and the 2020 design as completed by my

- company.	The most significant difference was the

- process technology with the intent to better balance

- the treatment performance with some of the economic and

- operational challenges.	This will result in a more

- cost-competitive system that is still capable of

- providing a high-quality effluent for exit to the

- ocean.

- MR. ROY:	Okay.	Thank you, Eric.	Let

- me finish the last slide myself.	Thank you.

- MR. BELL:	Happily.

- MR. ROY:	So I'm taking -- yeah.

- Thank you.	Thank you, Eric.

- So the last slide is the -- how we see the future

- wastewater treatment plant.	So what is the

- recommendation in the technical meeting by ECCC -- they

- are saying -- they're suggesting -- and we were also

- designing the plant following the solution that CBOD

- should not be more than 25 milligram per litre.	It

- means we have to keep the CBOD below at the approved

- level, and the compliance point next to the water plant

- should be less than or equal to 25 milligram per litre.

- The same way, the total suspended solids should be less

- than or equal to 25 milligram per litre.

- The average concentration of total residual

- chlorine should be less than or equal to 0.02 milligram

- per litres.

- The maximum concentration of unionized ammonia

- should be less than 1.25 milligram per litre expressed

- as nitrogen at 15 degree, plus/minus 1 degree

- centigrade.	Be non-accurately lethal effluent.

- So these are going to be a compliance point of the

- new treatment plant.	And the effluent coming from the

- treatment plant, that water quality has to satisfy this

- criteria.	So this is my last slide of the

- presentation.

- Before I will go for question, I have one question

  - to the audience:	Is the CAO of the Municipality of

  - Resolute, Steve Piercey -- I'm not hearing his sound.

  - He's in the meeting?	Hello?	Hello?

  - MR. PIERCEY:	Yeah.	Go ahead, Bhabesh.

  - MR. ROY:	Oh, I'm just asking -- oh, you

  - are -- you are there.	You are -- because you are

  - not -- not counting your name.	So, anyway, I'm glad

  - that you are there.	Thank you.	Thank you, Steve.

  - Thank you, Mr. Chair.	This is end of my

  - presentation.

  - THE CHAIR:	Teresa, do you want to speak

  - to that?	Okay.	Okay.

  - MR. ROY:	Mr. Chair, I just want to

  - mention that the -- all the questions will be directed

  - by the name of GN to me, and I will share whoever will

  - respond to the question from my team.

  - Thank you, Mr. Chair.

  - THE CHAIR:	Okay.	I think we can -- we

  - can have a break for now.	Break -- lunch for break,

  - and then we can come back at 2 -- 1:15.	And we have

  - one interpreter as well, so need the break as well.

  - Okay.	We can come back -- come back at -- you can

  - continue with your presentation -- oh, all done?	Okay.

  - Yeah.	We -- we can start again at 1:15 this afternoon.

  - MR. ROY:	Okay.	Thank you.

  - THE CHAIR:	Thank you.

1

2	PROCEEDINGS ADJOURNED UNTIL 1:15 PM

3

- (PROCEEDINGS RECOMMENCED AT 1:31 PM)

- THE CHAIR:	Welcome back to -- for this

- afternoon's session.

- So questioning we were about to start by the time

- we left the -- the room for lunch, so I'd like to ask

- the Crown-Indigenous and Relation -- Crown-Indigenous

- Relations and Northern Affairs -- Sarah and Godwin, you

11	may want to come over to the intervention table.

- THE CHAIR:	Go ahead.

- Crown-Indigenous Relations and Northern Affairs

- Questions Government of Nunavut, Community Government

- Services

- MS. FORTE:	Thank you.	So it's Sarah

- Forte speaking.	I have just two questions, which is

- more clarifications I'm requesting.

- The first one is in regards to the water volume

- being requested.	There was quite clear communication,

- but then just recently there was a submission with

- projected water-use volumes up to 2047, and these

- numbers are also on page 14 of the presentation.	And

- so I'd just like to confirm whether the quantity of

- water being requested for this water licence is the

- value projected for the 2040, which is 2016 --

- 216,528 cubic metres.

- THE CHAIR:	Thank you.

- Applicant, go ahead.

- MR. ROY:	Thank you.	Thank you,

- Mr. Chairman.	Thank you, Sarah.	This is a question

- you asked in the technical meeting as well as here.

- This question I'll be sharing with Tony, who is our --

- who is our -- you know, the senior technical advisor to

- me.	I just go in part, and then he'll be giving a

- detailed explanation.

- This -- as you see, there are different items:

- per capita, litre per capita per day, and also there is

- the bleed quantity.	So this is a consumption plus

- bleed water.	If we can combine together, that is the

- total volume we need to extract from the Char Lake, and

- that is the total volume we are anticipating with our

- 2024 water licence.

- So having said so, this is -- Tony will be -- to

- explain this, and I was requesting Tony Whalen to go in

- details on this expectancy.

- Tony.

- MR. WHALEN:	Sure.	Thank you, Bhabesh.

- Can everybody hear me okay?

- MR. ROY:	Yeah, I'm hearing okay.

- MR. WHALEN:	Okay.

- Yeah.	So I believe the question is, you know --

  - the volume that we're requesting up to 2040, it is

  - indeed the 216,528 cubic metres, which has been

  - calculated, as Bhabesh indicated, on a number of -- a

  - number of pieces of information, you know, one being

  - the population, and there's a projected population

  - growth over the -- over the 20 years, so that's

  - included in the calculation.	And then the per capita

  - consumption, it's also shown increasing over the course

  - of the -- the 20 years, as well; as well, the community

  - consumption based on that per capita and the

  - population.

  - So the other part -- essentially, everything in

  - here increases over time, and that's kind of a

  - worst-case scenario, just so -- we want to make sure

  - that, you know, the request is sufficient to handle

  - any -- any demand.	So this is all speculation in terms

  - of the population increase, per capita consumption

  - increases, you know, increases in water at the airport,

  - and also an increase in bleed water.	So -- so it all

  - leads to an increase in the water use.	So this 216,528

  - is, in fact, based on all of these projections as a

  - worst-case scenario for the amount of water that will

  - be consumed and used up to 2040.

  - So does that -- does that answer the question at

  - hand?

  - And thank you, Mr. Chair.

    - MS. FORTE:	Yes, that answers my question.

    - Thank you.

    - My next question has to do with some information

    - found on page -- or Slide 16 regarding the installation

    - of the flow meter -- or a flow meter at the -- either

    - the pump station or the water treatment plant.	The --

    - on the slide, it says that this -- it was to be

    - arranged -- the delivery to be arranged for

9	October 2020 with a goal to collect at least one week

- of flow data prior to the hearing.

- From your comments, Eric, I understand that

- perhaps this didn't occur, and so I would be looking

- for confirmation of that.	And, also -- and if it

- hasn't occurred, an estimated time schedule at which it

- might occur.

- MR. BELL:	Thank you for the question.

- Eric Bell here.

- I can confirm that it has not yet been installed.

- We are in the works of getting a contractor to install

- it.	As far as the timeline, I know that it's going to

- be within the next three or four weeks.

- Tony Whalen, I'll let you speak up if you think

- that that is an incorrect statement.

- And as for the duration and the commitment of the

- flow measurement data, Bhabesh, perhaps you could speak

- to what the commitment is that we -- we have on that.

- MR. ROY:	Yeah.	Thank you.

- THE CHAIR:	Can you state your name --

- state your name for the record.

- MR. ROY:	Yeah.	Bhabesh Roy.	Thank

- you, Chair.

- Flow meter, actually, we are talking about for a

- long -- since last technical meeting.	Here is the

- source to the -- of this flow meter.	Flow meter should

- be in the existing pump station.	So while we are doing

- the design, we found that this pump station built so

- long ago, there is no meter today on the market

- available to fit into the existing pump station.

- So Eric Bell did the design, and he came up with

- the conclusion that we can remove the location at --

- not in the pump station but in the water

- treatment plant prior to water coming inside the water

- plant, so that way -- it's the same building, same

- quantity, no division -- we can get a device.	The

- device will be lined.	Contract call given to someone

- to install it.	As you know, the COVID-19 situation

- there is too many constraints.

- I am asking Tony -- Tony is supervising the

- construction work.	He is the manager.	He will give

- you more update, more clearer information, when exactly

- the flow meter will start working.

- Tony.

  - MR. WHALEN:	Sure.	Thank you.

  - Thank you, Bhabesh.	Again, it's Tony Whalen here.

  - Yeah.	Currently we have acquired the meter

  - itself, and I believe it is in Edmonton at the moment.

  - And as Bhabesh did mention, there are some delays,

  - because of COVID, in getting things shipped.	I mean,

  - even at the best of times, it's -- it's challenging to

  - get things shipped to Resolute, and the COVID pandemic

  - has made that even more difficult.	So we're -- we're

  - getting it closer to Resolute.	Hoping we will have it

  - in Resolute in the next week to two weeks, and then we

  - will be coordinating the installation.

  - Currently, the contractor is working in the

  - Char Lake pump house.	The -- the electrical and

  - mechanical components are -- are being installed there,

  - and those are the people that are actually going to do

  - the installation of the flow meter.	So Eric suggested,

  - you know, we're three to four weeks out; that is

  - probably realistic.	I'm hoping we can do better than

  - that, but that's -- that's what we should kind of plan

  - for.

  - The installation itself is relatively quick.	It

  - should be done in less than, you know, a half a day.

  - This is just a matter of drawing water off of the tank

  - there while the -- you know, the pipe is cut and the --

  - the flow meter is installed in there.	And Eric was

- correct; it will be installed at the Signal Hill water

- treatment plant because there just is not sufficient

- space at the old Char Lake pump house to install that

- meter there.	Hopefully that answers the question.

- Thank you, Mr. Chairman.

- THE CHAIR:	Thank you.

- Any more questions?	Okay.	Thank you.

- Oh, okay.	Godwin.

- MR. OKONKWO:	Thank you, Mr. Chair.	My name

- is Godwin, manager of water resources, Crown-Indigenous

- Relations and Northern Affairs Canada.

- I have one question, and this is back to the first

- question Sarah was asking about quantity of water

- asked.	But my question is -- I did hear that the

- estimation or projection accounts for time when

- everybody wants to use water, so I'm looking at it, and

- I'm looking at the population of Resolute, of the town,

- the community.	But then one of the slides where you

- presented the town population at 290, you indicated

- that during the summer, due to military presence for

- training, the population of the town increases to 800.

- So I was wondering -- so that's probably not seen

- as the real population, that increase.	But if it

- happens every summer, I'm just wondering if the

- projections for the water required, if -- when you say

- that it accounts for everybody's need, if it includes

- the need of the -- I don't know if you call it --

- temporary increase in population?

- MR. BELL:	Eric Bell here with EXP.

- I'm going to attempt a bit of an answer at this,

- and then, Tony Whalen, if you could chime in afterwards

- to let me know your -- your thought on this to support

- my information.	The --

- THE CHAIR:	Just hold on.

- Staff.	Stephanie.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- I'm going to weigh in.	For the third time, we're

- going to have to ask you to slow down so the

- interpreters and the stenographer can stay on track.

- Thank you.

- MR. BELL:	Thank you very much.	I will

- do my best.

- When there is the influx of population, that is

- primarily out at the airport sites, and the airport

- sites are all on the truck-fill situation.	The

- truck-fill situation definitely increases the overall

- amount of water that's used there, but when we talk

- about some of the peak water consumption numbers, that

- is the peak outflow from the Signal Hill water

- treatment plant.	That's not really accounted for with

- regards to the instantaneous peak that we need when

- we're sizing pumps and looking at contact time and

- things like that.	That the overall consumption of

- water -- you're right -- is increased, but that is from

- the -- the truck-fill perspective.

- And I'm also under the impression -- and this is

- where I want to draw from Tony's expertise on this --

- is that there is sort of a reduced number for the

- military when it comes to the average consumption days,

- and on a truck-filled system, there is a lower daily

- average of customer -- customer usage.

- Tony, I'll let you speak to that.

- MR. WHALEN:	Sure.	Thank you, Eric.	Tony

- Whalen here again.

- So, I mean, I think the question comes down to

- have we accounted for military personnel and their use

- of water in our calculations for consumption.	The

- answer to that is yes.	However, because it is based on

- truck fills, that number has been, sort of, equalized

- over time.	But you'll see in the -- the calculation of

- annual water extraction from Char Lake that there is an

- airport consumption number which is fairly significant.

- In fact, you can see it's, you know, more than half of

- the community consumption as well.	So that is

- accounted for overall in the -- in the calculation of

- consumption.	So, yeah, I think -- hopefully that --

- that answers your question.

- Thank you, Mr Chair.

- THE CHAIR:	Thank you.

- MR. ROY:	Mr. Chair, I just want to

- disclose something.	The -- any -- any agency asks a

- question to the Applicant, that is me, and don't talk

- to any individual.	So questions asked to me, and we'll

- make the answer from -- for the question using any of

- our technical advisors or the embassy or -- so, again,

- I repeat, Applicant -- and no one should directly ask

- question to non-applicant.	It should be to Applicant

- and Applicant to -- to the Water Board.

- Hello?	Hello?

- THE CHAIR:	Yeah, I can hear you.	So,

- yeah, just -- I'm just given some direction here.	So

- okay.	We'll take your -- take your word.

- MR. ROY:	Thank you.

- THE CHAIR:	Okay.	Next intervener I'd

- like to call upon is Environment and Climate Change

- Canada.

- Anna, are you -- can you hear?	Have you -- go

- ahead.

- MS. GRAHAM:	Yes.	This is Anna Graham,

- Environment and Climate Change.	I believe our water

- quality expert, Meagan Tobin, would like to ask a

- question.

- Environment and Climate Change Canada Questions

- Government of Nunavut, Community Government Services

- MS. TOBIN:	Hi.	Yes.	Thank you,

- Mr. Chair.	This is Meagan Tobin with Environment and

- Climate Change Canada.	I just have one question.

- So in the presentation, as well as in the

- environmental management plan, it was described the

- settlement and erosion-control practices that will be

- implemented to prevent increases in turbidity in

- Char Lake that is associated with the construction and

- the decommissioning of the pump houses.	However, there

- was no description of any turbidity monitoring to be

- undertaken in Char Lake in order to ensure that these

- mitigations are working as intended and that there

- aren't unexpected impacts to water quality.

- So my question is, will the environmental

- management plan be updated to include turbidity

- monitoring to monitor for increases in turbidity that

18	may occur during construction in the water body?

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Applicant, do you -- respond to the question.

- MR. ROY:	There is a little error of the

- presentation we should mention about the turbidity

- monitoring.	This question I'll be sharing with Tony.

- Tony will give the explanation how to install in the

- Char Lake, how we can protect.	But the turbidity

- monitoring, yes, we did.	As I mentioned before, that

- we have the ATCO onboard who is operating the system,

- and our asset management division is the --

- administering the contract.

- So turbidity has been tested on regular basis

- during the construction and with the close contact with

- the Department of Health.	So we don't see any kind of

- adverse turbidity developing during construction.

- Because if we did that first, then public health will

- declare the water turbidity, and it will not happen

- because turbidity under control.

- Tony, you want to explain a little bit.

- MR. WHALEN:	Sure.	Thank you, Bhabesh.

- Yes.	So, I mean, part of the environmental

- management plan included silt fencing adjacent to

- Char Lake in the area that we're doing any work on

- land.	In addition to that, we did also install

- turbidity curtains around any area that we were working

- in, you know, directly in Char Lake with regard to

- placing gravel so that we can install the intake lines

- next year.

- So the turbidity curtains were actually installed,

- and we did measure -- we had the turbidity measured by

- ATCO during that time, and in comparison to previous

- turbidity numbers, there was -- there was no increase

- evident with the work that was done.

- Also, the plan was submitted to the Department of

- Health to review and provide comments prior to doing

- the -- the work in Char Lake.	So I think, overall,

- we -- like I mentioned, we did not see an increase in

- turbidity in the raw water in Char Lake during the

- construction activities.	And we will continue those

- mitigation programs in 2021 when we recommence work in

- Char Lake, so the turbidity curtains will be

- reinstalled, and then the silt fencing is still there

- and will remain there until the end of next year's

- construction season.	So both of those measures will

- ensure that we reduce any kind of impact of turbidity

- formation in the raw water for Char Lake.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Any more question from ECCC?

- MS. TOBIN:	I think --

- MS. GRAHAM:	We have no --

- MS. TOBIN:	Oh, sorry.	Thank you,

- Mr. Chair.	It's Meagan Tobin with Environment and

- Climate Change Canada.	I just have one follow-up.

- So I -- I do understand the mitigations that are

- being applied.	I just wanted to ensure that the

- continuous testing of water quality and the turbidity,

- you know, outside of those mitigations is being applied

- to ensure that the mitigations are working as intended.

  - And, I guess, just my other question is whether

  - it's intended that the environmental management plan is

  - going to be updated to -- to outline the turbidity

  - monitoring that is being undertaken.

  - Thank you, Mr. Chair.

  - THE CHAIR:	Thank you.

  - Applicant.	Applicant, do you have any response to

  - question?

  - MR. ROY:	Can you hear me?	You hearing

  - me now?

  - THE CHAIR:	Stephanie, go ahead.

  - Okay.	Go ahead.

  - MR. ROY:	Yeah.

  - THE CHAIR:	Go ahead.

  - MR. ROY:	Okay.	Mr. Chair, I think that

  - we already explained the process in place to monitor

  - the turbidity this year, and most of the system is

  - already onboard to continue monitoring in 2021.

  - So you are asking to update the environmental

  - management plan?	Yes.	Once we complete the exercise,

  - we will update the environmental management plan to

  - resubmit.

  - Thank you, Mr. Chair.

  - THE CHAIR:	Thank you.

  - Any more questions from ECCC?

  - MS. TOBIN:	Thank you, Mr. Chair.	Meagan

- Tobin with Environment and Climate Change Canada.	I

- have no further questions.

- THE CHAIR:	Thank you.

- Now I'd like to ask the -- the -- the Board --

- Nunavut Water Board staff.	Do you have any questions

- to the applicant?

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- Mr. Chair, we do have a few questions for the

- Applicant, so I'm going to ask that the technical staff

- address those questions at this time.	Thank you.

- THE CHAIR:	Thank you.

- Go ahead, Nunavut Staff.

- Nunavut Water Board Staff Questions Environment and

- Climate Change Canada

- MR. KUFLEVSKIY:	Thank you, Mr. Chair.	This is

- Sergey Kuflevskiy, the technical advisor of the Water

- Board.	I have a few questions for the Applicant.

- On Slide 14, where you showed the volumes of water

- projected, the volumes of water keep growing, but, from

- our understanding, the bleeding water that is currently

- used to dilute the sewage was supposed to drop once the

- water treatment -- wastewater treatment plant is

- constructed.	So if everybody goes back to Slide 14,

- you see that the percentages, the contributions from

- the bleed water, keep going up even past the

- construction of the wastewater treatment plant.

- Could you please clarify why this is happening.

- Because, from our understanding, this was the main --

- the main reason why you wanted to -- one of the reasons

- why you wanted to build the wastewater treatment plant,

- to have the decrease in water intake to basically

- prevent this water from being wasted on bleed in the

- sewage.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Applicant.

- MR. ROY:	Thank you, Mr. Chair.

- I think the water treatment -- wastewater

- treatment plant is to -- proposed to bleed -- do you

- see -- the -- the wastewater coming from the community.

- So it is -- the bleed water is also part of the mixing

- of the sewage, and the mix is coming through the

- wastewater treatment plant.	So wastewater treatment

- plant -- I don't think we use the quantity of bleed

- water because that process is before the treatment

- process.	I leave it to our consultant to explain

- better.

- Daryl and Tony, can one of you go ahead to

- explain, please.

- THE CHAIR:	Thank you.

- MR. WHALEN:	Okay.	Yeah.	Thank you,

- Bhabesh.

- And, Daryl, you can correct me if I'm -- I'm

- wrong.

- But, yeah, I -- I'm not sure where it came out

- that, you know, bleed water would be produced once the

- wastewater treatment plant was constructed and

- commissioned.	In fact, yeah, that -- that's not the

- impact that will happen by installing the wastewater

- treatment plant.	The -- the bleed water is used to

- keep -- to keep things from freezing within the pipes,

- so you need that water flowing constantly.	And, yeah,

- in this case, that -- that still has to happen even

- after the wastewater treatment plant is installed.

- So, yeah, I think that's -- that would be my

- explanation for that.	Hopefully that answers the

- question.

- Thank you, Mr. Chair.

- MR. KUFLEVSKIY:	Thank you.	Thank you,

- Mr. Chair.	Thank you, Tony.

- But if you look at this table, the increase is --

- that would be disproportional.	Like, if you look at

- the percentages, you go from 35 percent to 40 percent,

- so it's not your regular, like, 3 percent increase in

- consumption.	So how can you explain that?

- MR. ROY:	So, Tony, I think we -- you

- want to explain, or you want Daryl to do?

- THE CHAIR:	State your name before you

- speak for the record, please.

- MR. ROY:	Hi.	Yes, Mr. Chair.	This is

- Bhabesh.

- So I'm just requesting Tony or Daryl to go into

- more details because the -- Sergey's question is water

- treatment plant, but we are talking about bleeding

- quantity.	It's not increasing or decreasing, nothing

- to do with the water treatment plant.	So I think Tony

- already explained, but the bleeding part is before the

- treatment process.	So you take these -- the water

- treatment plant at -- or not the water treatment plant,

- the bleeding quantity will increase according the

- increasing of the population.

- I don't think it adds any kind of the

- relationship.	In terms of volume, yes.	But it --

- building a wastewater treatment plant, it's nowhere it

- can reduce the volume of the bleeding quantity.	That's

- my understanding.	Let me -- will explain much better.

- Tony.

- MR. KUFLEVSKIY:	Thank you, Bhabesh.	Before

- Tony -- this is Sergey Kuflevskiy.	Before Tony answers

- the question, I just wanted to clarify what exactly I

- was asking about.

- If you look at that table, for the year 2020,

- you -- you have a 35 percent contribution from a --

- contribution from -- for the bleed water.	And if you

- go to the year 2030, it increases by 3 percent to

- 38 percent.	When you go to the next 10-year period, it

- increases only by 1 percent.	So why is such a

- difference?	Why does the water increase by 3 percent

- in the first 10 years and only by 1 percent in the next

- 10 years?	So is there something that we are missing

- here, or this is going to be a part of the design?

- Thank you.

- THE CHAIR:	Thank you.

- Go ahead, Applicant.

- MR. ROY:	Okay.	Thank you.	Thank you,

- Mr. Chair.

- I think the explanation will come from the

- consultant because the Char Lake -- I understand that

- the part 20 to 30 is the 3 percent increase, and then

- 30 to 40 and 47, increase is not that significant; it's

- going lower.	So I think the -- Tony and Daryl could

- explain it better.

- So who will take over the call, Tony or Daryl?

- MR. WHALEN:	I can -- I can take that,

- Bhabesh.

- MR. ROY:	Thank you.

- MR. WHALEN:	Tony Whalen speaking here.

- Yeah.	So, I -- I mean, I can look into this a

- little further, but the -- the bleed water percentage

- is the total amount of bleed water as a percentage of

- the total water extracted.	There may just be a -- a

- rounding error in the -- the percentage there.	But

- you can see that the bleed water from 2020 to 2030

- increases by approximately, you know, 40,000 litres a

- day, and then from 2030 to 2040, it's, again, another

- 40,000 litres per day.	So the actual amount of bleed

- water per day, that increase over those ten-year

- periods, is essentially the same.

- So then you would have to look to the total water

- extracted, and that's where that percentage comes from,

- and that's why you see a bit of a difference in the

- percentages there over -- over time.

- So my explanation would be that the actual bleed

- water itself, the -- there's a proportional increase in

- that over time, but the percentage, the numbers are

- slightly different because there are a number of

- variables that are used to calculate that -- that

- percentage in that case because it's based on

- consumption -- total consumption.	Hopefully that

- explains it.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Water Board Staff.

- MR. KUFLEVSKIY:	This is Sergey Kuflevskiy.

- Thank you, Tony.	It is -- it -- thank you for

  - this explanation, but it is still quite confusing.

  - Like, you have the same pipe basically going in and out

  - of the town.	The diameter -- like, dimensions of the

  - pipe did not change, so the volume of the water

  - contained in this pipe should theoretically stay the

  - same, but the volume of the water basically is

  - increasing.

  - So the bleed water -- like, how -- how does the --

  - what does the bleed water have to do with the intake

  - from the source?	The bleed water is basically used to

  - keep the pipes warm and, to a certain extent, to dilute

  - the sewage.	So can you please comment on the reason

  - why the actual volumes of the bleed water are growing.

  - Thank you.

  - THE CHAIR:	Thank you.

  - Applicant.

  - MR. ROY:	Thank you, Mr. Chair.	I think

  - I can go back to Tony again to explain it more better

  - in detail.

  - Thank you, Tony.

  - MR. WHALEN:	Yes.	Thank you, Bhabesh.

  - Yeah.	I -- I need to kind of take a look at my --

  - I'm just trying to call up my spreadsheet.	So,

  - essentially, there was a design report prepared back in

  - 2012, and it had some of these numbers in it, and then

  - I basically went in and updated it based on the fact

- that, you know, we are not installing anything in 2012;

- in fact, we're doing it in 2020.

- So if you would allow me to just take a look at

- some of these numbers to get you some of the

- information that you're requesting, I -- I could

- provide that to you later on during the hearing, if

- that would be acceptable.	I'd just like to take a look

- at the numbers rather than just speculating off -- off

- the cuff here.	Does that sound okay?

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Staff.

- MR. KUFLEVSKIY:	Thank you, Tony.	This is

- Sergey.	Absolutely.	Like, the -- the question can be

- deferred, and you can answer it later on.	It is

- just -- in the Water Board's opinion, it's a very

- critical question.	Because if you remember, back in

- 2012, the lines were not exactly perfect, so there was

- a lot of seepage and a lot of water loss through the

- lines.	But then the lines were repaired.	So was this

- fact accounted in the new design, or you're still

- accounting for the -- for the water to be lost?	But

- you can absolutely confirm this later on during the

- hearing, and we can move to the next question.

- So my -- again, this is Sergey Kuflevskiy.	My

- next question would be about the wastewater treatment

- plant itself.	On your Slide 30, you're mentioning that

- the biological/mechanical treatment is going to be

- used.	For the biological portion of the treatment, I

- presume you would need to have it done indoors because

- it is pretty difficult to -- to have any bacterial

- growth at the temperatures of minus 60, minus 70.	So

- you are you planning to have a building specifically

- dedicated for this biological treatment portion, and

- how large of a building are we talking about?

- Thank you.

- THE CHAIR:	Thank you.

- Applicant, go ahead.

- MR. ROY:	Thank you, Mr. Chair.

- So, Sergey, as you know, the -- we did not

- complete the detailed design of the wastewater

- treatment plant.	It's -- a preliminary concept design

- was submitted.	However, your question is -- could be

- answered clearly.

- Daryl, you want to take over?

- MR. BURKE:	Yes.	Thanks, Bhabesh.	Daryl

- Burke with EXP.

- So to answer the -- the first portion of your

- question there, Sergey, yes, absolutely, the entire

- mechanical and biological portion of the treatment

- system -- wastewater treatment system would be

- contained within -- within a building, and the building

- would be temperature controlled.	So we would see a --

- I would expect temperatures of a minimum of 15 degrees

- Celsius in that space, which would be more than

- adequate for the type of treatment technology that's

- being proposed here.	This treatment technology has

- been used outdoors in southern locations within Canada,

- so -- where temperatures do drop below freezing, below

- zero degrees C, and it still is an effective treatment

- technology, so -- however, in Resolute Bay, in the

- building at temperatures of 15 degrees Celsius, there

- would be no issues maintaining biological treatment.

- To answer the second part of your question, I just

- can't seem to put my hands on it right now, but there

- is a conceptual drawing that's been done that shows the

- building size, and I just can't seem to put my hands on

- that drawing at the moment.	If you would just let

- me -- I can get back to you on that one.	I know there

- is a -- kind of a conceptional building plan that's

- been developed, and I will find that and get that sized

- for you.

- MR. KUFLEVSKIY:	Thank you, Tony.	Yeah, you

- can absolutely provide the answer later on during the

- hearing.	And I can maybe move to the next question.

- So the next question would be about the

- decommissioning plan for the pump house and the

- Signal Hill water treatment plant.	As it was mentioned

- on Slide 16, this decommissioning plan was submitted to

- the Water Board.	When I went through this plan, all I

- saw was the actual buildings of the pump house and the

- water treatment plant with the infrastructure within

- the buildings, but there was no coverage or there was

- no mention of the old intake lines or what is going to

- be -- how the old intake lines are going to be

- remediated.	This is a very critical point.	And the

- question is whether the proponent is planning to update

- the decommissioning plan to account for these items?

- Thank you.

- THE CHAIR:	Thank you.

- Applicant, go ahead.

- MR. ROY:	Thank you, Mr. Chair.

- I think in the presentation one of the slides

- shows that the -- the intake line from the Char Lake to

- the existing pump station and the existing pump station

- to the water plant, so this is the intake.	So this

- intake has to be decommissioned.	Also, the outfall

- from macerator unit to the sea -- that outfall pipe,

- that also the -- part of the decommissioning.

- So three components of the pipe system, the intake

- from the Char Lake to the pump station, pump station to

- the water treatment plant, and also the macerator

- building to the outfall to the sea -- so three sections

- of the pipe has to be decommissioned.	A lot will be in

- pump station, macerator building, blue building.

- So those are the pumps that has to be

- decommissioned.

- MR. KUFLEVSKIY:	Thank you, Bhabesh.	This

- answers my Question Number 3.

- And now I can move to Question Number 4.	Question

- Number 4 is about the wastewater treatment plant

- design.	So, basically, the new wastewater treatment

- plant is going to be receiving sewage from both the

- hamlet and the airport.	Will you count the

- influent characteristics from these -- both places when

- designing the report?

- Thank you.

- THE CHAIR:	Thank you.

- Applicant, go ahead.

- MR. ROY:	Thank you, Mr. Chair.

- I think the -- I did a presentation saying that

- there's a limit of the wastewater coming from the truck

- system and also coming from the -- to the system after

- bleeding.	So while the two systems with two different

- quality mix together, and then the treatment process

- will start.

- Again, the -- I think this question was raised in

- the last technical meeting as well, so I'm requesting

- Daryl to explain it in detail.

- Daryl, please.

  - MR. BURKE:	Yeah.	Thanks, Bhabesh.	Daryl

  - Burke here again, EXP.

  - Yes.	We've accounted for both of the sites, both

  - the airport site and the townsite, and -- and we've

  - accounted for those in terms of both flow as well as

  - concentration of contaminants of BOD and TSS.	That

  - being said, the existing treatment system is sized

  - that -- such that it can handle BOD concentration up to

  - 110 milligrams per litre and the total suspended solids

  - of up to 125 milligrams per litre.

  - So it -- that would be much more concentrated than

  - what we would expect to see on a typical basis here due

  - to the bleed water flow and the dilution effect that

  - you get from that in your wastewater stream.	However,

  - we -- we did want to make sure that system was sized

  - such that if there are future efforts to reduce the

  - bleed water that we don't put ourselves in a situation

  - where the concentration is -- is higher than the system

  - can handle.

  - We've also followed up with the manufacturers of

  - the proposed treatment technology and confirmed that it

  - can handle both the hydraulic capacity, which is a

  - concern because of that bleed water flow, but it can

  - also handle the influent concentrations that I just

  - mentioned.	So anything up to those concentrations

  - would be acceptable, and we anticipate that we'll be

- well within those design parameters here in the hamlet,

- especially given the bleed water flow.

- I hope that answers your question.

- MR. KUFLEVSKIY:	Thank you, Daryl.	This is

- Sergey Kuflevskiy from the Water Board.	This answers

- my question partly.

- So are you going to provide the actual chemical

- parameters, the characteristics, something for us to

- visualize what parameters we can expect?	Because I

- don't think the full characteristics has been provided

- to date.	It would be very nice for the Water Board to

- see a visual, like a table, with all the parameters and

- the expected characteristics.	Thank you.

- MR. BURKE:	Okay.	Yeah.	Daryl -- Daryl

- Burke here again.

- In -- I don't know, Sergey, if you've seen, we did

- a memo, technical memo, prepared by EXP.	It was in

18	March of -- of 2020, and that was basically an update

- to the previous design report that had been done in

- 2012.	And we did provide the recommended -- there is a

- table in there with recommended influent wastewater

- characteristics for design.

- As I mentioned, though, those are the -- the

- recommended -- I guess, the recommended design

- characteristics, not necessarily the estimated

- concentrations of what you would maybe expect to see in

- the hamlet knowing that our design concentrations that

- we've recommended are on the conservative side to allow

- for future reductions in bleed water flow.

- I'm not sure that we have -- well, I -- we have

- done estimates of the wastewater characteristics that

- we would expect to see with the bleed water flow

- accounted for.	I don't have those numbers in front of

- me right at the moment, but they're well less than what

- the influent design parameters are.

- MR. KUFLEVSKIY:	Thank you, Daryl.	This is

- Sergey.

- If I remember correctly, that memo from March 2020

- only accounted for the sewage coming from the hamlet,

- and it did not account for the sewage portion coming

- from the airport.	So it wasn't a combined -- the

- parameters were not from the combined sewage.	Can you

- confirm that, please.	Thank you.

- THE CHAIR:	Thank you.

- MR. BURKE:	So, yeah.	Daryl Burke here

- again.

- I'm just -- actually, I'm -- I'm looking through

- that memo as -- as we're speaking right now, Sergey,

- and I -- I do believe that we did account for both the

- townsite and the airport site in those values.	What I

- would like to do, however, is -- the report that I have

- in front of me is just a summary of, obviously, the

- design calculations that have been done at that point.

- Since you've asked the question, though, I would like

- to take the opportunity to go back through the design

- calculations and confirm that.	I -- I believe that it

- has accounted for both sites at this time, but I will

- go back through those calculations and double-check

- that for you.

- MR. KUFLEVSKIY:	Yeah.	Thank you, Daryl.

- Yeah.	It would be greatly appreciated.

- Now, Question Number 5:	On Slide 27, you provided

- fecal coliform parameters, basically, fecal coliform

- data, and from my understanding, this data is for the

- pre-wastewater treatment construction.	Did you -- or

- do you have any estimates for the post-water --

- wastewater treatment plant construction for parameters

- or not yet?

- Thank you.

- THE CHAIR:	Thank you.

- Applicant.

- MR. ROY:	Mr. Chair, I think the --

- we -- we was -- we were requested by ECCC to develop

- the fecal coliform parameters based on the existing

- effluent quality.	So that we did.	A memo was sent to

- the Water Board.

- But to answer to Sergey's question, I don't think

- we prepare any kind of technical memo on the fecal

- coliform for the -- for new wastewater treatment plant,

- and I'm not sure that we can provide this until the

- detail design is finalized.

- So, Daryl, you want to add anything?

- MR. BURKE:	Yeah.

- MR. ROY:	Daryl?

- MR. BURKE:	Daryl Burke here, EXP.

- I -- I do agree with you, Bhabesh.	I think the

- intent was to try to help define a limit.	If I -- I

- understand correctly what we were supposed to have

- provided was to help define a -- you know, a discharge

- limit for fecal coliforms as opposed to necessarily

- trying to define what the influent concentration was

- expected to be.	I know we did do some of that.

- Tony, I might ask you just to maybe jump in there

- if you feel I'm saying something incorrectly here,

- but --

- MR. WHALEN:	Yeah, I can.	Tony Whalen

- speaking.

- Yeah.	So we -- we essentially prepared a

- technical memo to develop fecal coliform limits to be

- used prior to construction of the wastewater treatment

- plant.	So, yeah, we did not look at establishing any

- sort of limits on fecal coliform once the treatment

- plant is in place.	So, yeah, that's -- you were

- correct, Daryl.	That's -- and that's pretty much all I

- can say at this point.	We -- we haven't developed any

- of those numbers as of yet until we finalize the design

- of the wastewater treatment plant and effluent

- characteristics.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Go ahead, Staff.

- MR. KUFLEVSKIY:	Thank you, Tony.	Thank you,

- Daryl.	Thank you, Bhabesh.	This answers my questions.

- And if you can provide that information that you

- promised to provide earlier, that would be great.	But

- this answers all of my questions.	Thank you.

- THE CHAIR:	Thank you.	Okay.	Thank you,

- Staff.

- Now, I'd like to ask the Panel members, do you

- have -- yeah, we do have a question regarding ...

- Nunavut Water Board Questions the Government of

- Nunavut, Community Government Services

- MR. SOWDLOOAPIK:	Thank you, Mr. Chairman.

- My name is Sakaisie Sowdlooapik.	I'm with the

- Water Board.	Okay.	Again, my name is Sakaisie.	I'm

- with the Water Board.	Thank you for all the

- presentations throughout the morning and this

- afternoon.

- In many of the presentations today, I, myself,

- being very interested about a place called

- "Char Lake" -- by the way, I'm fisherman back home.

- Surrounding the Char Lake there seems to be many plans

- for the future for up to 2047, from 2020, and I'd like

- to know if this is very large lake, first of all, or if

- there -- secondly, Mr. Chairman, if there is some

- species in that lake, such as fish or other ecosystem

- in the lake.	And, thirdly, I am very interested from

- the community members if there is traditional knowledge

- [OTHER LANGUAGE SPOKEN] surrounding that lake.

- Thank you, Mr. Chairman.

- THE CHAIR:	Thank you, Panel Member.

- Applicant.

- MR. ROY:	Thank you.	Thank you,

- Mr. Chair.

- You're asking -- one of the member asking for --

- is there any other lake?	My answer is yes.

- Technically there are two lakes.	One is called the

- "airport lake", and another is called "Char Lake".	The

- airport lake many years ago was abandoned.	The

- airport -- we had a pump station and the airport lake,

- which was used that supply water in the airport area.

- That pump station is even done.	The pipes --

- everything is there, but we are not using it.	And same

- city, next to the -- the runway, the water quality was

- considered contaminated, so we don't use that lake

- anymore.

- So we have only the one lake, which is Char Lake.

- Now, you are asking for the fish habitat and the

- capacity.	We are using a fish screen.	Fish might be

- there.	We don't have any kind of fish habitat study on

- the lake, but there is a fish screen at the end of the

- intake, and that intake is -- this contained --

- considering where is the fish, considering there is a

- fish, and fish cannot go inside the pipe.	That's why

- DFO, they have a special regulation to use the fish

- screen at the end of the intake.	So we have the screen

- protecting.	No fish can come inside the pipe.

- Regarding the capacity -- so this is a hard

- question -- we have a hydrology test study and are --

- are -- done two years ago, so we know the

- sustainability of the lake, what is the maximum

- capacity of the lake.	And we -- we did that study,

- and, based on that, we know that -- how long the -- our

- present system can run.	In one of the presentation, we

- indicated that 2040 -- after, the present bleeding

- system will be challenging because we should not go to

- extract more water, what is needed in 2040, because the

- lake has not an enough capacity to feed the entire

- consumption volume if the bleeding water's spent.

- So in order to -- in answer to your question, our

- water permit we requested for 2040, and we are

- comfortable, and we have sufficient water in the lake

- to supply water to our demand.

- Tony, you want to add something?	This is your --

- another technical memo.

- MR. WHALEN:	Tony Whalen speaking.

- No, Bhabesh.	I think -- I believe you covered

- everything in there.	Yeah.	I think you addressed

- everything in there.

- Thank you.

- MR. ROY:	Thank you, Tony.	Thank you.

- THE CHAIR:	Thank you.

- Staff, go ahead.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- Thank you, Sakaisie, for the question.	Tonight is

- also the community session where we're hoping to have

- residents from the community attend to hear similar

- presentations, so it would be -- it would be acceptable

- to, again, tonight ask that question directly to the

- community members and generate some discussion around

- your traditional knowledge question.

- THE CHAIR:	Okay.	Thank you.	I think we

- are done with the Application [sic] -- questioning the

- Application with their presentation at the moment.

- So before we are moving on to interveners, I'd

- like to get a break.	15-minute break.

- (ADJOURNMENT)

- THE CHAIR:	So now we -- we turn to a

- presentation by interveners.	I remind interveners that

- before they begin their presentation our legal counsel

- need you to swear or affirm and verify the materials

- you will be presenting and marketing as exhibit.

- Teresa, please proceed with the procedural

- matters.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So it's my understanding that the next presenters

- will be Crown-Indigenous Relations and Northern

- Affairs, so if I can get you to come up to the

- interveners' table, please.	If I can get the witnesses

- to state and spell your name for the record, please.

- MR. OKONKWO:	Thanks, Teresa.	So my name is

- Godwin Okonkwo, so G-O-D-W-I-N O-K-O-N-K-W-O.

- MS. FORTE:	My name is Sarah Forte,

- S-A-R-A-H F-O-R-T-E.

- MS. MEADOWS:	Thank you.	Teresa Meadows,

- legal counsel for the Nunavut Water Board.

- Do the witnesses wish to be sworn or affirmed?

- MR. OKONKWO:	We can be affirmed.

- GODWIN OKONKWO, SARAH FORTE, Affirmed

- MS. MEADOWS:	Teresa Meadows, legal counsel

- for the Nunavut Water Board.

- Mr. Chair, I have two hard copy presentation

  - materials that I will be marking as the next two

  - exhibits in this public hearing, being a copy of the

  - presentation that Crown-Indigenous Relations and

  - Northern Affairs is about to present in English and

  - Inuktitut in one version, and then I also have the

  - summary of Crown-Indigenous Relations and Northern

  - Affairs Canada's review of the water licence

  - application, and I propose to file those as the next

  - two exhibits in this public hearing.	And those are my

  - procedural matters, Mr. Chair.

  - EXHIBIT 7 - Hamlet of Resolute Bay utilidor

  - renewal application for Water Licence

  - 3AM-RUT--- (English/Inuktitut)

  - EXHIBIT 8 - Summary of Crown-Indigenous and

  - Northern Affairs Canada review of Water

  - Licence Application 3AM-RUT---

  - (English/French/Inuktitut)

  - THE CHAIR:	Thank you, Teresa.

  - So Crown-Indigenous Relations and Northern

  - Affairs, go ahead with your presentation.

  - Presentation by Crown-Indigenous Relations and Northern

  - Affairs Canada

  - MR. OKONKWO:	Thank you, Mr. Chair.

  - So good day, everyone.	My name is Godwin Okonkwo.

  - I am the manager of watering resources from

  - Crown-Indigenous Relations and Northern Affairs Canada.

- I would like to thank the Nunavut Water Board for this

- opportunity to make a presentation and for the

- intervention regarding the Government of Nunavut,

- Community and Government Services' application to renew

- and amend its 3BM-RUT1520 water licence as a Type "A"

- water licence.

- I am joined today by Sarah Forte, the water

- management specialist.	She's the lead on this file.

- So if you have any questions, please send them to her.

- Just kidding.

- On behalf of Crown-Indigenous Relations and

- Northern Affairs Canada, I would like to acknowledge

- the Nunavut Water Board's work in facilitating this

- licence application review process and the Government

- of Nunavut, Community and Government Services for their

- efforts to respond to our questions and concerns.

- So as we do this presentation, I'd just like to

- state that I will do parts of the presentation, and

- Sarah Forte will do other parts of the presentation.

- Throughout this presentation, I will refer to

- Crown-Indigenous Relations and Northern Affairs Canada

- as "the department", and the acronym "CIRNAC" is used

- on the slides, and I will refer to the Government of

- Nunavut, Department of Government -- Community and

- Government Services as "the Applicant".

- So I will start with a brief overview of

  - Crown-Indigenous Relations and Northern Affairs

  - Canada's responsibilities with respect to the licence

  - application.	I will also list contributions that have

  - been made by the department during this process.	The

  - topics of the technical review follow the list of

  - issues identified by the Board in their prehearing

  - conference decision.	In the course of this process,

  - the department raised nine technical comments, which

  - have been assigned to different issues for discussions.

  - The issues identified have been resolved through

  - discussions at the technical meeting and updated

  - materials submitted by the Applicant.

  - And so the issue areas are, Number 1, scope and

  - term of licence, compliance, water supply, wastewater

  - treatment, management plans and reports, monitoring,

  - closure and reclamation planning.

  - So the department has a broad mandate for

  - comanagement of freshwater resources and the management

  - of Crown land in Nunavut under the Act, Regulations,

  - and the Nunavut Agreement listed on the slides.	The

  - department administers and enforces regulatory

  - authorizations that pertain to Nunavut's Crown land and

  - freshwater resources.	Now, the department participates

  - in water licence processes administered by the Nunavut

  - Water Board, along with other interested parties

  - providing technical advice and expertise for the

- Board's consideration.	It's important to note, also,

- that the department also issues land-use permits and

- lessees for Crown land.

- To date, the department has made full

- contributions in the course of the Government of

- Nunavut, Community and Government Services water

- licence application review.	At the beginning of this

- application process, the department did a preliminary

- completeness review, and a written memorandum was

- provided on March 26, 2020.

- Following the completeness review, the department

- conducted a technical review of the application.	The

- comments and recommendations were provided for the

- Board's -- the Nunavut Water Board's consideration in a

- written memorandum on June 12th, 2020.

- The department participated in a technical meeting

- and prehearing conference on July 14th, 2020.

- The department also provided a final written

- submission to the Nunavut Water Board on

20	September 24th, 2020.

- So on the first issue, which is on the scope and

- term of the licence, the department agrees with the

- changes to the scope of the licence described in the

- prehearing conference decision report list of issues.

- It covers new infrastructure elements to be added to

- the licence and retains those which have not yet been

- decommissioned.

- During the technical meeting, there were

- discussions on the possibility of the Applicant

- requesting a licence term longer than ten years.	On

5	August 4th, 2020, the Applicant submitted an updated

- renewal application requesting a 20-year licence term.

- The department supports this request.	We understand

- that during this 20 years there will likely be

- amendments, including the potential incorporation of

- facilities currently licensed under 3BM-RES2025, which

- covers the solid waste facilities.

- At this point, I would like to call on Sarah to

- carry on with some more part -- technical parts of the

- presentation.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- MS. FORTE:	So the recently expired

- licence for the Resolute Bay utilidor, which was

- 3BM-RUT1520, had several conditions which were not

- realized during the term of the licence.	The

- department is of the opinion that they are being

- addressed during this renewal application process.	The

- conditions can be grouped into four topics.

- Monitoring -- the first is monitoring water quantity at

- the intake and the outfall, and this is to be addressed

- by installing flow meters.	Our understanding is that

- there's already one that has been installed at the

- macerator building, and, just earlier, we were

- discussing the installation of the one at the pump

- house.	And there's been a commitment to that, so we're

- satisfied, along with a timeline.

- Another topic is the annual authorized water use.

- The previous licence authorized the use of

- 120,000 cubic metres a year, which was not enough to

- meet community needs, and with this application, an

- increased amount has been requested, and that's a

- positive step.

- The third topic was a site-specific study for the

- determination of the fecal coliform limit, which was

- submitted on September 2nd of this year, and we'd like

- to flag an error in referencing in our final written

- submission.	We had referred to this as "Licence

- Condition Part C, Item 4" when, in fact, it is "Part D,

- Item 4".	So that was a mistake that might make reading

- our final submission a little bit more complicated.

- And the fourth condition that hadn't been realized

- was updated operation and maintenance manuals.	One for

- the -- the utilidor has been provided in the course of

- this application, and a timeline, based on the

- commissioning of new infrastructure, was agreed to for

- outstanding manuals, and the -- like, the ones for the

- pump house and water treatment plant.

- So the third topic in the list of issues was the

- water supply, and the hamlet's water source is

- Char Lake, and a pump house on this lakeshore is used

- to draw water, which is piped to Signal Hill where

- there's a water treatment plant and storage tank.

- Water's distributed through the utilidor system built

- in 1978 and upgraded in the last five years.	Water

- delivery to the airport sector is through truck

- services.

- The department had three technical comments

- related to water supply.	The first was the quantity of

- water requested, and I earlier asked for clarification,

- and -- and -- and we're satisfied now the -- on the

- quantity of water being requested and understand it to

- be unchanged at 216,528 cubic metres per year.

- Work on upgrading the pump house and water intake

- started last year, continued this year, and we

- understand will be complete next year.	The department

- had three recommendations regarding this work:	The

- first was asking for an environmental management plan

- addressing concerns about potential environmental

- impacts, including the flushing of total suspended

- solids and hydrocarbon contaminated soils into

- Char Lake during the work.	It was provided on

25	August 12th and satisfied our concerns, although we

26	understand that Environment and Climate Change Canada

- have outstanding concerns and would like to see it

- updated, and we see -- we support their request.

- We also asked for a decommissioning and

- remediation plan for the old pump house.	In their

5	June 29th response, the Applicant committed to

- providing a plan 60 days prior to starting

- decommissioning work; however, on September 25th, the

- applicant provided a decommissioning plan for both the

- pump house and the water treatment plant.	This was

- submitted after we had shared our final written

- comments with the Board, so we haven't had a chance to

- give our technical review on this, and we'd like to

- flag that this plan does not cover some of the elements

- that are necessary for a reclamation plan, including

- what condition the site would be left in and, as Sergey

- mentioned earlier, the -- the intake and -- and how all

- of the old building and its foundation might be

- removed -- or left there.

- And our third comment regarding the construction

- had to do with ensuring the integrity of the water

- intake pipe insulation during construction, and the

- applicant committed to considering constructions [sic]

- designs to ensure integrity.

- And, finally, the last point on this slide has to

- do with leaks in the laterals of the utilidor.	So

- as -- as discussed earlier, the utilidor system was

- replaced in 2016, which is relatively recently, and --

- and leaks aren't a big issue; however, during a meeting

- in the community in -- in December of last year,

- leaks -- individuals reported leaks from laterals

- connecting to homes and buildings, and the occupants

- did not know how to get -- who to contact to get the

- leaks fixed.	The laterals are not the responsibility

- of the contractor servicing the utilidor, and in the

- course of the technical meeting, the Applicant

- clarified the different organizations that community

- members could contact to raise a concern or ask for

- help.	And at the technical meeting, Steve Piercey from

- the Hamlet indicated he would make a public service

- announcement to share the information with the

- community.

- Okay.	All right.	On to wastewater treatment:

- Currently the wastewater collected by the utilidor

- passes through a macerator to remove solids before

- being discharged into the ocean.	Construction of a

- neuro-wastewater treatment plant is planned for 2024.

- The new plant would have the capacity to treat sewage

- from town, as well as sewage generated in the airport

- sector, which is currently sent to a sewage lagoon

- covered by Water Licence 3BM-YRB1621.

- The department had comments regarding the plans

- for the new wastewater treatment plant, which is at the

- predesign stage.	Treatment targets for the plant were

- discussed at the technical meeting.	The Applicant

- committed to submitting a detailed design brief and

- plans for the plant at least 60 days prior to

- construction, which would satisfy our concerns.	The

- department recommends that the Nunavut Water Board

- consider including this as a condition in the new

- licence.

- And then I'll pass it back on to Godwin.

- MR. OKONKWO:	Thanks, Sarah.	So this is

- Godwin again, Crown-Indigenous Relations and Northern

- Affairs Canada.

- So our fifth comment was on the management plan

- and reports.	Management plans and operations and

- maintenance manuals describe concepts and strategies --

- how concepts and strategies will be implemented.	The

- review allows us to understand what actions will be

- taken on the ground to make sure things work as planned

- to protect water.

- The department had three technical comments

- related to plans and manuals.	Number 1:	Operation and

- maintenance manuals for the infrastructure were missing

- from the application, in part, because all system

- components were or are undergoing upgrades.	The

- department recommended plans be provided and is

- satisfied with the timelines discussed.

- For the water treatment plant, the Applicant

- committed to providing an operation and maintenance

- manual for the wastewater treatment plant and pump

- house after commissioning.	The department recommends

- that the Nunavut Water Board consider including this as

- a condition in a new water licence specifying a

- timeline.

- The Applicant had also committed to providing a

- manual for the utilidor once the upgrades were

- completed, including the 500-metre outfall line into

- the ocean.	The Applicant already provided this manual

- on September 25th, 2020, which is really encouraging to

- see.	The department's comment on the submitted manual

- is that it is a significant improvement over previously

- submitted material because it details how to operate

- and maintain the utilidor system.	However, we note

- that the cover page does not reflect the date of the

- latest update.	We're expecting this manual would be

- updated again after the outfall line to the ocean is

- commissioned, unless operation information is included

- in another manual.

- Also, a risk has been identified in the macerator

- building, and the department's concerns were satisfied

- by the submission of Resolute Bay sewage macerator

- facility operations and maintenance procedures on

26	August 4, 2020.	A further memo on the topic was

- provided by the Applicant on September 25th, 2020.

- Another plan, the spill contingency plan, included

- with the application material had certain sections

- which did not seem to be adapted for Resolute Bay.	The

- Applicant addressed this in an updated plan submitted

- on June 29, 2020.	The plan was resubmitted on

7	September 25th, 2020, with a different cover page.

- Another plan is the quality assurance and quality

- control plan.	So some deficiencies were noted in the

- quality assurance and quality control plan that was

- submitted with the application.	These were corrected

- to the department's satisfaction in an updated version

- submitted on June 29th, 2020.	This same plan was

- resubmitted on October 19th with greatly improved

- formatting and some positive additions, like proper

- appendices.

- Okay.	So our sixth comment was on monitoring.

- The recently expired licence, the current licence,

- requires monthly samples at the Station RUT-2, the

- sewage outfall to the ocean.	Several years of data are

- available and indicate the quality is not very

- variable, and it is possible to identify outliers with

- the current data.	Quarterly sampling might be

- sufficient to flag any sufficient change and would

- facilitate easier compliance with licensed terms.	The

- Applicant agrees to this change, so CIRNAC is

- recommending that the Board considers modifying

- sampling requirements at RUT-2 until a water treatment

- plant is built.

- Another comment that we had was on closure and

- reclamation planning.	So the infrastructures being

- decommissioned will need to be reclaimed, including the

- macerator building and the blue building beside it, the

- old pump station, the old intake line, and the old

- outfall line.	The applicant has committed to providing

- these plans should the requirement be in the renewed

- water licence.	The department recommends that the

- Nunavut Water Board include provision of these

- reclamation plans as a condition in the new water

- licence.

- About four slides ago we mentioned that the

- Applicant submitted a decommissioning plan for the

- Char Lake pump house and Signal Hill water treatment

- plant, which is an amazing first step; however, we

- mentioned that they had deficiencies with the

- reclamation -- the decommissioning plan.	And, as

- stated by Sarah, the plan should have at least

- something put in it to identify what the -- how the

- Applicant hopes to leave the site after

- decommissioning.	So reclamation, we would hope, is --

- you're taking the environment back to what it was

- before and not just removing stuff from it.

- CIRNAC supports the Government of Nunavut,

- Community Government Services' renewal application and

- recommends that it be accepted with due considerations

- given to our comments.	Qujannamiik.

- THE CHAIR:	Thank you.	Okay.	Thank you

- for your presentation.

- Does the GN-CGS have any questions to the

- interveners?

- Stephanie, go ahead.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- Bhabesh, the Chair is directing a question to you,

- whether or not you have questions for CIRNAC at this

- time.	We believe you may still be muted.	If you could

- unmute your phone, please.	Thank you.

- MR. ROY:	Yeah.	Mr. Chair, I don't have

- any question, but if you allow me, I just do a

- clarification.	Hello?

- THE CHAIR:	Hello.	Teresa -- Teresa have

- to speak.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So I believe that -- correct me if I'm wrong,

- Mr. Roy, but that you wanted to make a clarification or

- a -- of -- of either something that Crown-Indigenous

- Relations and Northern Affairs Canada said, or is it a

- clarification with respect to what was previously said

- by the Applicant?

- MR. ROY:	No.	Thank you, Teresa and

- Mr. Chair.

- My clarification to the presentation of CIRNAC, so

- if you allow me -- I don't have a question, but I just

- make a clarification so that the audience -- it's easy

- to understand how the system would be working inclusive

- until the new system onboard.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- Thank you for that clarification.	Mr. Chair has

- indicated that you can proceed.

- Comment by the Government of Nunavut, Community

- Government Services

- MR. ROY:	Thank you, Mr. Chair.

- Thank you for the presentation and acceptance of

- the documents submitted and the -- your analysis of

- different issues and so on.	Thank you, CIRNAC.

- So my clarification is the -- we are running

- the -- the pump station, and we are going to build and

- commissioning a new pump station within the parallel

- connection.	So we cannot go for decommissioning until

- we see the new pump station is functioning to the

- satisfaction.	So once we see a new pump -- the new

- pump station is functioning good, and then we are going

- to decommissioning of the intake line of the old pump

- station.

- So, again, the clarification is the same way at

- the outfall -- the macerator and the outfall line are

- different from the new wastewater treatment plant and

- the outfall line.	So while the new wastewater

- treatment plant in built, the same way, we will test

- the new plant; we see how it works.	And we have to

- make sure the new water -- wastewater treatment plant

- is working to the satisfaction, and then we'll

- disconnect the line, and we decommission the macerator

- building, blue building, and the outfall line.	And the

- same way, once we are accepting the sewage from the --

- the airport sewage lagoon, then -- to the wastewater

- treatment plant and it is functioning to the

- satisfaction, that building -- we'll be considering to

- start decommissioning of the airport sewage lagoon.

- So this is the -- the transition and the

- replacement, new facility by the -- old facility by the

- new facility.	So this is the course of action we have

- to continuing because system cannot be stopped for one

- second.	System has to go.	So this is why we are

- running the system in a way -- we are not going to

- decommission the old facility just like this until the

- new facility will be functioning to the satisfaction.

- Thank you, Mr. Chair.

  - THE CHAIR:	Okay.	Thank you.	Thank you,

  - [sic] Roy.	Okay.	That was -- that wasn't really a

  - question, so -- clarification.	So thank you.

  - And I'd like to ask the -- Environment and Climate

  - Change, do you have any questions or comments to the

  - intervention from CIRNAC?

  - MS. GRAHAM:	This is Anna Graham,

  - Environment and Climate Change Canada.	We have no

  - questions at this time.

  - THE CHAIR:	Thank you.

  - Does the Nunavut Water Board staff have any

  - questions or comments?

  - MS. AUTUT:	Thank you, Mr. Chair.

  - Stephanie Autut, Nunavut Water Board.

  - The staff have no questions at this time.

  - Thank you.

  - THE CHAIR:	Thank you.

  - Does the Panel Members have any questions or

  - comments?	Okay.	I get that there's none.

  - Thank you, CIRNAC, for your presentation.

  - So continue on with the intervention.	Now I'd

  - like to call upon Environment and Climate Change Canada

  - to have a -- to present your presentation.	So legal

  - counsel will take over for your swear-in.

  - MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

  - Meadows, legal counsel for the Nunavut Water Board.

- If I can have the witnesses state and spell their

- name for the record, please.

- MS. GRAHAM:	Anna Graham, Environment and

- Climate Change Canada.	A-N-N-A G-R-A-H-A-M.

- MS. TOBIN:	And Meagan Tobin, M-E-A-G-A-N 6	T-O-B-I-N.

- MS. MEADOWS:	Thank you.	Teresa Meadows,

- legal counsel for the Nunavut Water Board.

- If I can have the witnesses affirm.	When I

- complete the statement, if you can say "I affirm" and

- give your name for the record, that would be

- appreciated.

- ANNA GRAHAM, MEAGAN TOBIN, Affirmed

- MS. MEADOWS:	Thank you.	Teresa Meadows,

- legal counsel for the Nunavut Water Board.

- Mr. Chair, I have two exhibits to file in respect

- of the evidence about to be given by Environment and

- Climate Change Canada, and that consists of their

- presentation materials in English and in Inuktitut, and

- I will file those as the next two exhibits in the

- public hearing.	And those are my procedural matters,

- Mr. Chair.

- EXHIBIT 9 - PowerPoint presentation from

- Environment and Climate Change Canada to the

- Nunavut Water Board respecting the

- Resolute Bay Type "A" Water Licence Renewal

- and Amendment (English)

- EXHIBIT 10 - PowerPoint presentation from

- Environment and Climate Change Canada to the

- Nunavut Water Board respecting the

- Resolute Bay Type "A" Water Licence Renewal

- and Amendment (Inuktitut)

- THE CHAIR:	Thank you, Teresa.

- So Environment and Climate Change Canada, you may

- go ahead with your presentation.

- Presentation by Environment and Climate Change Canada

- MS. GRAHAM:	Thank you, Mr. Chair.

- Good afternoon, everyone.	My name is Anna Graham.

- I am an environmental assessment coordinator with

- Environment and Climate Change Canada.	And with me,

- who just spoke as well, is our water quality analyst,

- Meagan Tobin.

- I would like to thank the Nunavut Water Board for

- this opportunity to make an intervention for this water

- licence, as well as to Crown-Indigenous Relations

- Northern Affairs Canada, the Government of Nunavut,

- Community and Government Services, and the Hamlet of

- Resolute Bay.

- I will start by presenting the department's

- mandate and briefly touch on the Act and Regulations

- that are relevant to Environment and Climate Change

- Canada and which guide a review of the current

- application.	Following that, Meagan will outline the

- comments and recommendations provided in our final

- submission regarding the application for a Type "A"

- water licence.

- Environment and Climate Change Canada's mandate is

- to preserve and enhance the quality of the natural

- environment, including water, air, and soil quality.

- Wait one moment.

- Our mandate is also to conserve Canada's renewable

- resources, including migratory birds; conserve and

- protect Canada's water resources; forecast daily

- weather conditions, so meteorology; enforce those

- regulations --

- THE CHAIR:	Just hold on a second.

- We have to negotiate here at the moment.

- Staff.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- Mr. Chair, we're experiencing some technical

- difficulty with getting the presentation up on the

- screen, so if we could take a short five-, ten-minute

- break to -- to resolve that matter.	I'd encourage the

- Panel and -- and members of the audience to help

- themselves to a coffee or a -- or a juice box or

- something, but we'll be back in a few minutes with --

- with the presentation.	Thank you.

- THE CHAIR:	Okay.	Yeah, we'll -- we'll do

- that.	Thank you.

- (ADJOURNMENT)

- THE CHAIR:	Okay.	Environment and Climate

- Change Canada, you may go ahead now with your

- presentation.

- MS. GRAHAM:	Thank you, Mr. Chair.	Anna

- Graham, Environment and Climate Change Canada.

- I will continue where I left off before the break.

- I was speaking to Environment and Climate Change

- Canada's mandate.

- Our mandate is to preserve and enhance the quality

- of the natural environment, including water, air, and

- soil quality; to conserve Canada's renewable resources,

- including migratory birds; to conserve and protect

- Canada's water resources; to forecast daily weather

- conditions; to enforce those regulations; and to

- coordinate environmental policies and programs for the

- federal government.	This mandate is governed by

- several Acts and Regulations, including the Department

- of the Environment Act, the Canadian Environmental

- Protection Act, the Pollution Prevention Provisions of

- the Fisheries Act, the Migratory Birds Convention Act,

- and the Species-At-Risk Act.

- I will now pass this presentation over to my

- colleague, Meagan, for the discussion of our technical

- comments.

- MS. TOBIN:	Thank you.	So I will now

- speak to the comments that Environment and Climate

- Change Canada provided in our final submission.

- So the first comment related to the new wastewater

- treatment plant, specifically Environment and Climate

- Change Canada, have requested additional details

- relating to treatment targets for the new treatment

- plant.	As well, we were also looking for details on

- future toxicity testing, validation, and effluent data.

- In response, the applicant has provided a memo

- indicating that the plant will be designed to be

- capable of meeting the limits of the federal southern

- Wastewater Systems Effluent Regulations and has made a

- commitment for toxicity testing and submission of

- effluent data.	ECCC considers these comments to be

- resolved.

- Next slide, please.

- As part of the submission for renewal, the

- Applicant referenced fecal coliform studies that were

- not initially provided for review, and therefore ECCC

- recommended that this information be made available to

- reviewers.	The Applicant has provided this analysis,

- and Environment and Climate Change Canada has no

- further comments; therefore, this comment is considered

- to be resolved.

- In relation to management plans, Environment and

- Climate Change Canada made recommendations regarding

- the quality assurance and quality control program to

- include trip blanks in the program.	We also identified

- several errors in the quality assurance and quality

- control plan, as well as the spill contingency plan.

- In response, the Applicant has provided updated plans

- incorporating our recommendations and addressing all of

- the errors.	Environment and Climate Change Canada

- considers these comments to be resolved.

- In response to the technical meeting, the

- Applicant provided an updated environmental management

- plan for the Char Lake pump house and Signal Hill water

- treatment plant construction.	This plan includes

- implementing mitigation measures for erosion and

- sedimentation; however, Environment and Climate Change

- Canada noted that no associated water quality

- monitoring in Char Lake had been proposed and therefore

- recommended that turbidity monitoring be completed

- during in-water works.

- Earlier in this hearing, clarification was

- provided by the Applicant on their turbidity monitoring

- associated with in-water construction, and, therefore,

- Environment and Climate Change Canada considers this

- comment to be resolved, pending this turbidity

- monitoring being described in the environmental

- management plan.

- I want to thank you for the opportunity to

- participate in this process, and we will now take any

- questions.

- Thank you, Mr. Chair.

- THE CHAIR:	Okay.	Thank you.

- So questioning interveners to -- start with

- Applicants, CGS, if you have questions or comment.

- MR. ROY:	Thank you, Mr. Chair.	No, I

- don't have any question or comments.	Thank you very

- much.

- THE CHAIR:	Thank you.

- Crown-Indigenous, do you have any questions?

- MR. OKONKWO:	Thank you, Mr. Chair.	This is

- Godwin, Crown-Indigenous Relations and Northern

- Affairs.	We have no questions for ECCC.

- THE CHAIR:	Thank you.

- Water Board Staff, any questions?

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.	We have no

- questions at this time, Mr. Chair.

- THE CHAIR:	Thank you.

- Panel Members, any questions?	Okay.	There's

- none.	Thank you.

- Thank you, ECCC, for your presentation.

- MS. GRAHAM:	Thank you, Mr. Chair.

- THE CHAIR:	Okay.	We may take a recess

- for -- for now or -- because we have to come back here

- at 7:00 tonight for a community session.

- Okay.	You take the floor, Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel to the Nunavut Water Board.

- So, Mr. Chair, there is an evening session

- starting at 7 tonight for the community, so a community

- information session in accordance with that agenda.

- But I note that we have gotten through the majority of

- the public hearing agenda today, and so following the

- community session tonight, if there is still time, we

13	may close off the public hearing with final statements

- of the -- of the Applicant and the interveners.

- And, also, we would like to close with the

- deferred responses from the -- from the Applicant being

- read into the record tonight.	So if the Applicant can

- be prepared for that, we would very much appreciate it.

- It would mean that we were able to close our record and

- be able to begin decision-making for the file.

- So with that, Mr. Chair, those are just sort of my

- advanced warning that we will be expecting responses to

- deferred questions at the end of the community session

- tonight.

- Thank you, Mr. Chair.

- THE CHAIR:	Go ahead, Stephanie.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Water Board.

- Mr. Chair, if I could just remind the parties that

- when we return to the venue tonight we will be asking

- that the questionnaire -- the health questionnaire and

- the temperature checks be conducted once again.	So if

- parties could arrive a few minutes early to allow for

- that, we can begin our session closer to 7:00 as a

- reality, so I'd appreciate the consideration in that

- timing.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- So we take the recess now and then come back here,

- and if you have time, like the -- the staff -- legal

- counsel mentioned, we'll proceed with it.	Thank you.

- Thank you all.	See you again.

17

18	PROCEEDINGS ADJOURNED UNTIL 7:00 PM

19

- (PROCEEDINGS RECOMMENCED AT 7:15 PM)

- Community Session

- Opening Remarks (Community Session)

- THE CHAIR:	Good evening.	Everyone,

- welcome to the community session for the Nunavut

- Water Board public hearing for the application filed

- the Nunavut -- Community -- Government of Nunavut,

- Community Government -- Community and Government

- Service Department.	Where's my eye glasses?	This one.

- Okay.	I better put these on first.	That better one.

- Okay.	I can see better now.

- I will refer to them "GN-CGS" for short -- to

- renew and amend their expired Type "B" Water Licence

- No. 3BM-RUT12 -- 1520 with a Type "A" Water Licence

- No. 3AM-RUT---

- My name is Lootie Toomasie, and I'm -- I'm the

- Chair of Nunavut Water Board and the hearing Chair for

- this public -- public hearing.	This public hearing is

- being conducted by the Nunavut Water Board to consider

- an application by GN-CGS asking the Nunavut Water Board

- to issue a renewed and amended water licence for a term

- of 20 years to authorize activities associated with

- continued service, use of the water, and disposal of

- sewage through the utilidor system at the hamlet of

- Resolute Bay.

- I would like to note that some parties are joining

- the public hearing via Zoom conference call, so I would

- like to ask those participants who are calling in to

- mute their microphone to avoid any unnecessary noises.

- I would also like to remind everyone to please --

- to please turn off your cell -- cell phones or put them

- on silent before we begin.

- Before we proceed with tonight's session, let us

  - begin with a prayer.	Let's stand and pray.	Let's

  - pray.

  - Opening Prayer (Community Session)

  - THE CHAIR:	For those of you who were not

  - here this morning when we started the public hearing, I

  - have a few briefing [sic] housekeeping and introductory

  - remarks, and then I will turn the microphone over to

  - the executive director and the staff of the Nunavut

  - Water Board, the Applicants, and then to interveners.

  - Before I do, I would like to remind everyone that

  - we are currently in the middle of the global pandemic,

  - so we'll be discussing safety measures a lot.	As

  - everyone can appreciate, due to the public health risks

  - associated with the COVID-19 pandemic, our proceeding

15	may look different than usual as we have had to modify

- our normal plans to keep us all safe and in compliance

- with local public health requirement.

- Tonight, to provide our health and safety

- briefing, we will have Teresa, legal counsel for the

- Nunavut Water Board, do the briefing on -- on -- on

- this protocol.

- Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So, first and foremost, thank you everyone for

- coming out.	As you can see, when you look around the

- gym, we have some participants that are either on Zoom

- or on the telephone because they are from outside the

- territory, and with the travel restrictions into

- Nunavut, it is safest for them to be participating in

- their -- in their own homes and not travelling, coming

- into the territory.

- And second thing you would notice is when you came

- in we gave you a questionnaire, a health-screening

- questionnaire, so that anybody who is experiencing

- symptoms is asked not to come in so that we can prevent

- the spread of COVID-19 or -- or the flu even.	So we

- appreciate you filling out those forms.

- We also ask you to sign in, and the reason for

- that is it's a requirement of the Government of Nunavut

- public health office to make sure that we can contact

- trace in the event that anybody did become ill after

- these meetings.

- You will also notice that there are 'X's on the

- floor underneath all the chairs.	That is so the chairs

- stay physically distanced, apart from each other, and

- that is so that we can, again, maintain a safe distance

- from each other.

- You'll also notice we have little arrows on the

- floor.	So when you came in over at that entrance, we

- ask that you move in one direction so that we're not

- bumping into each other or too close together.

- You'll notice that the snack table has a number of

- snacks on it that are all individually wrapped, so

- please feel free to help yourself to snacks that are

- there.	And there's also hand sanitizer on that table,

- if you want to use some hand sanitizer before you eat

- anything or before you touch anything that's on the

- table.

- Some of us are also wearing masks.	There are

- people in the group that came in from southern Canada.

- They are isolating here, and so they will have their

- masks on when we are close together in close proximity,

- less than 6 feet apart.	We are wearing masks so that

- we keep ourselves and each other safe.	If at any time

- you would like to wear a mask inside -- it's not

- mandatory; you don't have to, but if you want to, there

- are masks and there are gloves at the table that we can

- provide you with.

- So, Mr. Chair, as much as we have a lot of things

- to keep us apart, we're very glad that you came

- together today and that you're here to join us in these

- proceedings as we entertain a very important

- application for the community water supply.	So,

- thank you, Mr. Chair.	Those are, sort of, the rundown

- on some of the changes to our process.

- THE CHAIR:	Thank you, Teresa.

- Also, please note that there's interpretation

- available throughout the hearing, and earpieces can be

- obtained from the table located just by the door as you

- came in.	Channel 1's for English, and Channel 2 for

- Inuktitut.

- I would also like to ask everyone to sign in and

- leave your contact information on the sheet located at

- the table by the entrance.	Additionally, there are

- COVID-19 screening questionnaire forms available.

- Please fill them out.	This is requirement imposed by

- the Department of Health for contact-tracing purposes,

- so we could -- so we would appreciate your help in

- making sure this information is provided.

- There will be snack and refreshment, as the legal

- counsel mentioned, at the -- at the table.	Please help

- yourself.	Please remember to wash your hand and use

- sanitizer by [sic] touching the snack.	Also, the snack

- will be individually packed, so please take -- try to

- take only item you are going to consume.

- There's -- there -- agenda for the hearing and

- this community session available at the table at the

- entrance.	Please take one and follow along.

- Roll Call

- THE CHAIR:	Before -- before we proceed to

- the presentation on -- on the agenda, I would like to

- introduce the Board members and staff who are joining

- us today -- tonight.	I will -- I will be chairing this

- Panel, and with me today -- tonight, as members of the

- decision-making Panel responsible for this file, are

- Board members:	Ross -- you aren't on my right -- left.

- Ross is on -- Ross Mrazek is on my -- on my -- on my

- left, and Sakiasie Sowdlooapik is on my right.

- Several staff members who have contributed the --

- to the Nunavut -- NWB's administration and technical

- review of this renewal application are present along

- with the legal counsel to the NWB, and I will introduce

- the individuals attending today -- tonight.	When I say

- your name, please wave so that people will know who --

- where you -- who you are:	Stephanie Autut, executive

- director; Karén Kharatyan, director of technical

- services; Sergey Kuflevskiy, technical advisor; Robin

- Ikkutisluk, licensed administrator at the front

- entrance; Teresa Meadows from Meadow's Law, legal

- counsel to the Board.

- In addition, we have two at -- interpretation

- throughout the hearing:	Tapitia -- Tapitia -- sorry --

- Qitsualik, who is originally from Gjoa Haven, and we

- supposed to have Martha Idlout also, but she's not

- here, so did not -- she had a family issue, kids --

- related to her kids.

- For audio support, we have with us Ryan Dempster

- from the PIDO.	So if you have difficulty with your

- headsets, Ryan will be able to assist you.

- To ensure accurate recording of proceeding is

- kept, we have with us a court reporter, Sara Anderson,

- from Dicta Court Reporting Incorporated.	To assist

- Sara, I ask that all parties please state your name

- prior to speaking.

- Additionally, since we are in the middle of the

- global -- global pandemic right now, I would like to

- ask everybody not to approach Sara, the court reporter,

- and Ross Mrazek, the Board member, directly because

- they travelled here from outside of Nunavut.	Instead,

- please direct your question to Teresa, and she will

- relay them to Sara and Ross.

- With that, I will now turn the microphone over to

- Stephanie Autut, executive director, to give you an

- overview of tonight's session.

- Stephanie.

- MS. AUTUT:	Thank you, Mr. Chair.

- The Board will start tonight's session with a

- presentation by the Nunavut Water Board's technical

- staff, which will be followed by a presentation by the

- Applicant, the Government of Nunavut, Community and

- Government Services Department.	Following that, we

- will have presentations by Crown-Indigenous Relations

- and Northern Affairs and Environment and Climate Change

- Canada.

- After each presentation, we will invite anyone who

- wishes to ask questions or provide the Panel with their

- comments to step up to the microphone and speak on the

- record.	If you are an Elder, you can speak at any time

- throughout these proceedings.	We just ask that you

- raise your hand to be recognized by the chairman and

- wait to speak until one of our staff members can get a

- microphone for you so that we can ensure your comments

- are included on the record.

- For everyone here tonight, I encourage you all to

- ask questions or share your comments with the Board by

- stepping up to the mic.	You can direct your questions

- to the staff of the Nunavut Water Board, the Applicant,

- or the interveners, Crown-Indigenous Relations and

- Northern -- Crown-Indigenous Relations and Northern

- Affairs, and Environment and Climate Change Canada.

- As Mr. Chair said at the start of the public

- hearing this morning, it is very important to the

- Nunavut Water Board that we have an accurate record of

- the information, the questions, and comments that we

- hear during this public hearing, so we ask that to

- assist our interpreters and the court reporter, please

- wait until you have a microphone before you speak, that

- you state your name and speak directly, clearly, and

- slowly into the microphone.	Please be mindful of the

- interpreters as you go and avoid the use of

- abbreviations if you can.	We appreciate your

- participation and assistance in making sure we are all

- heard and understood in this hearing and that this

- hearing is conducted in a productive and respectful

- manner.	I will now turn the microphone over to the

- Board's technical staff to walk you through how this

- amendment and renewal application has progressed to

- this point.

- Sergey, if you could commence your presentation,

- please.

- So we're just having a brief moment of technical

- difficulty getting the presentation onto the screen,

- Mr. Chair, so we will -- just bear with us for a couple

- of minutes.	Thank you.

- (ADJOURNMENT)

- MS. AUTUT:	Okay.	Sergey, go ahead,

- please.

- Presentation by the Nunavut Water Board Staff

- (Community Session)

- MR. KUFLEVSKIY:	Good evening, everybody.	My

- name is Sergey Kuflevskiy from the Water Board,

- technical advisor from the Water Board, and I will give

- you a brief overview on the procedural history for this

- application and the brief introduction into the Water

- Board's licensing process.

- Next slide, please.

- This is the list of topics that I will be covering

  - tonight.	I'll start with the general information

  - about -- on the Nunavut Water Board, the types of

  - authorizations and licenses that the Water Board

  - issues.	Then I will continue with the Type "A" water

  - licence that we are here to discuss tonight.	I will

  - summarize the procedural history of the file and the

  - comments submitted by the interveners and the

  - Applicant, and then I will present -- I will present a

  - brief summary on what's going to happen with the file

  - following today's -- tonight's meeting.

  - Next.	Okay.	So --

  - THE CHAIR:	Sergey, you're too close to

  - the microphone.

  - MR. KUFLEVSKIY:	Yeah.	Okay.

  - Just as background -- background information, the

  - Nunavut Water Board is an institution of public

  - government that was established under Article 13 of the

  - Nunavut Agreement, and Nunavut Board -- Water Board's

  - responsibilities are basically to ensure that the

  - water -- the Nunavut water is safe and that nothing

  - dangerous goes into the water.

  - The main objectives of the Nunavut Water Board are

  - the provide for the conservation and utilization of

  - waters in Nunavut, except in a national park, in a

  - manner that will provide the optimal benefit from those

  - waters for Nunavut's residents in particular and

- Canadians in general.

- The types of authorizations that the Nunavut

- Water Board can issue can vary.	We have three

- different types of authorizations, actually, and it

- depends on how much water is going to be used for the

- project.	If the project will consume less than

- 50 cubic metres of water per day, then the proponents

- will be advised to generally apply for an authorization

- without a licence.	If the water quantities requested

- are between 50 cubic metres and 299 cubic metres per

- day, then this will generally qualify as a Type "B"

- water licence.	And the quantities of water over

- 300 cubic metres per day will require a Type "A" water

- licence process.

- This week's public hearing is for a Type "A" water

- licence, and this is based on the criteria set out in

- Schedule 2 and 3 of the Regulations.	This is -- on

- this slide, you will see a brief overview of the

- licensing process for -- for a Type "A" file.	First,

- the Water Board receives an application from an

- Applicant, then the application is reviewed by the

- Water Board staff, and if any documentation is

- outstanding, this information will be requested from

- the Applicant, and once everything is provided, the

- application is going to be distributed for a 30-day

- review for completeness check.	This is the initial

- step when the parties will be involved -- parties and

- the public will be involved to ensure that the

- application is complete and can be proceeded to a

- technical review stage.

- So once the Water Board receives the confirmation

- from the parties or the public, if public decides to

- submit any comments -- so if the confirmation suggests

- that the package is complete and can be distributed

- for -- for a full technical review, the Water Board

- will distribute the package for a 30-day technical

- review.	And this is the stage where the parties and

- the public will conduct a more detailed technical

- investigation and provide their comments and questions

- for the file under review.

- So once all the questions are sorted out, one --

- once all -- all the comments are addressed, the file

- goes to the next step, which is the technical meeting

- and the prehearing conference.	At the technical

- meeting, the parties meet either in person or by

- teleconference, and this generally depends on -- on a

- lot of circumstances.	Like, for this specific file, we

- had a teleconference technical meeting because of the

- restrictions imposed by the Department of Health and

- associated with the COVID-19 pandemic.

- So once this stage is over, technical meeting and

- prehearing conference, the Water Board will issue a

- prehearing conference decision that -- which will be

- distributed to -- to the interveners and to the public.

- So all this information is available and can be found

- on our website.

- Following this step, the Water Board issues a

- notice of public hearing, and this generally happens

- 60 days prior to the public hearing.	During this time,

- the parties exchange the written interventions, which

- means that parties will provide their final comments,

- and the proponent will try to respond to these

- comments, and the main point of this stage is to ensure

- that the file is ready and has almost no outstanding

- issues so that all issue -- most issues are resolved so

- that the file can definitely go to the public hearing

- stage.

- And this brings us to the actual public hearing

- stage, which is the current stage.	It's circled on

- the -- on the slide.	So now what happens after that --

- like, following the public hearing, the Water Board

- will issue a decision to approve or disapprove the

- application, and this decision will be -- the draft of

- this decision will be forwarded to the Minister of

- Crown-Indigenous Relations and Northern Affairs Canada

- who will further decide whether this project should go

- forward or not.

- So now I will talk a little bit about the

  - application that we are currently reviewing.	So the

  - scope of this application is as follows:	The

  - Government of Nunavut, Community and Government

  - Services, or "GN-CGS" for short, requested to allow for

  - the continued use of water and disposal of sewage at

  - the -- through the utilidor system in the hamlet of

  - Resolute Bay.	The term of the licence was initially

  - ten years.	So the initial requested term was 10 years,

  - but then the licensee has adjusted this term -- this

  - request to 20 years, so we're looking at the potential

  - 20-year licence for -- which will govern the utilidor

  - system in the hamlet of Resolute Bay.

  - The water volumes requested -- the -- the water

  - use requested is as follows:	The two parameters are of

  - a particular interest.	The first one is that the water

  - is withdrawn from the Char Lake.	I'm sure everybody

  - knows where it is.	And the second aspect is the volume

  - of water, which is 216,528 cubic metres per year.	So,

  - additionally, GN-CGS requested for an approval to

  - continue management of the utilidor system, which is

  - operated by -- by ATCO, and future construction of the

  - wastewater management plant -- wastewater treatment

  - plant.

  - Now to get to the procedural history of the file.

  - I'll just highlight the important milestones for the

  - file.	We'll start with the date when the application

1	was submitted, which is at the end of January,

2	January 22nd.	So then the application was reviewed

- between January 23rd and February 28th and distributed

- for an initial completeness check assessment on

5	February 28th.

- Following this stage, the comments were received

- from Crown-Indigenous Relations and Northern Affairs

- Canada, as well as Environment and Climate Change

- Canada.	Between March 27th and April 22nd, the

- Applicant addressed the comments that were provided by

- the parties.	On March 29th, 2020, the Type "B"

- licence, the current licence that governs the water use

- in this community, expired.	On April 29th, the

- Water Board distributed the package for a full

- technical review, and the deadline for a full technical

- review was June 12th.

- So following this -- following this stage, the

- Water Board scheduled a technical meeting and a

- prehearing conference for July 14th and July 15th of

- this year, so it's pretty much six months after the

- application was submitted.	Both technical meeting and

- the prehearing conference were completed in a single

- day, July 14th, and the prehearing conference report

- was issued on July 27th.

- Following this stage, the Applicant had almost two

- months to respond to the commitments that were listed

- in the prehearing conference decision report and sort

- out any outstanding issues.	On October 8th, the

- Water Board issued the draft agenda for the public

- hearing, and on the same day, the Water Board received

- a preliminary presentation for -- from the GN-CGS for

- the public hearing.

- On October 14th and 15th, the Water Board received

- public hearing presentations from Crown-Indigenous

- Relations and Northern Affairs Canada, as well as a

- presentation from Environment and Climate Change

- Canada.	On October 20th, the Nunavut Water Board

- distributed the final agenda to the distribution list,

- and on October 21st, the Applicant submitted a final

- presentation to the Water Board.

- Now I'll explain how the interveners were involved

- in the licensing process in the application process for

- this file.	The Applicant, Crown-Indigenous Relations

- and Northern Affairs Canada, and Environmental and

- Climate Change Canada have all contributed to the

- review process for the application.	This means that

- these parties participated in a formal and informal

- discussions aimed at resolving relevant issues, as well

- as provided the Board and the proponent with valuable

- technical information, questions, or concerns on

- relevant issues.

- The public was also invited to participate in the

  - application process.	As I mentioned before, all of our

  - correspondence goes to the distribution list, which

  - includes all local organizations as well as the

  - interveners and an Applicant.	So the public also had a

  - chance to submit their comments or concerns.	No

  - submissions have been received from the public to date.

  - If you have any questions or advices regarding

  - this file, you are more than welcome to approach myself

  - or Robin at the registration desk, and we can try to

  - answer your questions and take notes of your advices or

  - comments.	Additionally, this information is available

  - on the Nunavut Water Board website.	Again, if you want

  - to see this information or look at some files, Robin

  - can provide you with this access.	She can -- she can

  - show you where the documents are located, and she'll

  - also try to answer your questions.

  - Now I'll briefly explain what the next steps for

  - the file are going to be.	The public hearing this week

  - is chaired by the Board Panel and is led by the -- by

  - the Board's Chair.	The Panel is -- usually consists of

  - three Board members.	As you can see, we have three

  - members sitting at the -- at the table at the front.

  - And the -- this Panel's entitled "Resolute Bay Panel"

  - or "P21".	The Panel is here to consider all the

  - questions from the interveners and all the

  - recommendations from the interveners, as well as the

- recommendations and concerns presented by the parties.

- Following this, the Panel will have 30 to 45 days

- to issue a decision, and, of course, the public will be

- informed about this decision once the decision is

- issued.

- This is all for my presentation.	Thank you very

- much.	So we will have another presentation following

- this, the presentation by the Applicant, and the

- Applicant will provide more details on the project and

- on what is going on with the licence application and

- what is going on in the community, how your

- infrastructure is going to change, when the

- construction is going to be completed, and basically

- what to expect in the future.	So just wait a little

- bit, and you'll -- you'll hear another presentation

- from the Applicant.	Thank you.

- MS. AUTUT:	Thank you, Sergey.

- So as Sergey just mentioned, this -- this

- presentation that's just been received is -- is just

- related to the Water Board's processing of the

- application.	So are there from the public or any of

- the parties regarding the Board's processing of the

- application before them?

- Okay.	Seeing that there are no questions just

- yet, we'll move on to the Applicant.	We ask that you

- make a brief presentation about the amendment

- application that's being discussed here at this

- hearing.

- So, Bhabesh, I assume that you'll be taking the

- lead on the presentation?	Okay.	So, Bhabesh, we are

- unable to hear you.	Once again, you continue to be

- muted.	If you could give us some indication of what

- your plan is, whether you will be presenting or if you

- want one of your representatives here in the room to

- present.	Okay.	Bhabesh, apparently you have hung up.

- Can you please try to call back in.

- MR. ROY:	Yeah, I've called back.	I'm

- online.

- MS. AUTUT:	Very good.	Can you please

- proceed with your presentation.	Thank you.

- Presentation by Government of Nunavut, Community

- Government Services (Community Session)

- MR. ROY:	Okay.	Thank you.

- Good evening, everyone.	I am Bhabesh Roy.	I'm

- going to present the Type "A" water licence application

- on the Resolute Bay utilidor system.	In this

- presentation, I have a big team working with me.	I am

- the licensee, and I am also the main contact of the

- licence and the leader of this application.	I'm

- assisted by Janise Idlout, municipal technical officer

- working in my office, and also I am supported by the

- Municipality of Resolute Bay, Steve Piercey, chief

- administrative officer.	I'm supported by a group of

- seniors [sic] technical advisor from EXP, the -- Eric

- Bell, who is already in the conference room, and online

- is Tony Whalen and Daryl Burke.	All three of them from

- EXP are highly involved in each and every component of

- the Resolute Bay utilidor system.

- I'm going -- going back to a little history of --

- of Resolute Bay and the current situation.	When this

- community -- this settlement was formed 1970.	It was

- designed in a way to accommodate 1,500 people.	Today,

- in 2020, the population of the town is 290, but this

- 290 is a basic population.	As you know, Resolute Bay

- is a training ground of Canadian military, so

- summertime, the military do come -- used to come there

- and get their training.	That increased the population

- up to roughly 800.

- So the resident of Resolute, you know that this

- town divided into two component.	One is the main town,

- and another part is the airport area.	The main town is

- supplied by pipe water system, and the water and sea

- are all utilidor -- what we call "utilidor system".

- 7 kilometre away, the airport -- there is the

- airport area.	That area, almost 18 households -- I

- mean the 18 buildings, Government and others.	Those

- areas have by truck system.	This is a little tiny

- town.	We have three water licence.	The utilidor

- itself a water licence.	It belonged to the Government

- of Nunavut while I'm the licensee.	The second licence

- is solid waste management, the landfill site.	It

- belonged to the Hamlet.	And third licence, the airport

- sewage lagoon, who is inherited from Transport Canada

- long time ago, and this licence belonged to, also,

- Government of Nunavut.	It belonged the Department of

- Economic Development and Transportation.

- In my presentation, the status of the licence

- present and the future -- the present licence is called

- "3BM-RUT1012".	The licensee is Community Government

- Services of the Government of Nunavut.	The type of the

- licence is called "Type "B"".	Date of issue is

14	March 30, 2015.	Date of expiry is March 29, 2020.

- This was a previous licence.	The annual water

- extraction, 126,020 cubic metre.

- Now, as you see the previous presentation, seeing

- Water Board have a new regulation and from the

- extraction in this 300 cubic metre per day, the type of

- the licence will be Type "A".	So we are following in

- that category.	So our new licence will be a Type "A"

- licence, and there is not -- a number is not given yet.

- When licence is issued, the licence number will be

- 3AM-RUT, and there will be a number.	The licensee will

- remain the same, Community Government Service of

- Government of Nunavut.	It will be Type "A" licence.

- This licence is requested for 20-years term, and the

- permit of the licence is 216,520 cubic metres.	If you

- can express in litre, it should be two -- two thousand

- one hundred and sixteen million [sic] litres.	There's

- a huge amount of water we need to extract from -- from

- Char Lake.

- I have my colleague, Janise Idlout.	I want Janise

- to take over from here until the sketch, three -- three

- slides.	Historical water extraction, you start from

- there, and then Eric will continue, and I'll be doing

- the last slide.

- Janise.

- MS. IDLOUT:	Thank you, Bhabesh.	Janise

- Idlout here.	Trucking to -- I don't know.	No, no, no.

- No, I can't.	Yeah.

- MR. ROY:	(INDISCERNIBLE)

- MS. IDLOUT:	Eric.	I ...

- MR. BELL:	Janise has asked me to take

- over for a little bit, so I shall.

- MR. ROY:	Okay.	Okay.	Yeah, sure.

- Go --

- MR. BELL:	On this particular --

- MR. ROY:	Go ahead.

- MR. BELL:	On this particular slide,

- there is some historical flow data pertaining to the

- utilidor system as well as the trucking to the airport

- system and then the totalized flow.	You can see that

- on some of the years it is as low as 114,000 litres,

- and on other years, the number that has reported has

- been 400,000 litres -- or cubic litres.	That is why

- the permit to request has been -- from the original

- licence of 126,000 cubic metres has been increased, so

- that we can meet the demand of the current and future

- needs.

- MS. IDLOUT:	Janise here.

- Components of the future utilidor system.

- MR. ROY:	Yeah.

- MS. IDLOUT:	Status:	The main buried water

- and sewer lines, main utilidor system upgraded in 2014.

- Vaults were upgraded in 2014.	Fire hydrants upgraded

- in 2014.	An intake from the Char Lake to the new pump

- station under construction 2020/2021.	Fish screen will

- be provided at the end of the intake, 2020/2021.	A new

- pump station at Signal Hill under construction

- 2020/2021.	The standard flow meter will be installed

- at the new pump station, 2020/2021.	Intakes from the

- new pump station to Signal Hill water treatment plant

- is constructed.	A storage tank at Signal Hill is

- constructed.

- Rehabilitation of the existing water treatment

- plant under construction in 2020/2021.	New wastewater

- treatment plant, future construction anticipated in

- 2024.	A new outfall from water -- wastewater treatment

- plant to the sea, future construction anticipated in

- 2024.	A collection point to -- a collection point at

- wastewater treatment plant to receive truck sewage,

- future construction anticipated in 2024.	The old pump

- station macerator unit, outfall line, and old water

- [sic] treatment plant building, future

- discommissioning [sic] anticipated in 2014 -- 2024.

- I'm sorry.

- Components of the utilidor system:	40 [sic]

- kilometres of buried water in sewer lines; 23 fire

- hydrants; 36 access vault; a pump station at Char Lake;

- a 500-metre three-water storage tank at --

- MR. ROY:	Metre cube.

- MS. IDLOUT:	-- Signal Hill.

- MR. ROY:	Metre cube.

- MS. IDLOUT:	Water treatment plant at

- Signal Hill; macerator unit with no flow meter; a

- 150 -- millimetre?

- MR. BELL:	Millimetre, yeah.

- MS. IDLOUT:	-- millimetre 6 diameter water

- intake line from the Char Lake to the pump station;

- 150 millimetre 6 diameter water intake line from the

- pump station to Signal Hill water treatment plant; a

- 200 millimetre -- millimetre 8 diameter outfall line

- from macerator unit to sea.	The original utilidor

- system was built in 1978 and upgraded in 2014.

- MR. ROY:	Okay.	Okay.	Thank you very

- much.	Before we hand over to Eric, I just make one

- correction.

- Item Number 7, the flow meter in the macerator

- unit, it has been installed.	So, yes, there is a flow

- meter in macerator unit.

- Okay.	Eric, please continue from here.

- MR. BELL:	Thank you very much, Bhabesh

- and Janise.

- On this slide, there are two things that are being

- represented, the way the intake and treatment plant and

- utilidor is currently and how it will look in the

- future.	Currently, water comes from Char Lake through

- the existing Char Lake pump house to Signal Hill water

- treatment plant.	And as Janise mentioned earlier,

- there's a 500-cubic metre storage tank.	The water is

- then sent through the municipality of Resolute Bay in a

- utilidor system, and upon the generation of wastewater,

- under the light green line, it goes through a macerator

- unit and then to the final outfall in the ocean.	And

- the compliance point of measurement is at the

- shoreline.

- In the future, water will come in from Char Lake

- through the new pump house and the new intake line

- through the treatment plant to be stored in the same

- 500-cubic metre tank down through the utilidor system

- in the municipality, and then the exit of it into the

- wastewater will be going into the proposed new

- wastewater treatment plant where the compliance point

- for that will be at the discharge of the plant.

- Currently, trucks are filled with freshwater at

- the Signal Hill plant for the airport.	That won't

- change.	And in the future, wastewater trucks will be

- dumped at the new wastewater treatment plant.

- The -- the quantity of water that has been

- requested has been estimated over the duration of this

- proposed construction project from 2020 to 2047.	The

- community consumption in litres per day is estimated at

- 65,000 in 2020 all the way up to 90,000 in twenty

- seventy -- or 47.	This is because of additional use

- and the growth of population.

- Airport consumption also increases based on users,

- and the -- the bleed water that is used to keep the

- sewer system from becoming frozen also increases

- gradually over that time.	In summary of this slide,

- the current estimated consumption is 160 cubic metres

- per day -- or per year, I should say.	And in 2040, it

- is 216,000 cubic metres annually with the ultimate of 24	2047 being 236,000.

- The total extracted water accounts for use within

- the community, the airport, and the bleed water into

- the sewer system.	Annual consumption for 2020 has been

- calculated at 160,000 cubic metres and up to twenty --

- 236,000 cubic metres in 2047.	Char Lake replenishment

- capacity is sufficient up until 2040 to supply water

- for the community based on these very conservative

- estimates.	It is recommended that additional

- technologies be investigated, such as recirculation of

- heat-trace systems to replace the bleed water system to

- prevent water from freezing since Char Lake cannot

- supply this extreme demand past 2040.	A water permit

- of 216 cubic metres is requested for the new Type "A"

- water licence that will expire in 2040.

- The current state of Char Lake pump house and

- construction:	A significant amount of work has been

- done during this construction year of 2020 at the

- Char Lake site.	That includes installation of silt

- fencing around the worksite; excavation for the new

- pump house; concrete pours for the foundation; the new

- pump house building has been constructed; boilers and

- glycol pumps and pipes have been installed; gravel and

- bedding material has been placed in Char Lake with a

- turbidity curtain to prevent particulate matter from

- entering the raw water supply.	And these new intakes

- will be then placed in 2021 construction season.

- The Signal Hill water treatment plant upgrade has

- been recommended that the water treatment process

- includes multiple filtration steps and disinfection

- with calcium hypochlorite or chlorine.	The filtration

- will provide for the suitable protection of

- microorganism removal and small amounts of TSS that may

- be picked up by the Char Lake intakes.	The chlorine

- addition will protect against viruses and

- microorganisms from the water source and provide

- protection for any cross-contamination that may occur

- in the collection system and distribution.

- The first stage of the filters will be duplex

- backwashable media filters.	And the media filter

- types -- this type of media filter will remove down to

- a 7-micron size, which is suitable for large turbidity

- and giardia cysts.

- The second set of filters will be pleaded filters

- or cartridge filters which will filter down to 1 micron

- in size which is suitable for further removal of

- smaller particles, as well as cryptosporidium.

- The disinfection method to be employed will be

- calcium hypochlorite or chlorine, and it will be

- delivered to the hamlet and prepared -- in dry format

- and prepared in a 24-hour period in a mix tank.

- The upgrade to the water treatment plant on

- Signal Hill examines the requirements as outlined by

- the Canadian Drinking Water Guidelines.	This includes

- the upgrade of disinfection equipment and filtration

- equipment.	The capital costs, as well as the

- operational needs, over 30 years operational life, were

- considered during equipment selection.	The upgraded

- water treatment plant will be in the same building but

- in -- will incorporate the new filtration equipment,

- new disinfection equipment, new circulating pumps, a

- washroom facility, a storage area, as well as a

- laboratory area and a maintenance area.

- The unused reservoir tank has already been

- removed, and the building will be expanded in an

- easterly direction.	A significant amount of work has

- been completed in this year's construction season, and

- that includes site grading; concrete demolition;

- building addition, including concrete walls, roof, and

- cladding; and any old equipment and obsolete equipment

- has been removed.

- As part of this ongoing construction project, a

- spill contingency plan has been put in place.	The

- spill contingency plan is used to address the proper

- response to any anticipated spills that may occur

- during regular operation and in the hamlet facilities,

- including the wastewater treatment disposal, the water

- supply treatment, and solid waste disposal.	The spill

- contingency plan presents potential contaminants and

- spill scenarios, existing preventative measures, and

- response organization.

- The spill containment action plan includes

- potential impacts from and procedures for containing

- chemical spills, such as the sodium hypochlorite used

- to treat the water, and petroleum spills, such as

- diesel, used to power equipment.	This plan also

- provides information in case of a spill and spill kit

- locations and spill reporting procedures, such as the

- form seen.	It also includes the standard spill kit

- requirements.

- At the wastewater treatment plant, a number of

- technical issues and concerns regarding the current and

- future wastewater treatment have been raised by

- stakeholders during this project.	As such, we have

- prepared and submitted a technical memo addressing the

- recommended fecal coliform limits and operation and

- maintenance plan for the existing macerator equipment

- and building, a technical memo addressing ammonia for

- the new wastewater treatment plant, and a memo that

- reviews both the 2012 and the 2020 wastewater treatment

- plant designs.

- The calculated fecal coliform values were

- determined based on 18 points from 2016 to 2020 and

- calculated using linear regression.	And it should be

- noted that for flows of greater than 600 litres per

- person per day and a TSS of 80 milligrams per litre,

- the fecal coliforms were determined to be 157,000 CFUs

- per hundred mills.	For flows between 150 litres per

- person per day and 600 litres per person per day, the

- calculated fecal coliform value were determined to be 4	183,000.

- There were a number of key design factors that

- remain very similar or unchanged between the original

- design of 2012 and the proposed evaluation of 2020.

- The most significant difference was the process

- technology with the intent to better balance the

- treatment performance with the requirements for the

- economics and operational challenges.	We feel the

- result is a more cost-competitive system but is still

- compatible -- or capable of providing high-quality

- effluent.

- MR. ROY:	Okay.	Thank you, Eric.	Let

- me take over the last slide.

- The last side is -- the rule of thumb of any

- wastewater treatment plant is we have to treat the

- wastewater and through to the receiving body.	In this

- case, the receiving body is the sea.	And rule of thumb

- is -- the water is going to the sea -- the quality must

- be better than sea water quality or at least equal to

- the seawater quality.	So this process, we have to do

- the sampling.	As Eric explained, there is a compliance

- point after the wastewater treatment plant.	Today, at

- the outfall level -- so we have to take a sample in

- summer every month, send it to water laboratory, and do

- the necessary testing.

- Now, this particular slide, the future wastewater

- treatment plant -- there are some criteria given to us

- by ECCC.	They are asking -- we have to -- from design

- and build the wastewater treatment plant so that

- effluent quality should satisfy -- we call it "CBOD",

- the carbonaceous biochemical oxygen demand, should be

- less than 25 milligram per litre.	Total suspended

- solids should be less than 25 milligram per litre.

- Average concentration of total residual chlorine should

- be less than 0.02 milligram per litre.	Maximum

- concentration of unionized ammonia should be less than

- 1.2 milligram per litre and be non-accurately lethal

- effluent.

- So these are the parameters given to us.

- Accordingly, we have to design and build the future

- wastewater treatment plant so that we can bring water

- quality up to this level.	It should be better than

- this, but at least satisfying this criteria before the

- effluent we are flowing to the sea.

- So this is the last slide of our presentation, so

- we are ready to get your answers -- sorry, questions to

- answer.

- MS. AUTUT:	Thank you, Bhabesh, and your

- team members for the presentation.

- At this point, we'll take questions from the

- floor.	If anybody has questions for the Applicant,

- Government of Nunavut, please raise your hand, and

- we'll ensure that a microphone gets to you.	Okay.

- Seeing that we -- are there any questions to the

- Applicant at this time from any other party?

- THE CHAIR:	The Panel members have a

- question related to -- Tapitia, I guess, we want to ask

- how delegate the -- Sakiasie about the question.

- MR. SOWDLOOAPIK:	Okay.	Finally got it.

- THE CHAIR:	You gotta go, I guess.

- Nunavut Water Board Questions the Community (Community

- Session)

- MR. SOWDLOOAPIK:	I'm getting old.

- Thank you.	Good evening, presenters this evening.

- My name is Sakiasie.	I'm with the Water -- Water

- Board.	I'm from Pangnirtung.

- This morning I asked about the lake, Char Lake,

- and once I got the documentations last night, I've been

- fairly concerned about it.	This morning I asked about

- Char Lake, which I like the name very much because I'm

- a fisherman.	I'm -- I want to know if there -- from

- the community, if there is any activity for fishing in

- the lake and also if there is any ecosystems in the

- lakes being conducted as studies in the last few years.

- So these are my questions, and if anybody can

- answer them, I would very much appreciate it.

- Qujannamiik.

- MS. AUTUT:	Thank you, Sakiasie.

- So Sakiasie's question is for the community

- members.	Is anyone interested in addressing that

- question at this time?

- Okay.	We'll get you a microphone, and then just

- state your name; okay?

- TABITHA MULLIN:	Char Lake.	Yes.	Long as I've

- been here, I know there's fish there.	Very little

- fishing is done there for the fact that we know it's

- our drinking water.	We know it's clean.	I don't

- really recall of that lake being studied, but the fish

- were done by the help with a local lady, Debbie Ikaluk,

- and her son was a researcher.	And we sort of heard

- that the fish are healthy.	They were coming back, so

- it sounded good.	Perhaps get a copy of that report.

- He comes up here every -- every summer.	I remember --

- I don't remember his name, though.	Sorry.

- But that's all I know about the studies with

- the -- with the Char Lake being done.	And normally

- they come in through Polar Shelf, with the support of

- Polar Shelf.	They do these lakes around here, upon

- Ellesmere Island too.	So he's got a good name behind

- him in search of -- research for the fish and lakes.

- MS. AUTUT:	Okay.	Thank you.

- Can I -- one more question for the audience.	Can

- we -- can we just get your name for the record.	That's

- okay.

- TABITHA MULLIN:	I got so nervous.	It's

- Tabitha Mullin.

- MS. AUTUT:	Thank you, Tabitha.

- Sakiasie, does that answer your question, or do

- you have a follow-up?

- MS. SOWDLOOAPIK:	Mr. Chairman and the Panel,

- technical staff, and Tabitha, Qujannamiik.	Yes, that

- answers my question.	Qujannamiik.

- MS. AUTUT:	Great.	Thank you.

- Are there any other questions on the floor or from

- any party for the Applicant?	We'll get -- we'll get

- the young gentleman there a microphone.	If you could

- state your name, please, on the record.

- The Community Questions the Government of Nunavut,

- Government Community Services (Community Session)

- JOADAMEE IQALUK:	Jaodamee Iqaluk.

- In recent years, our road going to the airport

- used to overflow and get washed out.	It doesn't do

- that anymore.	Is that due to the difference in

- consumption, or -- because every -- every time our

- water used to -- river used to flow, it used to wash

- out our road every year.	I wonder if that's due to

- different consumptions or leaks underground.	Because

- 40 feet is pretty deep, 'eh?	Some areas are really

- deep, and I'm pretty sure it's due to leakage.	It's --

- it was normal for that road to be washed out but not

- anymore.	Thank you.

- MS. AUTUT:	Okay.	Joadamee, thank you for

- that question.	I'm going to hand that question over to

- Bhabesh as the Applicant.

- Bhabesh, if you could respond to that question,

- please.

- MR. ROY:	Yes.	Thank you, Teresa [sic].

- Yeah.	Thank you, audience, for a very interesting

- question.	The road to the airport -- the answer to

- your question is I have been watching this facility --

- it's now 16 years.	I don't foresee any kind of leak

- from the lake passing through the road to -- to the

- sea.	Again, though, the lake is other lake, and there

- is no liners.	The overflow above the road is due to

- the maintenance issue.	Sometimes coin -- the road is

- not properly maintained.	There is a hydrant.	If this

- hydrant is blocked, then the rainfall water or the snow

- melt water overflowing the road.	So either the

- drainage is blocked, or there is no drainage at this

- site for some reason.

- So your concern I will be dealing with the Hamlet,

- and they'll be looking after this issue.	Thank you.

- MS. AUTUT:	Thank you, Bhabesh.

- Joadamee, did that answer your question?

- JOADAMEE IQALUK:	Not really.

- MS. AUTUT:	Not really.	Okay.

- Bhabesh, the question has not been answered to the

- satisfaction of the floor.	Did you wish to add to

- the -- add to your answer?

- MR. ROY:	As I said -- yes, please.	I'd

- be -- my -- I'll just clarify to the question.	The

- gentleman is thinking the water may be uprooted from

- the -- from the Char Lake and running over the road

- to -- going to the sea.	It might not be the case

- because the -- that lake -- lake water cannot run

- over -- cannot be percolated because in wintertime it

- is totally frozen, and permafrost in Resolute Bay is

- too deep.	So wintertime we cannot even think about.

- Summertime, the water is the surface runoff.

- There is --

- JOADAMEE IQALUK:	No, no, no.

- MR. ROY:	-- the snow melt.

- So if you slowly drive around from the town to the

- airport, you will see there is this hydrant, and --

- JOADAMEE IQALUK:	No, I know --

- MR. ROY:	-- many times there are so

- many small, small culverts.	Many times I saw the

- culverts are blocked, so water overflows.	Sometimes

- the drainage is blocked with the garbage, with the

- paper, so the water cannot pass through.	Then it

- overflow.

- So I cannot give you any kind of scientific answer

- when I have to do the water testing from in and out or

- doing some kind of test to see if the water is

- percolating, but, from my experience, I assure you that

- this water is not coming from the Char Lake.

- MS. AUTUT:	Okay.	Thank you for that.

- Any further follow-up questions?

- JOADAMEE IQALUK:	Yeah.	That's not exactly what

- I was saying.	Is -- it is normal for water to be

- overflowing in the river.	I'm asking, is the

- consumption different because the lake is deeper,

- emptying out?	Like, you know, the more water we use

- the deeper it gets; right -- or the more shallow it

- gets, I should say.	And every year when the snow

- starts melting and flowing into the lake, it just stays

- in the lake now; it doesn't go through the river

- anymore.

- So I'm asking, is that from a different

- consumption of the lake being emptied during the

- winter?

- MR. ROY:	Eric, do you want to comment

- on it?

- MS. AUTUT:	Thank you for the question,

- Joadamee.

- Bhabesh?

- MR. ROY:	Yes.	I'm asking Eric and Tony

- to add some points.

- MR. BELL:	Thank you very much, Bhabesh.

- From what you're describing, I understand that the

- spring runoff hasn't been as excessive as it has been

- historically.	And if it isn't flowing over the road as

- much as it has in past years, your question is, over

- the course of the winter, did we deplete the lake to

- the point where perhaps it needed extra to fill up.

- At this particular point, I can't answer that

- question, but I can make a few suggestions that, more

- than likely, the -- the lack of overflow from the lake

- could potentially be due to changes in how the snow is

- falling and how the snow has been ploughed.	I only say

- that because in my brief period here in Resolute,

- I've -- I've noticed a big change in the last eight

- years about how extensive the snow removal has been.

- So I could offer that.

- The other thing would be if anything has changed

- with regards to how much melt would be going into the

- lake, and I don't think anything's changed there.

- So your question is very interesting, and I think

- if it were to warrant anything, it would be to talk to

- someone who is an expert in hydrology or looking at

- that immediate lake and how the water moves around that

- lake.

- I -- I wish I could provide a better answer for

- you.	It's a -- it's a very interesting question,

- and -- but at this stage, I don't really have a solid

- answer for you.

- Tony, is there anything you think we should add to

- that?

- MR. WHALEN:	Thanks, Eric.

- Yeah, I -- I'm not sure I can add to that.	The

- only thing I wondered is that when the utilidor was

- upgraded in 2015, it is possible that additional

- culverts were put in place that would prevent the road

- from washing out like it did historically.	But I -- I

- wasn't involved in any of that project back then, so I

- can't know for certain.	But it's a possibility that

- there was additional culverts installed to -- to move

- that water under the roads as opposed to washing them

- out.

- Thank you, Mr. Chair.

- MS. AUTUT:	Okay.	Thank you to the

- Applicant.

- Joadamee, next question.

- JOADAMEE IQALUK:	Yeah.	I -- yeah.	I used to

- run this utilidor system, and all these units, they

- used to have little quarter-inch lines, quarter-inch.

- Why are they 1 inch now?	Like, that -- that's a big

- jump from a size of a hose.	I mean, a quarter inch to

- 1 inch, that's three quarters difference; that's three

- times the mark of consumptions too.	So, you know,

- there's a lot being wasted there too because we used to

- have little quarter-inch lines in the units, but now

- they're 1 inch.

- MS. AUTUT:	Okay.	Thank you, Joadamee.

- Applicant.	Bhabesh?

- MR. ROY:	I think -- thank you for this

- question.	I think he's talking about the lateral line.

- The -- the lateral line is not the -- part of the

- utilidor system.	It has been built according --

- JOADAMEE IQALUK:	(INDISCERNIBLE)

- (SIMULTANEOUS CROSSTALK)

- MR. ROY:	-- to the housing, private or

- not, they -- their own connection.	It has nothing to

- do with the utilidor system.

- JOADAMEE IQALUK:	Actually, it does.	Because

- the bleed line used to be a quarter of an inch; now

- it's 1 inch, so that is three times the amount of water

- going through the drain system.

- MR. ROY:	Okay.	So I think --

- JOADAMEE IQALUK:	I know for a fact because I

- was helping maintain that.

- MS. AUTUT:	Okay.	Just point --

- MR. ROY:	Yeah.	Eric or --

- MS. AUTUT:	Point of order.	Bhabesh?

- MR. ROY:	-- Tony to answer this

- question.

- MS. AUTUT:	Okay.	So great questions.	I

- just need to ask that we not talk over each other.	Let

- each other respond to the questions on the floor.

- So, Bhabesh, if you could respond, please.

- MR. ROY:	Yes.	I'm asking the technical

- support from Tony and Eric.

- MS. AUTUT:	Eric.

- MR. BELL:	Okay.	Thank you, Bhabesh.

- If we're talking about the bleed lines

- specifically, okay, that are a full 1 inch in diameter,

- that is -- you're quite right; that is a large amount

- of flow.	There must be incorporated into the original

- design some sort of throttling that would be on those

- 1-inch lines, whether it's a valve or a pinch in the

- pipe or -- it should be an adjustable needle valve, is

- what I would assume it would be, and that should make

- the flow rate adjustable from either a high rate to a

- low rate on those 1-inch lines.

- I think the justification for going to a larger

- line is that the -- it would have a little bit more

- heat in it, and it wouldn't potentially freeze off so

- quickly if there was an accident where the -- the water

- stopped flowing through it, and the permafrost could

- really take hold.	I believe that's the design, why

- they went with the larger one.	But, of course, having

- to be able to throttle it with a smaller valve is

- likely what the -- what the impact is on that big line

- and how they address that.

- MS. AUTUT:	Okay.	Thank you, Eric.

- Joadamee, any further questions?

- JOADAMEE IQALUK:	Yeah.	So what you're saying

- is that the circulation pump is no use?

- MS. AUTUT:	Eric.

- MR. BELL:	No, I'm not saying the

- circulation pump is no use.	It's very useful.	Because

- if we don't have that small amount of pressure, then

- we'll never get any water back up the hill.

- JOADAMEE IQALUK:	Okay.

- MS. AUTUT:	Thank you.

- To the floor, any further questions?

- Tabitha.

- TABITHA MULLIN:	Thank you.	Do I say my name

- again?	No?	Tabitha Mullin here.

- Just looking at this historical water extraction

- volume.	In 2015, we had a big jump of water

- consumption, but in the quantity of water requested,

- it's a very gradual increase by ten-year increments and

- just wondering if we should get that much -- I think

- that was the year when the military was here for their

- big exercise, and so we had a lot -- a lot of military

- personnel and all the others.

- If that has been put into -- to any thought, if

- Resolute should do another exercise of some similar

- thing in the future?	Thank you.

- MS. AUTUT:	Thank you, Tabitha.

- I'll pose that question to Bhabesh.	If you would

- like to address that, please.

- MR. ROY:	Yes.	Your concerns might be

- partially right, not totally right.	You see the water

- extraction volume 2015 and 2016.	2015 is the highest

- in the last -- last five years, and then next highest

- is 2016.	So prior to upgrading to the utilidor system,

- there was a massive leak here and there.	All the walls

- are flooding almost everywhere, every -- each and every

- section of the town.

- So there is a leakage.	The water is coming.

- Water is leaking through to the road and running to the

- sea.	There is a waste of water.	So there is the

- leak water, the -- leak through the pipes, leak through

- the sewer line, water line, et cetera, et cetera.	So

- that's why we had to pump out the excessive amount of

- water to satisfy the demand and, you know, considering

- the loss.

- Now, 2016, also, the figure is very high because

- once we repaired the leak, we need to do the test of

- the pipe.	We call it -- in engineering science, it is

- called "hydraulic test", to see if there is any leak in

- a pipe anywhere, any joint, or anywhere.	So that's why

- we have to fill the pipe and keep the pipe for -- you

- know, hours, just totally water inside.	So the very

- reason we have to take the excessive amount of water

- from Char Lake.

- So these are the two reason.	One for the leak

- purposes.	We need sufficient water to do the hydraulic

- test, 2016.	And 2015, as I say, there is a huge, huge

- amount of leak.	In the history of utilidor system,

- this year there was a maximum water loss.

- Now, in addition, probably -- I can't remember --

- there might be a significant amount of military

- presence who is actually -- it's not in my record.	You

- might be correct.	Thank you.

- MS. AUTUT:	Thank you, Bhabesh.

- Tabitha, does that answer your question?

- TABITHA MULLIN:	Tabitha Mullin.

- Yes, you're right.	I forgot about that water leak

- big time.	We had trouble keeping it off the roads and

- stuff like that.	Sorry for -- I -- no, not sorry.	I'm

- thankful for his answer.	Thank you.

- MS. AUTUT:	Thank you, Tabitha.

- Any further questions?	If not, I'll propose a

- ten-minute break for folks to get a snack, a coffee,

- and -- and a health break, and then we'll come back,

- and we'll expect a presentation from CIRNA.	Thank you.

- (ADJOURNMENT)

- MS. AUTUT:	Okay.	Thank you.	So moving

- on, we've got a presentation from Crown-Indigenous

- Relations and Northern Affairs, so I'll hand the mic

- over to Sarah and Godwin.

- Presentation By Crown-Indigenous Relations and Northern

- Affairs (Community Session)

- MR. OKONKWO:	Thank you, Stephanie. (OTHER

- LANGUAGE SPOKEN)

- So I'm Godwin Okonkwo, manager water resources,

- Crown-Indigenous Relations and Northern Affairs Canada,

- and I'm joined here by Sarah Forte.	She's a water

- management specialist for the office, and she's the

- lead -- the expert lead on this file.

- I'd like to thank the Nunavut Water Board for the

- opportunity to make a presentation regarding the

- Government of Nunavut, Community and Government

- Services application to renew and amend this

- 3BM-RUT1520 water licence as a Type "A" licence.

- On behalf of Crown-Indigenous Relations and

- Northern Affairs Canada, I'd like to thank the Hamlet

- of Resolute Bay for welcoming us to their beautiful

- community.	I would also like to thank -- to

- acknowledge the Nunavut Water Board for their work in

- facilitating this licence application review process

- and the Government of Nunavut, Community and Government

- Services efforts to respond to our questions and

- concerns.

- So throughout this presentation, I will refer to

- Crown-Indigenous Relations and Northern Affairs Canada

- as "the department", and I will refer to Government of

- Nunavut, Department of Community and Government

- Services as "the applicant".

- So the -- so I -- I will just go ahead to list

- a -- as where the department has made contributions in

- this water licence amendment and renewal process.	So

- some of the key areas that we have provided comments on

- include, Number 1, the scope and term of the licence;

- Number 2, compliance; Number 3, water supply; Number 4,

- wastewater treatment; Number 5, management plans and

- reports; Number 6, monitoring; and Number 7, closure

- and reclamation planning.

- So the department has a broad mandate for

- comanagement of water -- freshwater resources and the

- management of Crown land in Nunavut under the Acts and

- Regulations listed on the slide, as well as the Nunavut

- Agreement.	The department administers and enforces

- regulatory authorizations that pertain to Nunavut Crown

- land and freshwater resources.	So the department

- participates in water licence processes administered by

- the Nunavut Water Board, along with other interested

- parties, usually by providing technical advice and

- expertise for the Board's consideration in their

- decision.

- So the -- the contributions that the department

- has made in this process -- thank you to the

- Water Board.	When he did his presentation, I think he

- mentioned all the dates, so I'll just say from -- from

9	March -- so the department has made submissions,

10	comments, and recommendations from March 26th to

11	September 24th, and the department has participated in

- technical meetings, the prehearing conference, and

- we're participating now in this public hearing.

- So I'll start with the first comment we had; it

- was in the scope and term of the licence.	So on

16	August 4, 2020, the Applicant submitted their -- an

- updated renewal of the application requesting a 20-year

- licence term, and the department supports these

- requests.	We understand that during this 20 years

- there will likely be amendments, including potential

- incorporation of facilities currently under -- licensed

- under 3BM-RES2025, which covers the solid waste

- facilities.

- So at this point, I will call on Sarah to do some

- of the rest of the technical presentations.

- MS. FORTE:	Thank you, Godwin.

  - So this next slide is about compliance.	The

  - recently expired licence for the Resolute Bay utilidor

  - had several conditions which were not met during the

  - term of the licence, and they can be divided into four

  - topics:	first, monitoring water quantity at the intake

  - and the outfall; the second is the annual authorized

  - water use; the third was a study to determine fecal

  - coliform limit for the effluent from the macerator

  - building; and the fourth was updated operation and

  - maintenance manuals.

  - So in all these topics we've had discussions, and

  - we've -- the department is of the opinion they are

  - being addressed during this renewal application.

  - Next slide.

  - Next topic we touched on was water supply.	So as

  - mentioned just earlier this evening, this hamlet's

  - water source is Char Lake, and Eric showed a cartoon

  - with a -- different system components and showed how

  - they worked together.	The department had three

  - technical comments that have all been resolved.	The

  - first was about the quantity of water requested.	We

  - wanted to make sure that the -- there was enough water

  - for the hamlet 's needs and also that the lake -- not

  - too much water was being taken out of the lake that it

  - wouldn't get filled up again every year.

  - We also had comments about plans for the pump

- house that is currently being built -- or up --

- upgraded, and we also spoke about leaks in the laterals

- of the utilidor.	And all these questions, we've --

- we've sorted through them, and our concerns are

- addressed.

- We also spoke about wastewater treatment.	So,

- currently, wastewater collected by the utilidor passes

- through a macerator to remove the solids before being

- discharged in the ocean, and as discussed earlier this

- evening, a new wastewater treatment plant is in the

- predesign stage for construction in 2024.	And because

- the Applicant has committed to providing plans for the

- wastewater treatment plant before they construct it,

- the department is satisfied with this commitment.

- Do you want to -- okay.	I'll keep going.

- All right.	So management plans and operation and

- maintenance manuals describe how concepts and

- strategies will be implemented, and reviewing them

- allows us to understand what actions will be taken by

- people on the ground to make sure things work as

- planned to protect the water.	And the department had

- comments on three -- the three bullets listed here,

- some operation and maintenance manuals.	There's the

- spill contingency plan and quality assurance and

- quality control plan, and deficiencies noted in these

- manuals have been corrected, or, alternatively, some

- manuals have not yet been provided because the

- infrastructure is still undergoing upgrades, but we

- know when the new manuals will be provided based on the

- timing of commissioning.

- Next one.

- Okay.	We also had one comment regarding

- monitoring.	The water licence has instructions on

- where to take water quality samples and how often.	One

- of the places is the sewage outfall to the ocean, and

- the -- the currently expired licence requires a sample

- every month, which is difficult to do.	And because we

- have five years of data, we can see what we can expect,

- and it doesn't change very much, and so we are

- suggesting that maybe sampling a bit less frequently

- would be -- give us the same information, and we ask

- the Board to consider this.

- Next one.

- And this was the last topic which -- for which we

- had comments, the closure and reclamation planning, so

- that's basically how we clean things up when -- when we

- no longer use a building.	So, for example, they are

- building a new pump station.	Well, what will we do

- with the old pump station?	You need a plan of how you

- will clean that up.	And the Applicant has provided

- to -- committed to providing these plans as -- when

- they -- they -- the new facility is built, then -- and

- commissioned and they know it's working well, then they

- will provide a plan to clean up the old building, which

- is good.

- Pardon me?	Okay.

- So, in conclusion, we'd like to say that the

- department supports the Government of Nunavut's renewal

- application and recommends that it be accepted with due

- consideration given to our comments.

- And next slide.

- And we'd be happy to answer questions.

- MS. AUTUT:	Thank you, Sarah and Godwin,

- for your presentation.

- So we'll put it to the floor.	Does anyone have

- questions for CIRNAC and the -- the responsibility they

- have to this file?

- Joadamee.

- The Community Questions Crown-Indigenous and Northern

- Affairs Canada (Community Session)

- JOADAMEE IQALUK:	This is about the consumption

- of water; right?	Were you guys aware -- aware that our

- lake was maxed out a couple of times?

- MS. AUTUT:	Thank you for that question.

- CIRNA?

- MS. FORTE:	I -- I don't think I

- understand what you mean by "maxed out".

- JOADAMEE IQALUK:	The water was pumped right

- maxed.	We were on the last few -- few feet in the tank

- in the recent couple years, and our -- literally it was

- drained right out to the pump.	I'm wondering if you

- guys were ever aware of that?

- MS. AUTUT:	Okay.	CIRNAC.

- MS. FORTE:	So it was the lake that was or

- the tank?

- JOADAMEE IQALUK:	The lake was pumped to the

- max, drained to the max, 40 feet.	That's pretty deep.

- And we are on last 10 feet of water in our tank until

- the -- until the snow melted and drained into the lake.

- That -- that spring runoff really saved us.	So it is

- natural for our lake to run off over through the road

- because we were pumped to the max, 40 feet.

- MS. AUTUT:	Okay.	Thank you for that

- question.	Can I just ask that all parties state their

- name when they're responding to the questions for the

- benefit of the court reporter.

- So, Sarah, I'll hand the mic back to you if you

- wish to respond.

- MS. FORTE:	So Sarah speaking here.

- Thanks for that comment.	No, I wasn't aware that

- the lake was pumped out to the max.

- MS. AUTUT:	Thank you, Sarah.

- Did the Applicant wish to respond to that at this

- point?	Bhabesh?

- MR. ROY:	I don't think that the lake is

- pumped out to the max.	I don't think so.	Because it

- has a catchment area, and every end of the wintertime,

- the snow melted out, and the water is coming down to

- the lake.	So it's not maximum pumping out.	But,

- eventually, as population going up and, as you'll see,

- our chart of the demand, we need to extract more amount

- of water for 50 years.

- MS. AUTUT:	Okay.	Thank you.

- Any further questions from the floor?

- JOADAMEE IQALUK:	Yes.	Joadamee Iqaluk here

- again.

- It was pumped out to the max because I seen an

- actual hose going through the ice, another added line

- to go to the water to go past the pipe.	I don't know

- if anybody's ever aware that our lake does get pumped

- out to the max, but nobody wants to believe.	I see it.

- I see the -- I see the water hoses going through the

- ice during that time of the year.

- MS. AUTUT:	Okay.	Thank you, Joadamee,

- for that comment.	That is noted on the record, okay,

- for the Board's consideration of the transcript.

- Any other questions?	If not, thank you, CIRNA,

- for your presentation.

- We will now move on to Environment and Climate

- Change Canada, who is on the -- on the screen.	If we

- can get their presentation up.

- Anna, it's my understanding you'll be sharing your

- presentation.

- MS. GRAHAM:	Yes.	This is Anna Graham,

- Environment and Climate Change.	I will just be a

- moment here.	Can my screen be seen?

- MS. AUTUT:	We can see your name, and

- that's it.

- MS. GRAHAM:	Okay.	There we go.	Can you

- see it now?

- MS. AUTUT:	Yes.	Please proceed.

- Presentation by Environment and Climate Change Canada

- (Community Session)

- MS. GRAHAM:	Okay.	Thank you.

- Good evening, everyone, and thank you for this

- opportunity to present.	My name is Anna Graham, and I

- am an environmental assessment coordinator with

- Environment and Climate Change Canada.	Also on Zoom

- here with me today is our water quality analyst, Meagan

- Tobin.

- I will start by just reviewing what our

- presentation will cover, including the general role of

- Environment and Climate Change Canada or the -- also

- the department's mandate, and I will touch on the Acts

- and legislation that are relevant to Environment and

- Climate Change Canada and the Acts that have guided our

- review of this application.	Meagan will take over

- after I go through the mandate and Acts and will -- she

- will outline the comments and recommendations that we

- provided regarding the Type "A" water licence

- application.

- The mandate of Environment and Climate Change

- Canada is to preserve and enhance the quality of the

- natural environment, including water, air, soil

- quality, and to conserve Canada's renewable resources,

- including migratory birds, to protect Canada's water

- resources; to forecast daily weather conditions; to

- enforce regulations; and to coordinate environmental

- policies and programs for the federal government.

- Environment and Climate Change Canada has been

- involved in the water licence application as a reviewer

- and commenter.	Throughout the process, we have

- provided comments on different aspects of the technical

- application details.	Our involvement in this

- application is in accordance with the mandate of

- Environment and Climate Change Canada.

- The mandate is formed and governed by various

- Acts, including those listed here:	The Department of

- the Environment Act, Canadian Environmental Protection

- Act, the pollution prevention parts of the Fisheries

- Act, and the Migratory Birds Convention Act, and the

- Species-At-Risk Act.

- I will now pass the presentation over to Meagan to

- summarize our technical comments.

- MS. TOBIN:	Thank you.

- So I will speak to the comments that were provided

- in our final submission.	The first of which relates to

- the new water -- wastewater treatment plant.	So

- Environment Canada have requested additional details

- related to treatment targets for the new water --

- wastewater treatment plant, as well as monitoring.

- In response, the Applicant has indicated that the

- new plant will be designed to be capable of meeting the

- limits of the Federal Southern Wastewater Effluent

- Regulations and has made commitments for toxicity

- testing as well as submission of effluent data, and so

- Environment and Climate Change Canada considers these

- comments to be resolved.

- So related to fecal coliforms:	As part of the

- submission for renewal, the Applicant referenced a

- fecal coliform study that was not initially provided

- for review, and, therefore, Environment and Climate

- Change Canada recommended that this information be

- provided to all reviewers.	The Applicant has provided

- this analysis, and Environment and Climate Change

- Canada has no further comments on this document as

- compliance limits for fecal coliforms is primarily

- related to human health and therefore falls outside of

- the mandate of our department.

- We also have comments related to management plans,

- specifically the quality assurance and quality control

- program, as well as the spill contingency plan.	In

- response, the Applicant has updated these plans in

- accordance with our recommendations and addressed

- several errors that were identified, so Environment and

- Climate Change Canada also considers these comments to

- be resolved.

- Finally, as an outcome of ongoing discussions, the

- Applicant provided an environmental management plan for

- the construction of the Char Lake pump house and the

- Signal Hill water treatment plant.	This plan includes

- measures to prevent erosion and sedimentation.	The

- Environment and Climate Change Canada did note that

- there was no description of water quality monitoring

- and therefore recommended additional information on any

- proposed monitoring.

- Earlier in the hearing today, clarification was

- provided by the Applicant on the turbidity monitoring

- associated with the in-water construction, and,

- therefore, Environment and Climate Change Canada

- considers this comment to be resolved pending turbidity

- monitoring being described in an update to the

- environmental management plan.

- That is all of the comments that we had in our

  - final submission, so I thank you for the opportunity to

  - participate, and I will now take any questions.

  - MS. AUTUT:	Thank you, Meagan and Anna,

  - for the presentation.

  - Are there any questions from the floor related to

  - the Environment Canada [sic] Climate Change

  - presentation?	Okay.	Any questions from any other

  - party or the Board?

  - If not, I understand the staff have one request

  - for clarification, Sergey?

  - Nunavut Water Board Staff Questions Environment and

  - Climate Change Canada (Community Session)

  - MR. KUFLEVSKIY:	Thank you, Stephanie.	This is

  - Sergey from the Water Board.

  - I just wanted to ask for a clarification from the

  - Environment and Climate Change Canada with respect to

  - the fecal coliform study that was done and submitted to

  - the Water Board.

  - From our understanding, this was submitted as a

  - follow-up to the expired licence.	This was a condition

  - in the expired Type "B" licence.	That's why this

  - information was requested and provided, and it is only

  - applicable to the sewage that is currently being

  - disposed from the utilidor system.

  - So now the question is, once the wastewater

  - treatment plant is finished, when it's ready and

- operational, from our understanding, the fecal

- coliforms are, like, definitely -- they can be -- they

- can present a risk to human health, but there's no

- specific regulations in the -- no specific -- specific

- wastewater treatment regulations for municipalities.

- And the question is -- under existing regulations.	So

- the question is how would it -- Environment and Climate

- Change Canada -- what would be the view of the

- Environment and Climate Change Canada on this aspect?

- Thank you.

- MS. TOBIN:	Thank you for the question.	I

- will respond, and I'll also allow Meagan to correct me

- or add on if -- if I miss anything.

- My understanding is that this -- because this is a

- human health concern, Environment and Climate Change

- Canada would defer to the expertise that could be

- provided by a different department.

- Meagan, would you like to confirm that.

- MS. TOBIN:	Hi.	Meagan Tobin, Environment

- and Climate Change Canada.

- So Anna is correct.	As you mentioned, Sergey,

- the -- there's no federal regulation related to

- wastewater that outlines fecal coliform limits, and as

- fecal coliform concentrations are primarily related to

- human health, we would -- as Anna said, we would defer

- to the expertise of departments that have a mandate

- for -- for human health.

- MR. KUFLEVSKIY:	Thank you, Meagan.	Thank you,

- Anna.	This answers my question.

- MS. AUTUT:	Thank you, all.

- Any other questions for Environment and Climate

- Change Canada?	If not, thank you, ladies, for your

- presentation.

- At this time, Mr. Chair, I'd like to return the

- mic to you to close off the community session portion

- of this public hearing.

- Closing Remarks (Community Session)

- THE CHAIR:	Thank you, Stephanie, and

- everyone who attends tonight's community session here

- in Resolute Bay.	Your questions and comments about

- GN-CGS renewal and amendment application were

- appreciated by me and also my Panel members, Ross

- Mrazek and Sakiasie Sowdlooapik.

- On behalf of the Nunavut Water Board, I would also

- like to thank the Applicant and interveners for their

- presentation and answers to questions from the members

- of the public here tonight.

- Special thanks to all the community members of

- Resolute Bay for sharing their real stories and

- information with the Panel and the participants and

- contributing to a productive and respectful community

- session.

- The community session is now adjourned.	Let's

- stand, say -- say a prayer, closing prayer.

- Closing Prayer (Community Session)

- THE CHAIR:	We'll take a five-minute

- break, and then we'll continue with our -- today's

- actual public hearing agenda.

- Community Session Concluded

- (ADJOURNMENT)

- Discussion

- THE CHAIR:	Okay.	We will start --

- reconvene from today's -- with today's agenda.	Before

- we go to agenda, I'd like to have legal counsel take

- the housekeeping.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- Mr. Chair, I have a couple of procedural matters,

- and then there are deferred questions from this

- afternoon that are going to be responded to by the

- Government of Nunavut, Community and Government

- Services.

- So the first housekeeping matter, Mr. Chair, is

- that we received the community presentation that was

- provided by the Government of Nunavut, Community and

- Government Services in electronic form only, so we have

- marked that as the -- as the next exhibit in the public

- hearing.

  - And, in addition -- I forgot to mention before the

  - Nunavut Water Board presented that I had also marked

  - their presentation as an exhibit as well, so those two

  - exhibits have been marked in the proceedings for the

  - public hearing.

  - EXHIBIT 11 - Nunavut Water Board community

  - session presentation regarding a new Type “A”

  - Water Licence 3AM-RUT--- Hamlet of

  - Resolute Bay utilidor system (English/Inuktitut)

  - EXHIBIT 12 - GN-CGS community session

  - PowerPoint presentation for the Type "A"

  - Water Licence application of the Resolute Bay

  - utilidor system (English)

  - MS. MEADOWS:	And, Mr. Chair, it's my

  - understanding that the technical staff have been

  - provided with some of the responses that will be

  - presented by the Government of Nunavut, Community and

  - Government Services in electronic form, and we'll mark

  - those two as the next exhibits following the

  - presentation of the response to deferred questions by

  - the Government of Nunavut, Community and Government

  - Services.

  - So thank you, Mr. Chair.	Those are all my

  - procedural matters.

  - EXHIBIT 13 - Electronic copy of the

  - Resolute bleed water clarification memo

- dated October 27, 2020 (English)

- EXHIBIT 14 - Electronic copy of email from

- Daryl Burke sent October 27, 2020, at 5:29 PM

- to Roy, Bhabesh, Subject: RE: Outstanding

- Issues for RB WLs (English)

- THE CHAIR:	Thank you.

- Now, we turn to our opportunity for each of the

- parties to provide us with brief closing remarks --

- okay.	Before we're doing that?	Okay.	Go ahead.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- Mr. Chair, I believe the Community and Government

- Services, Bhabesh, would like to follow up with respect

- to those answers to Sergey's three questions that were

- still outstanding first.	Thank you, Mr. Chair.

- THE CHAIR:	Okay.	Yeah.	I completely

- forgot it right away, immediately.	I think I'm still

- rushing to get this done.	Anyway, continue.

- So we need the answers, CGS.	Bhabesh, you are --

- you still online?

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- Bhabesh, the floor is yours, please, to respond to

- the deferred questions from earlier today.

- MR. ROY:	Actually, my -- I was on mute.

- I did not hear the question.	Can you please -- can I

- request to repeat the question again for me.

- MR. KUFLEVSKIY:	Hi, Bhabesh.	This is Sergey

- from the Water Board.	Mr. Chair and Stephanie

- basically asked you to follow up on the deferred

- questions that the Water Board asked you during the --

- earlier during the hearing today.	And from my

- understanding, you would like Eric to respond to these

- three questions that were asked before and that you

- provided an electronic answer to us already.

- Is this correct?

- MR. ROY:	Yes.	Thank you, Sergey.	Yes.

- I am requesting Eric to go over those questions

- answered by Tony and Daryl -- Daryl Burke.

- Eric, please.

- Response to Deferred Questions by Government of

- Nunavut, Community and Government Services

- MR. BELL:	Thank you very much, Mr. Roy.

- There was a question that was asked about the

- reported concentrations for the wastewater influent

- characteristics for design and whether or not this

- included both the town and the airport sites.

- So the response is as follows:	Based on the

- current data that we have, we believe the

- concentrations for design reported in the EXP technical

- memo dated March 20th, 2020, to be reflective of the

- combined wastewater from both the town and the airport

- sites.	The recommended values of BOD and TSS were

- 110 milligrams and 125 milligrams respectively.

- These concentrations were recommended based on the

- current flow data we have available.	With the

- installation of the new flow meter, we anticipate that

- we will have access to better flow data which may

- change both our future wastewater flows and

- concentration values for design.	This would be

- revisited and recalculated prior to preceding --

- proceeding to the detailed design after better flow

- data is established.	As a point of comparison, the

- highest values we have seen in 2019 sample data on the

- raw wastewater for BOD and TSS were 18 and

- 35 milligrams respectively.

- Okay.	There was another question asked about the

- proposed size of the wastewater treatment plant

- facility.	Our response is:	A conceptional building

- size of 36 metres by 30 metres has been proposed.

- Based on current conceptual treatment process sizing,

- this would house all mechanical and biological

- treatment equipment, as well as other support spaces

- such as labs, office, washroom, and maintenance area.

- Okay.	There was a third question that related to

- the amount of bleed water that was being utilized in

- the utilidor and how we forecasted that moving forward.

- It was a question as to the total percentage of water

1	extracted compared -- when comparing 2020 to 2030 to 2	2040.

- The reason for the different percentages is a

- simple rounding error.	This table that has been

- included has two decimal places added in -- this is the

- digital response so that you can see what the actual

- values are to more decimal places.

- We would expect that there would be some

- degradation of the utilidor, sagging, minor leaks,

- et cetera, over time.	As the wastewater collection

- system gets older, it will require more and more bleed

- water.	Bleed water flow into the sewage collection

- system network is required to offset the heat loss from

- the piping.	It was initially estimated at 1.8 litres

- per second in 2020 and rises to 3 litres per second at

- the end of the design period.

- Those are our responses to the three questions.

- Is there any other questions you'd like to talk about,

- Sergey, or -- or is that the three?

- MR. KUFLEVSKIY:	Thank you, Eric.	This

- addresses -- this information addresses my questions.

- Thank you, Mr. Chair.

- THE CHAIR:	Thank you.

- Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	So that

- concludes all of the outstanding matters and all of the

- housekeeping matters that I had, Mr. Chair.

- Thank you.

- THE CHAIR:	Thank you.	Now get back to

- the agenda.

- Now, we took the opportunity for each of the

- parties to provide us with brief closing remarks

- starting with the interveners and ending with the

- Applicant, closing remarks.	Start with

- Crown-Indigenous and Northern Affairs Canada.

- Closing Remarks by Crown-Indigenous and Northern

- Affairs Canada

- MR. OKONKWO:	Thank you, Mr. Chair.	Again,

- my name is Godwin Okonkwo, Crown-Indigenous Relations

- and Northern Affairs Canada.

- On behalf of Crown-Indigenous Relations and

- Northern Affairs Canada, I would like to thank the

- Nunavut Water Board for the opportunity to participate

- in the renewal and amendment of the 3BM-RUT1520 water

- licence as a Type "A" water licence.	I would also like

- to thank the hamlet of Resolute Bay for welcoming us

- and for their participation in the community session.

- And, finally, I would like to thank the Government of

- Nunavut, Community and Government -- CGS, Community and

- Government Services, for their application and their

- efforts to respond to our concerns.

- CIRNAC recommends that the -- the renewal

  - application be accepted with due considerations to our

  - comments and our final recommendations.

  - Thank you.	Qujannamiik.

  - THE CHAIR:	Thank you, CIRNAC.

  - All right.	I'd like to call Environment and

  - Climate Change Canada for your closings remarks.

  - Closing Remarks by Environment and Climate Change

  - Canada

  - MS. GRAHAM:	This is Anna Graham,

  - Environment and Climate Change Canada.

  - Thank you, Mr. Chair.	I would like to thank the

  - Water Board for the opportunity to present today.

  - And I would also like to thank the translators and

  - the technical staff at Resolute Bay for making our

  - participation possible today and very smooth, so

  - thank you.

  - Environment and Climate Change Canada has

  - presented comments on the water licence application.

  - Our comments have -- are considered resolved, and we

  - have no further items to bring forward at this time.

  - Thank you.

  - THE CHAIR:	Okay.	Thank you.

  - Now I'd like to call Applicant to have your -- to

  - have your closing remarks.

  - Closing Remarks by Government of Nunavut, Community and

  - Government Services

- MR. ROY:	Thank you, Mr. Chair.	This is

- the opportunity -- we'll finally -- you are going to

- conclude our technical meeting and public hearing

- today.	I thank you, the Water Board, and the -- the

- Chair Members, executives, and the technical advisors,

- also the IT personnel.

- I must also thank the citizens of Resolute Bay,

- the members who attended this meeting and contributed.

- I must thank our consulting team, Eric, Tony, and

- Daryl.	They are the highest contribution to make our

- application and today successful.

- I must appreciate my colleague, Janise Idlout.

- This is her first time -- appearance in this kind of

- big -- you know, the meetings and audience.

- So, finally, thank you very much for accepting my

- application for 20 years' time.	I'm happy, and I'm

- looking forward getting the licence.	Thank you,

- Chairs, and thank you audience, everyone.	Have a good

- night.

- Closing Remarks by the Chair

- THE CHAIR:	Thank you.

- As we bring this public hearing to a -- to a

- close, on behalf of the Board and my fellow Panel

- members, I would like to thank all the parties and --

- parties who contributed to making this public hearing

- and community session a success, especially the

- Applicants, GN-GCS, and their technical representative;

- interveners, Crown-Indigenous Relations and Northern

- Affairs and Environment and Climate Change Canada; NWB

- staff and legal counsel; interpreter, Tapitia

- Qitsualik; the reporter -- our court reporter, Sara

- Anderson; sound condition, Ryan -- Ryan Dempster; all

- the community members for their valued participation in

- this hearing.

- Thanks also the caterers and the -- and the Hamlet

- of Resolute Bay for their outstanding hospitality and

- patience with the Board.

- In closing, I would like -- I want to let the

- parties know that -- what happen next for the

- application.	The Board -- the Board will now close the

- public hearing record.	What this means, that all

- evidence with regards to the amendments and renewal

- application is now before the Board, and no further

- information will be considered by the Panel before they

- make their decision about the application.

- Now that the record is closed, the Board will

- remit the file to the Panel to -- to decide whether or

- not to grant a Type "A" water licence to GN-CGS.

- Within 30 days to 45 days after the public hearing

- record closes, the NWB will issue its record of

- proceeding and decision to the Minister of Northern

- Affairs.	If the Board decision is to grant the

- application, the Board -- the Board will also attach

- the Minister's approval, a draft of recommended

- amendments and renewed water licence.	That concludes

- the public hearing component of the Nunavut Water

- Board's consideration of GN-CGS water licence amendment

- and renewed application.

- The Board and I wish to -- wish you all a good --

- good evening and safe return travel to -- for all the

- visitors to Resolute Bay.	Let's have a closing prayer

- for this -- regards to this -- our public hearing.

- Let's stand.	Let's pray.

- Closing Prayer

- THE CHAIR:	Thank you all.

14

15	PROCEEDINGS CONCLUDED

16

17

18

19

20

21

22

23

24

25

26

1	CERTIFICATE OF TRANSCRIPT:

2

- I, Sara Anderson, certify that the foregoing pages

- are a complete and accurate transcript of the

- proceedings, taken down by me in shorthand and

- transcribed from my shorthand notes to the best of my

- skill and ability.

- Dated at the City of Calgary, Province of Alberta,

- this 12th day of November 2020. 10

11

12

13

- Sara Anderson, CSR(A)

- Official Court Reporter 16

17

18

19

20

21

22

23

24

25

26

0

0.02 58:15 153:12

1

1 16:1 30:16 43:2

50:19 58:19 78:4,

6 98:13 105:21

149:16 161:26

162:2,6,20

163:13 168:14

1's 126:3

1,500 32:8 141:10

1-inch 163:17,21

1-micron 43:7

1.2 153:14

1.25 58:18

1.8 188:14

10 9:12 21:14

50:14 78:6,7

114:2 135:8

174:10

10-year 21:14

78:3

100 34:25 55:11

103,000 43:26

11 184:6

110  86:9 187:2

114,000 144:2

12 19:13,14

184:10

120,000 101:8

125 86:10 187:2

126,000 144:6

126,020 36:4

142:16

126,200 41:6

12th 99:15

102:25 136:16

194:9

13 10:3,19 131:17

184:25

13.3.6 10:19

13th 42:25

14 19:25,26 60:23

74:19,24 185:2

141,000 44:2

14th 99:17

136:19,23 137:7

15 19:25 58:19

83:2,10

15-minute 24:13

94:25

150 55:8 145:19,

23 152:1

150-millimetre

34:23 36:20,21

1520 122:7

157,000 55:7

151:26

15th 136:19

137:7

16 33:4 63:4 84:1

157:14

160 147:21

160,000 44:16,24

148:2

17 19:16

18 55:2 141:23,24

151:22 187:13

183,000 55:10

152:4

1970 32:8 141:9

1970s 32:5

1978 36:25 102:7

146:1

19th 107:14

1:15 59:20,24

60:2

1:31 60:4

2

2 16:2 30:21 44:4

59:20 126:3

132:17 168:15

2-log 43:13

2.3-millimetre

42:16

20 9:12 18:12

19:2,4 20:17 31:4

36:11 41:8,9

62:6,9 78:16

100:8 122:15

135:10 169:19

191:16

20-year 21:15

100:6 135:11

169:17

20-years 143:1

200 145:25

200-millimetre

34:24 36:23

2012 54:24 57:16

80:25 81:1,18

87:20 151:19

152:7

2014 40:18 41:3

144:13,14,15

145:8 146:1

2014/'15 36:25

37:5,6

2015 32:26 36:2

40:20,21 41:3

142:14 161:11

164:22 165:11

166:10

2016 33:5 40:21

55:2 60:26 104:1

151:22 165:11,

13,25 166:10

2019 40:18

187:12

2020 10:14 18:11,

21,23,26 19:2,3,

4,6,9,11,13,14,16,

18,19,22,25,26

20:4,11,14,17

30:19,24 31:1

33:2 36:3 42:25

44:16,23 49:4,13

54:24 55:2 57:16

63:9 77:25 79:4

81:2 87:18 88:12

92:3 99:10,15,17,

20 100:5 106:12,

26 107:1,6,7,13

136:11 141:11

142:14 147:12,14

148:1,15 151:19,

22 152:7 169:16

185:1,3 186:25

188:1,15 194:9

2020's 32:9

2020/2021

144:16,17,19,20,

25

2021 33:24 49:22

72:7 73:18

148:24

2024 61:17

104:20 145:1,3,5,

8 171:11

2030 9:12 78:2

79:4,6 188:1

2040 36:12,13

44:17 45:3,8

60:26 62:1,23

79:6 93:19,21,25

147:22 148:4,10,

12 188:2

2047 43:19,26

44:13,18,24

60:22 92:3

147:12,24 148:3

20th 137:11

186:25

21 20:11

216 148:11

216,000 44:18

147:23

216,520 143:2

216,528 18:13

36:14 61:1 62:2,

20 102:15 135:18

21st 137:13

22 18:21 19:6,18

227 35:1

22nd 136:2,9

23  18:23 35:2

36:17 145:11

236,000 44:19,24

147:24 148:3

23rd 136:3

24-hour 50:24

149:22

24th 99:20

169:11

25 35:17 58:8,11,

13 153:9,10

25th 103:7

106:12 107:1,7

26  19:3,4 99:10

26th 169:10

27  19:6 20:4

30:19,24 89:10

185:1,3

27th 136:9,24

28 18:23,26

280 42:22

28th 136:3,5

29 10:13,20 18:11

19:9,11,19,22

36:2 107:6

142:14

290 32:9,14 66:19

141:11,12

299 132:10

29th 103:5

107:13 136:11,13

2nd 101:14

3

3 30:26 76:23

78:2,5,16 85:5

132:17 168:15

188:15

3-log 43:12

30  33:2 36:2

78:16,17 82:1

139:2 142:14

150:2 187:18

192:23

30-day 132:25

133:10

30-year 51:18

300 132:13

142:19

30th 32:26

35 76:22 77:26

187:14

36 35:2 36:17

145:12 187:18

360 42:14

38 78:3

3AM-RUT 36:8

142:24

3AM-RUT---

9:3 10:14 18:7

96:13,16 122:8

184:8

3BM-RES2025

100:10 169:22

3BM-RUT1012

32:25 35:26

142:11

3BM-RUT12

122:7

3BM-RUT1250

10:13 18:6

3BM-RUT1520

9:2 18:10 21:6,17

97:5 100:19

167:21 189:18

3BM-YRB1621

33:4 104:24

4

4 22:18 31:1,5

34:21 36:16 85:6,

7 101:17,18

106:26 168:15

169:16

40 76:22 78:17

145:10 157:1

174:9,14

40,000 79:5,7

400,000 144:4

43'01" 32:6

45  139:2 192:23

47  78:17 147:15

4th 100:5

5

5 31:9 89:10

168:16

50 40:24 132:7,10

175:8

500 34:5,7

500-cubic 146:17

147:1

500-metre 36:18

106:10 145:13

58 46:2

58'10" 32:6

5:29 185:3

6

6 13:3 24:17

31:13 125:12

145:21,23 168:17

6-inch 46:9

60 33:21 48:24

82:6 103:6 105:4

134:7

60-metre 33:21

600 55:4,9 151:24

152:2

65,000 147:14

7

7 27:26 32:17,20

50:14 96:11

120:8 141:22

146:5 168:17

7-micron 149:13

70 82:6

720 42:12 48:23

74 32:6

75 14:24 33:25

7:00 120:3 121:8,

18

7:15 121:20

8

8 20:14 28:8

96:14 145:25

80 55:6,9 151:25

800 32:14 66:21

141:16

8th 137:2

9

9 113:23

90,000 147:14

900 42:19

94 32:6

99.9 43:12

9:20 8:19

A

A-N-N-A 113:4

abandoned

92:19

abbreviation

17:5

abbreviations

129:26

ability 194:7

above-ground

48:1

absolutely 81:14,

23 82:23 83:22

acceptable 81:7

86:26 94:17

acceptance

110:17

accepted 109:3

173:7 190:1

accepting 111:13

191:15

access 20:25 35:2

36:17 48:12

138:14 145:12

187:6

accident 163:25

accommodate

32:8 141:10

accordance

120:9 177:19

179:6

account 42:26

84:10 88:14,23

accounted 67:25

68:15,24 81:21

86:3,5 88:7,13

89:5

accounting

81:22

accounts 44:6,21

66:15,26 147:25

Accreditation

53:13

accredited 53:15

accuracy 17:11

accurate 11:22

17:8 53:9 128:1

129:18 194:4

accurately 52:19

achieved 43:13

acknowledge

97:12 167:26

acquired 35:21

65:3

acquisition

56:17

acronym 97:22

Act 10:16,21

20:13 98:19

114:24 116:21,

22,23,24 177:23,

24,25,26

action 17:14 54:3

111:20 151:1

actions 105:17

171:19

activities 9:8

48:11 52:19

53:22 72:6

122:15

activity 154:23

Acts 116:20

168:21 176:24,26

177:2,22

actual 79:7,14

80:13 84:3 87:7

134:16 175:14

183:6 188:6

adapted 107:4

add  90:4 94:2

158:5,6 160:3

161:6,9 181:13

added 44:8,10

99:25 175:14

188:5

adding 55:13

addition 11:14

43:14 50:8 71:17

127:18 149:6

150:14 166:13

184:1

additional 20:7

43:14 45:4,5

47:15 51:21,23

117:7 147:15

148:6 161:11,16

178:7 179:17

additionally

15:9,23 16:10

126:7 128:6

135:19 138:11

additions 107:15

address 9:13

26:21 53:19

74:11 150:19

164:5 165:8

addressed 19:8

21:2 94:6 100:22,

25 107:5 133:16

136:10 170:13

171:5 179:6

addresses 52:22

188:21

addressing

54:20,22 102:21

118:8 151:14,17

155:5

adds 77:15

adequate 45:19

83:4

adjacent 71:15

adjourned 60:2

121:18 183:1

ADJOURNME NT 24:20 94:26

116:3 130:14

167:3 183:8

adjustable

163:18,20

adjusted 135:9

administered

98:24 168:26

administering

71:4

administers

98:21 168:23

administration

11:5 127:7

administrative

141:1

administrator

11:11 20:24

127:15

advanced 120:22

adverse 71:8

advice 98:26

169:2

advices 138:7,10

advised 31:25

132:8

advisor 11:11

31:25 61:8 74:17

127:14 130:21

141:2

advisors 69:8

191:5

Affairs 26:7,13,

18 60:10,13

66:11 95:12 96:4,

7,15,20,22,26

97:12,21 98:1

105:12 109:26

114:20 119:16

128:24 129:15

134:23 136:7

137:9,18 167:6,9,

13,23 168:6

173:18 189:9,11,

14,16 192:3,26

affirm 95:4

113:9,10

affirmed 28:25

29:26 30:3 95:21,

22,23 113:13

afternoon 59:24

91:24 114:12

183:18

afternoon's 60:6

age 44:13

agencies 28:1

agency 69:4

agenda 16:16

19:22 20:15,18

22:18 28:9 120:9,

11 126:19,24

137:3,12 183:6,

11,12 189:4

agree 90:8

agreed 101:24

agreement 10:3,

5,20 98:20

131:18 168:23

agrees 99:22

107:26

ahead 12:15

22:23 23:10,20

28:11,16 31:18

32:2 59:4 60:12

61:3 69:21 73:11,

12,14 74:13

75:23 78:11

82:12 84:13

85:15 91:7 94:11

96:20 109:9

114:9 116:5

120:26 130:15

143:23 168:10

185:9

aimed 137:22

air 115:7 116:13

177:8

airport 21:13

32:19,22 33:2,3

34:8 35:13,14

40:3 43:23 44:22

51:9 62:18 67:19

68:21 85:10 86:4

88:15,24 92:18,

19,20,21 102:8

104:22 111:14,17

141:19,22,23

142:4 143:26

147:7,17,26

156:20 157:12

158:21 186:21,26

Alberta 194:8

alive 44:11

alternative 24:7

alternatively

171:26

amazing 108:18

amend  9:1 97:5

122:6 167:20

amended 21:15

122:14

amendment

10:12,23 18:5,22

21:5 22:16 114:1,

6 130:6 139:26

168:12 182:15

189:18 193:5

amendments

22:10 100:9

169:20 192:16

193:3

ammonia 54:22

56:21 57:1,5,12

58:17 151:17

153:13

amount 13:17

41:9 44:9 49:3

52:3 62:22 67:22

79:1,7 101:10

143:5 148:14

150:11 162:20

163:14 164:13

165:22 166:6,11,

14 175:7 187:24

amounts 50:6

149:4

analysis 110:18

117:23 178:23

analyst 114:15

176:19

analytical 53:4,

13

analyzed 53:11

Anderson 11:23

15:10 128:2

192:6 194:3,14

Anna 26:25

69:20,22 112:7

113:3,13 114:12

116:7 176:2,4,16

180:3 181:21,25

182:3 190:9

announcement

104:14

annual 43:17

44:15,23 68:20

101:6 142:15

148:1 170:6

annually 18:13

36:5 147:23

answers 63:1

66:4 68:26 76:15

77:22 85:5 87:3,5

91:9,12 153:23

156:11 182:3,20

185:14,19

anticipate 86:26

187:5

anticipated

53:20 57:2

144:26 145:2,5,8

150:20

anticipating

61:16

anybody's

175:16

anymore 39:25

92:26 156:22

157:4 159:19

anything's

160:22

apparently

140:9

appearance

191:13

appendices

107:16

applicable

180:23

applicant 9:11

10:11 16:7 19:8,

17 22:19,22

28:10,11,15,20,

24 30:8,10 31:18

61:3 69:5,9,10,11

70:21 73:7 74:6,

10,18 75:11

78:11 80:16

82:12 84:13

85:15 89:19

92:12 97:25

98:12 100:3,5

103:5,8,22 104:9

105:2 106:1,8,11

107:1,5,26 108:9,

16,23 110:2

117:11,20,23

118:7,12,22

120:14,16,17

128:21 129:12

131:8 132:21,24

136:10,25

137:13,17 138:4

139:8,9,16,25

154:2,6 156:14

157:7 161:21

162:8 168:9

169:16 171:12

172:24 174:25

178:10,18,22

179:5,11,20

182:19 189:8

190:23

Applicants 119:8

123:9 192:1

application 8:24,

26 9:8 10:9,24

11:6,26 12:20

17:17 18:3,4,9,

18,22,24 19:1,13

20:5,20 22:16

25:17 27:13,15,

24 28:5,9 29:18

30:17,22 31:23

41:22 94:22,23

96:8,12,16 97:4,

14 98:3 99:7,8,12

100:6,22 101:9,

23 105:23 107:3,

11 109:2 115:1,3

121:25 122:13

125:22 127:8

130:6,23 132:20,

21,25 133:3

134:21 135:1,2,

26 136:2,21

137:16,20 138:1

139:10,21,23

140:1,19,23

167:20 168:1

169:17 170:13

173:7 177:1,5,15,

18,19 182:15

184:12 189:24

190:1,18 191:11,

16 192:14,17,19

193:1,6

applied 44:3

52:18 53:6 72:23,

25

apply 132:8 appreciated 13:18 89:9

113:12 182:16

approach 15:10

128:8 138:8

approval 22:6

31:2 135:19

193:2

approve 134:20

approved 13:22

58:9

approximately

34:7 79:5

April 19:6,11

136:9,13

aquatic 42:17

area 10:4,7 16:20

32:16,17,22

33:21 34:8 47:7

51:24,25 71:16,

18 92:21 141:19,

23 150:7,8 175:3

187:22

areas 98:13

141:25 157:1

168:13

arranged 63:8

arrive 121:7

arrows 124:23

Article 10:3,19

131:17

artificially 53:2

asks 69:4

aspect 135:17

181:9

aspects 177:17

assessment 19:1

27:3 114:13

136:4 176:17

asset 33:14 71:3

assigned 98:9

assist  14:1 17:2,

25 127:26 128:3

129:21

assistance 11:21

17:6 20:22 130:1

assisted 25:2

140:24

assisting 25:12

assists 46:21

47:18

association 28:2

53:12

associations 23:7

assume 140:3

163:19

assurance 52:11,

17 107:8,10

118:3,5 171:24

179:3

assurance/ quality 22:4

assure 159:6

ATCO 18:16

33:16 71:2,24

135:21

attach 193:1

attempt 67:4

attend 24:25

94:16

attendance 18:1

attended 25:6

191:8

attending 25:5,

14,16 127:10

attends 182:13

attributes 52:20

audience 35:23

59:1 110:7

115:23 156:1

157:11 191:14,18

audio 11:19

14:11 16:4 24:3,7

127:24

August 20:11

31:1 100:5

102:25 106:26

169:16

authorization

9:1 132:8

authorizations

98:22 131:3

132:2,4 168:24

authorize 9:8

10:16 122:15

authorized

101:6,7 170:6

Autut 11:8 23:21,

26 24:14 29:15

67:10,11 74:7,8

94:12,13 109:10,

11 112:13,14

115:17,18

119:19,20 121:1,

2 127:12 128:14,

17 130:15 139:17

140:13 153:25

155:3,26 156:6,

12 157:5,26

158:3 159:8,25

161:20 162:7,25

163:1,4,10 164:6,

10,16 165:6

166:17,24 167:4

173:11,22 174:5,

15,24 175:9,20

176:7,11 180:3

182:4 185:21,22

average 58:14

68:8,10 153:11

avoid 9:18 15:17

17:5 122:22

129:25

aware 42:24

173:20 174:4,22

175:16

B

B-E-L-L 29:3

B-H-A-B-E-S-H

29:22

B-U-R-K-E

29:14

back 13:5 16:17

39:4 59:20,22

60:5 66:12 74:24

80:18,24 81:17

83:17 89:3,6 92:1

105:9 108:25

115:25 120:2

121:13 140:10,11

141:7 155:16

161:14 164:14

167:1 174:19

189:3

background

9:25 22:15

131:15

backwashable

50:12 149:11

bacterial 82:5

bad 54:15

Baffin 33:12

balance 57:18

152:9

ballasts 48:7

band 32:18

base 32:9

based 44:13 55:1

62:10,21 68:17

79:19 80:26

89:22 93:17

101:23 132:16

147:17 148:5

151:22 172:3

186:22 187:3,19

basic 141:12

basically 39:20

75:6 80:2,6,10,26

85:8 87:18 89:11

131:19 139:13

172:20 186:4

basis 12:5 35:4

45:12 53:9 71:5

86:12

Bay 8:23 9:10,24

10:18,26 11:18

25:7 30:18,23

31:3,8,12,16,23

32:4,5 33:9 34:14

43:22 56:23 57:7

83:9 96:11

100:18 106:24

107:4 113:26

114:5,22 122:18

135:7,12 138:23

140:20,26 141:6,

8,12 146:18

158:14 167:24

170:2 182:14,23

184:9,12 189:20

190:14 191:7

192:10 193:9

bear 130:12

beautiful 167:24

bedding 49:18

148:21

begin 9:21 15:19,

20 95:3 120:20

121:8 122:25

123:1

beginning 99:7

behalf 9:23 28:24

97:11 167:22

182:18 189:15

191:23

Bell 22:25 23:1

25:10 28:12 29:2,

3 30:2 31:25 32:1

41:26 42:9 49:8,

11 55:17 57:26

63:16,17 64:13

67:3,16 141:3

143:18,22,24

145:20 146:9

160:4 163:11

164:11 186:17

belonged 33:1,5,

7 142:1,4,6,7

benefit 131:25

174:18

Bhabesh 23:3,4,

22 29:17,19,22,

26 30:26 59:4

61:22 62:3 63:25

64:4 65:2,5 71:13

76:1 77:4,21

78:22 80:21

82:20 85:4 86:1

90:8 91:9 94:5

109:12 140:3,4,9,

18 143:13 146:9

153:25 157:7,8,

26 158:4 160:1,4

162:8 163:1,7,11

165:7 166:17

174:26 185:4,13,

19,23 186:2

Bhagesh 24:26

big  25:3 104:2

140:21 160:17

161:26 164:4,22

165:1 166:21

191:14

billed 35:4

bioassay 22:9

biochemical

153:8

biological 56:26

57:8 82:3,8,24

83:11 187:20

biological/ mechanical 82:2

birds 115:10

116:15,23

177:10,25

bit 14:10 49:9

67:4 71:12 79:12

101:19 134:26

139:15 143:19

163:23 172:14

blanks 53:1

118:4

bleed 39:4,6 44:8,

12,23 45:1,6

61:13,14 62:19

74:26 75:7,14,16,

19 76:5,9 78:1,26

79:1,4,7,14 80:8,

9,10,13 86:13,17,

23 87:2 88:3,6

147:18,26 148:8

162:19 163:12

184:26 187:24

188:11,12

bleeding 34:26

74:21 77:7,10,13,

18 85:20 93:19,

23

blind 53:3

blocked 55:20

157:20,22

158:25,26

blue  21:8 22:12

38:6 85:1 108:7

111:12

Board 9:5,7,24,

26 10:1,21,25

11:2,7,13 12:17

13:19 14:1,4

15:6,11 17:10,12,

14,19,20,21,23

18:3,19 24:1

27:14,15,20,23

28:6,19 29:16

30:5,11,19,24

67:11 69:11 74:4,

5,8,14,18 79:24

84:2 87:5,11

89:24 91:17,21,

22 94:13 95:9,20,

25 97:1 98:6,25

99:19 103:11

105:6 106:5

108:1,12 109:11,

22 110:11

112:11,14,26

113:8,15,25

114:4,17 115:18

119:18,20 120:6

121:2,25 122:10,

12,13 123:9,20,

24 126:25 127:3,

17 128:9,18

129:10,12,18

130:17,20,21

131:2,3,16,18,22

132:3,20,22

133:5,9,26 134:5,

19 136:14,18

137:3,4,7,11,14,

23 138:12,19,21

142:18 154:12,17

167:17,26 169:1,

7 172:16 180:8,

11,14,18 182:18

183:15 184:2,6

185:11,22 186:3,

5 189:17 190:12

191:4,23 192:11,

14,17,20,26

193:1,7

Board's 11:5

13:22,23 15:3

17:7,16 41:6

81:16 97:13 99:1,

14 128:19 130:5,

24 131:18 138:20

139:20,22 169:3

175:22 193:5

BOD 38:22 86:6,

8 187:1,13

BOD-TSS 40:8

body 70:18

152:19,20

boilers 49:17

148:19

bottles 53:11

bottom 24:9

box 115:24

break 24:13,15

59:19,21 94:25

115:22 116:9

166:26 167:1

183:5

breakdown 23:5

breaks 16:22

briefing 12:11

123:6,19,20

briefly 114:24

138:17

bring 13:6

153:18 190:20

191:22

brings 134:16

broad 98:17

168:19

broadcasts 16:1,

2

brought 16:21

build 33:23 39:22

75:5 110:21

153:6,17

building 14:23

15:1 21:8,9,26

22:12,13 33:20

35:3 38:6 39:25

48:13 49:16

51:21 52:2,8

55:18,22,25 56:6,

14 64:17 77:17

82:7,9,26 83:10,

15,18 84:25 85:1

101:2 103:17

106:23 108:7

111:12,16 145:7

148:19 150:4,10,

14 151:17 170:9

172:21,22 173:2

187:17

building- addition 52:6

buildings 56:3

84:3,5 104:5

141:24

built 35:9,11

36:25 37:18,24,

25 39:11 40:24

64:10 102:6

108:3 111:7

146:1 162:12

171:1 172:26

bullets 171:22

bumping 124:26

buried 34:22

36:16 37:4

144:12 145:11

Burke 25:15

29:13,26 82:20,

21 86:1,2 87:14,

15 88:19 90:5,7

141:4 185:3

186:13

C

Caduceon 53:15

calcium 50:3,22

149:2,20

calculate 34:1

79:18

calculated 43:18

44:23 54:26 55:6,

7,9 62:3 148:2

151:21,23 152:3

calculation 62:7

68:19,24

calculations

68:16 89:1,4,6

Calgary 194:8

call  9:16 14:3,7,

12,19 22:24 23:4,

12,14 24:8 25:14

26:6,22 64:19

67:1 69:18 78:20

80:23 100:12

112:22 122:20

126:22 140:10

141:21 153:7

166:1 169:24

190:5,23

called 38:21

91:26 92:17,18

140:11 142:10,13

166:2

calling 9:17

15:16 122:21

Canada 10:5

26:13,22,26

57:13 66:11

69:19,26 70:4

72:21 74:1,15

83:6 96:15,22,26

97:12,21 102:26

105:12 109:26

112:8,22 113:4,

18,24 114:3,8,10,

14,20,26 116:5,8

117:4,7,24 118:2,

9,17,24 125:9

128:25 129:15

134:23 136:8,9

137:9,11,18,19

142:5 167:13,23

168:6 173:18

175:26 176:12,

18,23,26 177:7,

14,20 178:7,15,

21,24 179:8,15,

22 180:6,12,16

181:8,9,16,20

182:6 189:9,11,

14,16 190:6,8,10,

17 192:3

Canada's 96:7

98:2 115:5,9,11

116:11,14,16

177:9,10

Canadian 32:12

51:14 53:12

116:21 141:13

149:25 177:23

Canadians 132:1

CAO 25:19 59:1

capable 57:21

117:13 152:13

178:11

capacity 14:23,

24 15:1 21:20,21

42:14 45:2 86:22

93:3,12,16,22

104:21 148:4

capita 61:12

62:7,10,17

capital 51:17

150:1

captures 18:19

carbonaceous

153:8

carry 100:13

cartoon 170:17

cartridge 50:18

51:4 149:16

case 40:10 46:1

54:9 76:12 79:19

151:6 152:20

158:11

cases 35:18

catchment 175:3

category 142:21

caterers 192:9

caused 47:25

CBOD 35:17

58:7,9 153:7

cell 15:18 122:24

Celsius 83:3,10

centigrade 58:20

centre 32:12

CEO 25:6

CERTIFICATE

194:1

certified 53:12

certify 194:3

cetera 28:2

165:21 188:10

CFUS 151:26

CGS  23:2 42:3

45:10,16 119:8

185:19 189:23

chair 8:21 9:5,23

12:16 13:10,11

15:2,7,8 23:6,11,

16,17,21 24:11,

14 26:3,10,20

27:1,6 28:15,17,

19 30:6,14,15

31:17,21 36:7

42:6 49:7,9 59:9,

11,13,17,18,26

60:5,12 61:2

62:26 64:2,5

66:6,9 67:8,10

69:1,2,3,13,17

70:3,19,20 72:14,

15,20 73:5,6,11,

14,15,23,24,26

74:3,7,9,12,16

75:9,10,12,25

76:17,19 77:1,3

78:10,13 79:22,

23 80:15,17

81:10,11 82:11,

13 84:12,14

85:14,16 88:18

89:18,20 91:5,6,

13 92:11,14

94:10,12,21 95:1,

8,26 96:10,18,23

100:15,16 109:5,

10,12,16,19,21

110:4,10,12,16

111:26 112:1,10,

13,17,25 113:16,

22 114:7,11

115:14,17,19

116:1,4,7 119:5,

6,9,12,14,17,19,

21,22,26 120:1,5,

7,21,25,26 121:1,

3,11,12,23

122:10 123:4,23

125:18,23,25

126:23 128:17

129:16 130:12

131:12 138:20

154:7,11 161:19

182:8,12 183:4,

10,14,16,21

184:14,23 185:6,

10,12,15,16,21

186:3 188:22,23,

25 189:1,3,12

190:4,11,22

191:1,5,20,21

193:13

chaired 138:19

chairing 11:1

126:26

chairman 9:4

22:26 24:24

25:20,26 28:13

42:10 61:5 66:5

91:19 92:5,10

129:5 156:9

chairs 13:9

124:19 191:18

challenges 57:20

152:11

challenging 65:7

93:20

chance 103:11

138:5

change 24:3,5

26:22,26 69:18,

23,26 70:4 72:21

74:1,15 80:4

102:26 107:24,26

112:5,8,22 113:4,

18,24 114:3,8,10,

14,25 115:5

116:5,8,10 117:4,

7,24 118:2,9,16,

24 128:24 129:15

136:8 137:10,19

139:12 147:8

160:17 172:13

175:26 176:5,12,

18,23,26 177:6,

14,20 178:15,21,

23 179:8,15,22

180:6,12,16

181:8,9,15,20

182:6 187:7

190:6,7,10,17

192:3

changed 160:20,

22

Channel 16:1,2

126:3

chapter 34:19

Char 18:14 21:20

33:17,18 34:1

36:18,21 37:6

38:10,11 39:10

41:4 42:5,18

43:17 45:2,7,11,

13,24,25 46:3,7,

8,9,14,18,24

47:21,22 48:15,

17 49:2,4,13,19

50:7 51:1 61:15

65:14 66:3 68:20

70:9,12,26 71:16,

19 72:3,5,8,13

78:15 84:16,23

92:1,2,18 93:1

102:3,24 108:17

118:13,18 135:16

143:6 144:15

145:12,22

146:14,15,24

148:3,9,13,16,21

149:5 154:18,21

155:9,21 158:10

159:7 166:7

170:17 179:12

characteristics

85:11 87:8,10,13,

22,25 88:5 91:4

186:20

chart 44:8 175:7

check 19:2 20:23

132:26 136:4

checks 121:6

chemical 54:5

87:7 151:3

chief 13:21

140:26

chime 67:5

chlorine 34:15

43:14 50:3,8,22

54:6 58:15 149:2,

5,20 153:11

circled 134:17

circulating 150:6

circulation 34:11

51:23 164:9,12

circumstances

12:19 133:21

CIRNA 19:15

167:2 173:23

175:23

CIRNAC 9:13

19:5 97:22

107:26 109:1,13

110:5,19 112:6,

20 173:14 174:5

189:26 190:4

citizens 191:7

city 92:24 194:8

cladding 52:7

150:15

clarification

102:12 109:18,24

110:1,5,7,12,20

111:3 112:3

118:21 179:19

180:10,15 184:26

clarifications

60:18

clarified 104:10

clarify 75:2

77:23 158:8

classed 35:6

clean 155:12

172:20,24 173:2

cleaned 48:2

clear 60:20

clearer 64:24

Climate 26:22,26

69:18,23,26 70:4

72:21 74:1,15

102:26 112:4,8,

22 113:4,18,24

114:3,8,10,14,25

115:5 116:4,8,10

117:3,6,24 118:2,

9,16,24 128:24

129:15 136:8

137:10,19 175:25

176:5,12,18,23,

26 177:6,14,20

178:15,20,23

179:8,15,22

180:6,12,16

181:7,9,15,20

182:5 190:6,7,10,

17 192:3

close 13:17 17:15

71:6 120:13,15,

19 124:26 125:11

131:12 182:9

191:23 192:14

closed 192:20

closer 65:10

121:8

closes 192:24

closing 182:11

183:2,3 185:8

189:6,8,10 190:7,

24,25 191:20

192:12 193:9,12

closings 190:6

closure 22:11

98:16 108:4

168:17 172:19

coffee 16:20

115:24 166:26

coin 157:18

coliform 54:21,

26 55:6,10 89:11,

22 90:1,21,24

101:13 117:20

151:15,21 152:3

170:8 178:19

180:17 181:23,24

coliforms 90:12

151:26 178:17,25

181:2

colleague 116:26

143:7 191:12

collect 63:9

collected 34:9

53:10 104:17

171:7

collection 21:11

37:26 145:3

149:9 188:10,12

comanagement

98:18 168:20

combine 61:14

combined 88:15,

16 186:26

comfortable

93:26

commence 130:8

COMMENCED

8:19

comment 17:10,

13 80:12 103:19

105:13 106:13

107:17 108:4

110:14 117:5,25

118:25 119:8

159:23 169:14

172:6 174:22

175:21 179:23

commenter

177:16

comments 17:6

19:4,8,15,18,20

27:23 63:11 72:2

98:8 99:13

102:10 103:11

104:25 105:20

109:4 112:5,12,

19 115:2 117:1,3,

16,25 118:10

119:10 129:2,7,

10,19 131:7

133:7,13,16

134:9,11 136:6,

10 138:5,11

168:13 169:10

170:20,26 171:22

172:19 173:8

177:3,17 178:2,4,

16,24 179:2,8,26

182:14 190:2,18,

19

commission

33:24

commissioned

56:16 76:7

106:20 173:1

commissioning

101:24 106:4

110:22 172:4

commitment

63:24,26 101:4

117:15 171:14

commitments

20:6 136:26

178:13

committed

103:5,22 105:3

106:2,8 108:9

171:12 172:25

common 52:23

communicated

17:17

communication

60:20

community 8:25

10:10 14:25

16:17 18:8 20:10,

16,18 22:17

23:14 27:22,25

31:19 32:7 33:8

36:1,9 43:23

44:22 45:4 48:3

60:14 62:9 66:18

68:23 70:1 75:15

91:18 92:8 94:15,

16,19 97:4,15,24

99:6 101:9 104:3,

10,15 109:2

110:14 114:21

120:3,8,12,23

121:21,22,24,26

122:1 123:3

125:22 126:20

128:21 130:18

135:3 136:13

139:11 140:15,16

141:9 142:11,25

147:13,26 148:5

154:12,23 155:4

156:17,18 167:9,

19,25 168:2,8

173:17,18 176:13

180:12 182:9,11,

13,22,25 183:1,3,

7,19,22,23 184:6,

10,17,21 185:12

186:16 189:21,23

190:25 191:26

192:7

company 32:21

54:19 57:9,17

compared 188:1

comparing 188:1

comparison

71:24 187:11

compatible

152:13

compiled 42:2

complete 17:8

20:19 27:17

33:23 73:20

82:15 102:18

113:10 133:3,8

194:4

completed 20:2

39:21 52:4 57:16

106:10 118:19

136:22 139:13

150:12

completely 55:20

185:16

completeness

19:2 99:9,11

132:26 136:4

compliance

12:10 21:16 22:7

38:21 40:10

58:10,21 98:14

107:25 123:16

146:22 147:4

152:24 168:15

170:1 178:25

compliancy

40:14

complicated

101:19

complied 13:19

component

36:15 38:3 141:5,

18 193:4

components

36:26 65:15

84:22 105:24

144:10 145:10

170:18

concentrated

86:11

concentration

58:14,17 86:6,8,

18 90:13 153:11,

13 187:8

concentrations

86:24,25 87:26

88:1 181:24

186:19,24 187:3

concept 82:16

conceptional

83:18 187:17

concepts 105:15,

16 171:17

conceptual 83:14

187:19

concern 56:22

86:23 104:11

157:24 181:15

concerned

154:20

concerns 13:24

54:17 97:16

102:21,25 103:1

105:5 106:23

137:24 138:5

139:1 151:11

165:9 168:4

171:4 189:25

conclude 191:3

Concluded 183:7

193:15

concludes 188:26

193:3

conclusion 64:14

173:5

concrete 49:15

52:5,7 148:18

150:13,14

condition

101:17,20 103:15

105:7 106:6

108:13 180:20

192:6

conditions 45:21,

23 100:19,23

115:12 116:17

170:3 177:11

conduct 10:24

19:12 133:12

conducted 14:4

18:23 99:12

121:6 122:12

130:3 154:25

conference 9:16

19:24 20:1,4 21:3

98:7 99:17,24

122:20 133:18,26

134:1 136:19,22,

23 137:1 141:3

169:12

confirm 19:23

45:17 60:24

63:18 81:23

88:17 89:4

181:18

confirmation

45:10 63:13

133:5,7

confirmed 86:21

confirming

17:11

confusing 80:1

congestion 45:23

connect 40:6

46:10

connected 39:17,

19,22

connecting 39:13

104:5

connection

110:23 162:16

conservation

131:23

conservative

88:2 148:5

conserve 115:9,

10 116:14,15

177:9

consideration

99:1,14 121:9

169:3 173:8

175:22 193:5

considerations

109:3 190:1

considered 20:8

51:19 92:25

117:25 150:3

190:19 192:18

considers 108:1

117:16 118:10,24

178:15 179:8,23

consist 30:6

consistent 45:12

consists 34:22

35:1 113:18

138:20

constant 51:8

constantly 76:11

constraints

64:21

construct 171:13

constructed

37:7,17 49:17

56:16 74:24 76:6

144:22,23 148:19

construction

33:22 37:12,14,

21 39:11 41:20

46:24 47:7 49:2,

4,22 52:4 64:23

70:9,18 71:6,8

72:6,11 75:1

89:13,15 90:22

103:19,21 104:19

105:5 118:14,23

135:21 139:13

144:16,18,25,26

145:2,5 147:12

148:14,15,24

150:12,17 171:11

179:12,21

construction/ decommissionin g 21:10

constructions

103:22

consultant

41:13,15 75:21

78:15

consulting 191:9

consume 17:1

43:22 126:18

132:6

consumed 62:23

consumption

35:3 43:23,24

44:15,23,26

61:13 62:8,10,17

67:23 68:2,8,16,

21,23,25 76:24

79:20 93:23

147:13,17,21

148:1 156:23

159:13,21 164:23

173:19

consumptions

156:26 162:3

contact 16:8,13

35:23 68:1 71:6

104:6,11 124:15

126:6 140:22

contact-tracing

126:10

contacted 33:15

contained 80:5

82:26 93:6

containment

53:18 151:1

contaminants

47:24 53:26 86:6

150:24

contaminated

48:19 92:25

102:23

contamination

48:18 53:3

contingency

22:3 47:17 53:18,

19,25 54:3,8

107:2 118:6

150:18,19,24

171:24 179:4

continue 41:24

55:15 59:23 72:6

73:18 112:21

116:9 131:4

135:20 140:5

143:10 146:8

183:5 185:18

continued 9:9

10:16 18:14

102:17 122:16

135:5

continues 34:19

continuing

111:21

continuous

72:24

contract 25:1

64:19 71:4

contractor 33:15

63:19 65:13

104:8

contributed 11:5

127:6 137:19

191:8,25

contributing

182:25

contribution

77:26 78:1

191:10

contributions

74:25 98:3 99:5

168:11 169:5

control 22:4

47:5,23 52:11,18,

22 53:6 71:11

107:9,10 118:3,6

171:25 179:3

controlled 34:12

83:1

controlling 47:2

Convention

116:23 177:25

coordinate

116:18 177:12

coordinating

65:12

coordinator 27:3

114:13 176:17

copy 31:13 95:26

96:2 155:17

184:25 185:2

correct 24:12,22

66:1 76:2 90:26

109:23 166:16

181:12,21 186:10

corrected 107:11

171:26

correction 146:4

correctly 88:12

90:10

correspondence

19:11,16,23

20:15 30:26

138:2

cost-competitive

57:21 152:12

costs 51:17 150:1

counsel 11:7,12

12:13,17 28:18

30:5 95:3,9,20,24

109:22 110:11

112:24,26 113:8,

15 120:6 121:15

123:19,24 126:14

127:9,17 183:12,

15 185:11 192:4

count 85:10

counting 59:7

couple 130:12

173:21 174:2

183:16

court 11:23,24

14:6,13 15:10

17:2 49:10 128:2,

3,8 129:21

174:18 192:5

194:15

cover 103:13

106:17 107:7

176:22

coverage 84:5

covered 94:5

104:24

covering 130:26

covers 99:25

100:11 169:22

COVID 65:6,8

COVID-19 12:7,

26 15:4 16:10

64:20 123:14

124:11 126:8

133:24

created 10:2

credit 43:14

credits 43:13

criteria 21:18

48:25 58:24

132:16 153:4,20

critical 81:17

84:8

cross- contamination

50:10 52:23

149:8

CROSSTALK

162:14

Crown 98:19,22

99:3 168:21,24

Crown- indigenous 26:6,

12,18 60:9,13

66:10 95:11 96:3,

6,14,19,21,26

97:11,21 98:1

105:11 109:25

114:19 119:13,15

128:23 129:13,14

134:23 136:7

137:8,17 167:5,8,

13,22 168:6

173:17 189:9,10,

13,15 192:2

cryptosporidium

43:9 50:20

149:18

CSR(A) 194:14

cube 36:14

145:14,16

cubed 34:7 44:15

cubic  18:13 36:4

41:6 44:16,18,19

61:1 62:2 101:8

102:15 132:7,10,

13 135:18

142:16,19 143:2

144:4,6 147:21,

23 148:2,3,11

cuff 81:9

culverts 158:24,

25 161:12,16

current 34:16

35:20 37:20 41:7,

15 43:18 54:17

56:20 57:12

107:18,23 114:26

134:17 136:12

141:8 144:7

147:21 148:13

151:11 186:23

187:4,19

curtain 49:20

148:22

curtains 71:18,

22 72:8

customer 68:10

cut 65:25

cysts 149:14

D D-A-R-Y-L

29:13

daily 68:9 115:11

116:16 177:11

dangerous

131:21

Daryl 25:15

29:13,26 32:1

75:23 76:2,26

77:5 78:18,20

82:19,20 85:25,

26 86:1 87:4,14

88:10,19 89:8

90:4,6,7,26 91:9

141:4 185:3

186:13 191:10

dash 36:8

data 42:3 55:1,2

63:10,25 89:12

107:20,23

117:10,16 143:25

172:12 178:14

186:23 187:4,6,

11,12

date 87:11 99:4

106:17 135:26

138:6 142:13,14

dated 31:1 185:1

186:25 194:8

dates 169:8

day 16:23 20:3

35:1 43:21 44:1,

2,5,11 55:5,6,9

61:12 65:23 79:6,

7,8 96:24 132:7,

11,13 136:23

137:4 142:19

147:13,22 151:25

152:2 194:9

day-to-day 33:16

days 9:6 68:8

103:6 105:4

134:7 139:2

192:23

deadline 19:2

136:15

dealing 157:24

deals 47:7

Debbie 155:14

December 33:4

104:3

decide 134:24

192:21

decides 133:6

decimal 188:5,7

decision 17:14,

16,18 20:5 98:7

99:24 134:1,20,

21,22 137:1

139:3,4 169:4

192:19,25,26

decision-making

120:20 127:2

declare 71:10

decommission

111:11,24

decommissioned

35:10,15 38:7

84:19,26 85:3

100:1 108:6

decommissionin g 21:7,25 22:11

46:20 47:9,16,17,

21 70:10 83:25

84:1,10,21 103:3,

7,8 108:16,20,24

110:23 111:1,17

decrease 75:6

decreasing 77:8

dedicated 46:9

82:8

deep 157:1,2

158:15 174:9

deeper 159:13,15

defer 181:16,25

deferred 81:15

120:16,23 183:17

184:20 185:24

186:4,15

deficiencies

107:9 108:19

171:25

define 90:9,11,13

degradation

188:9

degree 32:6 40:7

58:19

degrees 83:2,8,10

delay 14:10

delays 65:5

delegate 154:9

delegated 10:22

delivered 50:23

149:21

delivery 63:8

102:8

demand 43:25

62:16 94:1 144:7

148:10 153:8

165:23 175:7

demolition 52:6

150:13

Dempster 11:19

24:2,22 127:24

192:6

denying 17:11

department 8:26

10:10 16:12 18:8

33:5 71:7 72:1

97:22,24 98:4,8,

17,21,23 99:2,4,

8,11,16,18,22

100:7,21 102:10,

18 104:25 105:6,

20,25 106:4

108:11 116:20

122:2 126:10

128:22 133:23

142:7 168:7,8,11,

19,23,25 169:5,9,

11,18 170:12,19

171:14,21 173:6

177:22 179:1

181:17

department's

106:13,23 107:12

114:23 176:24

departments

181:26

depends 132:5

133:20

deplete 160:9

deposit 10:16

describe 105:15

171:17

describes 47:12

52:17

describing 160:5

description 18:2

70:11 179:16

design 37:22

41:20 42:3,11,25

48:21 49:2 56:10

57:14,16 64:10,

13 78:8 80:24

81:21 82:15,16

85:8 87:1,19,22,

24 88:1,9 89:1,3

90:3 91:2 105:3

152:5,7 153:5,17

163:16 164:1

186:20,24 187:8,

10 188:16

designed 32:7

57:12 117:12

141:10 178:11

designing 58:7

85:12

designs 54:25

103:23 151:20

desired 45:14

desk  12:21 138:9

detail  14:2 47:12

80:19 85:25 90:3

detailed 61:10

82:15 105:3

133:12 187:10

details 20:19

47:15 61:20 77:6

106:15 117:7,9

139:9 177:18

178:7

detector 56:17

determination

101:13

determine 170:7

determined 55:1

151:22,26 152:3

determines 47:7

develop 89:21

90:21

developed 52:12

83:19 91:1

developing 71:8

Development

33:6 142:8

device 39:2

64:18,19

DFO 42:15 93:9

dial 24:8

diameter 34:23,

24 36:20,21,23

80:3 145:21,23,

25 163:13

Dicta 11:24 128:3

diesel  54:6 151:5

difference 57:17

78:5 79:12 152:8

156:22 162:2

difficult 65:9

82:5 172:11

difficulty 11:20

115:20 127:25

130:11

digital 188:6

dilute 39:4 55:25

74:22 80:11

dilution 86:13

dimensions 80:3

direct 15:13

128:11 129:11

directed 40:8

59:14

directing 109:12

direction 52:3

69:14 124:25

150:11

directly 15:11

46:6 69:9 71:19

94:18 128:9

129:23

director 11:9

17:25 123:8

127:13 128:14

disapprove

134:20

discharge 35:7

57:1 90:11 147:5

discharged

104:19 171:9

disclose 69:4 discommissionin g 145:8

disconnect

111:11

disconnects

56:19

discuss 17:20

131:5

discussed 103:26

105:2,26 140:1

171:9

discussing 12:4

18:4 22:16 101:3

123:12

discussion 94:19

116:26 183:9

discussions 98:9,

11 100:3 137:22

170:11 179:10

disinfectant

34:15

disinfected 51:5

disinfection

50:2,21 51:15,22

149:1,19,26

150:6

dismantled

47:26

disposable 50:17

disposal  9:9 48:4

52:14,15 53:23,

24 122:16 135:5

150:22,23

dispose 10:22

disposed 48:3,8

180:24

disproportional

76:21

distance 13:3,11

124:21

distanced 124:20

distribute 133:10

distributed

18:26 19:19,22

20:17 102:6

132:25 133:8

134:2 136:3,14

137:12

distribution

34:10 38:15

39:17 50:11

137:12 138:2

149:9

distrubution

39:21

disturbing 47:25

divided 32:15

141:18 170:4

division 33:14

64:18 71:3

document 20:26

178:24

documentation

20:7,23 132:22

documentations

154:19

documents 18:25

41:21 110:18

138:15

door 12:21 15:26

56:8 126:2

double-check

89:6

draft 19:22 20:15

134:21 137:3

193:2

drain 162:21

drainage 47:3

157:22 158:26

drained 174:3,9,

11

dramatically

32:11

draw 68:6 102:4

drawing 50:26

65:24 83:14,16

drinking 37:20

51:14 149:25

155:12

drive 39:2 158:20

drop 74:22 83:7

dry 50:23 149:21

dual 43:3

due 12:6 41:6

47:21 66:20

86:12 109:3

123:13 156:22,25

157:2,17 160:14

173:7 190:1

dump 21:7

dumped 147:9

dumping 40:3

duplex 149:10

duplicates 53:3

duration 36:11

63:24 147:11

dust 47:6

Dwyer 31:1

E

E-R-I-C 29:3

earlier 15:23

91:11 101:2

102:12 103:16,26

118:21 146:16

170:16 171:9

179:19 185:24

186:6

early 121:7

earpieces 15:25

16:4 126:1

easier 107:25

east 48:24

easterly 52:3

150:11

easy 110:7

eat 125:5

ECCC 19:5,15

35:17 40:8 58:5

72:16 73:25

89:21 117:16,21

119:16,25 153:5

economic 33:6

57:19 142:8

economics

152:11

ecosystem 92:6

ecosystems

154:24

Edmonton 65:4

effect 57:13

86:13

effective 83:8

effluent 21:18

22:9 35:16 56:21

57:1,22 58:20,22

89:23 91:3

117:10,14,16

152:14 153:7,15,

21 170:8 178:12,

14

efforts 86:16

97:16 168:3

189:25

Elder 27:13,14

129:3

elders 27:12

electrical 48:14

56:9 65:14

electrification

57:1

electronic 183:24

184:18,25 185:2

186:9

element 55:19

elements 99:25

103:13

Ellesmere

155:24

email 24:8 185:2

embark 12:19

embassy 69:8

employed 50:21

149:19

emptied 159:21

emptying 159:14

enable 53:8

encourage

115:22 129:9

encouraging

106:12

end 23:24 37:8

41:24 44:17 59:9

72:10 93:5,10

120:23 136:1

144:17 175:3

188:16

ending 36:12

189:7

enforce 115:12

116:17 177:12

enforces 98:21

168:23

engineer 25:10,

14,15

engineering

166:1

engineers 41:19

English 15:25

16:1 30:8,20

31:4,8 96:4

113:19 114:1

126:3 184:13

185:1,5

English/french/ inuktitut 96:17

English/ inuktitut 96:13

184:9

enhance 115:6

116:12 177:7

ensure 11:22

27:16 53:4 70:12

72:12,23,26

103:23 128:1

129:7 131:19

133:2 134:11

154:4

ensuring 103:20

enter  12:22 13:1

16:1

entering 49:21

51:5 56:13

148:23

entertain 125:21

entire 25:12

32:15 38:26

40:26 41:13

82:23 93:22

entitled 138:23

entrance 13:14

16:9 124:24

126:7,21 127:16

entry 56:8

environment

26:22,25 46:23

69:18,23,26 70:3

72:20 74:1,14

102:26 108:25

112:4,8,22 113:3,

17,24 114:3,8,10,

14,25 115:5,7

116:4,8,10,13,21

117:3,6,24 118:1,

9,16,24 128:24

129:15 136:8

137:10 175:25

176:5,12,18,23,

25 177:6,8,14,20,

23 178:7,15,20,

23 179:7,15,22

180:6,11,16

181:7,9,15,19

182:5 190:5,7,10,

17 192:3

environmental

22:2 27:3 46:19,

21,23,26 47:12,

20 53:16 70:6,15

71:14 73:2,19,21

102:20,21 114:13

116:18,21

118:12,26 137:18

176:17 177:12,23

179:11,25

equal 43:2 46:8

58:11,13,15

152:22

equalized 68:18

equipment

51:16,22,24 52:8,

25 54:7 56:9

149:26 150:1,3,5,

6,15 151:5,16

187:21

Eric  23:1 25:10

29:3 30:2 31:25

32:1 40:16 41:12,

23,24,25 57:24

58:2 63:11,17

64:13 65:17,26

67:3 68:12 141:2

143:10,17 146:3,

8 152:15,24

159:23 160:2

161:8 162:26

163:9,10 164:6,

10 170:17 186:7,

12,14 188:20

191:9

erosion 47:2

118:15 179:14

erosion-control

70:7

error 52:24 70:22

79:3 101:15

188:4

errors 52:25

118:5,9 179:7

essentially 62:12

79:9 80:24 90:20

established

131:17 187:11

establishing

90:23

estimate 43:20,

24

estimated 34:26

42:21 43:20

44:16,18 45:2

63:14 87:25

147:11,13,21

188:14

estimates 45:1

88:5 89:14 148:6

estimation 66:15

evaluation 152:7

evening 120:7

121:23 130:19

140:18 154:15

170:16 171:10

176:15 193:8

event 124:16

eventually 175:6

everybody's

66:26

evidence 28:23

113:17 192:16

evident 71:26

examines 51:13

149:24

excavation 49:15

148:17

exceed 14:26

exceptional

12:18

excessive 160:6

165:22 166:6

exchange 134:8

excited 42:10

49:12

exclusions 21:12

Excuse 49:7

executive 11:9

17:24 31:5,9,13

123:8 127:12

128:14

executives 191:5

exercise 73:20

165:1,4

exhibit 30:16,21,

26 31:5,9,13 95:5

96:11,14 113:23

114:2 183:25

184:3,6,10,25

185:2

exhibits 30:6,12

96:2,9 113:16,20

184:4,19

existing 10:12

18:5 33:22 35:26

37:19 39:12

48:19,24 53:26

54:21 64:9,12

84:17 86:7 89:22

144:24 146:15

150:25 151:16

181:6

exists 45:23

exit 13:16 24:17

57:22 147:2

EXP 25:11,14,19

41:12 42:1 46:14

54:19 55:15,17

67:3 82:21 86:2

87:17 90:7 141:2,

5 186:24

expanded 52:2

150:10

expect 11:26 83:2

86:12 87:9,26

88:6 139:14

167:2 172:12

188:8

expectancy

61:20

expected 87:13

90:14

expecting 33:23

106:18 120:22

experience 11:20

159:6

experienced

41:19

experiencing

115:19 124:9

expert 27:5 69:24

160:25 167:16

expertise 68:6

98:26 169:3

181:16,26

expire 148:12

expired 9:1 10:13

18:11 19:10 36:2

100:17 107:18

122:6 136:13

170:2 172:10

180:20,21

expiry 142:14

explain 34:18

61:19 71:12

75:21,24 76:24,

26 77:19 78:19

80:18 85:25

137:15 138:17

explained 36:7

73:16 77:10

152:24

explains 79:21

explanation

61:10 70:25

76:15 78:14

79:14 80:1

explosion 56:1

explosion-proof

56:10,19

exposed 55:19

express 143:3

expressed 58:18

extended 19:3

extensive 160:18

extent 80:11

exterior 56:8

extra 160:10

extract 61:15

93:21 143:5

175:7

extracted 18:14

44:21 79:2,11

147:25 188:1

extraction 34:3

40:17,18,19 41:3

43:17 68:20

142:16,19 143:9

164:21 165:11

extreme 148:10

eye 122:2

F

F-O-R-T-E

95:18

facilitate 107:25

facilitating 97:13

168:1

facilities 21:7,18

31:7,11,15 48:8

53:22 100:10,11

150:21 169:21,23

facility  22:6 33:1,

3 48:10,25 51:23

106:25 111:19,

20,24,25 150:7

157:13 172:26

187:17

fact  62:21 68:22

76:7 80:26 81:2,

21 101:17 155:11

162:23

factors 44:3

57:14 152:5

fairly 12:18

68:21 154:20

falling 160:15

falls 178:26

family 127:22

fan 55:20

fans 56:18

fashion 45:8

February 18:23,

26 136:3,5

fecal 54:20,26

55:6 89:11,22,26

90:12,21,24

101:13 117:20

151:15,21,26

152:3 170:7

178:17,19,25

180:17 181:1,23,

24

federal 116:19

117:13 177:13

178:12 181:22

feed 14:11 93:22

feedback 16:4

feel  90:16 125:3

152:11

feet 13:3 33:21

125:12 157:1

174:1,9,10,14

fellow 191:23

fencing 49:5,14

71:15 72:9

148:17

fever 12:26

field 48:4 52:19,

22 53:1,8

figure 165:25

file  19:25 21:4

25:1 26:14,19

96:8 97:8 113:16,

20 120:20 127:2

131:6,9 132:19

133:14,16,21

134:12,14

135:24,26 137:17

138:8,18 167:16

173:15 192:21

filed 10:9 121:25

files 20:23 138:13

fill 12:23 16:11

51:8 126:9

160:10 166:4

filled 147:6

170:25

filling 54:12

124:12

fills 68:18

filter 43:7 50:13,

18 149:11,12,16

filters 43:4,5,11

50:12,13,17,18

51:3,4 149:10,11,

15,16

filtration 42:26

43:3,7,13 50:2,4

51:16,22 149:1,2,

26 150:5

final  20:17 99:18

101:15,19 103:10

115:2 117:4

120:13 134:9

137:12,13 146:21

178:5 180:1

190:2

finalize 91:2

finalized 90:3

finally 17:2 47:11

103:24 154:10

179:10 189:22

191:2,15

find 83:19

finding 20:22

finish 57:25

finished 180:26

fire 35:2,21 36:17

37:5 144:14

145:11

fish 37:7 42:15

47:2 92:6 93:2,3,

4,5,7,8,9,11

144:16 155:10,

13,16,25

Fisheries 116:23

177:24

fisherman 92:1

154:22

fishing 154:23

155:11

fit 64:12

five- 115:21

five-minute

183:4

fixed 104:7

fixture 48:7

flag 101:15

103:13 107:24

flexible 15:5

flooding 165:15

floor  12:14 120:4

124:19,24 154:2

156:13 158:5

163:6 164:17

173:13 175:10

180:5 185:23

flow 33:26 34:2

37:12 40:9 42:3,

11,20 44:5 45:13,

16,19,22,25 46:1,

11,12 48:21 51:1

55:4,18,25 63:5,

10,25 64:6,8,25

65:17,26 86:5,13,

23 87:2 88:3,6

100:26 143:25

144:1,19 145:18

146:5,6 156:24

163:15,20 187:4,

5,6,10 188:12

flowing 76:11

153:21 159:17

160:7 163:26

flows 55:8 151:24

152:1 187:7

flu 124:11

fluorescent 48:6

flushed 56:8

flushing 102:22

folks 166:26

follow 16:18 98:5

126:21 185:13

186:4

follow-up 72:21

156:8 159:9

180:20

foot 24:17

forecast 115:11

116:16 177:11

forecasted 43:18

44:12,13,14

187:25

foregoing 194:3

foremost 28:22

123:25

foresee 157:14

forgetting 23:19

forgot 23:19

166:20 184:1

185:17

form 50:3,22

151:8 183:24

184:18

formal 20:11

26:8,24 27:19

137:21

format 50:23

149:21

formation 72:13

formatting

107:15

formed 141:9

177:21

forms 16:11

54:12 124:12

126:8

Forte 26:16,17

60:16,17 63:1

95:17,23 97:7,19

100:17 167:14

169:26 173:24

174:6,21

forward 134:25

187:25 190:20

191:17

forwarded

134:22

found 63:4 64:10

134:3

foundation

103:17 148:18

foundations

49:16

fourth 101:20

170:9

free 125:3

freeze 163:24

freezing 45:7

76:10 83:7 148:9

French 31:16

frequently

172:14

freshwater 10:7

18:13 44:10

98:18,23 147:6

168:20,25

friendly 25:21

front 88:7,26

127:15 138:22

frozen 147:19

158:14

FTP 20:21

fuel 48:1 54:7

full 19:12 87:10

99:4 133:9

136:14,15 163:13

functioning

33:20 110:24,26

111:15,25

future 25:25

34:3,17 35:12

36:6,26 37:25

39:8,9 54:18

56:24 57:3,6 58:3

86:16 88:3 92:3

117:10 135:21

139:14 142:10

144:7,10,26

145:2,5,7 146:14,

24 147:8 151:12

153:3,17 165:5

187:7

G

G-O-D-W-I-N

95:16

G-R-A-H-A-M

113:4

garbage 158:26

gas 56:11,17

gathering 14:21,

22

gave 124:8

general 27:18

131:1 132:1

176:22

generally 18:9

132:8,11 133:20

134:6

generate 94:19

generated

104:22

generation

146:19

gentleman

156:15 158:9

giardia 43:6

50:16 149:14

give 23:4 24:11,

13,24 27:11

64:23 70:25

103:12 113:11

128:14 130:21

140:6 159:3

172:15

giving 61:9

Gjoa 11:16

127:20

glad 59:7 125:19

glasses 122:2

global 12:4

123:11 128:7

gloves 125:16

glycol 49:17

148:20

GN 24:26 25:18,

21,22,24 33:5

55:26 59:15

GN-CGS 8:26

9:7 10:11 18:15,

22,24 22:22

109:7 122:5,13

135:4,19 137:5

182:15 184:10

192:22 193:5

GN-CGS's 10:23

19:20

GN-GCS 192:1

goal 63:9

Godwin 26:11

60:10 66:8,10

95:16,23 96:24

105:9,11 119:15

167:7,12 169:26

173:11 189:13

good 8:21 96:24

110:26 114:12

121:23 130:19

140:13,18 154:15

155:17,24 173:3

176:15 191:18

193:7,8

gotta 154:11

govern 135:11

governed 116:19

177:21

governing 19:10

government

8:25 10:2,9,10

18:7,8 23:14,15

31:19,20 32:18

33:8 36:1,9,10

60:14 70:1 91:17,

18 97:3,4,14,15,

23,24,25 99:5,6

109:1,2 110:14,

15 114:20,21

116:19 121:26

122:1 124:14

128:21,22 131:17

135:3 140:15,16

141:24 142:1,7,

11,12,25,26

154:3 156:17,18

167:19 168:2,7,8

173:6 177:13

183:19,23,24

184:17,18,21

185:12 186:15,16

189:22,23,24

190:25,26

governs 136:12

grade 56:8

grading 52:5

150:13

gradual 164:24

gradually 147:20

Graham 26:25

27:2 69:22 72:18

112:7 113:3,13

114:11,12 116:7,

8 119:26 176:4,9,

14,16 190:9

grant 192:22,26

gravel 71:20

148:20

gravity 39:1

42:20

great 91:11

156:12 163:4

greater 55:4

151:24

greatly 89:9

107:14

green 146:20

grinded 38:19

grinding 38:18

ground 105:18

141:13 171:20

group 42:3 125:9

141:1

grouped 100:23

growing 74:20

80:13

growth 43:20

62:6 82:6 147:16

guess  73:1 87:24

154:8,11

guide 114:26

guided 176:26

guidelines 37:20

51:15 57:4

149:25

guys 173:20

174:4

gym 124:1

H

habitat 47:2

93:2,4

habits 44:26

half 33:24 65:23

68:22

hall 12:22 13:8

16:20

hamlet 9:10,24

10:17 33:1 35:4

51:7 53:14 56:23,

26 57:7 85:10

87:1 88:1,13

96:11 104:13

114:21 122:17

135:6,12 142:4

149:21 150:21

157:24 167:23

170:23 184:8

189:20 192:9

hamlet's 53:22

102:2 170:16

hand 13:5 16:24

40:15 62:25

125:4,5 126:15

129:5 146:3

154:3 157:6

167:6 174:19

handle 21:21

62:15 86:8,19,22,

24

handling 52:24

hands 16:24

83:13,15

happen 71:10

76:8,12 131:9

192:13

happening 75:2

Happily 57:26

happy 173:10

191:16

hard 31:13 93:12

95:26

Haven 11:16

127:20

hazard 55:26

hazardous 47:8

48:5 56:11

hazards 56:5

he'll 61:9

head 35:21 56:3

heading 24:16

headquartered

33:12

headset 24:3

headsets 11:21

127:26

health 12:6,10,

11,24 13:20,21

16:13 47:19 56:4

71:7,9 72:2 121:5

123:13,17,18

124:15 126:10

133:23 167:1

178:26 181:3,15,

25 182:1

health-screening

124:8

healthy 155:16

hear 14:16,18

23:24,25,26

26:26 27:1 29:20

61:23 66:14

69:13,20 73:9

94:16 129:20

139:15 140:5

185:26

heard 130:2

155:15

hearing 8:22,23

9:5,6,16,20,26

10:8,25 11:15

12:1,19 15:25

16:16,22 17:16,

21 20:8,9,12,14,

16,18 21:2 22:17,

20 27:21 30:13,

19,24 59:2 61:24

63:10 73:9 81:6,

24 83:23 96:2,9

113:21 118:21

120:11,13 121:25

122:10,11,20

123:5 126:1,19

127:19 129:17,20

130:2,3 132:15

134:6,7,14,16,19

137:4,6,8 138:18

140:2 169:13

179:19 182:10

183:6,26 184:5

186:6 191:3,22,

25 192:8,15,23

193:4,10

heat 45:5 163:24

188:13

heat-trace 148:8

heater 55:19

heating 55:19

56:18

helping 162:24

high 38:25 40:7

163:20 165:25

high-quality

57:22 152:13

higher 86:18

highest 40:19,20

165:11,12 187:12

191:10

highlight 135:25

highly 39:15

141:5

hill 34:5 36:19,22

37:11,16 38:13

45:18 46:6,7,10,

25 48:17 50:1

51:13 66:1 67:24

83:26 102:4

108:17 118:13

144:18,21,22

145:15,18,24

146:15 147:7

148:25 149:24

164:14 179:13

historical 40:17

42:3 143:9,25

164:21

historically

160:7 161:13

history 18:18

130:22 131:6

135:24 141:7

166:11

hold  19:23 23:9

28:15 42:6 67:8

115:14 164:1

home 92:1

homes 104:5

124:5

hope 87:3 108:24

hopes 108:23

hoping 65:10,19

94:15

hose 162:1

175:14

hoses 175:18

hospitality

192:10

hosts 19:26

hours 166:5

house 45:24

46:18,25 47:21,

22 48:9,16,22

49:2,15,16 65:14

66:3 83:25 84:3

101:4,26 102:3,

16 103:4,9 106:4

108:17 118:13

146:15,25

148:13,18,19

171:1 179:12

187:20

household 34:13

households

141:23

housekeeping

12:1 123:6

183:13,21 189:1

houses 70:10

housing 162:15

huge  41:3 143:5

166:10

human 47:19

178:26 181:3,15,

25 182:1

hundred 55:7

143:4 152:1

hung 140:9

hydrant 35:22

37:5 157:19,20

158:21

hydrants 35:2

36:17 144:14

145:12

hydration 50:24

hydraulic 40:25

41:2 86:22 166:2,

9

hydrocarbon

102:23

hydrology 93:13

160:25

hypochlorite

50:3,22 54:5

149:2,20 151:3

I

I-D-L-O-U-T

29:5

i.e. 52:25

ice 175:14,19

Ideally 45:25

identification

28:4

identified 21:2

56:6 98:6,10

106:22 118:4

179:7

identify 14:5,8

27:8,19 29:18

107:22 108:22

identifying 17:26

Idlout 25:2 29:4

30:3 127:21

140:24 143:7,13,

14,17 144:9,12

145:15,17,21

191:12

Ikaluk 155:14

Ikkutisluk 11:11

20:24 127:15

ill 124:16

immediately

185:17

impact  39:7 54:4

72:12 76:8 164:4

impacts 46:23

47:2,20 70:14

102:22 151:2

implementation

13:23

implemented

47:6,23 50:1 70:8

105:16 171:18

implementing

46:22 47:18

118:15

imply 17:14

important 12:1

14:8 99:1 125:21

129:17 135:25

imported 49:19

imposed 126:9

133:23

impression 68:5

improved 107:14

improvement

21:12 106:14

in-person 20:9

in-water 118:20,

23 179:21

inactivation

43:12

inch 161:26

162:1,2,6,19,20

163:13

include 50:20

53:1,13 54:3

56:17 57:4 70:16

108:12 118:4

168:14

included 25:8

43:19 62:7 71:15

106:20 107:2

129:8 186:21

188:5

includes 43:4

49:5,14 50:1

51:15 52:5 54:11

55:2 66:26

118:14 138:3

148:16 149:1,25

150:13 151:1,8

179:13

including 10:24

16:6 22:5 48:12,

14 52:6 55:20

100:9 102:22

103:14 105:7

106:5,10 108:6

115:7,10 116:13,

15,20 150:14,22

169:20 176:22

177:8,10,22

inclusion 51:16

inclusive 110:8

incorporate

51:21 150:5

incorporated

11:24 45:20

128:3 163:15

incorporating

118:8

incorporation

100:9 169:21

incorrect 63:23

incorrectly

90:16

increase 45:1

62:17,19,20

66:23 67:2 71:25

72:4 76:20,23

77:13 78:5,16,17

79:8,15 164:24

increased 21:21

32:11 55:10 68:3

101:10 141:15

144:6

increases 44:25

62:13,18 66:21

67:21 70:8,17

78:2,4 79:5

147:17,19

increasing 62:8

77:8,14 80:7

increments

164:24

indicating

117:12

indication 140:6

INDISCERNIB LE  143:16 162:13

individual 34:13

69:6

individually

16:26 125:2

126:17

individuals

104:4 127:10

indoor 14:22

indoors 82:4

induced 53:3

influent 85:11

86:24 87:21 88:9

90:13 186:19

influx 67:18

informal 137:21

information

16:8,12,14 54:8

62:4 63:3 64:24

67:7 81:5 91:10

104:14 106:20

117:22 120:9

126:6,12 129:19

131:1,15 132:23

134:3 137:24

138:11,13 151:6

172:15 178:21

179:17 180:22

182:24 188:21

192:18

informed 139:4

infrastructure

84:4 99:25

101:24 105:22

139:12 172:2

infrastructures

108:5

inherited 142:5

initial 132:26

135:8 136:4

initially 9:11

117:21 135:7

178:19 188:14

Inlet 33:12,13

insert 45:26

inside  13:8 34:21

38:19 64:16 93:8,

11 125:14 166:5

install 46:5 63:19

64:20 66:3 70:25

71:17,20

installation 49:5,

14 63:4 65:12,17,

22 101:3 148:16

187:5

installed 37:12

42:13 46:12,16

49:18 63:18

65:15,26 66:1

71:22 76:13

101:1 144:19

146:6 148:20

161:16

installing 57:8

76:8 81:1 100:26

instantaneous

44:6 67:26

institution 10:2

131:16

instruction

22:19

instructions

172:7

insulation 55:21

103:21

intake 21:9 22:13

36:20,22 37:6,9,

16 46:6 48:15,26

71:20 75:6 80:9

84:6,7,16,18,19,

22 93:6,10

100:25 102:16

103:16,21 108:8

111:1 144:15,17

145:22,23

146:12,25 170:5

intakes 49:22

144:20 148:23

149:5

integrated 24:6

integrity 103:20,

23

intended 70:13

72:26 73:2

intent 57:18 90:9

152:9

interconnecting

48:16

interest 14:12

135:15

interested 91:26

92:7 98:25 155:5

169:1

interesting

157:11 160:23

161:3

interestingly

32:10 38:26

interference

16:5

internal 18:24

interpret 14:16

interpretation

11:15 15:24

125:26 127:18

interpreter

14:13,15 15:24

42:7 59:21 192:4

interpreters

11:14 17:3 67:14

129:21,25

intervener 69:17

interveners 16:7

22:19 23:8 26:4

27:7 94:24 95:2

109:8 119:7

120:14 123:9

129:13 131:7

134:2 137:15

138:4,25,26

182:19 189:7

192:2

interveners'

19:17,20 95:13

intervening 23:8

intervention

28:3 60:11 97:3

112:6,21 114:18

interventions

134:8

introduce 22:22

23:9,13 26:14

27:8 126:25

127:9

introducing

17:26

introduction

26:9 130:23

introductory

123:6

Inuit 10:3

Inuktitut 15:25

16:2 30:8,25

31:12 96:5

113:19 114:6

126:4

investigate 56:14

investigated

45:5 148:7

investigation

133:13

invite 13:26

128:26

invited 137:26

involve 48:10

involved 41:20

133:1,2 137:15

141:5 161:14

177:15

involvement

177:18

Iqaluk 156:19

158:2,18,22

159:10 161:23

162:13,18,23

164:8,15 173:19,

26 174:8 175:11

Island 155:24

isolating 125:10

issue  98:13 99:21

104:2 122:14

127:22 132:3

133:26 134:13,20

139:3 142:13

157:18,25 192:24

issued 19:11,16

20:4,11,14 32:25

33:2,4 36:2

136:24 137:3

139:5 142:23

issues 20:7 21:1

43:10 54:17 56:2,

6 83:11 98:6,9,10

99:2,24 102:1

110:19 131:4

134:5,13 137:2,

22,25 151:11

185:5

item 17:1 22:18

28:8 101:17,18

126:18 146:5

items 12:1 61:11

84:10 190:20

J

J-A-N-I-S-E

29:5

Janis 25:2

Janise 23:1 29:4

30:3 140:24

143:7,12,13,18

144:9 146:10,16

191:12

January 18:21,

23 136:1,2,3

Jaodamee

156:19

jars 53:11

Joadamee

156:19 157:5

158:1,2,18,22

159:10,26

161:22,23 162:7,

13,18,23 164:7,8,

15 173:16,19,26

174:8 175:11,20

join  11:18 12:13

14:21 125:20

joined 97:7

167:14

joining 9:16

26:23 122:19

126:25

joint 166:3

juice 115:24

July 19:25,26

20:4 99:17

136:19,23,24

jump 90:15 162:1

164:22

June 19:13,14,16,

18,19,22 99:15

103:5 107:6,13

136:16

justification

163:22

K

Karén 11:9

127:13

keeping 166:21

key  20:20 57:14

152:5 168:13

Kharatyan 11:9

127:13

kidding 97:10

kids 127:22,23

kilometre 32:20

34:21 36:16

141:22

kilometres 32:17

145:11

kind  13:16 62:13

65:20 71:7 72:12

77:15 80:22

83:18 89:26 93:4

157:14 159:3,5

191:13

kit 54:9,11 151:6,

8

knowing 14:1

88:1

knowledge 92:8

94:20

Kuflevskiy 11:10

74:16,17 76:18

77:21,22 79:25

81:13,25 83:21

85:4 87:4,5 88:10

89:8 91:8 127:14

130:19,20 131:14

180:13 182:2

186:2 188:20

L Lab 53:12

labelled 53:2,4

laboratories

53:7,11

laboratory 51:24

53:6,8,10 150:8

153:1

labs 53:15,16

187:22

lack 160:13

ladies 182:6

lady 155:14

lagoon 21:13

33:3 35:14

104:23 111:14,17

142:5

lake 18:14 21:20

33:17,18 34:1

36:18,21 37:6

38:10,11 39:10

41:4 42:5,18

43:17 45:2,7,11,

13,24,25 46:3,7,

8,9,14,18,24

47:21,22 48:15,

17 49:2,4,13,19

50:7 51:1 61:15

65:14 66:3 68:20

70:9,12,26 71:16,

19 72:3,5,8,13

78:15 84:16,23

92:1,2,4,6,7,9,16,

18,19,20,25 93:1,

5,15,16,22,26

102:3,24 108:17

118:13,18 135:16

143:6 144:15

145:12,22

146:14,15,24

148:3,9,13,16,21

149:5 154:18,21,

24 155:9,13,21

157:15,16

158:10,12 159:7,

13,17,18,21

160:9,13,22,26

161:1 166:7

170:17,23,24

173:21 174:6,8,

11,13,23 175:1,5,

16 179:12

lakes 92:17

154:25 155:23,25

lakeshore 102:3

land  47:11 48:3,4

71:17 98:19,22

99:3 168:21,25

land-use 99:2

landfill 142:3 LANGUAGE 92:9 167:11

languages 30:9

large  43:5 50:15

82:9 92:4 149:13

163:14

larger 163:22

164:2

lateral 162:10,11

laterals 103:25

104:4,7 171:2

latest 106:18

Law 11:12

127:16

leachate 52:21

lead  23:3 26:13

97:8 140:4

167:16

lead-based 48:5

leader 140:23

leads 62:20

leak 41:1 157:14

165:14,20,26

166:2,8,11,20

leakage 157:2

165:17

leaking 40:23,24

165:18

leaks 103:25

104:2,4,7 156:26

171:2 188:9

leave 16:8 75:21

108:23 126:6

leaves 46:8

leaving 41:12,23

led 138:19

left 11:3 60:8

103:15,18 116:9

127:3,5

left-hand 24:4,9

51:1

legal 11:7,12

12:13,17 28:18

30:5 95:3,9,20,24

109:22 110:11

112:23,26 113:8,

15 120:6 121:14

123:19,24 126:13

127:9,16 183:12,

15 185:11 192:4

legislation

176:25

length 34:20

lessees 99:3

lethal 58:20

153:14

letter 30:10

level 38:22 40:8

58:10 152:26

153:19

liaison 23:3

licence 8:24 9:2,

3,11 10:13,14

18:5,6,10,12

19:10 21:5,6,14,

17 25:16,17

30:17,22 31:3,20,

23 32:24,26 33:5,

7 35:25,26 36:3,

4,6,7,10,14 38:23

41:8,9,22 60:25

61:17 96:7,12,16

97:5,6,14 98:2,

14,24 99:7,22,23,

26 100:4,6,18,20

101:7,16 104:24

105:8 106:6

107:18 108:11,14

113:26 114:5,19

115:4 122:6,7,14

131:5 132:9,12,

14,16 135:7,11

136:12 139:10

140:19,23 141:26

142:1,2,4,6,9,10,

13,15,20,21,22,

23,26 143:1,2

144:6 148:12

167:21 168:1,12,

14,26 169:15,18

170:2,4 172:7,10

177:4,15 180:20,

21 184:8,12

189:19 190:18

191:17 192:22

193:3,5

licensed 100:10

107:25 127:15

169:21

licensee 24:26

35:26 36:9 135:9

140:22 142:2,11,

24

licenses 131:3

licensing 11:11

20:24 26:1

130:24 132:19

137:16

life 42:17 51:18

150:2

light 48:6,7

146:20

lighting 56:18

limit  85:18 90:9,

12 101:13 170:8

limits 14:22

43:10 54:21

90:21,24 117:13

151:15 178:12,25

181:23

line/outfall 22:13

linear  34:20 55:1

151:23

lined 64:19

liners 157:17

lines 36:16 71:20

81:18,20 84:6,7

144:13 145:11

161:25 162:5

163:12,17,21

link 24:8

list 20:6,7 21:1

98:3,5 99:24

102:1 130:26

137:12 138:2

168:10

listed 98:20

136:26 168:22

171:22 177:22

literally 174:2

litre 35:18 58:8,

11,13,18 61:12

86:9,10 143:3

151:25 153:9,10,

12,14

litres 35:1 42:12,

14,19,22 43:21,

26 44:1,2,5,11

48:23 55:4,8

58:16 79:5,7

143:4 144:2,4

147:13 151:24

152:1,2 188:14,

15

local 12:10 23:7

26:4 33:15

123:17 138:3

155:14

located 15:26

16:9,19 32:5,19

34:4 38:1 126:2,6

138:15

location 40:3

64:14

locations 51:6

54:9 83:6 151:7

log 43:14

long 43:1,11 46:2,

4 64:7,11 93:17

142:6 155:9

longer 100:4

172:21

Lootie 9:4 122:9

loss 81:19 165:24

166:12 188:13

lost 40:23 81:22

lot  41:2 42:2

81:19 84:26

123:12 125:18

133:21 162:4

165:1

low 38:24 144:2

163:21

lower  68:9 78:18

lunch  59:19 60:8

M

M-E-A-G-A-N

113:5

macerator 21:9,

25,26 22:13 35:5,

9 36:20,23 38:5,

18 39:24 42:21

54:22 55:18 56:3,

13 84:20,24 85:1

101:2 104:18

106:22,24 108:7

111:4,11 145:6,

18,26 146:5,7,20

151:16 170:8

171:8

machine 38:19

made  65:9 98:4

99:4 117:14,22

118:2 168:11

169:6,9 178:13

main 25:1 36:26

37:4 38:10,15

41:13 48:16 75:3,

4 131:22 134:11

140:22 141:18,19

144:12,13

maintain 13:3

24:17 52:12

106:16 124:21

162:24

maintained

157:19

maintaining

83:11

maintains 13:10

maintenance

22:5 51:25 53:22

101:21 105:15,22

106:2,25 150:8

151:16 157:18

170:10 171:17,23

187:22

Majesty 10:4

major 18:19

majority 120:10

make  14:26 16:3,

26 23:23 27:19

28:20 35:6 40:26

62:14 69:7 86:15

97:2 101:18

104:13 105:18

109:24 110:7

111:9 114:18

124:15 139:26

146:3 160:12

163:19 167:18

170:22 171:20

191:10 192:19

making 16:14

17:6,13 126:12

130:1 190:14

191:25

management

10:6 18:15 21:23

22:2,3 26:17

33:14 46:19,21,

26 47:8,12 48:19

70:6,16 71:3,15

73:2,20,21 97:8

98:15,18 102:20

105:13,14 118:1,

12 119:1 135:20,

22 142:3 167:15

168:16,21 171:16

179:2,11,25

manager 26:11

64:23 66:10

96:25 167:12

mandate 98:17

114:24 115:5,9

116:11,12,19

168:19 176:24

177:2,6,19,21

179:1 181:26

mandatory

125:15

manner 130:4

131:25

manual 22:5

106:3,9,11,13,18,

21

manuals 52:16

101:21,25

105:15,21,22

170:10 171:17,

23,26 172:1,3

manufacturers

86:20

Manuk 12:12

March 10:13

18:11 19:2,3,4,6,

9 32:26 33:2 36:2

87:18 88:12

99:10 136:9,11

142:14 169:9,10

186:25

mark 30:12

162:3 184:18

marked 183:25

184:2,4

market 64:11

marketing 95:5

marking 96:1

Martha 127:21

Martha's 11:17

mask 13:6,7

125:14

masks 13:3,5

125:8,11,12,16

massive 165:14

material 49:19

106:15 107:3

148:21

materials 30:7

47:8 48:5 52:9

95:4 96:1 98:12

113:19

matter 47:6

49:21 65:24

115:22 148:22

183:21

matters 10:22

17:10,21 28:20

30:15 95:7 96:10

113:21 183:16

184:24 188:26

189:1

Mavis 12:12

max 174:9,14,23

175:2,13,17

max-day 44:3

maxed 173:21,25

174:1

maximum 14:23

42:18 58:17

93:15 153:12

166:12 175:5

Meadow's 11:12

127:16

Meadows 11:12

12:14,16,17

23:11 28:17,18

29:6,24 30:4

95:8,9,19,24

109:21,22

110:10,11

112:25,26 113:7,

14 120:5,6

123:23,24 127:16

183:14,15 184:14

185:10,11 188:25

Meagan 27:4

69:24 70:3 72:20

73:26 113:5,13

114:16 115:1

116:26 176:19

177:1 178:1

180:3 181:12,18,

19 182:2

means 25:22

40:12 58:9 134:9

137:20 192:15

measure 71:23

measured 46:13

71:23

measurement

45:10,16,17,19

46:8 63:25

146:22

measures 12:5

14:1 46:22 47:23

54:1 72:11

118:15 123:12

150:25 179:14

measuring 45:11

mechanical 39:1,

3 48:14 57:8

65:15 82:24

187:20

media 17:9,12,22

50:13 149:11,12

meet 37:19 57:1,

12 101:9 133:19

144:7

meeting 9:14

12:5 14:4 19:24,

26 21:3 24:25

25:4,11,12 26:2

43:10 58:5 59:3

61:6 64:7 85:24

98:11 99:16

100:2 104:2,9,12

105:2 117:13

118:11 131:10

133:17,19,22,25

136:18,21 178:11

191:3,8

meetings 13:22

25:25 124:17

169:12 191:14

meets 48:25

melt 157:21

158:19 160:21

melted 174:11

175:4

melting 159:17

member 15:11

27:22 92:11,15

128:9

members 11:2,4

14:25 16:7 17:19

25:18 27:18

91:15 92:8 94:19

104:11 112:18

115:23 119:23

126:25 127:1,3,6

129:6 138:21,22

153:26 154:7

155:5 182:16,20,

22 191:5,8,24

192:7

memo 54:20,22,

24 87:17 88:12,

22 89:23,26

90:21 94:3

106:26 117:11

151:14,17,18

184:26 186:25

memorandum

99:9,15

mention 27:22

59:14 65:5 70:23

84:6 184:1

mentioned 48:21

71:1 72:4 83:26

86:25 87:23

103:16 108:15,19

121:15 126:14

138:1 139:18

146:16 169:8

170:16 181:21

mentioning 82:1 mercury- containing 48:6

met 170:3

metal 48:2,3

meteorology

115:12

meter  33:26 34:2

35:3 37:12 45:13,

22 46:1,11 63:5

64:6,8,11,25

65:3,17,26 66:4

144:19 145:18

146:5,7 187:5

meters 100:26

method 50:21

149:19

methods 22:9

metre 34:5,7

36:14 41:6

142:16,19

145:14,16 146:17

147:1

metres 18:13

36:4 44:15,16,18,

19 46:2 48:24

61:1 62:2 101:8

102:15 132:7,10,

13 135:18 143:2

144:6 147:21,23

148:2,3,11

187:18

mic 129:11 167:6

174:19 182:9

microbio 43:9

micron 50:19

149:16

microns 50:14

microorganism

149:4

microorganisms

43:6 50:5,9 149:7

microphone

9:18 15:17 16:3

17:3 23:23 24:3,4

27:16 122:22

123:7 128:13

129:2,7,22,24

130:4 131:13

154:4 155:7

156:15

middle 12:3

123:11 128:6

migratory

115:10 116:15,23

177:10,25

milestones

135:25

military 32:12,13

66:20 68:8,15

141:13,14 164:26

165:1 166:14

milligram 35:17

58:8,11,13,15,18

153:9,10,12,14

milligrams 55:6

86:9,10 151:25

187:2,14

millilitres 55:8

millimetre

145:19,20,21,23,

25

millimetres

55:11

million 143:4

mills 152:1

mindful 129:24

minimize 13:17

46:23 47:1,20

minimum 83:2

Minister 134:22

192:25

Minister's 193:2

minor 188:9

minus 82:6

minute 42:12,14,

19,22 48:23

minutes 115:25

121:7 130:13

missed 19:7

missing 18:25

78:7 105:22

mistake 101:18

mitigated 56:5

mitigation 72:7

118:15

mitigations

70:13 72:22,25,

26

mix 39:4 75:17

85:21 149:22

mixing 50:24

75:16

mode 33:10

34:19

model 34:3

modification

15:3 22:8

modified 44:12

modify 12:9

123:15

modifying 108:1

moment 65:4

83:16 88:8 94:23

115:8,15 130:10

176:6

monitor 70:17

73:16

monitoring

14:25 22:7 52:13

70:11,17,24 71:1

73:4,18 98:15

100:24 107:17

118:18,19,22,26

168:17 170:5

172:7 178:9

179:16,18,20,24

month 153:1

172:11

monthly 35:4

107:19

months 136:20,

26

morning 8:21

91:23 123:5

129:17 154:18,20

motion 28:5,6

move 11:25 13:11

21:1 41:7 51:2

81:24 83:23 85:6

124:25 139:25

161:16 175:25

moved 32:13,14

40:11

movement 47:24

moves 160:26

moving 42:1

94:24 167:4

187:25

Mrazek 11:3

15:11 127:4

128:9 182:17

Mullin 155:9

156:4,5 164:19,

20 166:19

multimedia 43:4

51:3

multiple 50:2

149:1

municipal 25:2

140:24

municipalities

181:5

municipality

25:7,19 31:7,11,

15 32:3,4 33:9

59:1 140:26

146:18 147:2

mute 9:18 15:16,

21 23:23 29:17

122:22 185:25

muted 109:14

140:6

N

named 53:15

names 11:8

national 131:24

natural 115:6

116:13 174:13

177:8

necessarily

87:25 90:12

needed 93:21

160:10

needle 163:18

negotiate 115:15

nervous 156:4

network 25:23,

24 34:21 188:13

neuro- wastewater

104:20

nice 45:26 87:11

night 154:19

191:19

nitrogen 58:19

noises 9:19 15:17

122:22

non-accurately

58:20 153:14

non-applicant

69:10

normal 12:9

42:26 123:16

157:3 159:11

north 32:6 57:3,4

Northern 26:7,

12,18 60:10,13

66:11 95:11 96:4,

6,15,19,21,26

97:12,21 98:1

105:11 109:26

114:20 119:15

128:24 129:14

134:23 136:7

137:9,18 167:6,8,

13,23 168:6

173:17 189:9,10,

14,16 192:2,25

nose 12:26

note 9:15 14:10

99:1 106:16

120:10 122:19

125:26 179:15

noted 55:16,17,

26 107:9 118:17

151:24 171:25

175:21

notes 138:10

194:6

notice 12:20

13:2,8 20:11

124:7,18,23

125:1 134:6

noticed 160:17

November 194:9

NTU 43:2

number 18:10

24:8 28:19 36:8

43:26 44:14

54:16 55:9 56:12

57:14 62:3,4

68:7,18,21 79:17

85:5,6,7 89:10

98:13 105:21

125:1 142:22,23,

24 144:3 146:5

151:10 152:5

168:14,15,16,17

numbers 42:2

44:3 60:23 67:23

71:25 79:16

80:25 81:4,8 88:7

91:2

Nunavut 8:25

9:5,7,23,26 10:4,

5,7,9,15,19,20,21

12:17 13:21

14:22 15:12 18:7

20:12,13 23:14

24:1 28:18 30:5,

11,18,23 31:19

33:8,11 36:1,10

56:23,26 60:14

67:11 70:1 74:5,

8,13,14 91:17,18

94:13 95:9,20,25

97:1,3,13,15,24

98:19,20,24 99:6,

14,19 105:6

106:5 108:12

109:1,11,22

110:11,14

112:11,14,26

113:8,15,25

114:4,17,20

115:18 119:20

120:6 121:24,26

122:10,12,13

123:8,20,24

124:4,14 127:7

128:10,19,21

129:12,18 130:17

131:2,16,18,20,

22,24 132:2

135:3 137:11

138:12 140:15

142:2,7,12,26

154:3,12 156:17

167:17,19,26

168:2,8,21,22,24

169:1 180:11

182:18 183:15,

19,23 184:2,6,17,

21 185:11,22

186:16 189:17,23

190:25 193:4

Nunavut's 98:22

131:26 173:6

NWB 10:1,5

18:21,23,26

19:11,14,16,19,

22,23,26 20:4,11,

14,17 127:9

192:3,24

NWB's 20:21

127:7

O

O&m 22:5 52:16

54:21

O-K-O-N-K-W- O 95:16

objection 28:5

objectives 57:2

131:22

obligations

21:17

obsolete 52:8

150:15

obtained 15:26

126:2

obvious 47:9

occupants 104:5

occur  43:1 47:13

50:10 53:21

63:12,15 70:18

149:8 150:20

occurred 63:14

ocean 42:21

57:23 104:19

106:11,19 107:20

146:21 171:9

172:9

October 20:14,

17 30:19,24 63:9

107:14 137:2,7,

11,13 185:1,3

offer 160:19

office 25:3,19

33:13,15 124:15

140:25 167:15

187:22

officer 13:21

25:3 140:24

141:1

offices 32:19

Official 194:15

offset 188:13

Okonkwo 26:10,

11 66:9 95:15,16,

22,23 96:23,24

105:10 119:14

167:10,12

189:12,13

older 188:11

onboard 71:2

73:18 110:9

one-way 13:16

ongoing 12:5

53:9 150:17

179:10

online 140:12

141:3 185:20

open 55:18

Opening 8:20

9:22 121:22

123:3

operate 35:24

106:15

operated 18:15

33:10 135:21

operating 56:9

71:2

operation 22:4

25:8 33:16 38:2

42:13,19 43:1,11

51:18 53:21

101:21 105:21

106:2,20 150:21

151:15 170:9

171:16,23

operational

33:10 34:19

35:14,22 38:4

51:17 57:20

150:2 152:11

181:1

operations

105:14 106:25

operators 56:1

opinion 81:16

100:21 170:12

opportunity

24:25 27:24 89:3

97:2 114:18

119:2 167:18

176:16 180:1

185:7 189:5,17

190:12 191:2

opposed 90:12

161:17

optimal 131:25

options 56:15

order 37:19

45:17 47:19

70:12 93:24

163:1

orders 13:20

organization

150:26

organizations

54:1 104:10

138:3

original 21:5

33:11,12 36:24

57:15 144:5

145:26 152:6

163:15

originally 11:16

21:15 127:20

Ottawa 53:15

outcome 179:10

outdoors 83:6

outfall 21:9,11,26

36:23 37:23 38:5,

20,24,25 84:19,

20,25 100:25

106:10,19 107:20

108:9 111:4,6,12

145:1,6,25

146:21 152:26

170:6 172:9

outflow 67:24

outliers 107:22

outline 73:3

115:1 177:3

outlined 47:10

51:14 149:24

outlines 46:26

181:23

output 42:18 outstanding 21:16 101:25

103:1 132:23

134:12 137:2

185:4,15 188:26

192:10

overflow 156:21

157:17 159:2

160:13

overflowing

157:21 159:12

overflows 158:25

overview 11:25

18:18 97:26

128:15 130:22

132:18

oxygen 153:8

P

P21 10:26 138:24

package 133:8,

10 136:14

packed 16:26

126:17

pages 194:3

paints 48:5

pandemic 12:4,7

65:8 123:11,14

128:7 133:24

Panel 10:25,26

11:1,2 17:19

91:15 92:11

112:18 115:23

119:23 127:1,2

129:1 138:19,20,

23,24 139:2

154:7 156:9

182:16,24 191:23

192:18,21

Panel's 138:23

Pangnirtung

154:17

paper 159:1

par 36:15

parallel 38:16

110:22

parameter 56:22

parameters

87:1,8,9,12 88:9,

16 89:11,15,22

135:14 153:16

Pardon 173:4

park 131:24

part  25:8 28:13

32:16 36:6 61:9

62:12 71:14

75:16 77:10 78:8,

16 83:12 84:21

100:13 101:17

105:23 117:19

141:19 150:17

162:11 178:17

partially 25:5

165:10

participants

9:17 15:16

122:21 124:1

182:24

participate

119:3 137:26

180:2 189:17

participated

99:16 137:21

169:11

participates

98:23 168:26

participating

22:20 124:4

169:13

participation

130:1 189:21

190:15 192:7

particles 43:5,9

50:14,15,20

149:18

particulate 47:6

49:20 148:22

parties 9:15

17:13,22 18:1

19:8,12 23:8

25:26 28:23

98:25 121:3,7

122:19 128:4

133:1,6,11,19

134:8,9 136:11

137:21 139:1,22

169:2 174:16

185:8 189:6

191:24,25 192:13

partly 87:6

parts 97:18,19

100:13 177:24

party 154:6

156:14 180:8

pass 105:9 116:25

159:1 178:1

passes 35:5

104:18 171:7

passing 38:17

157:15

past 45:8 74:26

148:10 160:8

175:15

pathogens 43:12

patience 192:11

patient 15:5

PCBS 48:6

peak 67:23,24,26

pending 17:10

118:25 179:23

people 13:2 14:3,

12,14,16,25

23:13 29:7 32:8

65:16 125:9

127:11 141:10

171:20

peoples' 12:23

per-capita 44:26

percent 14:24

33:25 40:24

43:12 76:22,23

77:26 78:2,3,4,5,

6,16

percentage

78:26 79:1,3,11,

16,19 187:26

percentages

74:25 76:22

79:13 188:3

percolated

158:13

percolating

159:6

perfect 81:18

performance

57:13,19 152:10

period 40:19

50:24 78:3

149:22 160:16

188:16

periods 79:9

permafrost

158:14 163:26

permit 36:3,13

41:5,11 44:17

93:25 143:2

144:5 148:10

permits 99:2

person 23:2 26:7

43:21 55:4,8

133:19 151:25

152:2

personnel 48:12

68:15 165:2

191:6

perspective 68:4

pertain 98:22

168:24

pertaining

143:25

petroleum 48:18

54:6 151:4

phase 37:22

PHC 20:2

phone 24:8 29:7,

20,25 109:15

phones 15:19

122:24

physically 25:5,

6,11 124:20

pick 16:18

picked 50:6

149:5

PIDO 11:20

127:25

piece 45:26

pieces 62:4

Piercey 25:6

59:2,4 104:12

140:26

pinch 163:17

pipe 22:1 34:14

40:5,26 45:26

65:25 80:2,4,5

84:20,22,26 93:8,

11 103:21 141:20

163:18 166:1,3,4

175:15

piped 102:4

pipes 49:18 76:10

80:11 92:22

148:20 165:20

piping 46:4

188:14

place 13:20,24,25

14:22 49:20

56:25 73:16

90:25 91:26

150:18 161:12

places 85:11

172:9 188:5,7

placing 71:20

plan 22:3,4

46:21,26 47:12,

16,17 53:19,25

54:3,8,21 65:20

70:6,16 71:15

72:1 73:2,20,21

83:18,25 84:1,2,

10 102:20 103:4,

6,8,13,14 105:13

107:2,5,6,8,9,10,

13 108:16,20,21

118:6,13,14

119:1 140:7

150:18,19,24

151:1,5,16

171:24,25 172:23

173:2 179:4,11,

13,25

planned 104:20

105:18 171:21

planning 22:11

82:7 84:9 98:16

108:5 168:18

172:19

plans 12:9 22:2,6

46:18,19,20 92:2

98:15 104:25

105:4,14,21,25

108:10,13 118:1,

7 123:16 168:16

170:26 171:12,16

172:25 179:2,5

plant 21:11,25

33:19 34:4,6,10,

12,16,17 35:8,12,

16 36:19 37:11,

17,19,21,24,25,26

38:2,6,14 39:14,

15,19,23,26 40:1,

4,12,13 41:16,18

42:25 43:3 45:18

46:6,7,11 48:17

51:12,20 54:16,

23,25 56:15,16

58:4,7,10,22,23

63:6 64:16,17

66:2 67:25 74:23

75:1,5,14,18,19

76:6,9,13 77:7,9,

12,17 82:1,16

83:26 84:4,18,24

85:7,9 89:15

90:1,23,25 91:3

101:26 102:5

103:9 104:20,21,

26 105:1,4 106:1,

3 108:3,18 111:5,

7,8,9,15 117:6,9,

12 118:14

135:22,23

144:21,25,26

145:2,4,7,17,24

146:12,16,26

147:4,5,7,9

148:25 149:23

150:4 151:10,18,

20 152:18,25

153:4,6,18

171:10,13 178:6,

9,11 179:13

180:26 187:16

pleaded 149:15

ploughed 160:15

plugs 56:18

plus/minus

58:19

PM  27:26 60:2,4

121:18,20 185:3

PMO 33:15

PO 33:13

point 21:11 37:26

38:21 39:2,3

40:10 58:10,21

84:8 89:1 91:1

100:12 103:24

130:7 134:11

145:3 146:22

147:4 152:25

154:1 160:10,11

162:25 163:1

169:24 174:26

187:11

points 22:9

151:22 160:3

Polar 155:22,23

policies 116:18

177:13

pollution 47:5

116:22 177:24

polymer-based

50:18

Pond 33:12,13

pop-up 24:5

population 32:7,

9,10,11,14 43:20

44:25 62:5,11,17

66:17,19,21,23

67:2,18 77:14

141:11,12,15

147:16 175:6

portion 82:3,8,

22,24 88:14

182:9

pose 165:7

positive 101:11

107:15

possibility 100:3

161:15

post-water 89:14

potable 33:17

potential 53:25

54:4 56:1 100:9

102:21 135:10

150:24 151:2

169:20

potentially 47:25

160:14 163:24

pours 49:16

148:18

power 10:22

48:13 151:5

powering 54:7

Powerpoint

30:16,21 113:23

114:2 184:11

practice 17:24

practices 42:2

70:7

pray 9:21 123:1,2

193:11

prayer 9:21,22

123:1,3 183:2,3

193:9,12

pre-wastewater

89:13

preceding 187:9

precision 53:5

predesign 57:9

105:1 171:11

prehearing

19:24 20:1,4 21:3

98:6 99:17,24

133:18,26 134:1

136:19,22,23

137:1 169:12

preliminary

18:24 19:1,4,6,7

82:16 99:8 137:5

prepare 89:26

prepared 46:14

50:24 54:19

80:24 87:17

90:20 120:18

149:21,22 151:14

presence 66:20

166:15

present 11:7 17:9

31:22 39:8,16

41:23,24 93:18,

19 96:4 112:23

127:8 131:8

140:9,19 142:10

176:16 181:3

190:12

presentation

26:8,24 28:9,13,

21 30:7,16,21

31:19,24 58:25

59:10,23 60:23

70:5,23 84:15

85:17 93:18

94:23 95:2,3,26

96:3,20,21 97:2,

17,18,19,20

100:14 109:6

110:5,17 112:20,

23 113:19,23

114:2,9,10

115:20,26 116:6,

25 119:25 126:24

128:19,20,26

130:8,11,17

137:5,10,14

139:6,7,8,15,19,

26 140:4,14,15,

21 142:9,17

153:22,26 167:2,

5,8,18 168:5

169:7 173:12

175:24 176:1,3,

12,22 178:1

180:4,7 182:7,20

183:22 184:3,7,

11,20

presentations

91:23,25 94:17

128:23 137:8

169:25

presented 28:14

30:7 45:15 66:19

139:1 184:2,17

190:18

presenters 95:10

154:15

presenting 12:25

28:23 38:8 95:5

114:23 140:7

presently 38:11

presents 53:25

150:24

preserve 115:6

116:12 177:7

pressure 34:25

164:13

presume 82:4

pretty 82:5 90:26

136:20 157:1,2

174:9

prevent 16:4

45:6 47:23 49:20

70:8 75:7 124:10

148:9,22 161:12

179:14

preventative

150:25

prevention

116:22 177:24

preventive 53:26

previous 19:9

41:5 71:24 87:19

101:7 142:15,17

previously 48:21

55:16,17 106:14

110:1

primarily 67:19

178:25 181:24

prior 16:25 17:26

40:22 63:10

64:16 72:2 90:22

103:6 105:4

128:5 134:7

165:13 187:9

private 162:15

problem 24:12

procedural

18:18,20 20:20

28:19 30:15 95:6

96:10 113:21

130:22 131:6

135:24 183:16

184:24

procedure 47:10

procedures 15:6

17:24 47:1,5,8,19

52:18,24 54:4,10

56:12 106:25

151:2,7

proceed 8:22

9:20 16:18 18:1

24:18 26:4 28:8

95:6 110:13

121:15 122:26

126:23 140:14

176:11

proceeded 133:3

proceeding

11:22 12:8 17:7

27:12 123:14

128:1 187:10

192:25

proceedings

8:19 60:2,4

121:18,20 125:21

129:4 184:4

193:15 194:5

process 15:4

25:17 26:2 34:25

49:26 57:11,18

73:16 75:20,21

77:11 85:21

97:14 98:4,7 99:8

100:22 119:3

125:24 130:24

132:14,19

137:16,20 138:1

148:26 152:8,23

168:1,12 169:6

177:16 187:19

processes 52:18

98:24 168:26

processing 10:23

139:20,22

produce 53:8

produced 76:5

productive 130:3

182:25

program 22:7

52:12,17 118:3,4

179:4

programs 52:13

72:7 116:18

177:13

progressed

130:6

project 27:4,5

132:6 134:24

139:9 147:12

150:17 151:13

161:14

projected 60:22,

26 62:5 74:20

projection 66:15

projections

62:21 66:25

promised 91:11

proper 24:17

53:20 107:15

150:19

properly 157:19

proponent 84:9

134:10 137:23

proponents

132:7

proportional

79:15

propose 30:11

96:8 166:25

proposed 35:8

36:7,11 46:11

50:17 57:11

75:14 83:5 86:21

118:18 147:3,12

152:7 179:18

187:16,18

proposing 46:5

protect 13:4

46:22 47:19

70:26 105:19

115:11 116:15

149:6 171:21

177:10

protecting 42:17

93:11

protection 50:5,

10 116:22 149:3,

8 177:23

protects 50:8

protocol 123:21

protocols 13:20,

22,24,25

provide 9:25

11:21 12:11 18:2,

17 27:23 50:4,9

72:2 81:6 83:22

87:7,20 90:2

91:10,11 123:18

125:17 129:1

131:23,25 133:13

134:9 138:14

139:9 149:3,7

161:2 173:2

185:8 189:6

provided 16:15

30:11 31:26 37:8

45:24 47:15

87:10 89:10

90:11 99:10,13,

18 101:22 102:24

103:8 105:25

106:11 107:1

115:2 117:4,11,

21,23 118:7,12,

22 126:12 132:24

136:10 137:23

144:17 168:13

172:1,3,24 177:4,

17 178:4,19,22

179:11,20 180:22

181:17 183:23

184:16 186:9

providing 20:5

26:8,24 28:23

57:22 98:26

103:6 106:2,8

108:9 152:13

169:2 171:12

172:25

Province 194:8

provision 48:13,

15 108:12

Provisions

116:22

proximity 13:18

47:22 125:11

psi 34:26

public 8:22,23

9:6,16 10:2,8,24

11:26 12:6,19

13:19,21 16:7,16

17:15 20:8,9,12,

14,15,18 22:17,

20 27:18,21

30:12,19,24

32:17 34:13 71:9

96:2,9 104:13

113:21 120:11,13

121:25 122:11,20

123:5,13,17

124:15 129:16,20

131:16 132:15

133:2,6,12 134:2,

6,7,14,16,19

137:3,6,8,26

138:4,6,18 139:3,

21 169:13

182:10,21 183:6,

25 184:5 191:3,

22,25 192:15,23

193:4,10

publicly 17:18

pull 24:5

pump 21:8,20

22:12 33:17,18,

19,21,26 34:2,5

35:21 36:17,21,

22 37:7,9,10,13,

16 38:4,12 39:10,

12,13 41:15 42:4,

12,18 45:24

46:18,24 47:21,

22 48:9,16,22

49:2,15,16 63:6

64:9,10,12,15

65:14 66:3 70:10

83:25 84:3,17,23

85:1 92:20,22

101:3,26 102:3,

16 103:4,9 106:3

108:8,17 110:21,

22,24,25,26

111:1 118:13

144:15,18,20,21

145:5,12,22,24

146:15,25

148:13,18,19

164:9,12 165:22

170:26 172:22,23

174:3 179:12

pumped 173:26

174:8,14,23

175:2,13,16

pumping 21:20

45:6 175:5

pumps 42:13,19

49:18 50:7 51:23

68:1 85:2 148:20

150:6

purpose 10:8

45:11

purposes 16:13

126:10 166:9

push 38:12

put 15:19,21

45:24 83:13,15

86:17 108:22

122:3,24 150:18

161:12 165:3

173:13

putting 13:3

Q QA/QC 53:14

QC 53:1

Qitsualik 11:16

127:20 192:5

qualify 132:11

quality 21:18

22:4 27:5 45:12

52:11,17,18,22

53:6 58:23 69:24

70:14 72:24

85:21 89:23

92:24 107:8,10,

21 114:15 115:6,

7 116:12,14

118:3,5,17

152:21,22,23

153:7,19 171:24,

25 172:8 176:19

177:7,9 179:3,16

quantities 132:9,

12

quantity 21:19

43:16 60:24

61:13 64:18

66:13 75:19 77:8,

13,18 100:24

102:11,14 147:10

164:23 170:5,21

quarter 162:1,19

quarter-inch

161:25 162:5

Quarterly

107:23

quarters 162:2

Queen 10:4

question 17:23

27:23 31:26

58:26 59:16 61:5,

7,26 62:24 63:1,

3,16 66:4,12,13,

14 68:14,26 69:5,

7,10,25 70:4,15,

21,24 72:16 73:1,

8 76:16 77:6,23

81:14,17,24,26

82:17,23 83:12,

23,24 84:9 85:5,

6,23 87:3,6 89:2,

10,25 91:16

93:13,24 94:14,

18,20 109:12,17

110:6 112:3

119:10 128:11

154:8,9 155:4,6

156:1,7,11 157:6,

8,12,13 158:1,4,8

159:25 160:8,12,

23 161:3,22

162:10 163:3

165:7 166:18

173:22 174:16

180:25 181:6,7,

11 182:3 185:26

186:1,18 187:15,

23,26

questioning 60:7

94:22 119:7

questionnaire

12:24 16:11

121:5 124:8,9

126:8

questions 13:25

15:13 59:14

60:14,17 66:7

69:6,26 73:25

74:2,5,9,11,14,18

91:9,12,17 97:9,

16 109:7,13

112:5,9,12,15,18

119:4,8,13,16,18,

21,23 120:23

129:1,10,11,19

133:13,15 137:24

138:7,10,16,25

139:24 153:23

154:1,2,5,12,26

156:13,17 159:9

163:4,6 164:7,17

166:25 168:3

171:3 173:10,14,

17 174:17

175:10,23 180:2,

5,7,11 182:5,14,

20 183:17 184:20

185:14,24 186:5,

8,12,15 188:17,

18,21

quick 65:22

quickly 163:25

Qujannamiik

109:4 155:2

156:10,11 190:3

R

R-O-Y 29:23

rainfall 157:20

raise 104:11

129:5 154:3

raised 54:18

85:23 98:8

151:12

rate 42:20 44:8

163:20,21

rated 14:24

raw 49:21 72:5,

13 148:23 187:13

RB 185:5

read 120:17

reading 101:18

ready 134:12

153:23 180:26

reagent 34:15

real 66:23 182:23

realistic 65:19

reality 121:9

realize 12:18

realized 100:20

101:20

reason 75:4

80:12 124:13

157:23 166:6,8

188:3

reasons 75:4

recalculated

187:9

recall 155:13

receive 35:12

38:1 145:4

received 9:13

18:21 19:5,7,14

20:19 53:7 136:6

137:4,7 138:6

139:19 183:22

receives 132:20

133:5

receiving 40:5

85:9 152:19,20

recent 156:20

174:2

recently 60:21

100:17 104:1

107:18 170:2

recess 120:1

121:13

recirculation

34:25 51:8 148:7

reclaimed 108:6

reclamation

22:11,12 98:16

103:14 108:5,13,

20,24 168:18

172:19

recognized 129:5

recommence 72:7 RECOMMENC ED 60:4 121:20

recommendatio n 9:13 17:16 58:5

recommendatio ns 19:21 99:13

102:19 115:2

118:2,8 138:26

139:1 169:10

177:3 179:6

190:2

recommended

35:17 45:4 49:26

56:12 87:20,21,

24 88:2 105:25

117:22 118:19

148:6,26 151:15

178:21 179:17

187:1,3 193:2

recommending

108:1

recommends

105:6 106:4

108:11 109:3

173:7 189:26

reconvene

183:11

record 11:22

17:7,15 27:17

28:26 29:10 35:3

64:3 77:2 95:14

113:2,11 120:17,

19 129:3,8,18

156:2,16 166:15

175:21 192:15,

20,24

recorded 17:7

recording 128:1

recycling 48:8

reduce 47:6

72:12 77:18

86:16

reduced 68:7

reductions 88:3

refer 10:1,11

97:20,23 122:5

168:5,7

referenced

117:20 178:18

referencing

101:15

referred 101:16

refers 10:26

reflect 15:4 21:6

52:19 106:17

reflected 44:4

55:1

reflective 186:25

refrain 17:13

refreshment

16:21 24:16,18

126:13

refreshments

13:12

regard 71:19

registration

138:9

regression 55:1

151:23

regular 71:5

76:23 150:21

regulation 10:6

41:7 93:9 142:18

181:22

regulations

42:16 56:21,25

98:19 114:24

115:13 116:17,20

117:14 132:17

168:22 177:12

178:13 181:4,5,6

regulatory 57:3,

6 98:21 168:24

Rehabilitation

144:24

reinstalled 72:9

related 10:22

102:11 105:21

117:5 127:23

139:20 154:8

178:8,17,26

179:2 180:5

181:22,24 187:23

relates 178:5

relating 117:8

relation 20:20

60:9 118:1

Relations 26:6,

12,18 60:10,13

66:11 95:11 96:3,

6,19,21,26 97:11,

21 98:1 105:11

109:26 114:19

119:15 128:23

129:13,14 134:23

136:7 137:9,17

167:6,8,13,22

168:6 189:13,15

192:2

relationship

77:16

relay 15:14

128:12

relevant 114:25

137:22,25 176:25

remain 57:15

72:10 142:25

152:6

remains 43:2

remarks 8:20

14:15 121:22

123:7 182:11

185:8 189:6,8,10

190:6,7,24,25

191:20

remediated 84:8

remediation

46:20 47:16

48:10,18 103:4

remember 16:24

81:17 88:12

126:15 155:18,19

166:13

remind 12:3

15:18 95:2 121:3

122:23 123:10

reminder 23:18

reminds 17:19

remit 192:21

remotely 25:14,

16

removal 50:5,20

57:12 149:4,17

160:18

remove 43:5,8

64:14 104:18

149:12 171:8

removed 48:1,8

52:1,9 103:18

150:10,16

removes 50:13

removing 108:26

renew 9:1 97:4

122:6 167:20

renewable 115:9

116:14 177:9

renewal 10:12,23

18:4,21 22:16

31:2 96:12 100:6,

22 109:2 113:26

114:5 117:19

127:8 130:6

168:12 169:17

170:13 173:6

178:18 182:15

189:18,26 192:16

renewed 108:10

122:14 193:3,6

renovation 41:21

repaired 81:20

165:26

repeat 69:9 186:1

replace 45:6

148:8

replaced 104:1

replacement

18:10 41:13 45:2

56:18 111:19

replenishment

148:3

report 17:18 57:9

80:24 85:12

87:19 88:25

99:24 136:23

137:1 155:17

reported 104:4

144:3 186:19,24

reporter 11:23

14:6,13 15:11

17:2 49:10 128:2,

8 129:21 174:18

192:5 194:15

reporting 11:24

47:13 54:10,13

128:3 151:7

reports 22:2

53:13,14 98:15

105:14 168:17

representative

22:22 23:8 24:26

26:5 27:9 28:1

192:1

representatives

140:8

represented

146:12

representing

23:2

reproducible

53:9

request 27:20

44:17 45:16

62:15 100:7

103:2 135:10

144:5 180:9

186:1

requested 9:11

18:7 21:15,19

41:11 43:17

60:20,25 89:21

93:25 101:10

102:12,14 117:7

132:9,23 135:4,8,

13,14,19 143:1

147:11 148:11

164:23 170:21

178:7 180:22

requesting

19:12,17 36:13

41:8 45:10 60:18

61:19 62:1 77:5

81:5 85:24 100:4,

6 169:17 186:12

requests 169:19

require 28:22

56:26 132:13

188:11

required 16:12

20:12 22:8 48:25

66:25 188:13

requirement

108:10 123:17

124:14 126:9

requirements

12:10 22:8,10

47:1,13 51:13

54:12 108:2

149:24 151:9

152:10

requires 107:19

172:10

research 155:25

researcher

155:15

reservoir 51:5,6

52:1 150:9

resident 141:17

residents 94:16

131:26

residual 58:14

153:11

Resolute 8:23

9:10,24 10:18,26

11:18 25:7 30:18,

23 31:3,8,12,16,

23 32:4,5 33:9

34:14 43:22

56:23 57:7 59:2

65:8,10,11 66:17

83:9 96:11

100:18 106:24

107:4 113:26

114:5,22 122:18

135:7,12 138:23

140:20,26 141:6,

8,12,17 146:18

158:14 160:16

165:4 167:24

170:2 182:14,23

184:9,12,26

189:20 190:14

191:7 192:10

193:9

resolve 115:22

resolved 98:10

117:17,26

118:10,25 134:13

170:20 178:16

179:9,23 190:19

resolving 137:22

resources 26:12

66:10 96:25

98:18,23 115:10,

11 116:14,16

167:12 168:20,25

177:9,11

respect 17:17

20:5 27:11 98:2

110:1 113:16

180:16 185:13

respectful 130:3

182:25

respecting

113:25 114:4

respond 19:17

59:16 70:21

97:16 134:10

136:26 157:8

163:6,7 168:3

174:20,25 181:12

185:23 186:7

189:25

responded

183:18

responding

174:17

response 19:20

47:10 54:1 73:7

103:5 117:11

118:7,11 150:20,

26 178:10 179:5

184:20 186:15,22

187:17 188:6

responses 53:20

120:16,22 184:16

188:17

responsibilities

98:2 131:19

responsibility

104:7 173:14

responsible 10:6

127:2

rest 169:25

restrictions 12:7

124:3 133:23

resubmit 73:22

resubmitted

107:6,14

result 57:20

152:12

results 53:9 55:2

retains 99:26

return 121:4

182:8 193:8

review 10:8 11:6

18:24 19:4,6,12,

14 72:2 96:7,15

97:14 98:5 99:7,

9,11,12 103:12

105:17 114:26

117:21 127:8

132:26 133:4,9,

11,14 136:15,16

137:20 168:1

177:1 178:20

reviewed 13:21

19:19 132:21

136:2

reviewer 177:15

reviewers 117:23

178:22

reviewing 20:22

135:1 171:18

176:21

reviews 54:24

151:19

revised 42:24

revisited 187:9

Richard 31:1

Rights 10:15,21

20:13

rises 188:15

risk  106:22 181:3

risks  56:4 123:13

river 156:24

159:12,18

road 156:20,25

157:3,12,15,17,

18,21 158:10

160:7 161:12

165:18 174:13

roads 161:17

166:21

Robin 11:11

20:24 127:14

138:9,13

role 176:22

Roll 22:24 126:22

roof 52:7 150:14

room 14:14,17

16:1 41:23 52:7

60:8 140:8 141:3

Ross  11:3 15:11,

14 127:3,4 128:9,

12 182:16

roughly 32:8,14

34:26 141:16

rounding 79:3

188:4

routine 53:21

Roy 23:3,12

24:21,23,26

28:14 29:22,26

30:26 31:21

41:26 55:15

57:24 58:1 59:5,

13,25 61:4,24

64:1,4 69:3,16

70:22 73:9,13,15

75:12 76:25 77:3

78:12,23 80:17

82:13 84:14

85:16 89:20 90:6

92:13 94:9

109:16,24 110:3,

16 112:2 119:9

140:11,17,18

143:16,20,23

144:11 145:14,16

146:2 152:15

157:10 158:7,19,

23 159:23 160:2

162:9,15,22,26

163:2,8 165:9

175:1 185:4,25

186:11,17 191:1

rule 152:17,20

ruling 42:24

run 93:18 158:12

161:24 174:13

rundown 15:3

125:23

running 38:16,20

110:20 111:23

158:10 165:18

runny 12:26

runoff 158:16

160:6 174:12

runway 92:24

rushing 185:18

RUT-2 107:19

108:2

Ryan 11:19,21

26:21 127:24,26

192:6

S

S-A-R-A-H

95:18

safe 12:9 123:16

124:21 125:13

131:20 193:8

safely 48:1

safest 124:4

safety 12:4,11

56:4 123:12,18

sagging 188:9

Sakaisie 91:20,

21 94:14

Sakiasie 11:3

127:5 154:9,16

155:3 156:7

182:17

Sakiasie's 155:4

sample 52:24

152:26 172:10

187:12

samples 53:1,7,

10 107:19 172:8

sampling 22:7,9

52:24,26 107:23

108:2 152:24

172:14

sanitizer 13:5

16:24 125:4,5

126:16

Sara 11:23 15:10,

14 128:2,4,8,12

192:5 194:3,14

Sarah 26:13,16

60:10,16 61:5

66:13 95:17,23

97:7,19 100:12

105:10 108:21

167:7,14 169:24

173:11 174:19,

21,24

satisfaction

33:20 107:12

110:25 111:10,

16,25 158:5

satisfied 101:5

102:13,25 105:26

106:23 171:14

satisfy 38:22

39:16 40:7,14

58:23 105:5

153:7 165:23

satisfying 153:20

saved 174:12

scenario 62:14,

22

scenarios 53:26

150:25

schedule 63:14

132:17

scheduled

136:18

science 166:1

scientific 159:3

scope  18:9 21:5,6

48:9 98:13 99:21,

23 135:2 168:14

169:15

screen 24:10 37:8

42:15 93:3,5,10

115:21 130:11

144:16 175:26

176:6

screening 12:24

16:10 126:8

sea 35:7 36:24

37:24 38:20 39:5

40:9,11 84:20,25

141:20 145:2,26

152:20,21,22

153:21 157:16

158:11 165:19

search 155:25

season 49:4,23

72:11 148:24

150:12

seawater 152:23

secondary 50:17

section 10:19,20

35:19 165:16

sections 32:15

84:25 107:3

sector 102:8

104:23

securely 48:7 sedimentation 118:16 179:14

seeking 8:26 31:2

seepage 81:19

selected 48:24

selecting 51:19

selection 37:22

41:16 150:3

send 97:9 153:1

senior 25:10,13,

15 31:25 41:19

61:8

seniors 141:2

sensors 56:11

September 99:20

101:14 103:7

106:12 107:1,7

169:11

Sergey 11:10

54:14 55:13

74:17 77:22

79:25 81:14,25

82:14,23 87:5,16

88:11,22 103:15

127:14 130:8,15,

20 131:12

139:17,18

180:10,14 181:21

186:2,11 188:19

Sergey's 77:6

89:25 185:14

service 8:25

45:21,23 104:13

122:2,16 142:25

services 10:10

11:6,10 18:8

23:15 31:20 33:8

36:1,9 53:15

60:15 70:1 91:18

97:15,25 99:6

102:9 110:15

114:21 127:14

128:22 135:4

140:16 142:12

156:18 167:20

168:3,9 183:20,

24 184:18,22

185:13 186:16

189:24 190:26

Services' 97:4

109:2

servicing 104:8

session 16:17

20:10,16,18

22:17 27:25 60:6

94:15 120:3,7,9,

12,23 121:8,21,

22,24 122:26

123:3 126:20

128:15,18 130:18

140:16 154:13

156:18 167:9

173:18 176:13

180:12 182:9,11,

13,26 183:1,3,7

184:7,10 189:21

191:26

set 9:25 55:3

132:16 149:15

settlement 10:4,7

32:5,18 47:3 70:7

141:9

seventy 147:15

sewage 9:9 10:17

21:12 31:6,10,14

33:3 35:13,14

39:4,23 40:2,4,5,

6,23 42:20 74:22

75:8,17 80:12

85:9 88:13,14,16

104:21,22,23

106:24 107:20

111:13,14,17

122:17 135:5

142:5 145:4

172:9 180:23

188:12

sewer 34:22,24

35:5,21 36:16

37:4 38:15,17,26

39:2,18,21,22

44:10 144:13

145:11 147:19

148:1 165:21

shallow 159:15

share 59:15

104:14 129:10

shared 31:24

103:10

sharing 33:9 61:7

70:24 176:2

182:23

she'll 11:18 12:13

138:15

sheet 126:6

sheets 16:9

Shelf 155:22,23

shipped 65:6,8

shoreline 146:23

short  24:15 32:13

115:21 122:5

135:4

short-term 45:21

56:14

shorthand 194:5,

6

show 138:15

showed 74:19

170:17,18

shown 62:8

shows 83:14

84:16

sic 9:1 10:13 18:6

41:6 94:22

103:22 112:2

123:6 126:16

141:2 143:4

145:7,8,10

157:10 180:6

side 13:12 16:20

24:5,9 51:1,26

88:2 152:17

sign 16:8 124:13

126:5

sign-in 12:21

Signal 34:4

36:19,22 37:11,

16 38:13 45:18

46:6,7,10,25

48:17 50:1 51:13

66:1 67:24 83:26

102:4 108:17

118:13 144:18,

21,22 145:15,18,

24 146:15 147:7

148:25 149:24

179:13

significant 49:3,

23 52:3 57:17

68:21 78:17

106:14 148:14

150:11 152:8

166:14

silent 15:19

122:25

silt 49:5,14 71:15

72:9 148:16

similar 12:25

57:15 94:16

152:6 165:4

simple 188:4

simply 41:17 simultaneous 11:15 162:14

single 20:3

136:22

single-man 56:7

site  20:21,23 21:8

37:22 41:16

48:10,11,19,23

49:5,6 50:23 52:5

86:4 88:24

103:15 108:23

142:3 148:16

150:13 157:23

site-specific

101:12

sites 46:25 67:19,

20 86:3 89:5

186:21 187:1

sitting 138:22

situation 64:20

67:20,21 86:17

141:8

sixteen 44:24

143:4

sixth 107:17

size 50:14,19

83:15 149:13,17

162:1 187:16,18

sized 83:19 86:7,

15

sizing 68:1

187:19

sketch 38:8 143:8

skill 194:7

slide 32:3 40:15

42:1,23 43:15

44:20 45:9,15

46:17 47:14 49:1

51:11 54:14

55:12 57:25 58:3,

24 63:4,7 74:19,

24 82:1 84:1

89:10 103:24

117:18 130:25

132:18 134:18

143:11,24 146:11

147:20 152:16

153:3,22 168:22

170:1,14 173:9

slides 55:13

66:18 84:15

97:23 98:20

108:15 143:9

slightly 79:17

slow  42:7 49:9

67:13

slowly 17:5 32:3

129:24 158:20

small 32:23 50:5,

20 149:4 158:24

164:13

smaller 35:6 43:8

149:18 164:3

smell 55:24

smooth 190:15

snack 16:21

125:1 126:13,16

166:26

snacks 13:15

16:25 125:2,3

snow 47:11

157:20 158:19

159:16 160:14,

15,18 174:11

175:4

sodium 54:5

151:3

soil 48:20 115:7

116:14 177:8

soils 47:26 102:23

sole 25:18

solid 33:1 38:19

52:15 53:24

100:11 142:3

150:23 161:4

169:22

solids 35:6 55:5

58:12 86:9

102:23 104:18

153:10 171:8

solution 58:7

son 155:15

sore 13:1

sort 15:2 68:7,18

90:24 120:21

125:23 137:1

155:15 163:16

sorted 133:15

171:4

sound 59:2 81:9

192:6

sounded 155:17

source 21:21

33:17 38:10 42:4,

11 48:22 50:9

52:23 64:8 80:10

102:2 149:7

170:17

sources 53:2

southern 83:6

117:13 125:9

178:12

Sowdlooapik

11:4 91:19,20

127:5 154:10,14

156:9 182:17

space 66:3 83:3

spaces 187:21

speak 14:6,9

17:4,24 27:8,13,

14,20 28:3 59:11

63:22,25 68:11

77:2 109:20

117:3 129:2,3,6,

22,23 178:4

speakers 16:5

speaking 14:7

16:2 60:17 78:24

88:22 90:19 94:4

116:10 128:5

174:21

special 93:9

182:22

specialist 26:17

97:8 167:15

species 92:6

Species-at-risk

116:24 177:26

specific 47:18

133:21 181:4

specifically

56:23 82:7 117:6

163:13 179:3

specifications

46:15

speculating 81:8

speculation

62:16

spell 28:26 29:9,

19 95:14 113:1

spent 93:23

spill  22:3 47:10,

13,17 53:18,19,

26 54:3,8,9,10,11

107:2 118:6

150:18,19,23,25

151:1,6,7,8

171:24 179:4

spills 47:11 53:20

54:5,6 150:20

151:3,4

spoke 114:15

171:2,6

SPOKEN 92:9

167:11

spread 124:11

spreadsheet

80:23

spring 160:6

174:12

staff 11:4 17:20

27:15 67:9 74:5,

10,13,14 79:24

81:12 91:7,14

94:11 112:11,15

115:16 119:18

121:14 123:8

126:25 127:6

128:20 129:6,12

130:5,17 132:22

156:10 180:9,11

184:15 190:14

192:4

stage 9:26 43:4,7

50:12 51:2,3

105:1 133:4,11,

25 134:11,15,17

136:6,17,25

149:10 161:4

171:11

stakeholders

54:19 151:13

stand 9:21 123:1

183:2 193:11

standard 37:12

54:11 144:19

151:8

standards 52:13

57:13

start 8:22 24:21

59:24 60:7 64:25

85:22 97:26

111:17 114:23

119:7 128:18

129:16 131:1

135:26 143:9

169:14 176:21

183:10 189:8

started 102:17

123:5

starting 27:25

103:6 120:8

189:7

starts 159:17

state  17:4 28:26

29:9 64:2,3 77:1

95:14 97:18

113:1 128:4

129:23 148:13

155:8 156:16

174:16

stated 108:21

statement 30:10

63:23 113:10

statements 17:11

30:9 120:13

station 21:8,20

22:12 33:19,21,

26 34:2,5 36:17,

21,22 37:7,9,10,

13,16 38:5,12

39:10,12,13

41:15 42:4,12,18

63:6 64:9,10,12,

15 84:17,23 85:1

92:20,22 107:19

108:8 110:21,22,

24,26 111:2

144:16,18,20,21

145:6,12,22,24

172:22,23

status 21:16

35:25 36:6 142:9

144:12

stay 67:14 80:5

124:20

stays 159:17

stenographer

67:14

step 32:2 101:11

108:18 129:2

133:1,17 134:5

Stephanie 11:8

13:26 23:26

29:15 67:9,11

73:11 74:8 94:13

109:9,11 112:14

115:18 119:20

120:26 121:2

127:12 128:14,16

167:10 180:13

182:12 185:22

186:3

stepping 129:11

steps  18:20 20:20

50:2 138:17

149:1

Steve 25:6 59:2,8

104:12 140:26

stop 23:22 37:15

42:6

stopped 111:21

163:26

storage 18:12

34:6 36:18 37:18

38:13 39:13,14

51:24 52:25

102:5 144:22

145:13 146:17

150:7

store 41:1

stored 146:26

stories 182:23

strategies

105:15,16 171:18

stream 86:14

structure 47:26

studied 155:13

studies 117:20

154:25 155:20

study 41:17 93:4,

13,16 101:12

170:7 178:19

180:17

stuff 108:26

166:22

Subject 185:4

submerged

38:25

submission 20:6

60:21 99:19

101:16,19 106:24

115:3 117:4,15,

19 178:5,14,18

180:1

submissions

20:19 138:6

169:9

submit 28:2

133:7 138:5

submitted 8:24

18:25 46:21

54:20 72:1 82:17

84:1 98:12 100:5

101:14 103:10

106:13,15 107:5,

11,13 108:16

110:18 131:7

136:1,21 137:13

151:14 169:16

180:17,19

submitting 105:3

substance 17:20

success 191:26

successful

191:11

sufficient 45:3

62:15 66:2 93:26

107:24 148:4

166:9

suggested 65:17

suggesting 58:6

172:14

suggestions

160:12

suggests 133:7

suitable 50:4,15,

19 149:3,13,17

summarize

131:6 178:2

summary 30:9

31:5,9,13 88:26

96:6,14 131:9

147:20

summer 32:11

66:20,24 153:1

155:18

summertime

141:14 158:16

supervising

64:22

supplied 32:21,

22 34:8 53:10

141:20

supply 21:19

22:6 34:14 39:7

45:3,8 49:21

52:14 53:23

92:21 94:1 98:14

102:2,11 125:22

148:4,10,23

150:23 168:15

170:15

support 11:19

25:16 26:1 51:9

67:6 103:2

127:24 155:22

163:9 187:21

supported

140:25 141:1

supporting

41:21

supports 100:7

109:1 169:18

173:6

supposed 74:22

90:10 127:21

surface 10:15,21

20:13 47:1

158:16

surrounding

92:2,9

suspecting 28:6

suspended 35:6

38:19 55:5 58:12

86:9 102:22

153:9

sustain 45:7

sustainability

93:15

swear 95:4

swear-in 112:24

sworn  28:25 30:2

95:21

symptoms 12:25

124:10

system 9:10

10:17 18:15 24:6

25:22,23,25

30:18,23 31:4,6,

10,14,24 32:16,

22,23,25 33:10,

11,19 34:10,11,

20,21,22 35:1,14,

19,20,24 36:15,

24 37:1,2 38:4,26

39:1,3,7,8,9 40:5,

22 41:14 44:10,

11 50:11 51:7,10

57:8,21 68:9 71:2

73:17 82:25

84:22 85:19 86:7,

15,18 93:18,20

102:6 103:26

105:23 106:16

110:8,9 111:21,

22,23 122:17

135:6,12,20

140:20 141:6,20,

21,25 143:26

144:1,10,13

145:10 146:1,19

147:1,19 148:1,8

149:9 152:12

161:24 162:12,

17,21 165:13

166:11 170:18

180:24 184:9,13

188:11,13

systems 45:6

48:14 85:20

117:14 148:8

T

T-O-B-I-N 113:6

T-O-N-Y 29:12

Tabitha 155:9

156:4,5,6,10

164:18,19,20

165:6 166:18,19,

24

table 13:5 15:26

16:9 20:25 24:16,

18 43:19 60:11

76:20 77:25

87:12,21 95:13

125:1,4,7,16

126:2,7,14,20

138:22 188:4

takes 42:26

taking 12:22 14:1

58:1 108:25

140:3

talk 67:22 69:5

134:26 160:24

163:5 188:18

talking 14:17

39:6 64:6 77:7

82:9 162:10

163:12

tank 34:6 36:18

37:18 38:13

39:13,14 48:1

50:25 52:1 65:24

102:5 144:22

145:13 146:17

147:1 149:22

150:9 174:1,7,10

Tapitia 11:16

127:19 154:8

192:4

targets 105:1

117:8 178:8

team 23:5 25:1,3,

9,18 59:16

140:21 153:26

191:9

technical 9:14

11:5,6,10 19:1,

12,14,24,26 21:3

25:3 31:25 54:17,

20,22,23 58:5

61:6,8 64:7 69:8

74:10,17 85:24

87:17 89:26

90:21 94:3 98:5,

8,11,26 99:12,16

100:2,13 102:10

103:12 104:9,12

105:2,20 115:19

116:26 118:11

127:7,13,14

128:19 130:5,10,

21 133:4,9,10,12,

17,18,22,25

136:15,18,21

137:24 140:24

141:2 151:11,14,

17 156:10 163:8

169:2,12,25

170:20 177:17

178:2 184:15

186:24 190:14

191:3,5 192:1

Technically

92:17

technologies

45:5 148:7

technology 45:14

51:19 57:11,18

83:4,5,9 86:21

152:9

teleconference

19:25 20:1 26:23

30:1 133:20,22

telephone 124:2

temperature

12:23 83:1 121:6

temperatures

82:6 83:2,7,10

temporary 45:16

67:2

ten 55:13 100:4

135:8

ten-minute

115:21 166:26

ten-year 79:8

164:24

tentative 20:8

Teresa 11:12

12:14,15,16 15:8,

13 23:10 28:18

30:4 31:17 59:11

95:6,8,15,19,24

96:18 109:19,21

110:3,10 112:25

113:7,14 114:7

120:4,5 123:19,

22,23 125:25

127:16 128:11

157:10 183:14

185:10 188:24

term 9:11 18:12

21:14,15 31:4

32:13 98:14

99:22 100:4,6,20

122:14 135:7,8,9

143:1 168:14

169:15,18 170:4

terms 14:11

21:14 62:16

77:16 86:5

107:25

territory 124:3,6

test 40:25 41:2

93:13 111:7

159:5 165:26

166:2,10

tested 52:21 71:5

testing 22:10

72:24 117:10,15

153:2 159:4

178:14

thankful 166:23

theoretically

80:5

thermostat

55:20

thing 124:7

160:20 161:10

165:5

things 56:17

65:6,8 68:2 76:10

105:18 125:18

146:11 171:20

172:20

thinking 158:9

thirdly 16:6 92:7

thought 67:6

165:3

thousand 44:1

143:3

three-water

145:13

throat 13:1

throttle 164:3

throttling 163:16

thumb 152:17,20

tide 38:24,25

time 13:17,24

14:4,14 17:18

27:12 35:20 40:2

42:13 44:6 60:7

62:13 63:14

66:15 67:12 68:1,

19 71:24 74:11

79:13,16 89:5

109:14 112:9,15

119:21 120:12

121:14 125:13

129:3 134:7

142:6 147:20

154:6 155:6

156:23 166:21

175:19 182:8

188:10 190:20

191:13,16

timeline 20:9

44:13 63:20

101:5,23 106:7

timelines 20:6

105:26

times 65:7

158:23,24 162:3,

20 173:21

timing 22:6

121:10 172:4

tiny 141:25

TM 20:2

Tobin 27:5 69:24

70:2,3 72:17,19,

20 73:26 74:1

113:5,13 114:16

117:2 176:20

178:3 181:11,19

today 11:1,18,26

12:11 14:21 18:1,

4 26:2 27:4 32:9

38:9 64:11 91:25

97:7 120:11

125:20 126:26

127:1,10 141:10

152:25 176:19

179:19 185:24

186:6 190:12,15

191:4,11

today's 9:6

131:10 183:5,11

told 25:21

tomorrow 26:2

38:9

tonight 27:25

94:14,18 120:3,8,

12,17,24 121:4

123:18 126:26

127:1,10 129:9

131:1,5 182:21

tonight's 122:26

128:15,18 131:10

182:13

Tony 25:13

29:11,26 32:1

61:7,18,19,21

63:22 64:22,26

65:2 67:5 68:11,

12 70:24,25

71:12 75:23

76:19,25 77:5,9,

20,22 78:18,20,

24 79:26 80:18,

20 81:13 83:21

90:15,18 91:8

94:2,4,9 141:4

160:2 161:6

163:2,9 186:13

191:9

Tony's 68:6

Toomasie 9:4

122:9

topic 101:6,12

102:1 106:26

170:15 172:18

topics 98:5

100:23 130:26

170:5,11

total 43:24 44:15,

21 55:5 58:12,14

61:15,16 79:1,2,

10,20 86:9

102:22 147:25

153:9,11 187:26

totalized 144:1

totalizer 45:25

totalizing 45:13

totally 158:14

165:10 166:5

touch 114:24

125:6 176:24

touched 170:15

touching 16:25

126:16

tough 45:24

town 32:10,13,15,

16,20,21,23

34:11,13,21

38:15 39:1,24

40:5 66:17,19,21

80:3 104:22

141:11,18,19,26

158:20 165:16

186:21,26

townsite 86:4

88:24

toxicity 117:10,

15 178:13

trace 53:2 124:16

tracing 16:13

45:5

track 67:14

tradition 27:11

traditional 92:8

94:20

traffic 13:16

training 32:12

66:21 141:13,15

transcribed

194:6

transcript

175:22 194:1,4

transition 111:18

translators

190:13

transmission

48:16

Transport 142:5

Transportation

33:6 142:8

travel 124:3

193:8

travelled 15:12

128:10

travelling 124:5

treat  40:7 104:21

151:4 152:18

treated 51:4

treatment 21:11,

24 31:6,10,15

34:4,10,12,16,17

35:8,11,12,16

36:19 37:17,19,

21,23,24,25,26

38:2,6,14 39:14,

15,19,23,26 40:1,

12,13 41:16,17

42:25 43:3 45:18

46:10 48:17

49:26 51:12,14,

20 52:14,15

54:16,18,23,25

56:15,16 57:8,19

58:4,22,23 63:6

64:16 66:2 67:25

74:23 75:1,5,13,

14,18,20 76:6,9,

13 77:7,9,11,12,

17 81:26 82:2,3,

8,16,24,25 83:4,

5,8,11,26 84:4,24

85:7,8,21 86:7,21

89:13,15 90:1,22,

24 91:3 98:15

101:26 102:5

103:9 104:16,20,

26 105:1 106:1,3

108:2,17 111:5,7,

9,15 117:6,8

118:14 135:22

144:21,24,26

145:1,4,7,17,24

146:12,16,26

147:4,9 148:25,

26 149:23 150:4,

22,23 151:10,12,

18,19 152:10,18,

25 153:4,6,18

168:16 171:6,10,

13 178:6,8,9

179:13 180:26

181:5 187:16,19,

21

trends 56:20

Tribunal 10:15,

21 20:13

trip 118:4

trouble 166:21

truck 32:23 34:9

35:13 40:2,6

48:2,12 51:8

68:18 85:18

102:8 141:25

145:4

truck-fill 51:10

67:20,21 68:4

truck-filled 68:9

trucking 143:14,

26

trucks 38:1

147:6,8

TSS  35:17 38:22

50:6 55:5,9 86:6

149:4 151:25

187:1,13

tubes 48:6

turbidity 42:24

43:1,6,10 47:3

49:20 50:6,15

70:8,11,16,17,23,

26 71:5,8,10,11,

18,22,23,25 72:5,

8,12,24 73:3,17

118:19,22,25

148:22 149:13

179:20,23

turbine 45:22

turn 15:18,22

22:18 28:4 47:3

95:1 122:24

123:7 128:13

130:4 185:7

turned 16:3

twenty 147:14

148:2

type 8:24 9:2

10:12,14 18:5,6,

10,11 19:9 30:17,

22 31:3,20,22

32:25 33:4 36:2,

10,14 41:7,8 83:4

97:5 113:26

114:5 115:3

122:6,7 131:4

132:11,13,15,19

136:11 140:19

142:12,13,19,20,

21,26 148:11

149:12 167:21

177:4 180:21

184:7,11 189:19

192:22

types 53:20 131:2

132:2,4 149:12

typical 86:12

typically 50:13

U ultimate 45:17

147:23

unable 23:25,26

29:20 140:5

uncertainty 57:6

unchanged

57:15 102:15

152:6

undergoing

105:24 172:2

underground

156:26

underneath 13:9

124:19

understand

14:18 63:11

72:22 78:15

90:10 100:7

102:14,18,26

105:17 110:8

160:5 169:19

171:19 173:25

180:9

understanding

74:21 75:3 77:19

89:12 95:10

100:26 176:2

180:19 181:1,14

184:15 186:7

understood

130:2

undertaken

70:12 73:4

undertaking

19:10

unexpected

70:14

unionized 58:17

153:13

unit 21:9,26

22:13 35:5,9

36:20,24 38:5,18

39:25 42:21

55:18 84:20

145:6,18,26

146:6,7,21

units 44:4 55:7,

10 56:19 161:24

162:5

unmute 29:20

109:15

unmuted 23:24

unnecessary

9:18 15:17

122:22

unplug 24:2

unused 52:1

150:9

update 20:15

64:24 73:19,21

84:9 87:18

106:18 179:24

updated 9:12

22:5 35:20,22

70:16 73:3 80:26

98:11 100:5

101:21 103:2

106:19 107:5,12

118:7,12 169:17

170:9 179:5

updates 22:8

updating 40:22

upgrade 51:12,

15 148:25

149:23,26

upgraded 36:25

37:4,5,6 39:16

45:18 51:20

102:7 144:13,14

146:1 150:3

161:11 171:2

upgrades 105:24

106:9 172:2

upgrading 37:18

102:16 165:13

uprooted 158:9

upwards 44:2

usage 68:10

user 44:25

users 44:14 51:9

147:17

usual 12:8 123:15

utilidor 9:10

10:17 18:15

21:12 30:18,23

31:4,5,9,14,23

32:16,22,25 33:7,

11 34:20,22 35:1,

19,20 36:15,24

37:1,2 38:3,4

40:22 41:14

50:11 51:7 96:11

100:18 101:22

102:6 103:25,26

104:8,17 106:9,

16 122:17 135:6,

11,20 140:20

141:6,21,26

143:26 144:10,13

145:10,26

146:13,19 147:1

161:10,24

162:12,17 165:13

166:11 170:2

171:3,7 180:24

184:9,13 187:25

188:9

utilization

131:23

utilized 43:25

46:10 187:24

V

vacuum 48:2

validation

117:10

valuable 137:23

valued 192:7

values 54:26

88:24 151:21

187:1,8,12 188:7

valve 163:17,18

164:3

variable 107:22

variables 79:18

vary 132:3

vault 35:2 39:22

145:12

vaults 36:17 37:5

144:14

vent 56:9

ventilated 56:7

ventilating 56:2

venue 13:1,13

121:4

verify 95:4

version 96:5

107:12

video 14:11

view 181:8

viruses 50:8

149:6

visitors 193:9

visual 87:12

visualize 87:9

volume 34:3

40:17,18,20 41:5,

10 60:19 61:15,

16 62:1 77:16,18

80:4,6 93:23

135:17 164:22

165:11

volumes 60:22

74:19,20 80:13

135:13

W

W-H-A-L-E-N

29:12

wait 17:3 27:15

115:8 129:6,22

139:14

waiting 36:8

walk 130:5

wall 13:12

walls 52:7 150:14

165:14

wanted 72:23

75:4,5 77:23

109:24 170:22

180:15

wanting 27:14

warm 80:11

warning 120:22

warrant 160:24

wash 16:24

126:15 156:24

washed 48:2

156:21 157:3

washing 161:13,

17

washroom 51:23

150:7 187:22

washrooms

13:14 16:19

waste 21:18,23

33:1 52:15 53:24

100:11 142:3

150:23 165:19

169:22

wasted 75:7

162:4

wastewater

21:10,17,24 35:8,

10,12,16 37:21,

23,25,26 38:2,6

39:25,26 41:17

52:14,20 53:23

54:16,18,23,24

56:15,21 58:4

74:23 75:1,5,13,

15,18 76:6,8,13

77:17 81:26

82:15,25 85:7,8,

18 86:14 87:21

88:5 89:15 90:1,

22 91:3 98:14

104:16,17,26

106:3 111:5,6,9,

14 117:5,14

135:22 144:25

145:1,4 146:19

147:3,4,8,9

150:22 151:10,

12,18,19 152:18,

19,25 153:3,6,18

168:16 171:6,7,

10,13 178:6,9,12

180:25 181:5,23

186:19,26 187:7,

13,16 188:10

watching 157:13

water  8:24 9:2,3,

5,7,9,23,26

10:12,14,16

12:17 18:5,6,14

19:9 21:19,21

22:6 24:1 26:11,

17 27:5 28:19

30:5,11,17,19,22,

23 31:3,6,10,14,

20,22 32:21,22,

24 33:17,18,19

34:1,3,4,6,8,9,10,

12,14,16,22,26

35:2,3,25,26

36:3,14,16,18,19,

22 37:4,11,16,19,

20,23 38:11,13,

22 39:4,7,14,15,

17,19 40:9,11,12,

13,17,18,19,24

41:1,2,4,6,11,16,

22 42:4,11 43:1,

3,16,17,24 44:7,

8,9,12,21,23

45:1,3,6,7,10,12,

18 46:10,13 47:2,

4,11,24 48:16,17,

22,26 49:21,26

50:9,26 51:4,12,

13,14,20 52:14,

20 53:23 56:15

57:11 58:10,23

60:19,25 61:14,

17 62:18,19,20,

22 63:6 64:15,16

65:24 66:1,10,13,

16,25 67:11,22,

23,24 68:3,16,20

69:11,23 70:14,

18 71:10 72:5,13,

24 74:5,8,14,17,

19,20,21,23,26

75:6,7,13,16,20

76:5,9,11 77:6,9,

11,12 78:1,5,26

79:1,2,4,8,10,15,

24 80:4,6,8,9,10,

13 81:16,19,22

83:26 84:2,4,18,

24 86:13,17,23

87:2,5,11 88:3,6

89:24 91:17,21,

22 92:21,24

93:21,25,26 94:1,

13 95:9,20,25

96:7,12,15 97:1,

5,6,7,13 98:14,

24,25 99:6,14,19

100:24 101:6,26

102:2,4,5,7,11,

12,14,16 103:9,

20 104:24 105:6,

19 106:1,5,6

108:2,11,12,13,

17 109:11,22

110:11 111:9

112:11,14,26

113:8,15,25,26

114:4,5,15,17,18

115:4,7,11,18

116:13,16

118:13,17

119:18,20 120:6

121:2,25 122:6,7,

10,12,13,14,16

123:9,20,24

125:22 128:19

129:12,18

130:17,20,21,23

131:2,3,4,16,18,

20,21,22 132:3,5,

7,9,12,13,15,20,

22 133:5,9,26

134:5,19 135:5,

13,15,18 136:12,

14,18 137:3,4,7,

11,14 138:12

139:20 140:19

141:20,26 142:1,

15,18 143:5,9

144:12,21,24

145:1,6,11,17,21,

23,24 146:14,15,

17,24 147:10,18,

25,26 148:4,8,9,

10,12,23,25,26

149:7,23,25

150:4,22 151:4

152:21,22 153:1,

18 154:12,16

155:12 156:24

157:20,21 158:9,

12,16,25 159:1,4,

5,7,11,14 160:26

161:17 162:20

163:25 164:14,

21,22,23 165:10,

17,18,19,20,21,23

166:5,6,9,12,20

167:12,14,17,21,

26 168:12,15,20,

26 169:1,7 170:5,

7,15,17,21,22,24

171:21 172:7,8

173:20,26 174:10

175:4,8,15,18

176:19 177:4,8,

10,15 178:6,8

179:13,16

180:11,14,18

182:18 183:15

184:2,6,8,12,26

185:11,22 186:3,

5 187:24,26

188:12 189:17,

18,19 190:12,18

191:4 192:22

193:3,4,5

water's 93:23

102:6

water-use 60:22

watering 96:25

waterline 34:23,

24 35:21 38:16

39:20

waters 10:15,20

20:12 131:24,26

wave  11:8 127:11

wear  13:7 125:14

wearing 125:8,12

weather 115:12

116:16 177:11

website 134:4

138:12

wedge 42:16

week 63:9 65:11

138:18

week's 132:15

weeks 63:21

65:11,18

weigh 67:12

welcoming

167:24 189:20

well-served 57:7

west 32:7

Whalen 25:13

29:11,26 61:19,

22,25 63:22 65:1,

2 67:5 68:12,13

71:13 75:26

78:21,24 80:21

90:18 94:4 141:4

161:8

winter 159:22

160:9

wintertime

158:13,15 175:3

wire 42:16

wishes 129:1

withdrawal

46:13

withdrawn

45:12 135:16

witnesses 28:25

29:9,25 95:13,21

113:1,9

WLS 185:5

wondered

161:10

wondering

66:22,24 164:25

174:3

word 69:15

work  15:6 47:18

48:11 49:3,6,13,

23 52:3,6 64:23

71:16,26 72:3,7

97:13 102:16,19,

24 103:7 105:18

148:14 150:11

167:26 171:20

worked 170:19

working 23:5

26:1,19 46:15

64:25 65:13

70:13 71:18

72:26 110:8

111:10 140:21,25

173:1

works 56:3 63:19

111:8 118:20

worksite 49:15

148:17

worst-case

62:14,22

wrapped 125:2

written 99:9,15,

18 101:15 103:10

134:8

wrong 76:3

109:23

WSER 57:12

WWTP 21:25

X

X's  13:9 124:18

Y

year  37:14 43:19

49:24 52:4 71:21

73:17 77:25 78:2

101:8,14 102:15,

17,18 104:3

135:18 136:20

147:22 148:15

156:25 159:16

164:26 166:12

170:25 175:19

year's 72:10

150:12

years  9:12 18:12

21:14 31:4 36:11

37:2 62:6,9 78:6,

7 92:19 93:14

100:4,8 102:7

107:20 122:15

135:8,10 144:2,3

150:2 154:25

156:20 157:14

160:8,18 165:12

169:19 172:12

174:2 175:8

years' 36:3 41:8,

9 191:16

yesterday 55:22

young 156:15

Z Zoom 9:16 14:3,

7,12,19 15:16

23:4,12,13 24:10

25:21,24 27:4

29:8,25 122:20

124:1 176:18