                                                ANNUAL REPORT 






FOR THE HAMLET OF RESOLUTE BAY UTILIDOR, 2020


YEAR BEING REPORTED:  2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-RUT1520 issued to the Government of Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	25,043,428
	Same

	February
	23,907,944
	Same

	March
	25,036,632
	Same

	April 
	23,666,206
	Same

	May 
	25,403,825
	Same

	June 
	22,239,217
	Same

	July 
	16,518,482
	Same

	August 
	15,876,090
	Same

	September 
	18,266,917
	Same

	October
	20,346,630
	Same

	November 
	20,210,133
	Same

	December 
	22,127,342
	Same

	ANNUAL TOTAL
	255,055,943
	255,055,943


             Note: The water extraction volume has been recorded by the Flow meter located at the 

              Pump station of the Char lake. This meter is doubt full. A new meter was installed a few 

              months ago at the Water Plant located at the Signal Hill. Also, the new Pump station will have a new meter. Both meters will record extraction volume and will be presented with 2021 annual report.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



A new Pump station was built at Char Lake and this will be commissioned in 2021.The Signal Hill water plant is being upgraded and will be completed the summer of 2021.
          ___________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


The Sewage is highly diluted and run into the sea without any further treatment. The Macerator unit is partially working. This process will be continued until the new WWTP is built and commissioned in next 3 to 4 years.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


 Once the new WWTP is built, the Macerator unit will be abandoned and replaced. 

                   The old pump station at South Lake will be abandoned and decommissioned once the 

                   new one is commissioned in 2021. The blue building next to the Macerator unit will 

                   also be decommissioned.

_______________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The construction of the new Pump station at Char Lake and the upgradation of the 

                  existing WTP at Signal Hill are moving forward. The sustainability of the Char Lake
                   will be reassessed if this is still a suitable source after 2044. __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


            The accuracy of the Flow meter at Char Lake pump station was questioned. Therefore, a new 

            flow meter was installed at the WTP at Signal Hill and another one at the Macerator unit.
            The new pump station at Char lake will have a new flow meter. This process will show 

            the extraction volume of water and also discharge volume of the wastewater effluent.
______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

           All the O&M manuals for the Utilidor system, Macerator building, QA/QC Plan, Spill 

           Contingency Plan have been upgraded and submitted to NWB in 2020. The Final O&M   

          manuals of the new Pump station and the rehabilitated WTP will be available at the end of 

          2021.
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                   GN-CGS contracted out this facility to the local contractor ATCO.  They are operating 
                this system and maintaining water quality for the safety of the public health and to 
                 comply with the requirements of the Water Licence.
                The Type B Water Licence has been recommended by the NWB to be renewed as Type 

                A for 15 yrs. term.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  GN-CGS is the owner and the Licensee of the Utilidor system. The GN Technical team 
                is working closely with the CIRNAC’s inspector and the Water Board to keep this 
                Water Licence into compliancy.
                A Public meeting was conducted in the Community for the renewal of the Utilidor’s 

                Type A Water Licence.

                NWB has supported Type A water Licence for 15 yrs. Term and sent the file for 

                review and signature by the Federal Minister at the end of 2020. 
               
                                 The Test Lab Results for 2020 are submitted in a separate document.
Page 1 of 1

