Siciliano – Spill Response Plan, Alexandra Fiord, Eastwind Lake, Truelove Lowland 

(a) Responsible Individual:
Dr. Steven Siciliano

Assistant Professor

Department of Soil Science College of Agriculture and Bioresources
51 Campus Drive
Saskatoon, SK S7N 5A8


Phone: (306) 966-4035; FAX: (306) 966-6881
E-mail: steven.siciliano@usask.ca
(b) Dr. Siciliano will be onsite at all times at these sites and will have full authority to lead any spill cleanup.
(c)(d) A description of the facility including the location, size and storage capacity;”

One 45 gallon drum of gasoline will be stored in camp a minimum of 100m from any source of ignition or water body. A wobble pump will be used to dispense fuel.
(f) In case of a spill;”

Reporting. 
A copy of the NT-NU Spill Report Form will be filled out and forwarded to spills@gov.nt.ca or alternatively phoned in to (867) 920-8130

Clean-up Any spilled fuel will be contained and collected using absorbent pads.
Disposal. Any unused fuel will be removed from site when the camp is vacated. Any contaminated absorbent pads, soil etc. will also be removed from site. 
“(g) the means by which the spill contingency plan is activated;”

Dr. Siciliano will be notified immediately in the event of any spill and will lead the cleanup.

“(h) a description of the training provided to employees to respond to a spill;”

All personnel in camp will have received instruction from Dr. Siciliano on the response in the event of a spill.
“(i) an inventory of and the location of response and clean-up equipment available to implement the spill contingency plan;”

A spill kit including absorbent pads will be stored adjacent to the fuel drum. Shovels and plastic totes for storing contaminated pads are stored with the research equipment in camp.
 (j) Revised May 28, 2008
