Addendum #1 to Water License Application
8. Waste



Sewage – 9.6 m3/day - collected in sewage tank and hauled to community 


sewage lagoon for disposal.

Solid Waste – Incinerate on-site in approved incinerator.


Hazardous Waste – batteries, aerosol cans – collected, stored in drums, 
removed from site at completion of project.

Bulky Items/Scrap Metal –
collected, stored and removed from site at 
completion of the project.

Waste Oil – collected, stored in cubes and removed from site for recycling at 
the completion of the project.


Gray Water – collected with sewage and disposed of with sewage.

10.

NIRB screening for the road has been completed.  NIRB sent letter to the 
Minister of INAC indicating that the project should proceed.  We are awaiting 
approval from Minister of INAC at this time.
