
	[image: image1.jpg]


P.O. Box 119
	kNK5 wmoEp5 vtmpq

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT WATER BOARD

	Tel: (867) 360-6338
	NUNAVUT IMALIRIYIN KATIMAYINGI

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT


File No.:  3BC-TUN0910/H1
January 25, 2010
Anne Hamilton
302-585 River Ave,

Winnipeg, Manitoba R3L 2S9
Email: anne_hamilton@umanitoba.ca  ASK CITYPROVPOST "CITY, PROVINCE, POSTAL CODE ?:" \* MERGEFORMAT 
RE: Spill Contingency Plan Approval for Licence 3BC-TUN0910, Part H Item 1, Type “B”NWB2MEL0103
Dear Ms. Hamilton:
The Nunavut Water Board (“NWB”) received the Plan entitled “Spill Contingency Plan: Peterhead Inlet” on October 6, 2009.  On October 7, 2009, the NWB acknowledged receipt of the Plan and distributed it for a public review period with a deadline of November 6, 2009.  Submissions were received from Indian and Northern Affairs Canada, Government of Nunavut – Department of Environment and Environment Canada.  Following a review of the plan and submissions, the document fulfills the requirements of the Licence and has been approved by the NWB under the motion number 2009-18-L09.  Although the Plan is functional, to address minor issues raised by the parties, the NWB requires an addendum within sixty (60) days of the date of this letter.  The addendum shall include or address the following:
1. Mailing address and 24-hour contact number for the person responsible for the project;

2. A NT/NU Spill Report Form (available on NWB ftp site);

3. Date the plan was prepared;

4. Updated emergency contact information for Environment Canada (EC) and Indian and Northern Affairs Canada (INAC):  the correct number for EC is 867-975-4644 and for INAC’s Manager of Field Operations is 867-975-4295; and
5. MSDS should be appended or reference provided for their on site location.
Should you have any questions, please feel free to contact the undersigned at 867-360-6338 ext. 25 or by email at sjoseph@nunavutwaterboard.org.
Yours truly,

Sean Joseph
Technical Advisor
cc:
Qikiqtani Distribution List
1

