YEAR BEING REPORTED:  2011

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3BM-ARC 0810 issued to the Hamlet of Hamlet of Arctic Bay.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January 2011 | 1,965,274.0 | Same |
| February 2011 | 1,848,260.3 | Same |
| March 2011 | 2,005,083.1 | Same |
| April 2011 | 1,811,536.5 | Same |
| May 2011 | 1,922,261.1 | Same |
| June 2011 | 1,636,695.1 | Same |
| July 2011 | 1,788,321.9 | Same |
| August 2011 | 1,873,658.3 | Same |
| September 2011 | 1,939,061.6 | Same |
| October 2011 | 2,102,520.7 | Same |
| November 2011 | 2,094,055.9 | Same |
| December 2011 | 1,941,447.8 | Same |
| ANNUAL TOTAL | 22,928,101.3 | Same |

Note: The average consumption volume is considered equal for each month.

There is no meter existing at the discharge pipe. Therefore the monthly discharge

- a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

The Construction of the New Sewage Lagoon was completed and this facility is now ready for commission.

- a list of unauthorized discharges and summary of follow-up action taken;

Nil

- a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

If the existing Sewage lagoon will be abandoned and restored once the new lagoon is commissioned at any time.

________________________________________________________________________

- a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

The studies on solid waste was completed recently. Waiting for the direction from

CGS Capital Planning.

___________________________________________________________________

- any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

The existing sewage lagoon is the concern of the Nunavut Water Board.

______________________________________________________________________

- updates or revisions to the approved Operation and Maintenance Plans.

The O&M manual for the new sewage lagoon will be sent to NWB at the end of

February, 2012.

_____________________________________________________________________

ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Improve the solid waste management in the community.

FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

Hamlet is working with CGS for INAC inspection concerns and Water License       compliancy.