
ANNUAL REPORT 







YEAR BEING REPORTED:   2011                


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence 3BM-CAM0914 issued to the Hamlet of Cambridge Bay
.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 
	6,036,549.96
	Same

	February 
	5,527,789.52
	Same

	March 
	6,390630.57
	Same

	April 
	6,015,602.31
	Same

	May 
	6,207,716.01
	Same

	June
	6,080,523.65
	Same

	July 
	5,994,096.20
	Same

	August 
	6,419,322.99
	Same

	September 
	6,610,612.70
	Same

	October 
	6,055,153.39
	Same

	November 
	5,668,984.17
	Same

	December 
	5,517,198.20
	Same

	ANNUAL TOTAL
	7,252,4179.67
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities:  
· Renovations at the Lagoon area 
· increases the size of the primary cell
· relocate the discharge to a different area and clean up the metal dump area. 
v. a list of unauthorized discharges and summary of follow-up action taken;    


· No unauthorized discharges during the period of the year.

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 



· Solid waste and sewage Lagoon construction is scheduled to remove this spring (2012) 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

· None been required or requested.
             _______________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

· None

updates or revisions to the approved Operation and Maintenance Plans.


· Updated and renovated
                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

· N/A
                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:




· N/A
Page 1 of 3

