
ANNUAL REPORT 







YEAR BEING REPORTED:   2011                


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence 3BM-CHE1013 issued to the Chesterfield Inlet.
.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 
	1053505.2
	Same

	February 
	976381.6
	Same

	March 
	1079111.5
	Same

	April 
	1111245.8
	Same

	May 
	1058808.2
	Same

	June
	1080214.1
	Same

	July 
	1133224.2
	Same

	August 
	1177005.2
	Same

	September 
	1186361.2
	Same

	October 
	1152248.5
	Same

	November 
	1088604.2
	Same

	December 
	1037492.1
	Same

	ANNUAL TOTAL
	13134201.8
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

                  There is work being completed to upgrade to the operation of the landfill and                         new waterplant started operating in 2011


v. a list of unauthorized discharges and summary of follow-up action taken;    


N/A

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 



 None
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                     None
             _______________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

                     None

updates or revisions to the approved Operation and Maintenance Plans.


                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:



Page 1 of 3

