
ANNUAL REPORT 






FOR THE HAMLET OF CLYDE RIVER, 2012


YEAR BEING REPORTED:  2012


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-CLY0308 issued to the Hamlet of Clyde River.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2012
	2,920,644.30
	Same

	February 2012
	2,818,901.90
	Same

	March 2012
	3,029,744.10
	Same

	April 2012
	2,853,518.60
	Same

	May 2012
	2,840,719.60
	Same

	June 2012
	2,687,136.10
	Same

	July 2012
	2,593,885.00
	Same

	August 2012
	2,655,093.70
	Same

	September 2012
	2,783,549.60
	Same

	October 2012
	2,916,827.60
	Same

	November 2012
	2,756,472.20
	Same

	December 2012
	2,640,429.10
	Same

	ANNUAL TOTAL
	33,496,921.80
	33,496,921.80


             Note: The consumption volume is considered equal to the discharge volume for
               each month because there no meter at the end of the discharge pipe.
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The construction of the new Sewage Lagoon was completed and commissioned.  Hamlet is using this facility. Solid waste project is on hold.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Nil. The existing sewage lagoon was rehabilitated and was also commissioned. The existing landfill site will be abandoned and restored once the new facility is built.
           ________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                 The studies on solid waste was completed recently by an engineering consulting firm 

                 named Arktis solutions Inc. New guidelines has been established. The project was 

                 initiated but Capital dollar is not sufficient right now to complete the new facility. 
                 Currently this project is on hold.      
           ___________________________________________________________________

                any other details on water use or waste disposal requested by the Board by November  

                1st of the year being reported; and


Current waste management is the concern of the Nunavut Water Board. 
           _____________________________________________________________________

viii. updates or revisions to the approved Operation and Maintenance Plans.




O&M manual will be prepared for the future waste management site once built. The 

                O&M manual for the new Sewage Lagoon was delivered to NWB.
            ____________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:



A new Engineered Landfill site will be built and licensed along with the new sewage 
                  Lagoon and the existing water supply system. Thermistors were installed in the new 

                  Lagoon berms to measure the temperature inside the berm and under the berm. Also 

                  ground water monitoring wells were built in the existing land fill site to monitor 

                  ground water quality. 

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working with CGS for AANDC inspection concerns and Water License compliancy. Hamlet is 

                  also planning for testing ground water from the monitoring wells and also developing a data base and 

                  reporting on the temperature movement inside the sewage lagoon berms and under the berms. Good news 

                  is that Hamlet has started extended sampling and testing program of Water, Wastewater and Leachate 

                  coming from the land fill site.

                                           
[image: image1.emf]B12-26729_R.pdf

 
Page 3 of 3

_1420617851.pdf


Sewage Lagoon Sample


26-Oct-12DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B12-26729


Hamlet of Clyde River
Box 89, 
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: David Arreak


18-Oct-12DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G27780


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Sewage Truck Sewage 
Lagoon


Water LakeClient I.D.


B12-26729-1 B12-26729-2 B12-26729-3Sample I.D.
15-Oct-12 15-Oct-12 15-Oct-12Date Collected


BOD 282 < 3mg/L 3 SM 5210B 19-Oct-12/O
Total Suspended Solids 40 < 3mg/L 3 SM 2540D 19-Oct-12/O
Hardness (as CaCO3) 53 15mg/L 1 SM 3120 22-Oct-12/O
Alkalinity (as CaCO3) 415 < 10mg/L 5 SM 2320B 22-Oct-12/O
Conductivity 1180 64µmho/cm 1 SM 2510B 19-Oct-12/O
pH 7.60 6.61pH Units SM 4500H 22-Oct-12/O
Nitrite (N) < 0.1 < 0.1mg/L 0.1 SM4110C 18-Oct-12/O
Nitrate (N) < 0.1 < 0.1mg/L 0.1 SM4110C 18-Oct-12/O
Chloride 71.2 8.5mg/L 0.5 SM4110C 18-Oct-12/O
Sulphate 3 6mg/L 1 SM4110C 18-Oct-12/O
Total Organic Carbon 74.9mg/L 0.2 EPA 415.1 25-Oct-12/O
Ammonia (N)-Total 80.7 < 0.01mg/L 0.01 MOEE 3364 19-Oct-12/O
Phenolics 0.510 < 0.001mg/L 0.001 MOEE 3179 23-Oct-12/O
Aluminum (total) 0.61 0.14mg/L 0.01 SM 3120 22-Oct-12/O
Arsenic 0.0019 < 0.0005mg/L 0.0005 EPA 200.8 23-Oct-12/O
Calcium 10.9 2.69mg/L 0.02 SM 3120 22-Oct-12/O
Cadmium < 0.005 < 0.005mg/L 0.005 SM 3120 22-Oct-12/O
Cobalt < 0.005 < 0.005mg/L 0.005 SM 3120 22-Oct-12/O
Copper 0.151 0.008mg/L 0.002 SM 3120 22-Oct-12/O
Chromium < 0.002 0.008mg/L 0.002 SM 3120 22-Oct-12/O
Iron (Total) 1.15 0.069mg/L 0.005 SM 3120 22-Oct-12/O
Lead < 0.02 < 0.02mg/L 0.02 SM 3120 22-Oct-12/O
Magnesium 6.29 1.98mg/L 0.01 SM 3120 22-Oct-12/O
Manganese (Total) 0.076 0.003mg/L 0.001 SM 3120 22-Oct-12/O
Mercury < 0.00002 < 0.00002mg/L 0.00002 SM 3112 B 22-Oct-12/O
Nickel 0.02 0.01mg/L 0.01 SM 3120 22-Oct-12/O
Potassium 28.3 0.8mg/L 0.1 SM 3120 22-Oct-12/O


Page 1 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Note: Lab Ran out of sample not able to do TOC on Lake Water.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill







Sewage Lagoon Sample


26-Oct-12DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B12-26729


Hamlet of Clyde River
Box 89, 
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: David Arreak


18-Oct-12DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G27780


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Sewage Truck Sewage 
Lagoon


Water LakeClient I.D.


B12-26729-1 B12-26729-2 B12-26729-3Sample I.D.
15-Oct-12 15-Oct-12 15-Oct-12Date Collected


Sodium 84.1 5.3mg/L 0.2 SM 3120 22-Oct-12/O
Zinc 0.123 0.015mg/L 0.005 SM 3120 22-Oct-12/O
Oil & Grease-Total 54.2mg/L 1.0 SM 5520 25-Oct-12/K
Fecal Coliform 1100000cfu/100mL 1 MOE E3371 19-Oct-12/O


Page 2 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Note: Lab Ran out of sample not able to do TOC on Lake Water.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill






