
ANNUAL REPORT - 2010






FOR THE MUNICIPALITY OF CLYDE RIVER

YEAR BEING REPORTED:       2010       


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License 3BM-CLY0909 issued to the Municipality of Clyde River.

i)- iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our on Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 2010
	2,515,672.30
	Same

	February 2010
	2,260,331.70
	Same

	March 2010
	2,495,449.60
	Same

	April 2010
	2,690,246.90
	Same

	May 2010
	2,648,544.50
	Same

	June 2010
	2,589,547.40
	Same

	July 2010
	2,524,636.20
	Same

	August 2010
	2,651,312.00
	Same

	September 2010
	2,751,939.40
	Same

	October 2010
	2,812,828.20
	Same

	November 2010
	2,807,007.80
	Same

	December 2010
	2,748,954.70
	Same

	ANNUAL TOTAL
	31,496,470.70
	Same


              Total in Cubic Metres =   31,495.00     
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


A New Sewage lagoon was built and commissioned in 2010. The Existing cell has also partially rehabilitated to use as the back up to the new facility.
          _______________________________________________________________________
v. a list of unauthorized discharges and summary of follow-up action taken;    


                                                                       Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


                  The Engineering Consulting firm, Trow Associates Inc., has been hired for the design for 

                  Abandonment and Restoration of the existing Landfill site. Currently this project will be

                 on  hold until ongoing feasibility study on waste management is completed within few 

                 months.

vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;


     1. Wastewater Treatment Facility: The construction of the new facility and   

        rehabilitation works of the existing facility were completed in summer 2010.   
     2. Wastes Management Facility:  The Consultant Trow has been retained to design a new 
        facility. A different consultant named ARKTIS has been hired for feasibility study 
        prior to designing this facility. This feasibility study report will be available within few 
        months
     3. Water Supply System: Signage has been installed.

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

1.  Final O&M manual for Wastewater Treatment Facilities is attached



2. A Plan of Compliance Plan is attached.
ix. updates or revisions to the approved Operation and Maintenance Plans.





O & M plan for Wastewater management facilities have been finalized and attached. 



              ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

1. The Community has been using a new wastewater facility since summer 2010.
2. The partially Rehabilitated existing sewage cell will be used as the back to the new cell.

3. The Community is expecting using the new waste management facility in 2012/13.
4. The Community is planning decommissioning the existing landfill site in 2012/13.

             FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:



 The hamlet has set up an account for testing wastewater samples in an accredited lab. The 

             lab test results are attached. The Community is planning to bring all the Environmental 
             facilities under Water License Compliancy by 2013.

Page 3 of 3

