1

"*"1 Crown-Indigenous Relations	RelationsCourome-Autochtones

"'"	llld Northern Affairs Canada	et Affaires du Nord canada

Water Resources Division Resource Management Directorate Nunavut Regional Office

P.O. Box 100

lqaluit, NU, XOA OHO

August 6, 2019

Mr. Richard Dwyer Manager of Licensing Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU, XOB 1JO

E-mail: licensing@nwb-oen .ca

Your file- Votre reference

3BM-CLY1419

Our file - Notre reference

CIDM#1258692

Re: Crown-Indigenous Relations and Northern Affairs Canada's comments on 3BM-CLY1419 Renewal Application

Dear Mr. Dwyer,

Thank you for your June 26, 2019 invitation for review and comment on the above­ referenced application.

The Water Resources Division of Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC) reviewed the application pursuant to its mandated responsibilities under the Nunavut Waters and Nunavut Sutface Rights Tribunal Act and the Department of Indian Affairs and Northern Development Act.

On July 15, 2019, CIRNAC submitted its review comments to the Nunavut Water Board (NWB). On July 25, 2019, the licensee provided responses to CIRNAC's comments . On July 31, CIRNAC reiterated that the required waste operation and maintenance (O&M) Plans were missing in the application package. On August 1, 2019, a SOLID WASTE OPERATION AND MAINTENANCE PLAN was submitted as additional information in support of the application.

Upon review, CIRNAC considers the information provided in the Water Licence renewal application incoherent CIRNAC recommends that a revised application be submitted by the licensee. Alternatively, given that the Community and Government Services, Government of Nunavut is currently working on territorial-wide municipal solid waste management planning, CIRNAC recommends that the Water License be renewed for five (5) years after the submitted SOLID WASTE OPERATION AND MAINTENANCE PLAN has been revised.

Canadtl IQALU1T#l256357 • vl IQALU1T#I258692- vi

1.1

Crown-Indigenous Relations	Relations Qlurome-Aulochtones and Northern Affairs canada	et Affaims du Nofd Canada

Ans. We are in the transition of standardization and upgradation of Territorial wide Municipal waste management O&M manuals. Therefore, at this stage 5 years term water licence is fine.

The existing wastes facility is a non engineered facility and the current O&M manual is just a template to operate the existing facility. This template is recommended to be used until the new version is available. This could be a condition of the new water licence.

CIRNAC appreciates the opportunity to participate in this review. If there are any questions, please contact David Zhong at (867) 975-4555 or david.zhong@canada.ca , or Godwin Okonkwo at (867) 975-4550 or godwin.okonkwo@canada.ca .

Sincerely,

Godwin Okonkwo

Manager Water Resources

CanadN

JQALUITfii2S63S7-  vi

IQALUITfll258692 ·vi