                                                ANNUAL REPORT 






FOR THE HAMLET OF CLYDE RIVER, 2018


YEAR BEING REPORTED:  2018


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM –CLY 1419 issued to the Hamlet of Clyde River.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	3,336,393.00
	Same

	February 
	3,132,861.00
	Same

	March 
	3,434,891.00
	Same

	April 
	3,241,046.00
	Same

	May 
	3,412,610.00
	Same

	June
	3,173,306.00
	Same

	July 
	3,241,225.00
	Same

	August 
	3,441,347.00
	Same

	September 
	3,121,655.00
	Same

	October
	3,259,859.00
	Same

	November 
	3,187,196.00
	Same

	December
	3,077,651.00
	Same

	ANNUAL TOTAL
	39,060,040.00
	39,060,040.00


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



During this reporting period, No modification or major maintenance work was carried out. However minor maintenance works were always required in the water truck fill station to keep running smoothly. 
____________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


Spill occurred on July 18, 2018. The product was petroleum- fuel oil.
The Leachate and final wastewater effluent are naturally treated in the wetland prior to reaching the receiving body. Besides there was no unauthorized discharge during this reporting period. 


vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work was conducted during this reporting year. However, a consultant is working on the feasibility study on the waste management of the community. Once a new waste management facility is built and commissioned, the old facility will be remediated and decommissioned.
The second consultant is conducting water quality analysis to develop a data base to use for the design of   the new water treatment plant which is anticipated to be built in next ¾ yrs.

           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                   Feasibility study on waste management is ongoing. Once this study is complete, 

                   detail design will be initiated.

                   Again, using the historical water quality date, detail design of the new water plant 

                   will be initiated.
             __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Hamlet has annual water permit and a single potable water source. They submit annual report each year on time. They conduct sampling and testing following Hamlet Water Licence conditions and criteria.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

Updates or revisions of the O&M manuals of the existing Water supply and waste sites are not required at present. The new O&M manuals will be prepared once the new water treatment plant and waste management site are built, which are anticipated in 3 to 4 years. 
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                    The Hamlet is closely monitoring and maintaining Environmental facilities. They are 

                 conducting annual water, wastewater effluent and Leachate sampling and having them 
                 tested in the Accredited Lab named Caduceon Lab in Ottawa.


    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

               Hamlet has initiated water licence renewal application with Nunavut Planning 

               Commission. They submit annual report on time and try to keep their water licence in 

              Compliancy. They will complete hazardous wastes management as soon as the

              decommissioning plan is available

             The Test Lab Results for 2018 are submitted in a separate document.

[image: image1.emf]B18-28571_R.pdf



 EMBED Acrobat.Document.11  [image: image2.emf]B18-27273_R.pdf



 EMBED Acrobat.Document.11  [image: image3.emf]B18-25322_R.PDF



 EMBED Acrobat.Document.11  [image: image4.emf]B18-24458_R.PDF



 EMBED Acrobat.Document.11  [image: image5.emf]B18-24455_R.pdf



 EMBED Acrobat.Document.11  [image: image6.emf]B18-15553_R.pdf



 EMBED Excel.Sheet.12  [image: image7.emf]Mun of Clyde  River_2018.xlsx


Page 3 of 3

_1613652920.pdf


Landfill Leachate


21-Sep-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-27273


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


10-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-27273-1Sample I.D.
30-Aug-18Date Collected


Hardness (as CaCO3) 115mg/L 1 SM 3120 12-Sep-18/O
Alkalinity(CaCO3) to pH4.5 13mg/L 5 SM 2320B 10-Sep-18/O
pH @25°C 5.97pH Units SM 4500H 10-Sep-18/O
Conductivity @25°C 571µmho/cm 1 SM 2510B 10-Sep-18/O
Total Suspended Solids 21mg/L 3 SM 2540D 12-Sep-18/O
Chloride 35.0mg/L 0.5 SM4110C 10-Sep-18/O
Nitrite (N) 5.2mg/L 0.1 SM4110C 10-Sep-18/O
Nitrate (N) 35.0mg/L 0.1 SM4110C 10-Sep-18/O
Sulphate 4mg/L 1 SM4110C 10-Sep-18/O
Aluminum (total) 0.33mg/L 0.01 SM 3120 12-Sep-18/O
Arsenic 0.0011mg/L 0.0001 EPA 200.8 10-Sep-18/O
Cadmium < 0.005mg/L 0.005 SM 3120 12-Sep-18/O
Calcium 23.1mg/L 0.02 SM 3120 12-Sep-18/O
Chromium < 0.002mg/L 0.002 SM 3120 12-Sep-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 12-Sep-18/O
Copper 0.103mg/L 0.002 SM 3120 12-Sep-18/O
Iron 0.568mg/L 0.005 SM 3120 12-Sep-18/O
Lead < 0.02mg/L 0.02 SM 3120 12-Sep-18/O
Mercury 0.00006mg/L 0.00002 SM 3112 B 17-Sep-18/O
Manganese 0.541mg/L 0.001 SM 3120 12-Sep-18/O
Magnesium 14.0mg/L 0.02 SM 3120 12-Sep-18/O
Nickel < 0.01mg/L 0.01 SM 3120 12-Sep-18/O
Potassium 22.0mg/L 0.1 SM 3120 12-Sep-18/O
Sodium 45.9mg/L 0.2 SM 3120 12-Sep-18/O
Zinc 0.087mg/L 0.005 SM 3120 12-Sep-18/O
Ammonia (N)-Total 10.1mg/L 0.01 SM4500-


NH3-H
12-Sep-18/K


Page 1 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


21-Sep-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-27273


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


10-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-27273-1Sample I.D.
30-Aug-18Date Collected


Phosphorus-Total 8.46mg/L 0.01 E3199A.1 12-Sep-18/K
Phenolics 0.105mg/L 0.002 MOEE 3179 11-Sep-18/K
BOD 42mg/L 3 SM 5210B 10-Sep-18/O
Total Organic Carbon 53.1mg/L 0.2 EPA 415.1 12-Sep-18/O
Fecal Coliform 71000cfu/100mL 1 MOE E3371 10-Sep-18/O
Acenaphthene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Acenaphthylene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Anthracene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Benzo(a)anthracene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Benzo(a)pyrene < 0.06µg/L 0.01 EPA 8270 12-Sep-18/K
Benzo(b)fluoranthene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Benzo(b+k)fluoranthene < 0.6µg/L 0.1 EPA 8270 12-Sep-18/K
Benzo(g,h,i)perylene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Benzo(k)fluoranthene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Chrysene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Dibenzo(a,h)anthracene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Fluoranthene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Fluorene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Indeno(1,2,3,-cd)pyrene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Methylnaphthalene,1- < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Methylnaphthalene,2- < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Naphthalene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K 1


Phenanthrene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Pyrene < 0.3µg/L 0.05 EPA 8270 12-Sep-18/K
Terphenyl-d14 (SS) 69.0% rec. 10 EPA 8270 12-Sep-18/K
Benzene < 0.5µg/L 0.5 EPA 8260 12-Sep-18/R
Toluene < 0.5µg/L 0.5 EPA 8260 12-Sep-18/R


Page 2 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


21-Sep-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-27273


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


10-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-27273-1Sample I.D.
30-Aug-18Date Collected


Ethylbenzene < 0.5µg/L 0.5 EPA 8260 12-Sep-18/R
Xylene, m,p- < 1.0µg/L 1.0 EPA 8260 12-Sep-18/R
Xylene, o- < 0.5µg/L 0.5 EPA 8260 12-Sep-18/R
Xylene, m,p,o- < 1.1µg/L 1.1 EPA 8260 12-Sep-18/R
Toluene-d8 (SS) 93.7% rec. EPA 8260 12-Sep-18/R
PHC F1 (C6-C10) < 50µg/L 50 MOE E3421 12-Sep-18/R
PHC F2 (>C10-C16) < 50µg/L 50 MOE E3421 11-Sep-18/K
PHC F3 (>C16-C34) < 400µg/L 400 MOE E3421 11-Sep-18/K
PHC F4 (>C34-C50) < 400µg/L 400 MOE E3421 11-Sep-18/K
Oil & Grease-Total 6.4mg/L 1.0 SM 5520 12-Sep-18/K


1 . NOTE: Elevated RL due to sample matrix interferences.


Page 3 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






_1613652921.pdf


Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28571


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


19-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-28571-1Sample I.D.
12-Sep-18Date Collected


Hardness (as CaCO3) 50mg/L 1 SM 3120 26-Sep-18/O
Alkalinity(CaCO3) to pH4.5 134mg/L 5 SM 2320B 19-Sep-18/O
pH @25°C 7.61pH Units SM 4500H 19-Sep-18/O
Conductivity @25°C 599µmho/cm 1 SM 2510B 19-Sep-18/O
Total Suspended Solids 8mg/L 3 SM 2540D 20-Sep-18/O
Chloride 50.7mg/L 0.5 SM4110C 20-Sep-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 20-Sep-18/O
Nitrate (N) 9.4mg/L 0.1 SM4110C 20-Sep-18/O
Sulphate 5mg/L 1 SM4110C 20-Sep-18/O
Aluminum (total) 0.46mg/L 0.01 SM 3120 26-Sep-18/O
Arsenic 0.0014mg/L 0.0005 EPA 200.8 27-Sep-18/O
Cadmium < 0.005mg/L 0.005 SM 3120 26-Sep-18/O
Calcium 11.4mg/L 0.02 SM 3120 26-Sep-18/O
Chromium < 0.002mg/L 0.002 SM 3120 26-Sep-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 26-Sep-18/O
Copper 0.054mg/L 0.002 SM 3120 26-Sep-18/O
Iron (Total) 0.789mg/L 0.005 SM 3120 26-Sep-18/O
Lead < 0.02mg/L 0.02 SM 3120 26-Sep-18/O
Mercury 0.00006mg/L 0.00002 SM 3112 B 26-Sep-18/O
Manganese (Total) 0.322mg/L 0.001 SM 3120 26-Sep-18/O
Magnesium 5.25mg/L 0.02 SM 3120 26-Sep-18/O
Nickel < 0.01mg/L 0.01 SM 3120 26-Sep-18/O
Potassium 18.8mg/L 0.1 SM 3120 26-Sep-18/O
Sodium 44.3mg/L 0.2 SM 3120 26-Sep-18/O
Zinc 0.051mg/L 0.005 SM 3120 26-Sep-18/O
Ammonia (N)-Total 33.8mg/L 0.01 SM4500-


NH3-H
20-Sep-18/K


Page 1 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28571


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


19-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-28571-1Sample I.D.
12-Sep-18Date Collected


Phosphorus-Total 3.78mg/L 0.01 E3199A.1 20-Sep-18/K
Phenolics 0.008mg/L 0.002 MOEE 3179 21-Sep-18/K
BOD 9mg/L 3 SM 5210B 20-Sep-18/O
Total Organic Carbon 30.8mg/L 0.2 EPA 415.1 21-Sep-18/O
Fecal Coliform < 10cfu/100mL 1 MOE E3371 19-Sep-18/O
Acenaphthene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Acenaphthylene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Anthracene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Benzo(a)anthracene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Benzo(a)pyrene < 0.01µg/L 0.01 EPA 8270 24-Sep-18/K
Benzo(b)fluoranthene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Benzo(b+k)fluoranthene < 0.1µg/L 0.1 EPA 8270 24-Sep-18/K
Benzo(g,h,i)perylene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Benzo(k)fluoranthene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Chrysene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Dibenzo(a,h)anthracene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Fluoranthene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Fluorene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Indeno(1,2,3,-cd)pyrene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Methylnaphthalene,1- < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Methylnaphthalene,2- < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Naphthalene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Phenanthrene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Pyrene < 0.05µg/L 0.05 EPA 8270 24-Sep-18/K
Terphenyl-d14 (SS) 101% rec. 10 EPA 8270 24-Sep-18/K
Benzene < 0.5µg/L 0.5 EPA 8260 20-Sep-18/R
Toluene < 0.5µg/L 0.5 EPA 8260 20-Sep-18/R


Page 2 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28571


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


19-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Mun. of
Clyde River


Client I.D.


B18-28571-1Sample I.D.
12-Sep-18Date Collected


Ethylbenzene < 0.5µg/L 0.5 EPA 8260 20-Sep-18/R
Xylene, m,p- < 1.0µg/L 1.0 EPA 8260 20-Sep-18/R
Xylene, o- < 0.5µg/L 0.5 EPA 8260 20-Sep-18/R
Xylene, m,p,o- < 1.1µg/L 1.1 EPA 8260 20-Sep-18/R
Toluene-d8 (SS) 104% rec. EPA 8260 20-Sep-18/R
PHC F1 (C6-C10) < 50µg/L 50 MOE E3421 20-Sep-18/R
PHC F2 (>C10-C16) < 50µg/L 50 MOE E3421 21-Sep-18/K
PHC F3 (>C16-C34) < 400µg/L 400 MOE E3421 21-Sep-18/K
PHC F4 (>C34-C50) < 400µg/L 400 MOE E3421 21-Sep-18/K
Oil & Grease-Total < 1.0mg/L 1.0 SM 5520 26-Sep-18/K


Page 3 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






B18-15553

		Certificate of Analysis																		REPORT No. B18-15553

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		5/Jun/18								JOB/PROJECT NO.:				

		DATE REPORTED:		14/Jun/18								P.O. NUMBER:

		SAMPLE MATRIX:		Waste Water								WATERWORKS NO.:				



								Client ID:				Sewage Lagoon

								Sample ID:				B18-15553-1

								Date Collected:				30-May-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		BOD		mg/L		3		SM 5210B		06-Jun-18/O		174

		Total Suspended Solids		mg/L		3		SM 2540D		06-Jun-18/O		120

		Hardness (as CaCO3)		mg/L		1		SM 3120		13-Jun-18/O		55

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		07-Jun-18/O		306

		Conductivity @25°C		µmho/cm		1		SM 2510B		07-Jun-18/O		925

		pH @25°C		pH Units				SM 4500H		07-Jun-18/O		7.36

		Chloride		mg/L		0.5		SM4110C		06-Jun-18/O		49.7

		Nitrite (N)		mg/L		0.1		SM4110C		06-Jun-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		06-Jun-18/O		< 0.1

		Sulphate		mg/L		1		SM4110C		06-Jun-18/O		7

		Total Organic Carbon		mg/L		0.2		EPA 415.1		08-Jun-18/O		69.1

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		07-Jun-18/K		83.8

		Phenolics		mg/L		0.001		MOEE 3179		07-Jun-18/O		0.305

		Aluminum (total)		mg/L		0.01		SM 3120		13-Jun-18/O		2.5

		Arsenic		mg/L		0.0005		EPA 200.8		07-Jun-18/O		0.0023

		Cadmium		mg/L		0.005		SM 3120		13-Jun-18/O		< 0.005

		Calcium		mg/L		0.02		SM 3120		13-Jun-18/O		11.4

		Chromium		mg/L		0.002		SM 3120		13-Jun-18/O		0.005

		Cobalt		mg/L		0.005		SM 3120		13-Jun-18/O		< 0.005

		Copper		mg/L		0.002		SM 3120		13-Jun-18/O		0.264

		Iron (Total)		mg/L		0.005		SM 3120		13-Jun-18/O		3.96

		Lead		mg/L		0.02		SM 3120		13-Jun-18/O		< 0.02

		Magnesium		mg/L		0.02		SM 3120		13-Jun-18/O		6.5

		Manganese (Total)		mg/L		0.001		SM 3120		13-Jun-18/O		0.096

		Mercury		mg/L		0.00002		SM 3112 B		13-Jun-18/O		0.00006

		Nickel		mg/L		0.01		SM 3120		13-Jun-18/O		< 0.01

		Potassium		mg/L		0.1		SM 3120		13-Jun-18/O		23.3

		Sodium		mg/L		0.2		SM 3120		13-Jun-18/O		47.7

		Zinc		mg/L		0.005		SM 3120		13-Jun-18/O		0.138

		Oil & Grease-Total		mg/L		1		SM 5520		07-Jun-18/K		70.5

		Fecal Coliform		cfu/100mL		1		MOE E3371		05-Jun-18/O		2300000







B18-24455

		Certificate of Analysis																		REPORT No. B18-24455

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		16/Aug/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		24/Aug/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Leachate CLY-2 (Landfill Site)

								Sample ID:				B18-24455-1

								Date Collected:				14-Aug-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		23-Aug-18/O		149

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		16-Aug-18/O		41

		pH @25°C		pH Units				SM 4500H		16-Aug-18/O		7.39

		Conductivity @25°C		µmho/cm		1		SM 2510B		16-Aug-18/O		642

		Total Suspended Solids		mg/L		3		SM 2540D		22-Aug-18/O		7

		Chloride		mg/L		0.5		SM4110C		16-Aug-18/O		191

		Nitrite (N)		mg/L		0.1		SM4110C		16-Aug-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		16-Aug-18/O		< 0.1

		Sulphate		mg/L		1		SM4110C		16-Aug-18/O		43

		Aluminum		mg/L		0.01		SM 3120		23-Aug-18/O		0.17

		Arsenic		mg/L		0.0001		EPA 200.8		16-Aug-18/O		0.0006

		Cadmium		mg/L		0.005		SM 3120		23-Aug-18/O		< 0.005

		Calcium		mg/L		0.02		SM 3120		23-Aug-18/O		29.4

		Chromium		mg/L		0.002		SM 3120		23-Aug-18/O		< 0.002

		Cobalt		mg/L		0.005		SM 3120		23-Aug-18/O		< 0.005

		Copper		mg/L		0.002		SM 3120		23-Aug-18/O		0.009

		Iron		mg/L		0.005		SM 3120		23-Aug-18/O		0.283

		Lead		mg/L		0.02		SM 3120		23-Aug-18/O		< 0.02

		Magnesium		mg/L		0.02		SM 3120		23-Aug-18/O		18.4

		Manganese		mg/L		0.001		SM 3120		23-Aug-18/O		0.028

		Mercury		mg/L		0.00002		SM 3112 B		23-Aug-18/O		< 0.00002

		Nickel		mg/L		0.01		SM 3120		23-Aug-18/O		< 0.01

		Potassium		mg/L		0.1		SM 3120		23-Aug-18/O		7.7

		Sodium		mg/L		0.2		SM 3120		23-Aug-18/O		61.5

		Zinc		mg/L		0.005		SM 3120		23-Aug-18/O		0.02

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		20-Aug-18/K		0.06

		Phosphorus-Total		mg/L		0.01		E3199A.1		17-Aug-18/K		0.11

		Phenolics		mg/L		0.002		MOEE 3179		20-Aug-18/K		0.003

		BOD		mg/L		3		SM 5210B		17-Aug-18/O		4

		Total Organic Carbon		mg/L		0.2		EPA 415.1		21-Aug-18/O		15.4

		Fecal Coliform		cfu/100mL		1		MOE E3371		16-Aug-18/O		< 10

		Acenaphthene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Acenaphthylene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Anthracene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Benzo(a)anthracene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Benzo(a)pyrene		µg/L		0.01		EPA 8270		20-Aug-18/K		< 0.01

		Benzo(b)fluoranthene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Benzo(b+k)fluoranthene		µg/L		0.1		EPA 8270		20-Aug-18/K		< 0.1

		Benzo(g,h,i)perylene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Benzo(k)fluoranthene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Chrysene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Dibenzo(a,h)anthracene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Fluoranthene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Fluorene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Indeno(1,2,3,-cd)pyrene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Methylnaphthalene,1-		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Methylnaphthalene,2-		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Naphthalene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Phenanthrene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Pyrene		µg/L		0.05		EPA 8270		20-Aug-18/K		< 0.05

		Terphenyl-d14 (SS)		% rec.		10		EPA 8270		20-Aug-18/K		76

		Benzene		µg/L		0.5		EPA 8260		17-Aug-18/O		< 0.5

		Toluene		µg/L		0.5		EPA 8260		17-Aug-18/O		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		17-Aug-18/O		< 0.5

		Xylene, m,p-		µg/L		0.4		EPA 8260		17-Aug-18/O		< 0.4

		Xylene, o-		µg/L		0.1		EPA 8260		17-Aug-18/O		< 0.1

		Xylene, m,p,o-		µg/L		0.4		EPA 8260		17-Aug-18/O		< 0.4

		Toluene-d8 (SS)		%				EPA 8260		17-Aug-18/O		100

		PHC F1 (C6-C10)		µg/L		20		MOE E3421		17-Aug-18/O		< 20

		PHC F2 (>C10-C16)		µg/L		50		MOE E3421		17-Aug-18/K		< 50

		PHC F3 (>C16-C34)		µg/L		400		MOE E3421		17-Aug-18/K		< 400

		PHC F4 (>C34-C50)		µg/L		400		MOE E3421		17-Aug-18/K		< 400

		Oil & Grease-Total		mg/L		1		SM 5520		22-Aug-18/K		5.7







B18-24458

		Certificate of Analysis																		REPORT No. B18-24458

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		16/Aug/18								JOB/PROJECT NO.:				Drinking Water

		DATE REPORTED:		28/Aug/18								P.O. NUMBER:

		SAMPLE MATRIX:		Drinking Water								WATERWORKS NO.:				



								Client ID:				Lake Water		Treated Water (End of Nozzle)

								Sample ID:				B18-24458-1		B18-24458-2

								Date Collected:				16-Aug-18		

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Arsenic		mg/L		0.0001		EPA 200.8		17-Aug-18/O		< 0.0001		< 0.0001

		Barium		mg/L		0.001		SM 3120		20-Aug-18/O		0.001		0.001

		Cadmium		mg/L		0.000015		EPA 200.8		17-Aug-18/O		< 0.000015		< 0.000015

		Chromium		mg/L		0.002		SM 3120		20-Aug-18/O		< 0.002		< 0.002

		Chromium (VI)		mg/L		0.002		MOE E3056		21-Aug-18/O		< 0.002		< 0.002

		Chloride		mg/L		0.5		SM4110C		16-Aug-18/O		6.4		7.6

		Cyanide (Total)		mg/L		0.005		SM 4500CN		21-Aug-18/K		< 0.005		< 0.005

		Sulphate		mg/L		1		SM4110C		16-Aug-18/O		2		2

		Copper		mg/L		0.002		SM 3120		20-Aug-18/O		< 0.002		< 0.002

		Iron		mg/L		0.005		SM 3120		20-Aug-18/O		0.022		0.028

		Lead		mg/L		0.00002		EPA 200.8		17-Aug-18/O		0.00002		0.00007

		Manganese		mg/L		0.001		SM 3120		20-Aug-18/O		0.001		0.001

		Selenium		mg/L		0.001		EPA 200.8		17-Aug-18/O		< 0.001		< 0.001

		Silver		mg/L		0.0001		EPA 200.8		17-Aug-18/O		< 0.0001		< 0.0001

		Zinc		mg/L		0.005		SM 3120		20-Aug-18/O		< 0.005		0.098

		Fluoride		mg/L		0.1		SM4110C		16-Aug-18/O		< 0.1		< 0.1

		Nitrite (N)		mg/L		0.1		SM4110C		16-Aug-18/O		< 0.1		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		16-Aug-18/O		< 0.1		< 0.1

		Phenolics		mg/L		0.002		MOEE 3179		23-Aug-18/K		< 0.002		< 0.002

		Dissolved Organic Carbon		mg/L		0.2		EPA 415.1		20-Aug-18/O		1.2		2.1

		Surfactants Content		mg/L		0.05		SM-5540-C		24-Aug-18/O		< 0.05		< 0.05

		TDS (Calc. from Cond.)		mg/L		1		Calc.		17-Aug-18		16		20

		E coli		cfu/100mL		1		MOE E3407		16-Aug-18/O		0		0







B18-25322

		Certificate of Analysis																		REPORT No. B18-25322

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		23/Aug/18								JOB/PROJECT NO.:				Drinking Water

		DATE REPORTED:		30/Aug/18								P.O. NUMBER:

		SAMPLE MATRIX:		Drinking Water								WATERWORKS NO.:				



								Client ID:				Clyde River Old Tower - Raw		Clyde River Bridge 1 - Raw

								Sample ID:				B18-25322-1		B18-25322-2

								Date Collected:				15-Aug-18		15-Aug-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		TDS (Calc. from Cond.)		mg/L		1		Calc.		24-Aug-18		24		11

		Chloride		mg/L		0.5		SM4110C		23-Aug-18/O		8.5		3.4

		Fluoride		mg/L		0.1		SM4110C		23-Aug-18/O		< 0.1		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		23-Aug-18/O		< 0.1		< 0.1

		Nitrite (N)		mg/L		0.1		SM4110C		23-Aug-18/O		< 0.1		< 0.1

		Sulphate		mg/L		1		SM4110C		23-Aug-18/O		2		< 1

		Cyanide (Total)		mg/L		0.005		SM 4500CN		28-Aug-18/K		0.008		0.008

		Arsenic		mg/L		0.0001		EPA 200.8		27-Aug-18/O		< 0.0001		< 0.0001

		Barium		mg/L		0.001		SM 3120		30-Aug-18/O		0.004		0.001

		Cadmium		mg/L		0.000015		EPA 200.8		27-Aug-18/O		< 0.000015		< 0.000015

		Chromium		mg/L		0.002		SM 3120		30-Aug-18/O		< 0.002		< 0.002

		Chromium (VI)		mg/L		0.002		MOE E3056		28-Aug-18/O		< 0.002		< 0.002

		Copper		mg/L		0.002		SM 3120		30-Aug-18/O		< 0.002		< 0.002

		Iron		mg/L		0.005		SM 3120		30-Aug-18/O		0.076		0.03

		Lead		mg/L		0.00002		EPA 200.8		27-Aug-18/O		0.00014		0.00002

		Manganese		mg/L		0.001		SM 3120		30-Aug-18/O		0.001		0.001

		Selenium		mg/L		0.001		EPA 200.8		27-Aug-18/O		< 0.001		< 0.001

		Silver		mg/L		0.0001		EPA 200.8		27-Aug-18/O		< 0.0001		< 0.0001

		Zinc		mg/L		0.005		SM 3120		30-Aug-18/O		< 0.005		< 0.005

		Phenolics		mg/L		0.002		MOEE 3179		27-Aug-18/K		< 0.002		< 0.002

		Dissolved Organic Carbon		mg/L		0.2		EPA 415.1		23-Aug-18/O		3.2		0.9

		Surfactants Content		mg/L		0.05		SM-5540-C		24-Aug-18/O		< 0.05		< 0.05

		E coli		cfu/100mL		1		MOE E3407		23-Aug-18/O		2		0







B18-27273

		Certificate of Analysis																		REPORT No. B18-27273

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		10/Sep/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		19/Sep/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Mun. of Clyde River

								Sample ID:				B18-27273-1

								Date Collected:				30-Aug-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		12-Sep-18/O		115

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		10-Sep-18/O		13

		pH @25°C		pH Units				SM 4500H		10-Sep-18/O		5.97

		Conductivity @25°C		µmho/cm		1		SM 2510B		10-Sep-18/O		571

		Total Suspended Solids		mg/L		3		SM 2540D		12-Sep-18/O		21

		Chloride		mg/L		0.5		SM4110C		10-Sep-18/O		35

		Nitrite (N)		mg/L		0.1		SM4110C		10-Sep-18/O		5.2

		Nitrate (N)		mg/L		0.1		SM4110C		10-Sep-18/O		35

		Sulphate		mg/L		1		SM4110C		10-Sep-18/O		4

		Aluminum (total)		mg/L		0.01		SM 3120		12-Sep-18/O		0.33

		Arsenic		mg/L		0.0001		EPA 200.8		10-Sep-18/O		0.0011

		Cadmium		mg/L		0.005		SM 3120		12-Sep-18/O		< 0.005

		Calcium		mg/L		0.02		SM 3120		12-Sep-18/O		23.1

		Chromium		mg/L		0.002		SM 3120		12-Sep-18/O		< 0.002

		Cobalt		mg/L		0.005		SM 3120		12-Sep-18/O		< 0.005

		Copper		mg/L		0.002		SM 3120		12-Sep-18/O		0.103

		Iron		mg/L		0.005		SM 3120		12-Sep-18/O		0.568

		Lead		mg/L		0.02		SM 3120		12-Sep-18/O		< 0.02

		Mercury		mg/L		0.00002		SM 3112 B		17-Sep-18/O		0.00006

		Manganese		mg/L		0.001		SM 3120		12-Sep-18/O		0.541

		Magnesium		mg/L		0.02		SM 3120		12-Sep-18/O		14

		Nickel		mg/L		0.01		SM 3120		12-Sep-18/O		< 0.01

		Potassium		mg/L		0.1		SM 3120		12-Sep-18/O		22

		Sodium		mg/L		0.2		SM 3120		12-Sep-18/O		45.9

		Zinc		mg/L		0.005		SM 3120		12-Sep-18/O		0.087

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		12-Sep-18/K		10.1

		Phosphorus-Total		mg/L		0.01		E3199A.1		12-Sep-18/K		8.46

		Phenolics		mg/L		0.002		MOEE 3179		11-Sep-18/K		0.105

		BOD		mg/L		3		SM 5210B		10-Sep-18/O		42

		Total Organic Carbon		mg/L		0.2		EPA 415.1		12-Sep-18/O		53.1

		Fecal Coliform		cfu/100mL		1		MOE E3371		10-Sep-18/O		71000

		Acenaphthene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Acenaphthylene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Anthracene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Benzo(a)anthracene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Benzo(a)pyrene		µg/L		0.01		EPA 8270		12-Sep-18/K		< 0.06

		Benzo(b)fluoranthene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Benzo(b+k)fluoranthene		µg/L		0.1		EPA 8270		12-Sep-18/K		< 0.6

		Benzo(g,h,i)perylene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Benzo(k)fluoranthene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Chrysene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Dibenzo(a,h)anthracene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Fluoranthene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Fluorene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Indeno(1,2,3,-cd)pyrene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Methylnaphthalene,1-		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Methylnaphthalene,2-		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Naphthalene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Phenanthrene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Pyrene		µg/L		0.05		EPA 8270		12-Sep-18/K		< 0.3

		Terphenyl-d14 (SS)		% rec.		10		EPA 8270		12-Sep-18/K		69

		Benzene		µg/L		0.5		EPA 8260		12-Sep-18/R		< 0.5

		Toluene		µg/L		0.5		EPA 8260		12-Sep-18/R		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		12-Sep-18/R		< 0.5

		Xylene, m,p-		µg/L		1		EPA 8260		12-Sep-18/R		< 1.0

		Xylene, o-		µg/L		0.5		EPA 8260		12-Sep-18/R		< 0.5

		Xylene, m,p,o-		µg/L		1.1		EPA 8260		12-Sep-18/R		< 1.1

		Toluene-d8 (SS)		% rec.				EPA 8260		12-Sep-18/R		93.7

		PHC F1 (C6-C10)		µg/L		50		MOE E3421		12-Sep-18/R		< 50

		PHC F2 (>C10-C16)		µg/L		50		MOE E3421		11-Sep-18/K		< 50

		PHC F3 (>C16-C34)		µg/L		400		MOE E3421		11-Sep-18/K		< 400

		PHC F4 (>C34-C50)		µg/L		400		MOE E3421		11-Sep-18/K		< 400

		Oil & Grease-Total		mg/L		1		SM 5520		12-Sep-18/K		6.4







B18-28571

		Certificate of Analysis																		REPORT No. B18-28571

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Clyde River										2378 Holly Lane 

		Box 89, 										Ottawa Ontario K1V 7P1

		Clyde River Nunavut X0A 0E0 Canada										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		19/Sep/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		5/Oct/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Mun. of Clyde River

								Sample ID:				B18-28571-1

								Date Collected:				12-Sep-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		26-Sep-18/O		50

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		19-Sep-18/O		134

		pH @25°C		pH Units				SM 4500H		19-Sep-18/O		7.61

		Conductivity @25°C		µmho/cm		1		SM 2510B		19-Sep-18/O		599

		Total Suspended Solids		mg/L		3		SM 2540D		20-Sep-18/O		8

		Chloride		mg/L		0.5		SM4110C		20-Sep-18/O		50.7

		Nitrite (N)		mg/L		0.1		SM4110C		20-Sep-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		20-Sep-18/O		9.4

		Sulphate		mg/L		1		SM4110C		20-Sep-18/O		5

		Aluminum (total)		mg/L		0.01		SM 3120		26-Sep-18/O		0.46

		Arsenic		mg/L		0.0005		EPA 200.8		27-Sep-18/O		0.0014

		Cadmium		mg/L		0.005		SM 3120		26-Sep-18/O		< 0.005

		Calcium		mg/L		0.02		SM 3120		26-Sep-18/O		11.4

		Chromium		mg/L		0.002		SM 3120		26-Sep-18/O		< 0.002

		Cobalt		mg/L		0.005		SM 3120		26-Sep-18/O		< 0.005

		Copper		mg/L		0.002		SM 3120		26-Sep-18/O		0.054

		Iron (Total)		mg/L		0.005		SM 3120		26-Sep-18/O		0.789

		Lead		mg/L		0.02		SM 3120		26-Sep-18/O		< 0.02

		Mercury		mg/L		0.00002		SM 3112 B		26-Sep-18/O		0.00006

		Manganese (Total)		mg/L		0.001		SM 3120		26-Sep-18/O		0.322

		Magnesium		mg/L		0.02		SM 3120		26-Sep-18/O		5.25

		Nickel		mg/L		0.01		SM 3120		26-Sep-18/O		< 0.01

		Potassium		mg/L		0.1		SM 3120		26-Sep-18/O		18.8

		Sodium		mg/L		0.2		SM 3120		26-Sep-18/O		44.3

		Zinc		mg/L		0.005		SM 3120		26-Sep-18/O		0.051

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		20-Sep-18/K		33.8

		Phosphorus-Total		mg/L		0.01		E3199A.1		20-Sep-18/K		3.78

		Phenolics		mg/L		0.002		MOEE 3179		21-Sep-18/K		0.008

		BOD		mg/L		3		SM 5210B		20-Sep-18/O		9

		Total Organic Carbon		mg/L		0.2		EPA 415.1		21-Sep-18/O		30.8

		Fecal Coliform		cfu/100mL		1		MOE E3371		19-Sep-18/O		< 10

		Acenaphthene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Acenaphthylene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Anthracene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Benzo(a)anthracene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Benzo(a)pyrene		µg/L		0.01		EPA 8270		24-Sep-18/K		< 0.01

		Benzo(b)fluoranthene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Benzo(b+k)fluoranthene		µg/L		0.1		EPA 8270		24-Sep-18/K		< 0.1

		Benzo(g,h,i)perylene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Benzo(k)fluoranthene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Chrysene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Dibenzo(a,h)anthracene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Fluoranthene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Fluorene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Indeno(1,2,3,-cd)pyrene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Methylnaphthalene,1-		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Methylnaphthalene,2-		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Naphthalene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Phenanthrene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Pyrene		µg/L		0.05		EPA 8270		24-Sep-18/K		< 0.05

		Terphenyl-d14 (SS)		% rec.		10		EPA 8270		24-Sep-18/K		101

		Benzene		µg/L		0.5		EPA 8260		20-Sep-18/R		< 0.5

		Toluene		µg/L		0.5		EPA 8260		20-Sep-18/R		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		20-Sep-18/R		< 0.5

		Xylene, m,p-		µg/L		1		EPA 8260		20-Sep-18/R		< 1.0

		Xylene, o-		µg/L		0.5		EPA 8260		20-Sep-18/R		< 0.5

		Xylene, m,p,o-		µg/L		1.1		EPA 8260		20-Sep-18/R		< 1.1

		Toluene-d8 (SS)		% rec.				EPA 8260		20-Sep-18/R		104

		PHC F1 (C6-C10)		µg/L		50		MOE E3421		20-Sep-18/R		< 50

		PHC F2 (>C10-C16)		µg/L		50		MOE E3421		21-Sep-18/K		< 50

		PHC F3 (>C16-C34)		µg/L		400		MOE E3421		21-Sep-18/K		< 400

		PHC F4 (>C34-C50)		µg/L		400		MOE E3421		21-Sep-18/K		< 400

		Oil & Grease-Total		mg/L		1		SM 5520		26-Sep-18/K		< 1.0








_1613652918.pdf


Drinking Water


28-Aug-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 


Ottawa Ontario K1V 7P1


613-526-0123Tel:


Fax:


JOB/PROJECT NO.:


Final Report


REPORT No. B18-24458


Municipality of Clyde River


Box 89, 


Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


16-Aug-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Drinking WaterSAMPLE MATRIX:


C.O.C.: DW24458


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference 


Method


Date/Site 


Analyzed


Lake Water Treated 
Water (End 
of Nozzle)


Client I.D.


B18-24458-1 B18-24458-2Sample I.D.


16-Aug-18Date Collected


Arsenic < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 17-Aug-18/O


Barium 0.001 0.001mg/L 0.001 SM 3120 20-Aug-18/O


Cadmium < 0.000015 < 0.000015mg/L 0.000015 EPA 200.8 17-Aug-18/O


Chromium < 0.002 < 0.002mg/L 0.002 SM 3120 20-Aug-18/O


Chromium (VI) < 0.002 < 0.002mg/L 0.002 MOE E3056 21-Aug-18/O 1 1


Chloride 6.4 7.6mg/L 0.5 SM4110C 16-Aug-18/O


Cyanide (Total) < 0.005 < 0.005mg/L 0.005 SM 4500CN 21-Aug-18/K


Sulphate 2 2mg/L 1 SM4110C 16-Aug-18/O


Copper < 0.002 < 0.002mg/L 0.002 SM 3120 20-Aug-18/O


Iron 0.022 0.028mg/L 0.005 SM 3120 20-Aug-18/O


Lead 0.00002 0.00007mg/L 0.00002 EPA 200.8 17-Aug-18/O


Manganese 0.001 0.001mg/L 0.001 SM 3120 20-Aug-18/O


Selenium < 0.001 < 0.001mg/L 0.001 EPA 200.8 17-Aug-18/O


Silver < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 17-Aug-18/O


Zinc < 0.005 0.098mg/L 0.005 SM 3120 20-Aug-18/O


Fluoride < 0.1 < 0.1mg/L 0.1 SM4110C 16-Aug-18/O


Nitrite (N) < 0.1 < 0.1mg/L 0.1 SM4110C 16-Aug-18/O


Nitrate (N) < 0.1 < 0.1mg/L 0.1 SM4110C 16-Aug-18/O


Phenolics < 0.002 < 0.002mg/L 0.002 MOEE 3179 23-Aug-18/K


Dissolved Organic Carbon 1.2 2.1mg/L 0.2 EPA 415.1 20-Aug-18/O


Surfactants Content < 0.05 < 0.05mg/L 0.05 SM-5540-C 24-Aug-18/O 2 2


TDS (Calc. from Cond.) 16 20mg/L 1 Calc. 17-Aug-18


E coli 0 0cfu/100mL 1 MOE E3407 16-Aug-18/O


1 .   Chromium (VI)result is based on total Chromium


2 . Subcontracted to Niagara Analytical


Page 1 of 1.


Tahir Yapici  Ph.D


Lab Supervisor


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from 
Caduceon Environmental Laboratories.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie


Test methods may be modified from specified reference method unless indicated by an *






_1613652919.pdf


Drinking Water


30-Aug-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 


Ottawa Ontario K1V 7P1


613-526-0123Tel:


Fax:


JOB/PROJECT NO.:


Final Report


REPORT No. B18-25322


Municipality of Clyde River


Box 89, 


Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


23-Aug-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Drinking WaterSAMPLE MATRIX:


C.O.C.: DW 25322


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference 


Method


Date/Site 


Analyzed


Clyde River 
Old Tower - 


Raw


Clyde River 
Bridge 1 - 


Raw


Client I.D.


B18-25322-1 B18-25322-2Sample I.D.


15-Aug-18 15-Aug-18Date Collected


TDS (Calc. from Cond.) 24 11mg/L 1 Calc. 24-Aug-18


Chloride 8.5 3.4mg/L 0.5 SM4110C 23-Aug-18/O


Fluoride < 0.1 < 0.1mg/L 0.1 SM4110C 23-Aug-18/O


Nitrate (N) < 0.1 < 0.1mg/L 0.1 SM4110C 23-Aug-18/O


Nitrite (N) < 0.1 < 0.1mg/L 0.1 SM4110C 23-Aug-18/O


Sulphate 2 < 1mg/L 1 SM4110C 23-Aug-18/O


Cyanide (Total) 0.008 0.008mg/L 0.005 SM 4500CN 28-Aug-18/K


Arsenic < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 27-Aug-18/O


Barium 0.004 0.001mg/L 0.001 SM 3120 30-Aug-18/O


Cadmium < 0.000015 < 0.000015mg/L 0.000015 EPA 200.8 27-Aug-18/O


Chromium < 0.002 < 0.002mg/L 0.002 SM 3120 30-Aug-18/O


Chromium (VI) < 0.002 < 0.002mg/L 0.002 MOE E3056 28-Aug-18/O


Copper < 0.002 < 0.002mg/L 0.002 SM 3120 30-Aug-18/O


Iron 0.076 0.030mg/L 0.005 SM 3120 30-Aug-18/O


Lead 0.00014 0.00002mg/L 0.00002 EPA 200.8 27-Aug-18/O


Manganese 0.001 0.001mg/L 0.001 SM 3120 30-Aug-18/O


Selenium < 0.001 < 0.001mg/L 0.001 EPA 200.8 27-Aug-18/O


Silver < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 27-Aug-18/O


Zinc < 0.005 < 0.005mg/L 0.005 SM 3120 30-Aug-18/O


Phenolics < 0.002 < 0.002mg/L 0.002 MOEE 3179 27-Aug-18/K


Dissolved Organic Carbon 3.2 0.9mg/L 0.2 EPA 415.1 23-Aug-18/O


Surfactants Content < 0.05 < 0.05mg/L 0.05 SM-5540-C 24-Aug-18/O 1 1


E coli 2 0cfu/100mL 1 MOE E3407 23-Aug-18/O


1 . Subcontracted to Niagara Analytical


Page 1 of 1.


Tahir Yapici  Ph.D


Lab Supervisor


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from 
Caduceon Environmental Laboratories.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie


Test methods may be modified from specified reference method unless indicated by an *






_1613652917.pdf


Landfill Leachate


24-Aug-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-24455


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


16-Aug-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Leachate
CLY-2


(Landfill Site)


Client I.D.


B18-24455-1Sample I.D.
14-Aug-18Date Collected


Hardness (as CaCO3) 149mg/L 1 SM 3120 23-Aug-18/O
Alkalinity(CaCO3) to pH4.5 41mg/L 5 SM 2320B 16-Aug-18/O
pH @25°C 7.39pH Units SM 4500H 16-Aug-18/O
Conductivity @25°C 642µmho/cm 1 SM 2510B 16-Aug-18/O
Total Suspended Solids 7mg/L 3 SM 2540D 22-Aug-18/O
Chloride 191mg/L 0.5 SM4110C 16-Aug-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 16-Aug-18/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 16-Aug-18/O
Sulphate 43mg/L 1 SM4110C 16-Aug-18/O
Aluminum 0.17mg/L 0.01 SM 3120 23-Aug-18/O
Arsenic 0.0006mg/L 0.0001 EPA 200.8 16-Aug-18/O
Cadmium < 0.005mg/L 0.005 SM 3120 23-Aug-18/O
Calcium 29.4mg/L 0.02 SM 3120 23-Aug-18/O
Chromium < 0.002mg/L 0.002 SM 3120 23-Aug-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 23-Aug-18/O
Copper 0.009mg/L 0.002 SM 3120 23-Aug-18/O
Iron 0.283mg/L 0.005 SM 3120 23-Aug-18/O
Lead < 0.02mg/L 0.02 SM 3120 23-Aug-18/O
Magnesium 18.4mg/L 0.02 SM 3120 23-Aug-18/O
Manganese 0.028mg/L 0.001 SM 3120 23-Aug-18/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 23-Aug-18/O
Nickel < 0.01mg/L 0.01 SM 3120 23-Aug-18/O
Potassium 7.7mg/L 0.1 SM 3120 23-Aug-18/O
Sodium 61.5mg/L 0.2 SM 3120 23-Aug-18/O
Zinc 0.020mg/L 0.005 SM 3120 23-Aug-18/O


Page 1 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


24-Aug-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-24455


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


16-Aug-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Leachate
CLY-2


(Landfill Site)


Client I.D.


B18-24455-1Sample I.D.
14-Aug-18Date Collected


Ammonia (N)-Total 0.06mg/L 0.01 SM4500-
NH3-H


20-Aug-18/K


Phosphorus-Total 0.11mg/L 0.01 E3199A.1 17-Aug-18/K
Phenolics 0.003mg/L 0.002 MOEE 3179 20-Aug-18/K
BOD 4mg/L 3 SM 5210B 17-Aug-18/O
Total Organic Carbon 15.4mg/L 0.2 EPA 415.1 21-Aug-18/O
Fecal Coliform < 10cfu/100mL 1 MOE E3371 16-Aug-18/O
Acenaphthene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Acenaphthylene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Anthracene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Benzo(a)anthracene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Benzo(a)pyrene < 0.01µg/L 0.01 EPA 8270 20-Aug-18/K
Benzo(b)fluoranthene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Benzo(b+k)fluoranthene < 0.1µg/L 0.1 EPA 8270 20-Aug-18/K
Benzo(g,h,i)perylene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Benzo(k)fluoranthene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Chrysene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Dibenzo(a,h)anthracene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Fluoranthene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Fluorene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Indeno(1,2,3,-cd)pyrene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Methylnaphthalene,1- < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Methylnaphthalene,2- < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Naphthalene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Phenanthrene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K
Pyrene < 0.05µg/L 0.05 EPA 8270 20-Aug-18/K


Page 2 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


24-Aug-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-24455


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


16-Aug-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Leachate
CLY-2


(Landfill Site)


Client I.D.


B18-24455-1Sample I.D.
14-Aug-18Date Collected


Terphenyl-d14 (SS) 76.0% rec. 10 EPA 8270 20-Aug-18/K
Benzene < 0.5µg/L 0.5 EPA 8260 17-Aug-18/O
Toluene < 0.5µg/L 0.5 EPA 8260 17-Aug-18/O
Ethylbenzene < 0.5µg/L 0.5 EPA 8260 17-Aug-18/O
Xylene, m,p- < 0.4µg/L 0.4 EPA 8260 17-Aug-18/O
Xylene, o- < 0.1µg/L 0.1 EPA 8260 17-Aug-18/O
Xylene, m,p,o- < 0.4µg/L 0.4 EPA 8260 17-Aug-18/O
Toluene-d8 (SS) 100% EPA 8260 17-Aug-18/O
PHC F1 (C6-C10) < 20µg/L 20 MOE E3421 17-Aug-18/O
PHC F2 (>C10-C16) < 50µg/L 50 MOE E3421 17-Aug-18/K
PHC F3 (>C16-C34) < 400µg/L 400 MOE E3421 17-Aug-18/K
PHC F4 (>C34-C50) < 400µg/L 400 MOE E3421 17-Aug-18/K
Oil & Grease-Total 5.7mg/L 1.0 SM 5520 22-Aug-18/K


Page 3 of 3.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






_1613652916.pdf


14-Jun-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-15553


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


05-Jun-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Sewage
Lagoon


Client I.D.


B18-15553-1Sample I.D.
30-May-18Date Collected


BOD 174mg/L 3 SM 5210B 06-Jun-18/O
Total Suspended Solids 120mg/L 3 SM 2540D 06-Jun-18/O
Hardness (as CaCO3) 55mg/L 1 SM 3120 13-Jun-18/O
Alkalinity(CaCO3) to pH4.5 306mg/L 5 SM 2320B 07-Jun-18/O
Conductivity @25°C 925µmho/cm 1 SM 2510B 07-Jun-18/O
pH @25°C 7.36pH Units SM 4500H 07-Jun-18/O
Chloride 49.7mg/L 0.5 SM4110C 06-Jun-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 06-Jun-18/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 06-Jun-18/O
Sulphate 7mg/L 1 SM4110C 06-Jun-18/O
Total Organic Carbon 69.1mg/L 0.2 EPA 415.1 08-Jun-18/O
Ammonia (N)-Total 83.8mg/L 0.01 SM4500-


NH3-H
07-Jun-18/K


Phenolics 0.305mg/L 0.001 MOEE 3179 07-Jun-18/O
Aluminum (total) 2.50mg/L 0.01 SM 3120 13-Jun-18/O
Arsenic 0.0023mg/L 0.0005 EPA 200.8 07-Jun-18/O
Cadmium < 0.005mg/L 0.005 SM 3120 13-Jun-18/O
Calcium 11.4mg/L 0.02 SM 3120 13-Jun-18/O
Chromium 0.005mg/L 0.002 SM 3120 13-Jun-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 13-Jun-18/O
Copper 0.264mg/L 0.002 SM 3120 13-Jun-18/O
Iron (Total) 3.96mg/L 0.005 SM 3120 13-Jun-18/O
Lead < 0.02mg/L 0.02 SM 3120 13-Jun-18/O
Magnesium 6.50mg/L 0.02 SM 3120 13-Jun-18/O
Manganese (Total) 0.096mg/L 0.001 SM 3120 13-Jun-18/O
Mercury 0.00006mg/L 0.00002 SM 3112 B 13-Jun-18/O
Nickel < 0.01mg/L 0.01 SM 3120 13-Jun-18/O


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding times upon arrival at lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







14-Jun-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-15553


Municipality of Clyde River
Box 89,
Clyde River Nunavut X0A 0E0 Canada


Report To:


Attention: SAO -


05-Jun-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Sewage
Lagoon


Client I.D.


B18-15553-1Sample I.D.
30-May-18Date Collected


Potassium 23.3mg/L 0.1 SM 3120 13-Jun-18/O
Sodium 47.7mg/L 0.2 SM 3120 13-Jun-18/O
Zinc 0.138mg/L 0.005 SM 3120 13-Jun-18/O
Oil & Grease-Total 70.5mg/L 1.0 SM 5520 07-Jun-18/K
Fecal Coliform 2300000cfu/100mL 1 MOE E3371 05-Jun-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding times upon arrival at lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






