## Sheet1
PLAN FOR COMPLIANCE LICENCE NO: NWB 3CLY 0308
MUNICIPALITY OF CLYDE RIVER
Column 1 |  | Column 2 |  | Column 3 |  |  | Column 4 | Column 5 |  |  | Column 6
License |  | Status of compliance |  | Short term Plan of Compliance |  | Schedule of implementation of |  | Long Term Plan of Compliance |  | Schedule of implementation of
condition | [5 empty] | short term Plan for Compliance |  |  |  | long term Plan for Compliance
[6 empty] | (including funding status where |  |  |  | (Including funding status where
[6 empty] | applicable to Municipal development) |  |  |  | applicable to Municipal development)
Part B: | General Condition
B-1 | The Licensee shall file an annual Report with the Board not later than March | Submitted for 2009 and attached 2010 report |  | N/A |  | N/A |  | The schedule of annual report submission |  | Will be followed in each year.
| 31st of the year reported which shall contain the following information | [6 empty] | will be maintained.
B-1-a | tabular summaries of all data generated under the " Monitoring Program". | Lab test results attached |  | N/A |  | N/A |  | This monitoring procedure will be continued. |  | Will be maintained as required.
B-1-b | modifications to the "monitoring program" | New Sewage lagoon is completed, the old one is |  | Shown in as built and O&M documents |  | Satisfied by December 31, 2010 |  | The Facilities will be completed 100% in |  | The effective life expectancy is 20 yrs.
|  | still in progress. Monitoring stations are established. | [5 empty] | summer 2011.
B-1-c | the monthly and annual quantities in cubic meters of fresh water obtained at the | The quantity is estimated on the basis of |  | The records are kept in order. |  | In Compliance |  | Will be maintained |  | During the period of life expectancy
| Water Supply Facilities. | consumption record daily.
B-1-d | the monthly and annual quantities in cubic meters of each and all waste | Shown in the annual report same as water |  | In compliance |  | In schedule |  | Will be maintained |  | During life expectancy of the facility.
| discharged | consumption.
B-1-e | the annual quantities in cubic meters and tones of sludge removed from | Not applicable |  | N/A |  | N/A |  | N/A |  | N/A
the sewage Disposal Facility along with the treatment, storage and disposal
provided;
B-1-f | the results of sampling and analysis of sewage sludge | This was done and attached. |  | Follow consultant's recommendation |  | Summer 2011 |  | N/A |  | N/A
B-1-g | a summary of modifications and/or major maintenance work carried out on the | Nil for water supply |  | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable
| water supply and Waste Disposal Facilities including all associated | Sewage lagoons completed
| structures and Facilities. | Solid waste waste is on hold
B-1-h | a list of unauthorized discharges and summary of follow-up action taken | Not applicable |  | N/A |  | N/A |  | N/A |  | N/A
B-1-i | a summary of abandonment and restoration work completed during the | The solid waste project is on |  | The abandonment will take place |  | Funding is available for the project. |  | The new facility is expected to |  | Construction completion and commission
| year and an outline by changes in operation and /or technology | hold, the existing site is active |  | once the new solid waste facility is built |  | The Design will follow the direction of the |  | be built in 2012 |  | in 2012
feasibility study in 2011 once available.
B-1-j | any updates or revisions for manuals and Plans as required by changes in | For water supply, no change. |  | The New Manual for sewage lagoon has been developed |  | These documents are available. |  | The manual for Solid waste |  | The operational specifications for solid
| operation and /or technology; detailed minutes of any public consultation | New manual for sewage Lagoons are attached. |  | been completed along with the as-built |  |  |  | management will be developed |  | waste management will be ready in 2012.
| and participation with local | Solid waste project is on hold. |  | drawings. |  |  |  | once design and construction
will be completed.
B-1-k | detailed minutes of any public consultation and participation with local | N/A |  | N/A |  | N/A |  | N/A |  | N/A
organizations and the residents of the community regarding license amendments
B-1-l | a summary of any studies or reports requested by the Board that relate to water | Yes, Board has asked for |  | Design was completed |  | Design is attached |  | Design of Sold waste site is expected to |  | The new facility will be built in 2012
| use and waste disposal or restoration, and a brief description of any future | monitoring wells in soildwaste |  |  |  | (Shown in the as built and manual) |  | start in 2011
| studies planned ;and | site.
B-1-m | any other details on water or waste disposal requested by the Board by | N/A |  | N/A |  | N/A |  | N/A |  | N/A
November 1st of the year reported.
B-2 | The Licensee shall comply with the "Monitoring Program" described in this | Followed as per the License |  | QA/QC is being prepared |  | This report is ready. |  | N/A |  | N/A
| License, and any amendments to the "Monitoring Program" as may be made |  |  | ( Part of O&M manual)
from time to time, pursuant to the conditions of this License.
B-3 | The' Monitoring Program" and Compliance dates specified in the License | Hamlet committed to submit |  | Plan of compliance |  | N/A |  | N/A |  | N/A
| may be modified at the discretion of the Board. | compliance plan by Dec. 2010. |  | (This is the same document)
B-4 | Meters, devices or other such methods used for measuring the volumes | No meter or device is installed. |  | Wastewater volume is estimated as |  | A meter in the truck fill station can be |  | It is in the discussion table to |  | No schedule is fixed yet.
| of water used and waste discharged shall be installed, operated and | Water volume is measured based on |  | the same volume of water consumed. |  | activated to measure quantity of water |  | install a device with the truck to
| maintained by the license. | consumption record. |  |  |  | obtained from the source. |  | measure wastewater volume
B-5 | The Licensee shall, within 90 ( ninety ) days after the first visit by the inspector | The signage was installed in Water |  | The signages for sewage lagoon will |  | This will be done in summer 2011. |  | The signages will be installed as |  | This will be done in 2012.
| following issuance of this license, post the necessary signs to identify | lake. The signages will be installed |  | be installed separately. |  |  |  | well for the New solid waste site.
| the stations of the "Monitoring Program". All the signage postings shall be in | in the monitoring stations of the
| the official language of Nunavut. | sewage lagoons and dump site.
B-6 | The Licensee shall post signs in the appropriate areas to inform the | This was done in all facilities. |  |  | Not applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
public of the location.
B-7 | The Licensee shall immediately report to the 24-Hour Spill Report Line | Hamlet knows and follows the procedures |  | Not applicable |  |  | Not Applicable |  | Not Applicable | Not Applicable
(867-920-8130) any spills of waste, which are reported to or observed by the
Licensee, within the municipal boundaries or in the areas of the waste
supply or Waste Disposal Facilities.
B-8 | The Licensee shall ensure a copy of this License is maintained at the Municipal Office at all times. Any communication with respect to this License shall be made in writing to the attention of: (a) Manager of Licensing: Nunavut Water Board P.O. Box 119 Gjoa Haven, NU X0B 1J0 Telephone: (867) 360-6338 Fax: (867) 360-6369 Email: licensing@nunavutwaterboard.org (b) Inspector Contact: Water Resources Officer Nunavut District, Nunavut Region P.O. Box 100 Iqaluit, NU X0A 0H0 Telephone: (867) 975-4295 Fax: (867) 979-6445 (c) Analyst Contact: Taiga Laboratories Department of Indian and Northern Affairs 4601 – 52 Avenue, P.O. Box 1500 Yellowknife, NT X1A 2R3 Telephone: (867) 669-2781 Fax: (867) 669-2718 | Yes, this is in the Hamlet office. |  | Not applicable |  |  | Not Applicable |  | Not Applicable | Not Applicable
B-9 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | Yes, this is being done always. |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
B-10 | The Licensee shall ensure that all document(s) and correspondence submitted by the Licensee, to the Board, are received and acknowledged by the Manager of Licensing. | Yes, it is followed. |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
B-11 | The Licensee shall, for all Plans submitted under this license include a | Yes, it is followed. |  | Not Applicable |  |  | Not Applicable |  | Not Applicable |  | Not Applicable
proposed timetable for implementation. Plans submitted , can not be
undertaken without subsequent written Board approval and direction.
The Board may alter or modify Plan if necessary to achieve the legislative
objectives and will notify the Licensee in writing of acceptance, rejection or
alteration of the Plan.
B-12 | The Licensee shall, for all Plans submitted under this License, implement the Plan | This will be followed |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
as approved by the Board in writing
B-13 | Every Plan to be carried out pursuant to the terms and conditions of this License | This will be maintained |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
shall become a part of this License, and any additional terms and condition
imposed upon approval of a Plan by the Board become part of this License.
All terms and conditions of the License should be contemplated in the
development of a Plan where appropriate.
B-14 | This License is not assignable except as provided in Section 44 of | License belongs to Hamlet and they are |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| the Act. | responsible for compliancy.
Part C: | Conditions applying to Water Use
C-1 | The Licensee shall obtain all fresh water from a natural | Hamlet is obtaining fresh water |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| Lake using the Water Supply Facilities or as | from the approved natural lake.
otherwise approved by the Board in writing
C-2 | The annual quantity of water, used for all purposes, shall not | Limit is maintained. |  | Not Applicable |  |  | Not Applicable |  | Not Applicable |  | Not Applicable
| exceed 38,000 cubic metres. | Shown in the annual report.
C-3 | The Licensee shall equip all water intake hoses with a screen of | This is not a fish bearing body. Intake screen is not an |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| an appropriate mesh size to ensure that fish are not entrained | issue.But there is a stainless stell drum screen
| and shall withdraw water at a rate such that fish do not become | prventing larger solids from entering intake line.
impinged on the screen
C-4 | The Licensee shall not remove any material from below the | Not Applicable |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
ordinary high water mark of any water body unless otherwise
approved by the Board in writing.
C-5 | The Licensee shall not cause erosion to the banks of any body of | This is a natural lake and slope stabilized |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
water and shall provide necessary controls to prevent such erosion.
C-6 | Sediment and erosion control measures shall be implemented prior | This natural lake collects water from snow melt |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| to and maintained during the operation to prevent entry of | within the catchment area.
sediment into water.
Part D: | Conditions applying to waste disposal
D-1 | All Effluent discharged from the Sewage Disposal Facility at | Lab Test results attached |  | The process will be maintained |  |  | Not Applicable |  | Not Applicable |  | Not Applicable
Monitoring Program Station CLY-4 shall not exceed the following
Effluent quality limits: (see license NWB 3CLY 0308)
D-2 | A Freeboard limit of 1.0 meter, or as recommended by a qualified
| geotechnical Engineer and as approved by the Board in writing, | The community has a new facility and this criteria |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| shall be maintained at all dams, dykes, or structures intended | will be followed.
to contain, withhold, divert or retain water or wastes.
D-3 | The Licensee shall provide at least ten (10) days notification to an | This is being always followed |  |  | This will be maintained |  | Not Applicable |  | Not Applicable |  | Not Applicable
Inspector, prior to initiating any decant of the sewage lagoon.
D-4 | The Sewage Disposal Facility shall be maintained and operated, in | The community now has new facility. |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| such a manner as to prevent structural failure. | Maintenance is very minimum.
D-5 | The Licensee shall dispose of and permanently contain all Solid | Currently the Community is managing |  | Due to Nunavut wide feasibility study, |  | The design is expected to start in 2011 |  | The new facility is expected to |  | Commission the new facility in 2013
| Wastes at the Solid Waste Disposal Facility or as otherwise approved | wastes in the existing site. The New |  | this capital project is on hold. |  |  |  | build in 2012 and decommission |  | and decommission the existing one in
| by the Board in writing. | facility will be designed and built soon. | [5 empty] | the existing facility soon after that. |  | also in 2013.
D-6 | The Licensee shall segregate and store all hazardous materials and/or | The community is working towards that |  | The Community will be monitoring |  | The ground water monitoring wells |  | In the new waste management, |  | This arrangement is expected to be available
| hazardous waste, including waste oil, within the Solid Waste Disposal | direction. |  | ground water quality using three |  | are expected to be functional in summer, |  | there will a cell for managing |  | in 2013.
| Facility in a manner as to prevent the deposit of deleterious |  |  | different wells. |  | 2011 |  | hazardous wastes including waste
| substances into any water until such a time as proper disposal | [6 empty] | oil.
arrangements are made.
D-7 | The Licensee shall implement measures to control wind-blown litter | The community burns soildwaste |  | The community will continue this |  | This practice is on at present |  | The New facility will be fenced |  | The new Fenced facility will be ready to
| at the Solid Waste Disposal Facility. | following wind direction and burry them. |  | practice. | [5 empty] | use in 2013.
D-8 | The Licensee shall use clean material for construction, operation, and | The granular source has been approved by |  | The quality of material, operation and |  | This is being implemented to all the |  | New Quarry sources will be |  | Sources of Quarry materials, quality,
| maintenance activities that is obtained from an approved source and | NIRB. |  | maintenance activities are maintained. |  | construction works. |  | identified. |  | quantity and accessibility will be established
| which has been demonstrated not to produce acid rock drainage | [8 empty] | once Capital Dollars are available.
and to be non-metal leaching.
D-9 | For any approved source of material within the municipality, the | The item D-9 was followed and obtained |  | The existing quarry site will be used |  | The contractor will follow NIRB direction |  | The Future Quarry site shall be |  | A study will be conducted once the Quarry
| Licensee shall submit to the Board for approval sixty (60) following | NIRB approval for the current quarry deposit. |  | until finish. |  | and Quarry permit agreement with the |  | approved by NIRB. |  | Funds are available in near future.
| license issuance, a quarry management plan that includes the |  |  |  |  | Hamlet.
the following:
a. Confirmation that the quarry material does not produce acid
rock drainage and is non-metal leaching;
b. An assessment of any potential impacts to freshwater quality; and
c. Mitigation measures.
Part E: | Conditions applying to Modification and Construction
E-1 | The Licensee shall implement the recommended options identified in | The consultant's recommended option has |  | The New facility is in Compliance |  | The as built drawings and O&M manuals |  | Maintain the conditions of water |  | The facility life expectancy is 20 yrs to satisfy
| the Water License Application document entitled Recommended Sewage | been supported by the Hamlet and approved |  |  |  | are attached. |  | License. |  | the water License compliancy.
| Treatment Upgrades for the Hamlet of NAME dated DATE, and shall | by the Water Board. This option has been
| follow the design as provided in the signed and stamped drawings | designed and built.
numbered Cover; SP-1; SP-2; TD-1; DE-1; DE-2; and T-1 (total 7 sheets) by Trow associates inc.
In the event of a conflict between the conditions of this License and
the above referenced document, the conditions of this License
shall prevail.
E-2 | The Licensee shall submit to the Board for approval, design drawings | This process was followed before the |  | Not Applicable |  |  | Not Applicable |  | Not Applicable |  | Not Applicable
| stamped and signed by a qualified engineer registered in Nunavut, 6 | facility was built.
months prior to the construction of any dams, dykes or structures
intended to contain, withhold, divert or retain water or wastes.
E-3 | The Licensee may, without written approval from the Board, carry out | Not Applicable |  | Not Applicable |  |  | Not applicable | Not Applicable |  |  | Not Applicable
modifications to the Water Supply and Waste Disposal Facilities
provided that such modifications are consistent with the terms of
this License and the following requirements are met:
a. the Licensee has notified the Board in writing of such proposed
modifications at least sixty (60) days prior to beginning the modifications
b. these modifications do not place the Licensee in contravention of the
License or the Act;
c. the Board has not, during the sixty (60) days following notification
of the proposed modifications, informed the Licensee that review of
the proposal will require more than sixty (60) days; and
d. the Board has not rejected the proposed modification
E-4 | Modifications for which all of the conditions referred to in Part E, Item 3, | As built drawings are attached. |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
have not been met, may only be carried out upon written approval
from the Board. The Licensee shall provide as-built plans and drawings
of the Modifications referred to in this License within ninety (90) days
of completion of the Modification. These plans and drawings shall be
stamped by an Engineer.
E-5 | All activities shall be conducted in such a way as to minimize impacts on | [9 empty] | Not Applicable
| surface drainage and the Licensee shall immediately undertake any |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
corrective measures in the event of any impacts on surface drainage.
E-6 | The Licensee shall ensure that sediment and erosion control measures | This has been followed in Sewage Lagoon |  |  | Not Applicable |  | Not Applicable | Inspection and Monitoring will be continued. |  |  | Life time of the facility.
| are implemented prior to and maintained during activities carried out | Berm construction. The Berms have been
| under this Part to prevent the release of sediment and minimize erosion. | stabilized from erosion.
E-7 | The construction or disturbance of any stream/lake bed or banks of any |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
definable water course are not permitted, unless authorized by the Board
in writing.
Part F: | Conditions Applying to Operation and Maintenance
F-1 | The Licensee shall submit to the Board for approval, within ninety (90) | The construction of new Sewage Lagoon is |  | The draft O&M manual of the Sewage |  | The O&M manual of the Sewage Lagoon is |  | The design of Solid waste Project |  | The new facility is expected to be built in 2012
| days following issuance of the License, an Operation and Maintenance | completed as original plan. The new lagoon is |  | lagoon is attached. |  | ready and attached. |  | will be completed in 2012 and draft |  | and final O&M will be ready afterwards.
| (O&M) Manual for the Sewage Disposal Facility and Solid Waste Disposal | commissioned. | The Old lagoon is in progress. |  |  | Final hard copy is available in Dec.2011 |  | O&M manual will be available at
| Facility, prepared where appropriate in accordance with the “Guidelines | [6 empty] | the same time.
| for the Preparation of an Operation and Maintenance Manual for Sewage | The solid waste project is on hold.
and Solid Waste Disposal Facilities in the Northwest Territories; 1996”.
The Manual shall take into consideration the comments received during
the application review process.
F-2 | The Licensee shall review the O&M Manual referred to in Part F, Items 1 | The project consists of a new lagoon and a |  | O&M and as built are attached |  | The O&M final document will be ready |  | The Current solid waste is a non |  | The New Solid waste site will have a O&M
| and 2 as required by changes in operation and/or technology and modify | old lagoon. The new lagoon was built and commissioned. |  | for the works completed up to the end |  | by December 31, 2011. |  | Engineered facility. |  | document to operate in 2013.
| accordingly. Revisions are to be submitted in the form of an Addendum | The existing one is expected to complete in summer |  | of 2010
| to be included with the Annual Report. | 2011
F-3 | An inspection of all engineered facilities related to the management of | Water supply is in good shape. Sewage |  |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
| water and waste shall be carried out annually in July or August by a | lagoon was recently built. Solid waste Project
| a Geotechnical Engineer. The engineer’s report shall be submitted to the | design is on hold.
Board within sixty (60) days of the inspection, including a covering letter
from the Licensee outlining an implementation plan addressing each of
the Engineer’s recommendations.
F-4 | The Licensee shall perform more frequent inspections of the engineered facilities at the request of an Inspector. | Hamlet Foreman and CGS staff frequently |  | Not Applicable |  |  | Not Applicable |  | Will be continued. | During the life time of the facility.
inspect these facilities.
F-5 | If, during the period of this License, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: a. employ the appropriate contingency measures as approved under the Operation and Maintenance Manual for the Hamlet of Clyde River. b. report the incident immediately via the 24­Hour Spill Reporting Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and c. submit to the Inspector, a detailed report on each occurrence, not later than thirty (30) days after initially reporting the event, that provides the necessary information on the location (including the GPS coordinates), initial response action, remediation/clean-up, status of response (ongoing, complete), proposed disposal options for dealing with contaminated materials and any preventative measures to be implemented. | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable
Part G | Conditions Applying to Abandonment and Restoration
| The Licensee shall submit to the Board for approval an Abandonment and | This item is not applicable to sewage Lagoon |  | The Plan of abandonment and restoration |  | Not applicable |  | Abandonment and restoration works |  | The existing waste management facility
G-1 | Restoration Plan, at least six (6) months prior to a) abandoning of any | and water supply but applicable to solid waste |  | is on hold until Nunavut wide feasibility |  |  |  | will be completed of the soildwaste facility |  | will be decommissioned in 2013 soon
| any facilities and b) the construction of new facilities to replace existing | management for this community. |  | study on waste management is |  |  |  | in 2013. |  | after the new facility is commissioned.
| ones. Where applicable, the Plan shall include information on the following: |  |  | published.
a. solid waste facility; b. water intake facilities; c. the water treatment and
and waste disposal sites and facilities; d. petroleum and chemical storage
areas; e. any site affected by waste spills; f. leachate prevention; g. an
implementation schedule; h. maps delineating all disturbed areas, and site
facilities; i. consideration of altered drainage patterns; j. type and source of
cover materials; k. future area use; l. hazardous wastes; and m. a proposal
identifying measures by which restoration costs will be financed by the
licensee upon abandonment.
Part H: | Conditions Applying to the Monitoring Program
H-1 | The Licensee shall maintain Monitoring Program Stations and implement the | The community already started monitoring |  | The Community is in compliance for water |  | Part of the compliance issues for solid waste |  | Ground water monitoring wells |  | The existing solid waste site will be
| program as described in the table below and the conditions under this Part. | program in all three facilities under |  | supply and wastewater treatment facilities. |  | management site has been addressed. |  | will be constructed in 2010 and |  | decommission soon after the new
|  | Water license. | [5 empty] | contaminated soil will be tested |  | facility is built and commissioned in
[8 empty] | at the same time. |  | 2013
H-2 | The Licensee shall confirm the locations and GPS coordinates for all | These are not available in the ground |  | These will be presented in the O&M |  | O&M manual is ready. GPS location will |  | The monitoring program will |  | Duration shall be life time of the
| monitoring stations referred to in Part H Item 1 with an Inspector. | right now. |  | document. |  | be established in summer 2011. |  | be continued. |  | facility.
H-3 | The Licensee shall collect samples at Monitoring Program Stations CLY-4, CLY-5, | The new sewage lagoon was commissioned |  | The monitoring program is presented |  | This program will be implemented from |  | The monitoring program will |  | The period shall be life time of the
| CLY-6a,CLY-6b and CLY-7 three times annually; once upon commencement, | in summer 2010. |  | in the O&M manual. |  | summer, 2011. |  | be continued. |  | facility.
once approximately mid-way through discharge, and once prior discharge ending.
Samples shall be analyzed for the following parameters: Biochemical Oxygen
Demand – BOD5, Faecal Coliforms ,Total Suspended Solids, pH, Conductivity,
Nitrate-Nitrite Oil and Grease (visual), Total Phenols, Magnesium, Calcium,
Sodium ,Potassium Chloride ,Sulphate, Total Hardness ,Total Alkalinity,
Ammonia, Nitrogen, Total Zinc ,Total Cadmium, Total Iron ,Total Cobalt ,Total
Manganese, Total Chromium, Total Nickel ,Total Copper, Total Lead, Total
Aluminum ,Total Arsenic ,Total Mercury, Total Organic Carbon (TOC) ,Total
Petroleum Hydrocarbons .
H-4 | The Licensee shall measure and record in cubic meters, the monthly and | Currently the consumption volume recorded |  | The intake volume can be metered but the |  | The information is attached in the annual |  | This will be maintained |  | Duration will be the life time of
| annual quantities of water pumped from Monitoring Program Station CLY-1 | from financial record is considered the same |  | discharge volume is still estimated. |  | Report. |  |  |  | the facility.
| for all purposes and effluent pumped or discharged from Monitoring Program | volume.
Stations CLY-4 and CLY-5.
H-5 | The Licensee shall sample and analyze sludge in accordance with the approved | Sludge was tested in the accredited lab |  | The test results are attached. |  | This was done in summer 2010 |  | Sludge will be tested again |  | Duration shall be life time of the
| Operations and Maintenance Manual referred to in Part H Item 9. | [8 empty] | facility.
H-6 | The Licensee shall measure and record the annual quantities of sludge | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable
removed from the Sewage Disposal Facility along with the methods of
treatment, storage, and disposal provided.
H-7 | Additional monitoring stations, sampling and analysis may be requested by |  | Not applicable |  | Not applicable |  | Not applicable |  | Not applicable | This will be followed as instructed.
an Inspector.
H-8 | All sampling, sample preservation and analyses shall be conducted in |  | Followed |  | Will be followed |  | Implemented |  | Will be followed | Period shall be life time of the
| accordance with methods prescribed in the current edition of Standard | [8 empty] | facility.
Methods for the Examination of Water and Wastewater, or as approved by the
Board in writing.
H-9 | All analyses shall be performed by a laboratory certified by the Canadian | Yes, Used | Caduceon Environmental , | Conducted sampling and testing of samples |  | Implemented |  | Will be continued for the new |  | Period shall be life time of the
| Association of Environmental Analytical Laboratories (CAEAL), or as otherwise | Laboratories, an accredited lab in Ottawa, |  | of the old lagoon and wetland. |  |  |  | lagoon and wetlands |  | project.
| approved by an Analyst. | ON
H-10 | The Licensee shall include all of the data and information required by the | The information established in the ground |  | This will be followed |  | Summer 2011 |  | Will be continued |  | Period shall be life time of the
| Monitoring Program as well as an indication of wastewater treatment levels | and presented in the final O&M manual. |  | for the new facility and wetlands. | [5 empty] | project.
upstream and downstream of the Wetland Area in the Licensee's Annual Report,
as required per Part B, Item 1, or as requested by an Inspector.
H-11 | The Licensee shall, within sixty (60) days of License issuance, submit to the | Currently the hamlet is following QA/QC of |  | The Consultant presented QA/QC |  | This is part of the O&M manual. |  | Will be followed |  | Period shall be life time of the
| Analyst for approval, a Quality Assurance/ Quality Control (QA/QC) Plan, which | of the lab. |  | guidelines in the O&M manual. | [5 empty] | facility.
addresses both field and laboratory requirements. The Plan shall be submitted
to the Board upon approval by the Analyst for inclusion with the O&M Manual,
required under Part F, Item 2(e).
H-12 | Modifications to the Monitoring Program may be made only upon written |  | Not Applicable | Not Applicable |  |  | Not Applicable | Not Applicable |  | This will be followed if required.
approval from the NWB.