Executive Summary of the Municipality of Clyde River; Water Licence #3BM-CLY 1419; Type-B.

Clyde River is a traditional Inuit community of approximately 1031 residents located on the shore of Baffin Island’s Patricia Bay, off Clyde Inlet, an arm of Davis Strait in the Qikiqtaaluk Region of Nunavut. It lies in the Baffin Mountains, which in turn form part of the Arctic Cordillera mountain range. Known as the “Gateway to the Fiords”, Clyde River is located on a flood plain, surrounded by spectacular fiords that stretch all the way into the Barnes Icecap.

The Municipality of Clyde River is a Community of Baffin Region and located at Latitude 70027’N and Longitude 68033’W, on the shore of Patricia Bay, on the east coast of Baffin Island. The annual snowfall is about 169cm and the annual rainfall is about 5cm. In February the daily mean temperature is about -30oc while in July the daily mean temperature is about 50C. Freeze up usually occurs during the month of November but may occur as early as September or October, while spring thaw usually occurs late May and June.

The Community infrastructure includes: (1) a water supply facility which draws water from a Natural Lake and disinfected in the Truck fill station and delivered by water trucks into holding tanks in each building.

(2) The Community has a single cell sewage lagoon which receives trucked sewage (wastewater) from the holding tanks in each building. The sewage is being naturally treated there before disposal to the wetland land. after the wetland treatment finally discharged  into the Sea.

(3) The Solid waste facility which includes domestic wastes, construction wastes, metal wastes and hazardous goods.

The current water licence #3BM-CLY 1419; Type B was issued on July 25, 2014 and will be expired on July 24, 2019.

Nothing was changed since the Water Licence was issued. The municipality has population1031 in 2019 and has been operating these licensed facilities to their best ability. They have water permit 38,000 cubic meters annually.

The water Truck fill station is under the Capital program and expected to be replaced in next 3 to 5yrs. currently a consultant has been engaged to conduct research on raw water quality in winter and summer.

A different consultant has been working on the design and feasibility study on Community waste management. A new site is anticipated within 3 years.

The municipality has be conducting sampling of raw water, treated water, wastewater effluent and leachate on annual basis. Their annual reporting program is up to date.