                                                ANNUAL REPORT 






FOR THE HAMLET OF CLYDE RIVER, 2020


YEAR BEING REPORTED:  2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM –CLY 1419 issued to the Hamlet of Clyde River.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	3,474,765.70
	Same

	February 
	3,430,704.40
	Same

	March 
	3,667,224.30
	Same

	April 
	3,395,941.70
	Same

	May 
	3,522,792.40
	Same

	June
	3,596,172.20
	Same

	July 
	3,613,628.30
	Same

	August 
	3,785,629.80
	Same

	September 
	3,572,869.60
	Same

	October
	3,720,051.80
	Same

	November 
	3,421,204.90
	Same

	December
	3,521,209.90
	Same

	ANNUAL TOTAL
	42,722,195.00
	42,722,195.00


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



During this reporting period, No modification or major maintenance work was carried out. However, minor repairing works were carried out as and when needed basis. 
____________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


The Leachate is uncontrolled. The new site will be designed in a way to control and treat leachate before releasing to the Environment. 


vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work were conducted during this reporting year. However, the feasibility study on the waste management was completed. 
The existing site will be decommissioned once the new site is built and commissioned.
The Dillon consultant is conducting water quality analysis to develop a data base to use for the design of   the new water treatment plant which is anticipated to be built in next 3 to 4 yrs. The Clyde River WTP is one of the Regional priority projects.
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                   Waste management is a serious concern to CIRNAC and NWB. Hazardous wastes 

                    segregation and management are very much challenging at this moment.
                   Again, standardization  of the Design for the new WTP is progressing well.
             __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Hamlet has an active Water Licence. They submit annual report each year on time. They conduct sampling and testing following Hamlet Water Licence conditions and criteria.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

Hamlet are using the existing O&M manuals at present. The new O&M manuals will be prepared once the new water treatment plant and waste management site are built, which are anticipated in 3 to 4 years. 
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                    The Hamlet is closely monitoring and maintaining Environmental facilities. They are 

                 conducting annual water, wastewater effluent and Leachate sampling and having them 
                 tested in the Accredited Lab named Caduceon Lab in Ottawa.

                 They have a new and experienced Foreman to handle public works operation. Even 

                 though, due to weather and Canadian North Cargo, sometimes they cannot ship water 

                  samples to the South as planned.


    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

               Hamlet is following the conditions of the existing Water Licence. They are sincerely 

               following the instruction and advice provided by GN technical team and CIRNAC 

               inspector.
               Once the new WTP and the new dump site will be built and commissioned in next  3 to 

               4 yrs., this Hamlet will be environmentally quite sound and healthy.


             The Test Lab Results for 2020 are submitted in a separate document.
Page 3 of 3

