
ANNUAL REPORT 






FOR THE HAMLET OF (name)


YEAR BEING REPORTED:     2011              


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence (3BM-COR0813) issued to the Hamlet of Coral Harbour
	Month Reported
	Quantity of Water Obtained from all sources
	Quantity of Sewage Waste Discharged

	January
	3,003,042.60
	3,003,042.60

	February
	2,722,963.10
	2,722,963.10

	March
	3,197,404.70
	3,197,404.70

	April
	2,964,477.00
	2,964,477.00

	May
	2,703,149.00
	2,703,149.00

	June
	2,817,558.50
	2,817,558.50

	July
	2,977,091.10
	2,977,091.10

	August
	2,530,587.60
	2,530,587.60

	September
	2,677,715.40
	2,677,715.40

	October
	2,821,376.10
	2,821,376.10

	November
	2,634,082.70
	2,634,082.70

	December
	2,816,210.10
	2,816,210.10

	ANNUAL TOTAL
	33,865,657.90
	33,865,657.90


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


Both water pumps at the pump house failed January 2012, they did emergency repairs and repaired the pumps and Municipal Services were back on track.




v. a list of unauthorized discharges and summary of follow-up action taken;    

none





vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 






vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

A group of Consultants arrived late fall to do a site inspection and do a report on the current pump house. They are making plans to replace the current water reservoir pump house in the near future.

__________________________________________________________________________




viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


none




ix. updates or revisions to the approved Operation and Maintenance Plans.





none


ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:



CG&S staff arrived here October 2011 to train staff on operation and maintenance of the pump house as well as water testing such as chlorine testing and sampling.









FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:










 

Page 1 of 3

