                                                ANNUAL REPORT 






FOR THE HAMLET OF GRISE FIORD, 2019


YEAR BEING REPORTED:  2019


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM- GRI1520  issued to the Hamlet of Grise Fiord.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	403,400
	Same

	February 
	435,764
	Same

	March 
	465,972
	Same

	April 
	474,140
	Same

	May 
	465,973
	Same

	June 
	417,482
	Same

	July 
	520,999
	Same

	August 
	441,273
	Same

	September 
	510,767
	Same

	October 
	510,701
	Same

	November 
	510,949
	Same

	December 
	506,429
	Same

	ANNUAL TOTAL
	5,663,849
	5,663,849


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



No modification and /or major maintenance work were carried out during this reporting period.
          ___________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


Leachate is an unathorized discharge. Un controlled. Leachate is tested 3 to 4 times in summer.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


 No abandonment and restoration work were conducted during this reporting year. 
Currently the consultants are working on the new water treatment Plant and solid wastes projects. Once the new facilities are built, the old facilities will be abandoned and restored. This is expected in 3 to 5 yrs.

vii. waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________ t
The upgrade of the Community water supply system is under the capital program.
Water quality is being monitored by the Hamlet and a consultant is  developing a treatment trend of the new water plant.

 The information of the feasibility study of the waste management will be considered in order to design a new facility.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


The existing waste management is a big concern. A Consultant is on board for a feasibility study. The next step is to design and construct of a new site. At the same time a decommissioning plan of the existing waste site will be considered.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

The facilities remain same. No revision or modification to the O&M manuals of the water supply, management and wastewater treatment 
 systems is required. 

           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     The feasibility study of the new waste site is completed. The next step is design work. The water plant 
                      is still under the planning process.
                  Hamlet has started extended sampling and testing program. They are monitoring 
                  Water, wastewater effluent and leachate quality and testing the samples in the 
                  accredited Caduecon lab in Ottawa.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:





                  CIRNAC inspector concerned about the wastes site and current mode of segregation 
                  and storage of the Hazardous materials at site.  The new site will address this issue in 

                  next 3 to 5 yrs.

                   The water test results for 2019 are submitted in a separate document.
Page 2 of 3

