                                                ANNUAL REPORT 






FOR THE HAMLET OF GRISE FIORD, 2020


YEAR BEING REPORTED:  2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM- GRI1520  issued to the Hamlet of Grise Fiord.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	543,783
	Same

	February 
	518,209
	Same

	March 
	582,183
	Same

	April 
	556.548
	Same

	May 
	512,057
	Same

	June 
	539,387
	Same

	July 
	526,090
	Same

	August 
	492,077
	Same

	September 
	567,108
	Same

	October 
	535,793
	Same

	November 
	489,752
	Same

	December 
	485,873
	Same

	ANNUAL TOTAL
	6,348,856
	6,348,856


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



                The second steel storage tank settled. This was partially repaired in 2020 and complete 

                improvement will be made in 2021.

            _______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


No unauthorized wastewater discharge occurred during this reporting period. The leachate is uncontrolled because the dump site in non engineered.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work was conducted during this reporting year. However  the damaged steel tank was partially repaired in order to hold a 50% capacity.
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

The upgrade of the Community water supply system is under the capital program.
This plant is one of the nine WTP standardization project in this Territory. 

The secondary water source now falls under the Hamlet’s new Water Licence.

The design works will be started based on the recently completed feasibility studies of the dump site.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


The segregation of the Hazardous wastes is a big concern. The Hamlet can now use both the Primary water source and the Secondary water source under the new water licence to fill the storage Tanks. 
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

 The existing O&M manuals are fine to use until any new facilities are built and commissioned. Hamlet is expecting a new WTP and a new Solid waste site in next 2 to 4 yrs. The new O&M manuals will be developed once those are built and commissioned.
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                   One consultant is working on the new WTP and the second one on the new waste 
                   management site. The existing water licence will be amended once the design briefs 
                   for both the projects are available.                      
                      Hamlet has started extended sampling and testing program. They are monitoring 
                  Water, wastewater effluent and leachate quality and testing the samples in the 
                  accredited lab in Ottawa.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:





                 Hamlet is following the direction of the GN’s Technical staff and CIRNAC’ inspector
                 to maintain and manage the water licence into compliancy.

             The water test results for 2020 are submitted in a separate document.
Page 3 of 3

