Environmental Protection Operations Directorate

Prairie & Northern Region

5019 52

nd

Street, 4

th

Floor

ECCC File:

6200 000 017/003

P.O. Box 2310

N

W

B File:

3

BM

-

GRI1520

Yellowknife, NT X1A 2P7

September 14, 2020

via email at:

licensing@nwb

-

oen.ca

Richard Dwyer

Manager Licensing

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU X0B 1J0

Dear

Richard Dwyer

:

RE:

3

BM

-

GRI1520

–

GN

-

CGS

–

Municipality of Grise Fiord

–

Type B Water License

Application

for Renewal

Environment and Climate Change Canada (ECCC) has reviewed the information submitted to

the Nunavut

Water Bo

ard (N

W

B)

regarding the above

-

mentioned

Type “B” Water Licen

se.

Our

comments are enclosed.

ECCC’s specialist

advice

based on our mandate

pursuant to the

Canadian Environmental

Protection Act

and

the pollution prevention provisions of the

Fisheries Act

.

The following

comments are

provided

:

1.

Topic:

Solid W

aste

M

anagement

Reference(s)



Grise Fiord Executive Summary 2020



Solid Waste Operation and Maintenance Manual

2014

Comment

The municipality acknowledges that solid waste management

is

an

issue for the

community

, and a consultant has been hired to work

on a new solid waste site.

The

existing solid waste site is unmanaged, and there is no segregation of hazardous materials,

waste fuel barrels, bulky/metal and domestic wastes.

The

2014

Solid Waste Operation and

Maintenance Manual

describes the landfill as follows:

"The MSW disposal area at Grise Fiord is used as a natural attenuation landfill. This means

that the landfill is not lined and small amounts of contaminants can enter the surrounding

Environmental Protection Operations Directorate

Prairie & Northern Region

5019 52

nd

Street, 4

th

Floor

ECCC File:

6200 000 017/003

P.O. Box 2310

N

W

B File:

3

BM

-

GRI1520

Yellowknife, NT X1A 2P7

September 14, 2020

via email at:

licensing@nwb

-

oen.ca

Richard Dwyer

Manager Licensing

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU X0B 1J0

Dear

Richard Dwyer

:

RE:

3

BM

-

GRI1520

–

GN

-

CGS

–

Municipality of Grise Fiord

–

Type B Water License

Application

for Renewal

Environment and Climate Change Canada (ECCC) has reviewed the information submitted to

the Nunavut

Water Bo

ard (N

W

B)

regarding the above

-

mentioned

Type “B” Water Licen

se.

Our

comments are enclosed.

ECCC’s specialist

advice

based on our mandate

pursuant to the

Canadian Environmental

Protection Act

and

the pollution prevention provisions of the

Fisheries Act

.

The following

comments are

provided

:

1.

Topic:

Solid W

aste

M

anagement

Reference(s)



Grise Fiord Executive Summary 2020



Solid Waste Operation and Maintenance Manual

2014

Comment

The municipality acknowledges that solid waste management

is

an

issue for the

community

, and a consultant has been hired to work

on a new solid waste site.

The

existing solid waste site is unmanaged, and there is no segregation of hazardous materials,

waste fuel barrels, bulky/metal and domestic wastes.

The

2014

Solid Waste Operation and

Maintenance Manual

describes the landfill as follows:

"The MSW disposal area at Grise Fiord is used as a natural attenuation landfill. This means

that the landfill is not lined and small amounts of contaminants can enter the surrounding

environment to be naturally broken down. In this type of landfill, the rate that contaminants enter the environment is expected to occur at a rate such that contaminants can easily be broken down and the surrounding environment is not overwhelmed. Natural attenuation landfills also rely on permafrost aggrading into the covered waste cells of the landfill and eventually freezing them. However, as contaminants are able to freely enter the environment in this type of landfill, proper waste segregation is important to ensure harmful contaminants are kept out of the landfill."

The O&M plan goes on to make recommendations for waste segregation and operational procedures, including for open burning.

The Executive Summary submitted with the renewal application states:

"The Solid Waste Facility consists of a main Solid Waste area and a bulky metal area. There is no protocol in place for the management and handling of waste. The solid waste facility does not segregate hazardous waste and drums of waste oil; and other unknown liquids are also not properly stored.

A consulting firm is currently working on the waste audit and feasibility study of the waste management site. The design work will start on the new site once it is selected and supported by the Hamlet. The decommissioning of the existing site will be implemented soon after the new site is designed, built and commissioned. The new site will have an independent cell to manage each different type of wastes. The new site is anticipated to be built and operational in next 3 to 4 years. The new site will be fenced with a control gate.”

Given the length of time for a new landfill site to be constructed and commissioned, improving management of the existing site in the interim should be a priority, particularly for hazardous wastes.

ECCC Recommendation(s)

ECCC recommends that the municipality take measures to manage the existing solid waste site in accordance with the current O&M plan, ensuring that hazardous waste is segregated.

Ans. Yes, this will be followed.

ECCC recommends that design and construction of the new solid waste site be prioritized.

Ans. Yes, this is the priority project.

- Topic: 2019 Monitoring Results

Reference(s)

 	Application for Water License Renewal

Comment

The 2019 Annual Report references sampling, which was completed for various water and wastewater streams, including leachate, and indicates that the results were appended to the Annual Report. The results do not appear to be posted to the public registry, and would provide useful information for review of the water licence application.

ECCC Recommendation

ECCC requests that the 2019 monitoring results be made available for the Board’s review.

Ans. Due to the absence of the Foreman, Probably, they could not manage any sampling program in 2019. However, they started in 2020 and the results received so far are attached.

- Topic: Licence Term

Comment

The Licensee is applying for a 5-year term.  ECCC concurs with this duration, as it will cover the period of upgrades to the community water treatment and waste disposal sites.

Ans. Thanks for supporting 5 yrs. term Licence.

If you need more information, please contact Abigayle Blackmore at Abigayle.Blackmore@Canada.ca.

Sincerely,

[original signed by]

Abigayle Blackmore

Environmental Assessment Officer

cc: 	Jody Small, Acting Head, Environmental Assessment North (NT and NU)