SOLIDWASTE OPERATION AND MAINTENANCE PLAN

October 2020

HAMLET OF GRISE FIORD, BAFFIN REGION

COMMUNITY AND GOVERNMENT SERVICES

GOVERNMENT OF NUNAVUT

TABLE OF CONTENTS

Page No.

- Introduction  -------------------------------------------------------------------------------------------------------------------------------------------3

- Capacity Analysis---------------------------------------------------------------------------------------------------------------------------------8

  - Disposal Capacity-------------------------------------------------------------------------------------------------------------------------------------8

    - Municipal wastes---------------------------------------------------------------------------------------------------------------8

    - Hazardous wastes-------------------------------------------------------------------------------------------------------------10

    - Summaries----------------------------------------------------------------------------------------------------------------------10

  - Waste Diversion opportunities------------------------------------------------------------------------------------------------------------------11

3.0 Transportation of Wastes-----------------------------------------------------------------------------------------------------------------------------16

4.0 Site Personnel--------------------------------------------------------------------------------------------------------------------------------------------17

5.0 Health and Safety---------------------------------------------------------------------------------------------------------------------------------------17

6.0 Municipal Solid waste Disposal Area---------------------------------------------------------------------------------------------------------------18

6.1.1 Waste segregation--------------------------------------------------------------------------------------------------------------------------------19

6.1.2 Burning--------------------------------------------------------------------------------------------------------------------------------------------21

6.1.3 Operational Procedure-------------------------------------------------------------------------------------------------------------------------21

7.0 Bulk Metal/Hazardous Waste Storage Area------------------------------------------------------------------------------------------------------22

7.1 Bulk Metal Waste Management-----------------------------------------------------------------------------------------------------------------26

7.2 Hazardous Waste Management-----------------------------------------------------------------------------------------------------------------31

7.2.1 Operations---------------------------------------------------------------------------------------------------------------------------------------   33

.2.2 Maintenance----------------------------------------------------------------------------------------------------------------------------------------33

8.0 Solid Waste Disposal Facility Maintenance-------------------------------------------------------------------------------------------------------34

8.1 Inspections and Audits----------------------------------------------------------------------------------------------------------------------------34

8.2 Maintenance Activities----------------------------------------------------------------------------------------------------------------------------35

8.3 Fence and Signs------------------------------------------------------------------------------------------------------------------------------------ 35

9.0 Monitoring and Sampling-----------------------------------------------------------------------------------------------------------------------------35

9.1 Monitoring Requirement--------------------------------------------------------------------------------------------------------------------------36

9.2 Sampling Procedures------------------------------------------------------------------------------------------------------------------------------37

9.3 Record Keeping-------------------------------------------------------------------------------------------------------------------------------------38

- Emergency Response--------------------------------------------------------------------------------------------------------------------------------38

- Spill Contingency Plan     --------------------------------------------------------------------------------------------------------------------------38

11.1 Site Descriptions    -----------------------------------------------------------------------------------------------------------------------------------38

  - Regulations--------------------------------------------------------------------------------------------------------------------------------------------38

  - Contacts and Regulatory Authorities------------------------------------------------------------------------------------------------------------39

  - Potential Contaminants-----------------------------------------------------------------------------------------------------------------------------40

  - Spill Response Procedure--------------------------------------------------------------------------------------------------------------------------41

  - Hydrocarbon Spills---------------------------------------------------------------------------------------------------------------------------------41

  - Spill Kit and Training Requirements-----------------------------------------------------------------------------------------------------------44

  - Spill Kit Contents--------------------------------------------------------------------------------------------------------------------------------- -44

  - Spill Kit Locations----------------------------------------------------------------------------------------------------------------------------------45

  - Required Training---------------------------------------------------------------------------------------------------------------------------------45

11.11  Off-site Resources----------------------------------------------------------------------------------------------------------------------------------46

12.0 Record Keeping---------------------------------------------------------------------------------------------------------------------------------------46

Fig-1: Location Map of Hamlet of Grise Fiord----------------------------------------------------------------------------------------------------5

Fig-2: Site Locations of the Water Licensed Facilities-------------------------------------------------------------------------------------------6

Fig-3: Air port location Map--------------------------------------------------------------------------------------------------------------------------7

Fig.4: Garbase Truck----------------------------------------------------------------------------------------------------------------------------------16

Fig. 5: Identification of Hazardous Wastes--------------------------------------------------------------------------------------------------------23

Fig-6: Types of  Hazardous symbols----------------------------------------------------------------------------------------------------------------24

Table-1: Municipal wastes -------------------------------------------------------------------------------------------------------------------------------9

Table-2: MSW by Volume (2018)-----------------------------------------------------------------------------------------------------------------------12

Table-3: MSW by Weight (2018)------------------------------------------------------------------------------------------------------------------------13

Table-4: MSW Volume (Annual and Accumulated)------------------------------------------------------------------------------------------------14

Tanle-5: MSW Diversion----------------------------------------------------------------------------------------------------------------------------------15

Table-6: Monitoring Station------------------------------------------------------------------------------------------------------------------------------18

### Introduction

The Hamlet is located on the southern coast of Ellesmere Island, approximately 1,160 km north of the Arctic Circle at 76°25’N and 83°01’W. Grise Fiord is located in the Qikitani Region of Nunavut and has an estimated population of 129 (2016). The Atlas of Canada Permafrost Map1 shows Grise Fiord to be in a zone of extensive widespread continuous permafrost. This means that there are no thawed areas except under larger lakes and rivers that never freeze solid2 The Permafrost Map gives a permafrost and ground ice classification symbol of ‘Cl’ for Grise Fiord. This classification means that approximately 90% to 100% of the land area is underlain by permafrost, and that the ground ice content in the upper 10 m to 20 m is (% by volume of visible ice) is low (<10%). This includes segregated ice, intrusive ice, reticulate ice veins, ice crystals, and ice coatings on soil particles.

This SWMF Feasibility Report provides an assessment of the waste disposal capacity required for the community, its potential for waste diversion, and an assessment of the facility’s siting (including the adequacy and relevance of alternative sites reviewed). This report builds on previously completed studies pertaining to the planning and design of new disposal capacity via either a new site or facility upgrades to the Municipality’s solid waste management site. The background information reviewed in preparation of this document include:

  - Grise Fiord Water License, 3BM-GRI1520.

  - Public Health Act.

  - Arktis Solutions. Solid Waste Disposal Facility Design Report for Grise Fiord, Nunavut (100% Submission). April 23, 2013.

  - Arktis Solutions. Grise Fiord New Solid Waste Disposal Facility Draft Construction Drawings. April 19, 2013.

  - Exp Services Inc. Hamlet of Grise Fiord Solid Waste Audit. June 2018.

  - Grise Fiord Community Plan 2008 - 2018.

  - Hamlet of Grise Fiord Zoning By-Law 66. March 2016.

  - Nunavut Bureau of Statistics. Baffin Community Population Projections, 2014 to 2035. December 17, 2014.

The Municipality’s current SWMF is located approximately 0.6 km west of the community, in proximity to the sewage treatment lagoon. Monitoring stations are located in the discharge areas of the solid waste site and the sewage treatment lagoon. The site is approximately 345 meters by 200 meters in size. The existing SWMF contains the following features:

  - An area that contains general household, commercial and institutional wastes, hazardous waste, construction and demolition waste, and other bulky materials;

  - An adjacent area for bulky and metal waste material located at the east and west side of the main waste area;

  - The airport runway is located northeast of the main waste area;

  - The sewage waste treatment lagoon is located immediately east of the SWMF; and,

  - Three seasonal streams that convey surface water from the solid waste disposal site, and surface drainage from northeast of the solid waste disposal facility, to the ocean.

The current site is at capacity and is characterized as a non-engineered facility with no environmental controls. The Government of Nunavut (GN) engaged EXP Services Inc. (EXP) to complete a feasibility study for the development of a solid waste management facility (SWMF) to provide future solid waste disposal capacity for the Municipality of Grise Fiord. The design of a new SWMF incorporates Nunavut Best Practices for a modified landfill site. As currently developed at this conceptual stage, it will include four bermed cells for the separation of waste

1 Natural Resources Canada. The National Atlas of Canada 5th Edition. Canada: Permafrost. 1995.

2 Frozen Ground Engineering (Second edition). Orlando B. Andersland and Branko Ladanyi. 2004.

material. Pending facility design evolution (i.e. the conceptual, preliminary and final design process) and the comments and conditions resulting from the projects related regulatory review, approvals and permitting process, it is possible that a geomembrane liner system (e.g. High-Density Poly-ethylene (HDPE) liner) and leachate collection sumps will be installed in some cells and areas (e.g. domestic waste disposal cells, leachate sump/pond). Further discussion regarding design aspects and assumptions used in developing the current conceptual design presented in this report are provided in Appendix A.

The new SWMF has been proposed to be constructed adjacent to the existing site, south of the airport lands property boundary, and extending south and west of the existing solid waste site. The adequacy of this site in comparison to three other alternative sites are discussed in this report.

The proposed SWMF includes the construction of four separate cells to manage different waste types including:

  - Municipal solid waste (no bulky, metal, or hazardous waste. This cell is proposed to be constructed as an extension to the existing disposal area);

  - Bulky waste;

  - Metal waste; and

  - Hazardous waste.

The purpose of the proposed design is to provide for the segregation of waste streams and promote Best Practice construction and operation methods of the solid waste site. Design and construction of the new SWMF may include lined cells and a lined leachate collection sump (refer to Appendix A for design rationale and conceptual layout). In addition, the site will be enclosed by a chain-link fence with a gated single vehicle access point and attendant’s shelter. The access road to the site will be upgraded with revised drainage elements, such as ditches, and culverts, and an improved and widened road base.

Fig. 1: Hamlet of Grise Fiord

Fig. 1: Hamlet of Grise Fiord

Access Road to Town

Access Road to Town

Compliance Point

Monitoring Point

Bulk Metal wastes /Hazardous wastes

SEWAGE  LAGOON

Landfill site

Metal Dump site

S

E

A

Compliance Point

Monitoring Point

Bulk Metal wastes /Hazardous wastes

SEWAGE  LAGOON

Landfill site

Metal Dump site

S

E

A

Fig. 2: Wastes Facilities

Airport runway

Airport runway

Fig. 3: Airport Runway in Grise Fiord

### Capacity Analysis

Disposal Capacity

    - Municipal Solid Waste

A capacity analysis was prepared for the Municipality based on the results of a waste audit completed by EXP in March 2018 (see Appendix B). The capacity was projected over a 20-year period, starting in 2021 (i.e., the anticipated year operation of the new site is expected to begin).

The waste audit measured residential waste collected from approximately 31 households during the week of March 28, 2018. The residential municipal solid waste (MSW) was sorted and measured based on weight. The total annual volume of residential waste collected was estimated through interviews with the Municipality’s collection staff. For this capacity analysis, estimated uncompacted volumes of residential waste collected were calculated using published weight to volume waste conversions.

The volume of commercial MSW was estimated through two methods:

  - Facility Manger / Operator / Staff Interviews - interviews were held with staff from the local Co-op store, Grise Fiord Public School, Health Centre, RCMP office, Power Corporation office, and the Nunavut Housing Association. These interviews were used to quantify the number of waste collection trips, typical fullness of collection vehicle, and reported composition of key wastes.

  - Visual audits – A visual inspection was undertaken of the waste stored at the facility and used to corroborate the composition of key wastes as reported in the interviews.

Table 1 presents the estimated annual municipal solid waste composition for Grise Fiord by volume

(uncompacted) and by weight. As the table shows, low density items such as plastics may take up a large volume of the waste, but only account for a small portion by weight. Conversely, higher density items such as household organics make up a large portion of the waste stream by weight but a smaller portion by volume.

It should be noted that the MSW estimates do not include the following items, which are discussed separately further below:

  - Scrap metal from sources such as discarded oil drums or tanks, end-of-life vehicles, or large pieces of scrap metal that may be disposed by residents on an occasional basis (discussed separately below);

  - The Municipality’s existing stockpile of liquid hazardous wastes, liquid hazardous wastes disposed by municipal or commercial shops and garages, or used oil from within the community;

  - Construction and demolition wastes;

  - Seasonal influxes of wood or cardboard container waste, such as boxes or crates from the summer sealifts; or

  - Other wastes that would not routinely be disposed by households or the Municipality’s commercial enterprises.

Table : 1  Estimated Composition of Grise Fiord Municipal Waste

| Metals | Composition by Volume (Uncompacted) | Composition by Weight |
| --- | --- | --- |
| Fibres | 32% | 21% |
| Metals | 8.4% | 3.8% |
| Glass | 0.6% | 2.0% |
| Plastics | 38% | 11% |
| House hold Organics | 13% | 50% |
| House Hold Hazardous wastes | 0.01% | 0.18% |
| Textiles | 1.7% | 1.9% |
| Grabage and Other | 6.2% | 11% |

(Source: exp’s feasibility study, 2020)

The volume of MSW generated over the life of the 20-year landfill was extrapolated based on population projections from the Nunavut Bureau of Statistics. The population projections supplied by the Bureau are for the period 2014 to 2035. For the years 2036 to 2038, the peak projected population between 2014 and 2035 was used to be conservative. Over the 20-year lifespan of the landfill, the total amount of MSW was projected to be 58,581 m3 (uncompacted).

It is a common practice for waste to be compacted once it enters a landfill. Assuming a compaction rate of 3:1, the total estimated volume of landfill space required for MSW at the Grise Fiord landfill is 19,527 m3. This is nearly three times the amount estimated by Arktis in its 2013 design report for the Grise Fiord

SWMF3. This discrepancy may be caused by a variety of factors, including

  - Arktis, The previous consultant,  used an average residential solid waste volume of 0.015 m3/person/day, which is a generic average first calculated by the Northwest Territories Municipal and Community Affairs department (MACA) in 1986 and used in MACA’s 2003 Guidelines for the Planning, Design, Operations and Maintenance of Modified Solid Waste Sites4. In the absence of other reliable waste data, this value is often used. However, it should be noted that the composition of packaging and waste has changed considerably since the value was first derived (for example, more plastics and less glass, resulting in more volume of waste per unit weight). For this assessment, EXP’s 2018 waste audit data was used.

  - The waste composition in the Arktis design report applies waste category distribution by weight to the estimated volume of waste. In doing so, the volume of low-density materials (e.g., corrugated cardboard, plastics, etc.) may be underestimated compared to high-density materials (bulky metals, wood waste, etc.). For this assessment, EXP applied published solid waste weight-to- volume conversions in the weight and volume estimates.

  - The solid waste weight-to-volume conversions are presented as a possible range, which may increase the variability of the results.

  - Given the project constraints, the waste audit data was collected over a short period of time and

  - may not reflect seasonal fluctuation

As the Bureau did not project a wide fluctuation in future population for Grise Fiord, the estimates for annual MSW uncompacted volumes similar were relatively constant from year to year (ranging from a low of 2,875 m3 in 2020 to a high of 2,967 m3 by after 2036). As such, the projection of accumulated MSW is relatively linear.

Bulky Waste

The volume of bulky waste was calculated based on reported waste audit values and per capita values as

reported in the Nunavut Solid Waste Management Plan5 (unless otherwise noted). The estimated volume of bulky waste generated in the municipality over the landfill’s 20-year life span is 1,913 m3. (1,622 m3 for bulky wastes and 291 m3 for bulky metal waste). This is based on the approximate annual (2018) generation of the following bulky waste materials:

  - Bulky Metal Wastes:

    - Appliances – 2 m3 (0.8 tonnes);

    - Oil tanks – 3.1 m3 (0.14 tonnes);

    - End of Life Vehicles (ELV) – 9.0 m3 (5.4 tonnes)6.

  - Other Bulky Wastes

    - Tires – 0.34 m3 (0.13 tonnes);

    - Wood waste (including C&D waste) – 70.4 m3 (17.8 tonnes)7; and

    - Other C&D waste – 7.8 m3 (0.82 tonnes) 7.

This total accumulated value of 1,913 m3 is about half of the 3,756 m3 estimated in Arktis’ 100% design report (not including legacy bulky waste). Given the lack of regular waste collection and storage data, it is recommended that the conservative value identified in the 2013 100% design report by Arktis be retained to provide for a buffer of approximately 1,800 m3 of bulky waste material; this will address aspects such as seasonal fluctuations and possible increased generation rate in the future.

    - Hazardous Waste

With respect to hazardous waste, no information was available regarding annual generation volumes of industrial or commercial hazardous waste, other than a per capita rate for automotive batteries from the Nunavut Solid Waste Management Plan. Furthermore, the Arktis hazardous waste generation estimation of 1% to 2% of the waste stream is consistent with the Ontario Waste Diversion Organization hazardous waste generation estimate of approximately 1% for Ontario municipalities. As a result, no change is recommended to the estimated hazardous waste volumes noted in the 2013 100% design report.

A visual assessment of legacy hazardous waste is approximately 200 to 300 m3.

    - Summary

Based on the above information, the recommended landfill 20-year design volumes for the Grise Fiord SWMF include:

  - MSW (compacted) volume: 19,527 m3;

  - Bulky waste volume: 3,756 m3;

  - Hazardous waste: 866 m3.

Waste Diversion Opportunity

The tonnage of waste material available for diversion was estimated based on the MSW waste composition described above and projected based on population over the landfill site’s 20-year lifespan. Given that the population does not vary significantly over the 20-year life span, the estimated annual weight of recyclable material does not vary significantly. The estimated weight of recyclable material includes:

  - Approximately 80 to 83 tonnes annually of recyclable fibres (1,600 tonnes over 20 years);

  - Approximately 14 to 15 tonnes annually of recyclable steel/aluminum food/beverage containers (290 tonnes over 20 years);

  - Approximately 8 tonnes annually of recyclable glass food/beverage containers (160 tonnes over 20 years);

  - Approximately 30 to 32 tonnes annually of recyclable plastics (630 tonnes over 20 years); and

  - Approximately 190 to 200 tonnes annually of household organics (4,000 tonnes over 20 years).

5 EXP Services Inc. Nunavut Solid Waste Management Plan. Prepared for the Government of Nunavut. October 24, 2014.

6 Based on approximately 2 to 4 ELV’s per year as reported by Hamlet staff.

7 Includes a 10% buffer on top of per capita estimate noted on Nunavut Solid Waste Management Plan.

Table  2  : Grise Fiord Estimated MSW Composition, by Volume (2018)

| Material | Collected by Municipality (m3) | Co-Op Store (m3) | Public School (m3) | Housing Assoc. (m3) | Total (m3) | % Composition (by volume) | Category |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fibres |  |  |  |  |  |  |  |
| Papers, Cardboard, Boxboard | 380 | 225 | 23 |  | 628 | 22.1% | MSW - Recyclable Fibres |
| Gable Top Cartons | 270 |  |  |  | 270 | 9.5% | MSW - Recyclable Fibres |
| Metals |  |  |  |  |  |  |  |
| Steel and Aluminum Food and Beverage Containers | 238 |  |  |  | 238 | 8.4% | MSW - Recyclable Steel/Aluminum Food/Beverage Containers |
| Appliances |  |  |  | 2 | 2 | 0.1% | Bulky - Appliances |
| Glass |  |  |  |  |  |  |  |
| Glass Food and Beverage Containers | 18 |  |  |  | 18 | 0.6% | MSW - Recyclable Glass Food/Beverage Containers |
| Plastics |  |  |  |  |  |  |  |
| PET and HDPE Containers | 422 |  |  |  | 422 | 14.8% | MSW - Recyclable Plastics |
| Plastic Film | 263 |  |  |  | 263 | 9.2% | MSW - Recyclable Plastics |
| Polystyrene | 106 |  |  |  | 106 | 3.7% | MSW - Recyclable Plastics |
| Laminated Plastic Packaging | 288 |  |  |  | 288 | 10.1% | MSW - Non-Recyclable Waste |
| Organics | 347 | 28 | 6.8 |  | 382 | 13.4% | MSW - Organics |
| Hazardous Waste | 0.3 |  |  |  | 0.3 | 0.0% | Hazardous Waste |
| Textiles | 49 |  |  |  | 49 | 1.7% | MSW - Textiles |
| Other ("Garbage" including diapers) | 110 | 28 | 39 |  | 178 | 6.2% | MSW - Non-Recyclable Waste |
| TOTAL | 2,490 | 281 | 68 | 2 | 2,841 | 100% |  |

Note: These estimates do not include:

- Scrap metal from sources such as discarded oil drums or tanks, end-of-life vehicles, or large pieces of scrap metal that may be disposed by residents on an occasional basis;

- The Municipality’s existing stockpile of liquid hazardous wastes, liquid hazardous wastes disposed by municipal or commercial shops and garages, or used oil from within the community;

- Construction and demolition wastes;

- Seasonal influxes of wood or cardboard container waste, such as boxes or crates from the summer sealifts; or

- Other wastes that would not routinely be disposed by households or the Municipality’s commercial enterprises.

Source: exp’s Audit Report 2018

Table   3  : Grise Fiord Estimated MSW Composition, by Weight (2018)

| Material | Collected by Municipality (tonnes) | Co-Op Store (tonnes) | Public School (tonnes) | Housing Assoc. (tonnes) | Total (Tonnes) | % Composition (by tonnes) | Category |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fibres |  |  |  |  |  |  |  |
| Papers, Cardboard, Boxboard | 49 | 13 | 1.5 |  | 64 | 16.5% | MSW - Recyclable Fibres |
| Gable Top Cartons | 16 |  |  |  | 16 | 4.1% | MSW - Recyclable Fibres |
| Metals |  |  |  |  |  |  |  |
| Steel and Aluminum Food and Beverage Containers | 14 |  |  |  | 14 | 3.6% | MSW - Recyclable Steel/Aluminum Food/Beverage Containers |
| Appliances |  |  |  | 0.8 | 0.8 | 0.2% | Bulky - Metals |
| Glass |  |  |  |  |  |  |  |
| Glass Food and Beverage Containers | 8 |  |  |  | 8 | 2.0% | MSW - Recyclable Glass Food/Beverage Containers |
| Plastics |  |  |  |  |  |  |  |
| PET and HDPE Containers | 16 |  |  |  | 16 | 4.1% | MSW - Recyclable Plastics |
| Plastic Film | 11 |  |  |  | 11 | 2.8% | MSW - Recyclable Plastics |
| Polystyrene | 4 |  |  |  | 4 | 1.0% | MSW - Recyclable Plastics |
| Laminated Plastic Packaging | 11 |  |  |  | 11 | 2.8% | MSW - Non- Recyclable Waste |
| Organics | 188 | 2 | 2 |  | 192 | 49.7% | MSW - Organics |
| Hazardous Waste | 0.7 |  |  |  | 0.7 | 0.2% | Hazardous Waste |
| Textiles | 7 |  |  |  | 7 | 1.9% | MSW - Textiles |
| Other ("Garbage" including diapers) | 39 | 1 | 3 |  | 43 | 11.1% | MSW - Non- Recyclable Waste |
| TOTAL |  |  |  |  | 403 | 100% |  |

Note: These estimates do not include:

- Scrap metal from sources such as discarded oil drums or tanks, end-of-life vehicles, or large pieces of scrap metal that may be disposed by residents on an occasional basis;

- The Municipality’s existing stockpile of liquid hazardous wastes, liquid hazardous wastes disposed by municipal or commercial shops and garages, or used oil from within the community;

- Construction and demolition wastes;

- Seasonal influxes of wood or cardboard container waste, such as boxes or crates from the summer sealifts; or

- Other wastes that would not routinely be disposed by households or the Municipality’s commercial enterprises.

Source: exp’s Audit Report 2018

Table   4  : Grise Fiord Projected MSW Volume (annual and accumulated)

| Year | Population | Estimated Annual MSW Volume (m3) Uncompacted | Accumulated MSW Volume (m3) Uncompacted | Accumulated MSW Volume (m3) Compacted 3:1 |
| --- | --- | --- | --- | --- |
| 2020 | 168 | 2,875 | 2,875 | 958 |
| 2021 | 169 | 2,898 | 5,773 | 1,924 |
| 2022 | 171 | 2,918 | 8,691 | 2,897 |
| 2023 | 171 | 2,931 | 11,622 | 3,874 |
| 2024 | 172 | 2,944 | 14,566 | 4,855 |
| 2025 | 173 | 2,957 | 17,523 | 5,841 |
| 2026 | 173 | 2,967 | 20,490 | 6,830 |
| 2027 | 173 | 2,962 | 23,453 | 7,818 |
| 2028 | 173 | 2,964 | 26,417 | 8,806 |
| 2029 | 173 | 2,952 | 29,369 | 9,790 |
| 2030 | 172 | 2,934 | 32,303 | 10,768 |
| 2031 | 171 | 2,918 | 35,220 | 11,740 |
| 2032 | 170 | 2,899 | 38,120 | 12,707 |
| 2033 | 169 | 2,883 | 41,003 | 13,668 |
| 2034 | 167 | 2,864 | 43,866 | 14,622 |
| 2035 | 166 | 2,845 | 46,712 | 15,571 |
| 2036 | 173 | 2,967 | 49,679 | 16,560 |
| 2037 | 173 | 2,967 | 52,646 | 17,549 |
| 2038 | 173 | 2,967 | 55,613 | 18,538 |
| 2039 | 173 | 2,967 | 58,581 | 19,527 |

Source: Exp’s audit Report 2018

Table 5:  Potential Method of Achieving Solid Waste Diversion

| Stored/Shipped for Recycling or Safe Disposal | Composting | Source for Alternative Daily Cover | Controlled Combustion |
| --- | --- | --- | --- |
| Fibres (paper, cardboard, boxboard), Textiles, Metals, Plastics, Glass, Electronics, Hazardous waste Some materials may be more suitable for this option than others, such as fibres and metals. The current market for textile recycling may not be sufficient to make feasible. Low amounts of glass and high costs associated with recycling would not make recycling glass feasible. | Organics (Food Waste) Fibres (paper, cardboard, boxboard), Wood Scrap Organic content could be composted. A portion of shredded fibres and wood scrap could also be composted with the organic material. | Organics (Food Waste) Fibres (paper, cardboard, boxboard), Wood Scrap, Glass Composted organics and fibres, shredded (or composted) wood scrap and crushed glass could be used as an alternative landfill cover (ADC). The ADC would not replace all cover material required such as crushed stone; rather, the ADC would be used to amend the natural cover in order to reduce the demand for this natural resource and to maximize the efficient use of landfill airspace. | Fibres (paper, cardboard, boxboard) Can be safely combusted using burn cages or other controlled burning equipment. Pile burning is not recommended. Residual ash would require disposal in landfill. Controls would be required to ensure that mixed waste is not included in combustion, as the mixed waste would include materials such as plastics, painted or coated materials, and hazardous waste that would release toxins into the environment, if combusted. |

# 3.0 Transportation of Wastes

The Hamlet operates one ordinary non-compactor truck for collection of MSW within the community and transfer to the solid waste facility at Grise Fiord. Front end loader is used to haul metal objects such as old automobiles/fridges etc. to the metal dump. The access road about 0.80 km long from the Community to the Sewage lagoon connects both the Landfill site and Bulky metal site. This access is adequately maintained for all types of vehicular traffics throughout the year.

Fig. 4: Grise Fiord Garbage truck

# 4.0 Site Personnel

The Hamlet Foreman has overall responsibility of the solid waste disposal facility to ensure proper operation and maintenance is carried out, including compacting, burning, covering, inspections, sampling, and annual reporting to the NWB.

The Foreman is responsible for day-to-day operation and maintenance of the solid waste facility. Day-to-day activities include managing waste collection, proper segregation of waste, compacting and burning of waste, sampling leachate from the facility, completing inspections and other maintenance activities.

The Hamlet typically has one individual hired to operate the non-compactor truck and collect waste from community buildings five days a week. This Waste Truck Driver is also responsible for ensuring collected waste is properly segregated, and refusing the collection of hazardous waste if present. If properly trained, this individual may also be required to operate heavy equipment within the solid waste disposal facility.

# 5.0 Health and Safety

The public and all personnel working within the solid waste disposal facility should be made aware of potential health and safety hazards associated with working around municipal solid wastes and hazardous wastes. This is imperative so individuals make a conscious effort to perform all necessary safety procedures to protect themselves, their co-workers and family members at home. The requirements of the Nunavut Safety Act will be followed at all times. A site-specific safety plan should be developed by the Hamlet for the solid waste disposal facility and followed once developed. The site-specific safety plans should outline all potential hazards, safe work practices, training requirements, equipment requirements (e.g., fire extinguishers, spill response kits, etc.), and emergency procedures.

Public access to the solid waste disposal facility should be restricted to specific areas and/or times to minimize potential hazards to the public. Public access to any hazardous waste storage areas should always be restricted. Additional health and safety precautions for the public and site personnel will be taken during burning of MSW and accidental spills.

See Section 10 of this O&M Manual for emergency response procedures in the event of a fire or spill at the solid waste disposal facility.

# 6.0 Municipal Solid waste Disposal Area

6 .1 Operations

6.1.1 Waste segregation

The MSW disposal area is partially fenced and the Hamlet presently does not limit who disposes of waste and where. proper waste segregation is imperative to the long-term operation of the facility as it helps ensure potential human health and environmental hazards are minimized, un-compactable wastes (e.g., bulky metal wastes) are kept out of the landfill, hazardous wastes are not properly managed.

The MSW disposal area at Grise Fiord is used as a natural attenuation landfill. This means that the landfill is not lined and small amounts of contaminants can enter the surrounding environment to be naturally broken down. In this type of landfill, the rate that contaminants enter the environment is expected to occur at a rate such that contaminants can easily be broken down and the surrounding environment is not overwhelmed. Natural attenuation landfills also rely on permafrost aggrading into the covered waste cells of the landfill and eventually freezing them. However, as contaminants are able to freely enter the environment in this type of landfill, proper waste segregation is important to ensure harmful contaminants are kept out of the landfill.

Initial waste segregation should begin at the community’s residences and other buildings, ensuring residents and business are familiar with acceptable wastes for the MSW disposal area. Household hazardous or bulky wastes are kept out of the landfill and Burn Area.

The Waste Truck Driver should be familiar with operational procedures for the MSW disposal area, acceptable

wastes for burning and landfilling and proper waste segregation practices. Ultimately the Foreman is responsible to ensure proper waste segregation occurs.

The Waste Truck Driver should monitor the waste they collect from community buildings every day, collecting only that which is acceptable for disposal at the MSW disposal area. The Hamlet could provide a ‘grace’ day once or twice per year to collect residents’ household hazardous and/or bulky metal waste following Hamlet waste collection procedure. The Hamlet could also provide help to residents who have larger items to dispose of and have no means of transporting them to the correct disposal area.

The MSW disposal area needs to be properly signed to inform operators and residents of the correct location to dispose of or store certain wastes. At a minimum, the MSW disposal area should have disposal/storage areas for:

Domestic burnable waste (for burning and landfilling) – a selected Burn Area

- Domestic non-burnable waste (for landfilling)

- Treated wood and wood products

- Building/construction materials

- Bulk metal waste – a separate bulk metal waste disposal area

- Re-usable/recyclable material (i.e., salvage area)

- Household hazardous waste (i.e., drop-off hazardous waste disposal area).

Sea cans or constructed drum shelters can be used to store specific household hazardous wastes in a designated area before being shipped out of the community. Hazardous waste management is described in Section 8.2.

##### 6.1.2 Burning

Once waste has been properly segregated, burnable waste should be burned at least once per week to keep the volume of waste manageable. Burning should only occur when winds are light and blowing away from the community. In this Community, burning takes place in a two sided enclosed net following wind direction. Table 2 outlines wastes acceptable for burning.

###### Table-2: Burnable and non-burnable wastes

| Burnable Wastes | Non-Burnable Wastes |
| --- | --- |
| Domestic Waste (e.g. food waste, paper products, paper board/cardboard packaging, etc.) | Non-wood building /construction materials (e.g. roofing materials, electrical wire, insulation, plastics, asbestos, etc. |
| Non-treated wood | Treated wood 9e.g. telephone poles, pilings, cribbing, foundation wood) |
| (this may also be recyclable / salvageable) | Asphalt and asphalt products |
|  | Tires |
|  | Hazardous wastes |
|  | Waste Paint |
|  | Fuel and lubricant containers |
|  | Aerosol cans and other compressed gas containers (e.g. propane tanks.) |

Hamlet has not any By-law and is not in a position to issue any permit. The Hamlet presently does not apply for a permit to burn through the Grise Fiord Fire Department, though they should. Hamlet personnel (e.g., Foreman and crew) typically carry out and control burning of waste at the MSW disposal area. Controlling the open burn is extremely important to reduce the risk of uncontrolled fire and hazards to the public, employees and the surrounding environment. Burning practices at the MSW disposal area should include:

- Confirmation of weather forecasts prior to any burning. If heavy rain is or will be present, burning should be postponed (burning during heavy rain events may result in poor or incomplete combustion and the potential  to generate harmful contaminants).

- Confirmation of wind speed and direction prior to any burning. If loose debris can be carried by the wind, burning should be postponed.

- Obtaining a Permit is always required to Burn through the Municipality of Grise Fiord

- Burning in the selected Burn Area only and ensuring burning does not occur in landfill piles.

- Presence of an attendant during initial stages of the burn and periodic inspection of the burn once it has   been established.

- Maintaining a minimum of 5 m buffer zone around the burning area and all ensuring attendants or personnel remain upwind of the burn area.

- Closing the MSW disposal facility to the public during burn events.

- Confirmation the MSW is no longer hot or burning prior to the addition of more waste, or covering with              granular material. This can be accomplished by moving around the ash and remaining materials to ensure the  Fire is out and material can cool.

##### 6.1.3 Operational Procedure

The MSW disposal area requires daily, weekly and monthly operational procedures to ensure it continues to optimally function as the Hamlet’s primary MSW disposal site, and potential public health and environmental hazards are minimized. The current municipal guideline only covers the garbage pickup and disposal rates with a brief section stating no burning or disposal by customers without first receiving a dumping permit.  It does not cover any information or instruction in regards to maintenance of the MSW.

Specific information regarding waste segregation and burning were provided in the preceding section. Further information on hazardous waste management at the MSW disposal area is provided in Section 6.2. The following general procedure should be followed to ensure proper operation of the MSW disposal area:

6.1.3.1 The Waste Truck Driver collects MSW from community buildings three times per week using the non- compactor garbage   truck. The MSW is then transported to the MSW disposal area.

6.1.3.2 The number of trips and estimated weight of every load transported to the MSW disposal area should be recorded in a log book or on a record form kept in the garbage truck (a Solid Waste Quantity Form is included in Appendix C). If waste is present at the MSW disposal area that has been brought by others, the Waste Truck Driver should make an estimate of the quantity and record this as well. Trip records should be filed at the Hamlet Office daily. The SAO will include results in the Hamlet’s Annual Report to the NWB.

6. 1.3.3 At the MSW disposal area, waste from the garbage truck will be tipped into the cold Burn Area. Waste should not be tipped onto the Burn Area if a burn is occurring. An alternate tipping/burning area should be designated.

The Waste Truck Driver should then complete an initial inspection of the waste pile to ensure it does not contain any non-burnable wastes (see Table 1). If it does, that specific wastes should be diverted to the appropriate disposal areas:

- Household waste is dumped out of the compactor truck in the selected Burn Area of the MSW disposal area.

Waste is properly segregated into burnable and non-burnable waste.

- Any non-burnable, non-hazardous waste should be moved to the edge of the covered portion of the MSW   disposal area landfill (tipping face).

- Any materials requiring disposal in the bulk metal/hazardous waste disposal area should be transported  there.

- Hazardous waste materials need to be transported to their appropriate storage areas and properly stored.

- Reusable/recyclable materials (e.g., wood) should be transported to a Salvage Area of the MSW disposal area. Salvaging of materials will only be supported in the designated Salvage Area due to public health and safety concerns.

6.1.3.4 Burning of combustible waste should only occur in the designated Burn Area(s). Burning should occur at least weekly to ensure materials are burned in manageable volumes. However conditions for open burning depends on weather and burning should only occur when winds are light and blowing away from the community. A permit to burn must be obtained from the Municipality before any burning occurs. The guideline for Municipal Solid Wastes Suitable for Open Burning from the GN Department of Environment (GN-DOE) can be found at their website (http://www.gov.nu.ca/env/environment.shtml).

6.1.3.5 After every burn, once the operator confirms the MSW to be cold and no longer burning, the CAT D6 bulldozer should be used to push the ash and remaining material to the landfill tipping face (presumably downslope, if the depression method for landfilling is used).

6.1.3.6 At least twice per month, the CAT D6 bulldozer should push the collected MSW pile over the edge of the landfill tipping face and spread out the MSW. The waste should be worked upslope gradually, to a maximum 3:1 grade (e.g., 3 m wide by 1 m tall). The CAT D6 bulldozer should drive over the waste pile at least three to five times to ensure it is packed down and the 3:1 grade is achieved.

6.1.3.7 The act of burning (waste reduction) and compaction should result in a manageable waste mound on the landfill tipping face that can be covered annually, or when waste volume requires covering. The waste mound should only be allowed to reach two meters high. Annually, or once the waste mound is approximately three meters wide, the waste mound should be covered with 0.3 m (12 in.) of granular material and packed down to form a covered waste cell.

•   Cover material can be limited and hard to find in Grise Fiord. Though dry, sandy material is the preferred    cover material for landfilling, sand, gravel and cobbles are also appropriate cover material. Landfilling operations can be made easier by stock piling cover materials close to the MSW disposal area.

6.1.3.8 Landfilling can continue beside and behind the covered waste cell until the landfilling area is full. Once the landfill site is full, the MSW disposal area must be closed out. To close out the site, cover with 0.6 m (24 in.) of granular material and pack. Water must run off waste piles.

7.0 Bulk Metal / Hazardous Waste Storage Area

It is critical that all hazardous materials are dealt with correctly and efficiently.  Appropriate containers that are sealable and leak proof and appropriately labeled must be provided.  Attention must also be given to the storage of incompatible wastes.  Information on storage requirements for specific wastes is available in seven guides developed by the Nunavut Environmental Protection services.  It should be noted the removal of CVC’s must be done by a licensed technician.

### 7.1 Bulk Metal Waste Management

Any bulk metal waste from the community should be disposed of within the bulk metal/hazardous waste disposal area. Handling of bulk metal waste requires less operational activity than MSW (e.g., will not be burned or covered) however proper waste segregation is still required and only specific bulk metal materials should be disposed of. The following is a list of bulk metal materials acceptable for disposal within the bulk metal/hazardous waste disposal area:

- Large metal wastes (i.e., decommissioned fuel tanks, drums, towers, poles/posts, culverts, etc.)

- Tires

- Appliances

- Properly abandoned vehicles, snowmobiles, and all-terrain vehicles (ATVs):

- Properly abandoned implies all vehicles have had their batteries removed and have been drained of fuel, oil,

Antifreeze, transmission fluid, and other fluids; these wastes should be properly stored in the

hazardous waste storage  area.

- Vehicles can also contain ozone-depleting substances (ODS’) in their air conditioning systems. These systems should be properly decommissioned by a qualified technician/Operator.

- Once vehicles have been properly abandoned, they should be tagged to indicate they have been inspected   and meet these criteria.

All bulk metal waste should be segregated into separate disposal areas for the above listed items (e.g., a vehicle disposal area, an appliance disposal area, etc.). Eventually all bulk metal waste should be removed from the community through a backhaul program and properly disposed of at appropriate receivers. The Hamlet could work with other communities, the GN and a transportation company to establish a backhaul program to remove and dispose of bulk metal waste materials.

### 7.2 Hazardous Waste Management

Hazardous waste means any material no longer  of  use  to  the  possessor  whose  chemical  or  biological  properties have the potential to endanger  personnel,  material,  or  the  environment  if  handled  improperly.  Such  wastes  contain one or more hazardous properties. Hazardous wastes come from a wide range of sources, including households, businesses  of  all  types,  and  public  services,  such  as  health  service,  schools  etc.

The Hazardous wastes include waste such as paint, waste fuel, mercury thermometers and switches from household appliances, capacitors and batteries, antifreeze, propane tanks,  small  flammable  or  explosive  containers,  etc.  These items s properly crated and shipped to an appropriate disposal facility. It is  imperative  that  these  wastes  be  kept separate  from  each  other  and  that  no  mixing  of  these  materials  is  to  occur.

### Hazardous  Waste  determination  Chart:

Fig. 5: Identification of hazardous wastes

Hazardous  wastes  are  those  that  are  known  to  be  dangerous  due  to  their  chemical,  physical  or   biological properties, are no longer used for their original purpose, and are  intended  for  recycling,  treatment,  disposal  or storage (GN-DOE 2002). All hazardous wastes require special handling, storage  and  disposal  methods  to  prevent human  health  and  environmental  exposure.

The Environmental Guideline for the General Management of Hazardous Waste (GN-DOE 2002)    provides information regarding the proper management of hazardous waste in Nunavut, and  has  the  intent  to  establish  a  monitoring system for hazardous wastes, from generation to final  disposal.  From  the  Guide,  the  generator  of  any  hazardous waste  is  ultimately  responsible  for  ensuring  it  will  be  properly  managed  from  is  creation  to  its  disposal (GN-DOE  2002).

Generally,  any  household  items  which  have  the  following  symbols  are  considered  HHW:

Corrosive                             Explosive	        Flammable                              Poison

Fig.-6: Types of Symbols

Generators typically use carriers to  transport  the  hazardous  waste  to  appropriate  receivers  for  disposal.  Both  carriers and receivers need to be registered with GN Environmental Protection Service and  follow  specific  regulations  and training.

The bulk metal/hazardous waste storage area  is  currently  used  to  store  hazardous  wastes  from  the  community. This area is filled but not bermed or lined and runoff from  the  facility  presently  flows  into  the  sewage  treatment wetland. If use of this area is  to  continue  for  storage  of  hazardous  wastes,  it  is  recommended  that  an  engineered berm and liner system be installed as this will limit the amount of potentially hazardous leachate entering the surrounding environment.

1m

1m

1:3

HDPE liner

1m

1m

1:3

HDPE liner

# 20mx15m

### Proposed Hazardous wastes open storage area

Fig. 7

Other basic  responsibilities  of  hazardous  waste  receivers  in  Nunavut  are:

- Handling and storing the hazardous  waste  in  accordance  with  the  Guideline,  Environmental  Protection  Act, Fire Prevention Act, Safety Act, Public Health Act and all other applicable statutes, regulations,  standards, guidelines  and   local  by-laws.

- Reusing,  recycling,  treating  or  disposing  of  the  hazardous  waste  in  a  proper  and  safe  manner.

- Completing  Part  C  of  the  waste  manifest  form  and  retaining  a  copy  for  two  years.

- Accepting  hazardous  waste  only  from  registered  generators  and  carriers.

- Ensuring  staff  are  trained  and  qualified  to  safely  handle  hazardous  waste.

- Filing  a  spill  contingency  plan  with  the  Minister  where  stored  quantities  of  hazardous  waste  exceed  the criteria set out in Schedule A of the Spill Contingency Planning and Reporting Regulations.

- Reporting  any  spill  immediately  to  the  NWT/Nunavut  Spill  Report  Line  at  (867)  920-8130.

The   following   hazardous   waste   operations   and   maintenance   procedures   deal   with   household   hazardous wastes  (HHW)  only.  Typical  HHW  which  may  be  found  in  the  Community  include:

- Pesticides  and  herbicide  as

- Oil  filters

- Paint

- Antifreeze

- Solvents  (e.g.,  paint  cleaners)

- Propane  tanks  and  cylinders

- Flammable  liquids

- Aerosol  cans  (not  empty  )

- Empty  contaminant  containers  (e.g.,  205  L  fuel  drums)

- Fluorescent  light  tubes  and  compact  fluorescent  light  bulbs

- Batteries  (wet  and  dry  cell)

- Fire  extinguisher

- Used  and  waste  fuel  and  oil

- Corrosive  cleaners

However  there  are  certain  items  considered  HHW  that  cannot  be  stored  within  the  solid  waste facility.  These  include:

- Ammunition,  flares  and	explosives  (including  fireworks)

- Prescriptions,  medications  and  bio-hazardous  wastes  (includes  syringes)  –   dispose  of  these  at  the  Health Care   Centre

- Reactive  chemicals  (e.g..,  ammonium  nitrate)  –   contact  the  GN-DOE  Environmental  Protection  Services  for disposal   options.

Contaminated soil or snow  from  the  Hamlet’s  own  spill  clean-up  is  the  only  non-HHW  that  should  be  accepted  by the  Hamlet  for  storage  at  the  Hazardous  Waste  Storage  Area.  Contaminated  soil  or  snow  should  be  stored  in  205 L steel drums and shipped out of the community every year. Industry, businesses or individuals wishing to store contaminated soil at the Hazardous Waste Storage Area must contact the  WSSW  Foreman  to  discuss  storage options and fees for any contaminated  soil  or  snow.  The  decision  to  accept  contaminated  soil  or  snow  for  storage from  industrial,  commercial  or  private  sources  rests  with  the  Hamlet.

# 7.2.1 Operations

As the current bulk metal/hazardous waste storage area is used  for  HHW  storage,  this  area  needs  to  be  properly signed  as  the  “Hazardous Waste Storage Area”.

Hazardous Waste Storage Area (English and Inuktitut)

Hazardous Waste Storage Area (English and Inuktitut)

Fig. 8

This area should also be fenced with a lockable gate  and  have  appropriate  storage  options  for  expected  HHW. Proper signage helps operators of the area properly store the  wastes.  Fencing  around  the  area  will  allow  only trained personnel  access  to  the  bulk  metal/hazardous  waste  storage  area  and  help  minimize  health  and  safety  risks to  the  public  from  hazardous  wastes  and  reduce  the  potential  for  vandalism.

The  bulk  metal/hazardous  waste  storage  area  is  intended  for  storage  only,  not  disposal.  It  is  expected   that hazardous wastes will be stored for up to five years. This  should  be  sufficient  time  for  the  community  to  build  up enough  waste  to  make  it  economical  for  a  back  haul  out  of  the  community  to  a  licensed  waste  receiver.

Additionally, the Hamlet should create a site map of the new  solid  waste  disposal  facility,  detailing  disposal  and storage locations for various wastes. This site map should be posted  at  the  solid  waste  disposal  facility,  the  Hamlet Garage and contained within the Spill Contingency Plan. All site personnel should be familiar with the layout and disposal/storage  areas.

### Collection

Since  the  entire  solid  waste  disposal  facility  is  generally  accessible  to  the  public,  residents  can  come  and  drop  off HHW throughout the year. However the general public  should  not  have  direct  access  to  the  bulk  metal/hazardous waste storage area for health and safety reasons.  If  the  Hamlet  does  not  restrict  access  to  the  bulk metal/hazardous waste storage area (i.e., through a fence and locked gate), the  public  should  be  discouraged  from entering the bulk metal/hazardous waste storage area  and  a  designated  public  drop-off  area  for  HHW  should  be used. The public drop-off  area  could  be  located  within  the  MSW  disposal  area  and  tended  to  on  a  daily  basis  by the Foreman, Waste Truck Driver, or other designated and trained site personnel, to remove and  properly  store  any deposited  HHW  into  the  bulk  metal/hazardous  waste  storage  area.

The Hamlet should also hold a ‘grace’ day  for  residents,  helping  them  collect  and  drop  off  their  HHW  or  bulky metal wastes. This grace day can be held once or twice per year (e.g., in spring  and/or  fall)  and  should  be advertised in the community up to  30  days  before  the  event.  This  grace  day  will  encourage  residents  to  drop  off their HHW and bulky metals wastes, and provide information pamphlets on HHW, waste disposal,  segregation,  and recycling. Like many community-based management programs, successful implementation comes from informed and concerned residents. Providing facts  and  figures  supporting  proper  disposal,  segregation  and  minimization  of hazardous  wastes  will  help  sustain  hazardous  waste  management  in  the  community.

Containers:  Hazardous  waste  storage  containers  are  designed   to   hold,  store   and   transport  small   quantities   of waste.    Many  different  types  of  containers  are  available  (i.e.  barrels,  bottles,  bags  and  boxes)  and  are  made  from a variety of materials (i.e. aluminum, plastic, steel, and stainless steel). Selecting the proper container requires an understanding of the properties of the waste to  be  stored.  If  transport  is  to  be  undertaken,  the  generator  should consult  the  Transport  Authority  to  confirm  the  container  meets  all  legislated   requirements.   The   following   are additional  general  points  for  consideration:

  - Hazardous  waste  should  be  stored  in  their  original  containers  where  possible  or  in  containers  specially manufactured  for  the  purpose  of  storing  hazardous  waste.	The  containers  must  be  sound,  sealable  and not  damaged  or  leaking.  Sea  can  is  the  best  option.

  - Containers  should  be  clearly  labeled  to  identify  their  contents  according  to  requirements  of  the  Workplace Hazardous  Materials  Information  System  (WHMIS)  and  the  relevant  Transport  Authority,  if  transport  is planned.

  - Small  quantities  of  compatible  hazardous  waste  should  be  bulked  into  16  gauge  or  equivalent  metal  or plastic  205  litre  (45  gallon)  drums  for  the  purpose  of  secondary  containment.

  - Containers  should  be  closed  and  sealed  at  all  times,  except  while  waste  is  being  added  or  removed.

Storage:  Storage  refers  to  containment  of  a  hazardous  waste  for  transport,  or  while  awaiting  treatment  and  disposal. Except  under  extraordinary  circumstances  (i.e.  radioactive  materials),  storage  should  always  be  considered  as  a temporary  measure  and  is  not  acceptable  for  the  long-term  management  of  hazardous  waste.

Recognition of the incompatibility of different wastes during storage is  important  in  order  to  avoid  the  possibility  of violent, explosive reactions and toxic fumes. Various systems have been  developed  to  ensure  compatible  storage including  the  ‘Hazardous  Waste  Compatibility  Chart’  adopted  by  the  United  States’  Environmental  Protection  Agency.

All  HHW  collected  needs  to  be  properly  stored  in  sea  cans  to  ensure  any  environmental  and  human  health hazards  are  minimized.  The  GN-DOE  provides  information  on  proper  storage  of  specific  HHW;  these  include:

- Antifreeze –  use  original  containers  where  possible,  or  bulk-store  waste  antifreeze  into  good  condition  16 gauge  or  lower  gauge  steel  or  plastic  205  L  drums.

- Batteries –  bulk-store  waste  batteries  into  good  condition  16  gauge  or  lower  gauge  steel  or  plastic  205  L drums,  or  other  form  of  containment  away  from  weather;  wooden  pallets  should  be  used  to  keep

batteries  and  containers  off  the  ground  during  storage  and  transport.

- Fluorescent  light  tubes/compact  fluorescent  light  bulbs  –  use  original  containers  where  possible  and

prevent  breakage  of  light  tubes/bulbs;  keep  away  from  weather.

- Ozone Depleting Substances (ODS’)  –  do  not  landfill;  wastes  with  ODS’

(i.e.,refrigerators  and  refrigeration equipment,  vehicle  air  conditioners,  ODS-containing  fire  extinguishers  (typically  purchased  before 1997)   should   be   diverted   to   the   bulk   metal   waste   disposal   area.   The   Hamlet   can   hire

Technicians    to  remove  ODS’  from  stored  equipment

- Paint –	use  original  containers  where  possible,  or  bulk-store  compatible  paints  into  good

condition  16    gauge  or  lower  gauge  steel  or  plastic  205  L  drums;  do  not  mix  different  types  of  paint  (i.e.,alkyd and latex).

  - Solvent –  use  original  containers  where  possible,  or  bulk-store  compatible  waste  solvents  into  good condition  16  gauge  or  lower  gauge  steel  or  plastic  205  L  drums.

As the Hamlet currently stores waste oil in  drums  at  the  bulk  metal/hazardous  waste  storage  area  (if  not

burned within BLCS’ waste oil burners),  it  is  recommended  they  register  the  site  as  a  hazardous  waste

storage  facility with the GN-DOE Environmental Protection Services (R. Eno, pers. comm.). Registering the

facility  will  help  the GN-DOE monitor and track hazardous wastes, and eventually improve handling and

disposal in the territory. When developing and  operating  the  bulk  metal/hazardous  waste  storage  area  in

the community,  several  factors  also  need to  be  considered.  From  GN-DOE  (2002)  guidelines,  these  are:

### Regulatory  Compliance

The   GN-DOE   Environmental   Guideline   for   the   General   Management   of   Hazardous   Waste   and hazardous

waste minimum    storage    volumes    should    be    considered    when    planning    and    operating    the    bulk

metal/hazardous   waste storage  area

### Regulatory  Agencies

The regulatory agencies may have to be consulted  regarding  the  management  of  hazardous  waste  as  there

may be other environmental or public and worker health and safety issues to  consider. The other regulatory

agencies are as follows:

Department of Economic Development and Transportation (ED&T): The Motor Vehicles Division i responsible

for ensuring the safe transport of hazardous waste and other dangerous goods by road through administration

of the Transportation of Dangerous Goods Act.

Workers’ Safety and Compensation Commission (WA&CC): The Workers’ Safety and Compensation

Commission is responsible for promoting and regulating worker and workplace  health  and  safety  in  Nunavut.

The  Commission derives its authority from the Workers’  Compensation  Act  and  Safety  Act  which  require

an employer  to  maintain  a safe  workplace  and  ensure  the  safety  and  well  being  of  workers.

Department of Community and Government Services (CGS):  The  Department  of  Community  and

Government Services is responsible under the Commissioners’ Lands Act for the issuance  of  land  leases,

reserves,  licenses  and permits on Commissioner’s Lands. Emergency planning responsibilities under the

Emergency Measures Act include developing  territorial  emergency  response  plans,  coordinating  emergency

operations   at   the   territorial   and   regional levels and supporting community emergency response operations. The Office of the  Fire  Marshal  is  responsible  for ensuring the safe  storage,  handling  and  use  of  flammable  and  combustible  liquids  and  materials.  The  Office  of  the Fire  Marshal  derives  its  authority  from  the  Fire  Prevention  Act,  National  Fire  Code  and  National  Building  Code.

Department of Health and Social Services (DOH$SS): Activities related to the generation,  storage,  transportation, treatment and disposal of hazardous waste may  have  an  impact  on  public  health.  The  Office  of  the  Chief  Medical Officer of Health and Regional Environmental Health Officers  should  be  consulted  regarding  legislated  requirements under the Public Health Act.

Environment  Canada  (EC):  EC  is   responsible   under   the   Canadian   Environmental  Protection  Act  for   ensuring   the safe  management  of  designated  hazardous  waste  at  Federal   facilities   and   on   federal   lands.   The   management, disposal  and  export  of  polychlorinated  biphenyl  (PCB)  waste  is  controlled   under   the   PCB   Regulations,   the   Federal Mobile PCB Treatment and Destruction Regulations and the PCB Waste Export Regulations. The interprovincial and international transport of waste  is  controlled  under  the  Interprovincial  Movement  of  Hazardous  Waste  Regulations  and the Export and  Import  of  Hazardous  Waste  and  Hazardous  Recyclable  Material  Regulations.  Environment  Canada  is also  responsible  for  administering  the  pollution  prevention  provisions  of  the  federal  Fisheries  Act.

Aboriginal affairs  and  Northern  Development  Canada  (AANDC):  ANDC  is  responsible  under  the  Territorial  Lands Act and  Nunavut  Waters  and  Nunavut  Surface  Rights Tribunal  Act  for  the  management  of  federal  lands  and  waters in Nunavut, including the impact hazardous waste may  have  on  the  quality  of  these  lands  and  waters.  AANDC works  with  NWB  and  maintains  the  Water  licence  protocol  on  hazardous  waste  management  in  the  community.

### Compatibility

Compatibility  of  wastes  and  their  storage  containers,  and  wastes  and  nearby  materials  should  be  considered.  For example, some wastes need to be stored  in  specific  containers  to  minimize  the  potential  for  corrosion  and  leaks (e.g., acids cannot be stored in steel drums due to corrosion;  waste  fuel  should  not  be  stored  long-term  in  plastic drums).  Additionally,  not  all  wastes  can  be  stored  in  the  same  area  (e.g.,  flammable  wastes  near  ignition  sources).

### Packaging

Storage of HHW in original containers is acceptable. Bulk  storage  of  compatible  HHW  in  205  L  16  gauge  or  lower gauge steel  or  plastic  drums  is  generally  acceptable  though  may  depend  on  the  type  of  waste.  All  containers  need to be in good condition and sealable. Contact the GN-DOE or  a  licensed  waste  carrier  or  receiver  for  advice  on specific wastes. All storage containers also need to  be  properly  labeled,  following  requirements  of  WHMIS  or Transportation of Dangerous Goods regulations, if transport is planned.

### Segregation

If  some  HHW  can  be  recovered  or  recycled  at  a  later  time,  the  HHW  should  be  segregated  and  stored  in  a manner  to  allow  this.  Final  destination  of  the  HHW  should  be  considered  during  storage.

### Ventilation

All  HHW  should  be  properly  ventilated  to  reduce  buildup  of  potentially  poisonous  or  noxious  fumes.  Most  wastes should  be  stored  outside  in  sheds  or  under  roofs  providing  free  air  movement.

### Climate

Not  all  HHW  can  be  stored  directly  outside.  Waste  containers  should  be  stored  with  some  overhead  cover (e.g.,  roof  or  tarp)  and  on  an  impermeable  base  to  prevent  contact  with  rain,  snow  and  direct  sunlight.  This also  makes  cleanup  of  spills  and  leaks  easier  and  cheaper.  Some  communities  utilize  old  sea  cans  for storage  of  some  HHW.

### Handling

All  handlers  of  HHW  will  have  proper  training.  At  a  minimum,  all  handlers  should  have  WHMIS  (Workplace Hazardous  Materials  Information  System)  training.

### Security

Certain  security  precautions  may  need  to  be  taken  to  prevent  theft,  accidental  discharge  or  harm  to  the  public from  collected  HHW.  Only  persons  authorized  and  trained  to  handle  HHW  should  have  access  to  the  bulk

7.2.2 Maintenance

General maintenance procedures  for  the  bulk  metal/hazardous  waste  storage  area  should  occur  during  daily operations at the solid waste  disposal  facility.  These  maintenance  procedures  involve  ensuring  proper  segregation and  storage  of  wastes,  prompt  cleaning  and  reporting  of  any  leaks  or  spills,  and  general  site  tidiness.

Inspections  of  the  bulk  metal/hazardous  waste  storage  area  should  occur  with  the  weekly  inspections  of  the entire  solid  waste  disposal  facility  by  the  Foreman  or  other  trained  personnel.

Hazardous Waste Management Facilities A hazardous waste management  facility  is  a  facility  or  specially-designated area  that  is  used  for  the  collection,  storage,  transfer,  treatment,  recycling  or  disposal  of  hazardous  waste  for commercial  purposes.  Where  the  facility  is  used  solely  for  the  collection,  storage  or  transfer  of  hazardous  waste, the facility must be registered where waste is  stored  for  a  period  of  180  days  or  more  or  the  quantities  exceed those  set  out  in  the  Guideline.  Where  the  facility  is  to  be  used   for   the   treatment,   recycling   or   disposal   of hazardous waste, the facility must be registered where the  quantity  treated,  recycled  or  disposed  of  in  any  single month exceeds a ‘small quantity’. The  collection,  storage,  transfer,  treatment,  recycling  or  disposal  of  hazardous waste  on  behalf  of  a  third-party  does  not  remove  the  obligation  of  the  owner  or  operator  of  a  hazardous  waste

management facility to register the facility. The owner or operator may obtain an original form  and  users’  guide  by contacting  Nunavut’s  Department  of  Environment  or   by   downloading   through   the   department’s   web   site. Registration of a hazardous waste management facility does not remove the obligation to comply with  all  other applicable  municipal,  territorial  and  federal  statutes,  regulations,  standards,  guidelines  and  by-laws.    Further  assistance in completing a waste manifest may be obtained by referring to the User’s Guide for the Hazardous Waste Manifest produced by Environment Canada or by contacting the Motor Vehicles Division of the Department of Economic Development  and  Transportation.

Transportation: The International Air Transport Association (IATA) requires that all shipments of hazardous  wastes tendered to air carriers be accompanied by the IATA Shipper’s Declaration of Dangerous Goods. The  consignor  is responsible for completion of the  form  in  accordance  with  IATA  requirements  and  to  ensure  all  packaging,  placarding and labeling is consistent with the product being transported.  The  International  Marine  Dangerous  Goods  Code requires use of the  International  Marine  Organization’s  Multimodal  Dangerous  Goods  Form  when  transporting dangerous  goods  or  hazardous  waste  by  ship  or  barge.

Further  information  on  transporting  hazardous  waste  by  air  or  marine  can  be  obtained   by   contacting  Transport Canada.   Information  and  instructions  on  manifesting,  placarding  and  labeling  hazardous  waste  commonly  generated in  Nunavut  can  be  obtained  by  referring  to  waste-specific  guidelines  produced  by  the  Department  of  Environment. A  complete  listing  of  guidelines  is  available  at  http://env.gov.nu.ca/programareas/environmentprotection.

# Classifications  of  Dangerous  Goods:

### Class  1  –  Explosives1

Class  2  –  Compressed  Gases

Division   2.1   –   Flammable   Gases

Division  2.2  –   Non-flammable  and  Non-toxic  Gases Division  2.3  –  Poison  Gases

### Class  3  -  Flammable  Liquids

Class  4  –  Flammable  Solids

Division   4.1   –   Flammable   Solids

Division   4.2   –   Spontaneously   Combustible Division   4.3   –   Water eactive

### Class  5  -  Oxidizing  Substances  and  Organic  Peroxides

Division   5.1   –   Oxidizing   Substances Division   5.2   –   Organic    Peroxides

Class  6  -  Toxic  and  Infectious  Substances Division   6.1   –   Toxic   Substances    Division   6.2   –   Infectious   Substances

### Class 7 - Radioactive Materials 2

Class 8 - Corrosives

Class 9 - Miscellaneous

- Class  1  substances  (Explosives)  are  regulated  by  Natural  Resources  Canada  under  the  Explosives  Act.

- Class  7  substances  (Radioactive  Materials)  are  regulated  by  the  Canadian  Nuclear  Safety  Commission  under  the

Nuclear  Safety  and  Control  Act  and  Nuclear  Liability  Act.

References:  Guidelines  of  GN-DOE  and  Baker Lake SWM

# 8.0 Solid Waste Disposal Facility Maintenance

(“Guidelines for the Preparation of an Operations and Maintenance Manual for Sewage and Solid Waste Disposal Facilities in

the Northwest Territories, Duong and Kent, 1996”)

### 8.1 Inspections and Audits

Regular inspections of the solid waste disposal facility will provide the Foreman, SAO and other personnel with information on the effectiveness of waste segregation, burning, landfilling, signage, and any remedial activities. Inspections are an integral part of the maintenance procedures at the solid waste disposal facility as they identify any concerns and deficiencies, and recognize areas or items which need improvement, correction, repair, and/or replacement.

The Foreman, or trained personnel appointed by the Foreman, should complete weekly inspections of the MSW disposal facility and bulk metal/hazardous waste storage area; monthly or bi-monthly inspections by the Foreman could also be performed. Site Inspection Forms will be used to document the findings of the inspections and ensure basic items requiring weekly inspection and/or maintenance are examined. Site Inspection Forms will also document other relevant information, such as weather conditions, health and safety concerns, and follow-up on any incidents which may have occurred (e.g., accident, fires, flooding, spills, etc.) or deficiencies noted in previous inspections. The following factors will be inspected:

- Site equipment (including heavy equipment, signage, and any storage containers)

- Site infrastructure (including access road, truck pads, drainage systems, fencing, berms, landfill cover and              erosion)

- Waste segregation

- Burn completion and proper burn practices

- Proper landfilling practices

- Health and safety concerns (public and personnel)

- Hazardous waste storage area.

The Site Inspection Forms should be filed at the Hamlet Office and results reported to the SAO monthly. The SAO is required to include inspection results and maintenance activities in the Hamlet’s Annual Report to the NWB. A Solid Waste Disposal Facility Inspection Form has been included in Appendix D.

Following year end, the Hamlet will undertake a review of the past year’s inspection results and follow-ups to determine where improvements to the solid waste disposal facility operations and maintenance are required. These improvements should be documented and the O&M Manual is updated accordingly.

### 8.2 Maintenance Activities

Specific maintenance activities may need to be completed on portions of the solid waste disposal facility. This will help ensure the facility, including the MSW disposal area and bulk metal/hazardous waste storage area, remain in good condition, appropriate practices are followed, and human health, safety, and environmental hazards are minimized. The following maintenance activities may be required periodically:

- Grading (in summer) or clearing snow (in winter) of all access roads and truck pads used for the solid waste              disposal facilities

- Repair of drainage ditches from erosion

- Fence repair

- Repair or replacement of signage

- Litter which has been wind carried to the surrounding area outside the MSW disposal area fence should be             removed and deposited back in the MSW disposal area

- Litter which has accumulated against the fence of the MSW disposal area should be removed and deposited

- back in the MSW disposal area

- Repair of the MSW disposal area landfill cover from erosion or settling.

### 8.3 Fence and Signs

At present, there is fence that prevents the migration of windblown debris out of the MSW disposal area. Hamlet is planning to repair the fence the solid waste facility soon. Maintenance activities should be performed on the fence around the solid waste disposal facility and on signage installed in 2014 within the solid waste disposal facility to ensure they remain in good condition. Signs were installed at the Monitoring stations at GRIS-2 and GRIS-4. Maintenance activities of the fence and signs include:

- Weekly inspection of the fence around the solid waste disposal facility to remove any windblown material              which has accumulated; this can be performed by the Waste Truck Driver(s) and/or the Foreman to    reduce loading on the fence and improve site aesthetics.

- Monthly inspection of the fence around the solid waste disposal facility to ensure the chain-link is in good               condition, fence posts are stable (e.g., no evidence of frost heave), gates are in good working condition, and              snow drifts are removed.

- Monitoring and Sampling

  - Monitoring Requirement

###### Table-6: Monitoring Stations

| Monitoring Station | description | GPS locations |
| --- | --- | --- |
| GRIS-2 | Runoff from the Solid waste disposal Facilities | N76025.500’; W082055.222” |
| GRIS-4 | Final Discharge Point for effluent from the sewage disposal Facility to the point of the wetland | N76025.578’ ; W082055.440’ |

Monitoring programs are carried out to help ensure all systems are functioning correctly as they provide   important  Feedback to the operators, helping them track progress of the system and providing warning or notice when issues  arise. Monitoring programs also ensure any requirements or guidelines for water quantity and/or quality are being met; these requirements are typically provided in the community’s water license. Monitoring programs form an integral part of the O&M process for all facilities and it is important to ensure they are being completed successfully.

The Monitoring Program outlined in the Hamlet’s Water License requires that one station is monitored downstream of the solid waste disposal facility. The solid waste disposal facility monitoring station will provide water quality information to operators and regulators and help assess the leachate quality leaving the solid waste disposal facility and entering the sewage treatment. Leachate quality data will also help assess leachate treatment performance of the sewage treatment wetland and provide an indication of waste segregation success. A description and the location of this station are provided in Table 2.

The leachate at the GRIS-2 sampling station should be sampled monthly when flow is present. All  samples taken from GRIS-2 will be analyzed for:

- Biochemical Oxygen Demand (BOD5)

- Carbonaceous Biochemical Oxygen Demand (cBOD)

- Total Metals (including aluminum, arsenic, cadmium, cobalt, chromium, copper, iron, lead, nickel,

Manganese, mercury and zinc)

- Total Alkalinity

- Total Suspended Solids (TSS)

- Conductivity

- Total Organic Carbon (TOC)

- Fecal Coliforms

- Polycyclic Aromatic Hydrocarbons (PAHs)

- Ammonia Nitrogen

- Nitrate-Nitrite

- Anions and Cations (including calcium, chloride, magnesium, potassium, sodium and sulphate)  • 	Total Hardness

- pH

- Total Phenols

- Oil and Grease (visual)

- Total Petroleum Hydrocarbons (TPHs)

- Benzene, Toluene, Ethyl benzene and Xylene (BTEX)

9.2 Sampling Procedures

As mentioned above, the leachate at station GRIS-2 should be monthly during the periods of observed flow. Water samples will be taken by the Foreman, or other trained personnel appointed by the WSSW Foreman, and sent to Caduceon Lab in Ottawa for analyses. The parameters listed above will be examined in water samples of leachate from the solid waste disposal facility.

Guidelines for the collection of leachate samples from downstream of the solid waste disposal facility are found in Appendix A. The sample collection procedures should be carried out for all sampling within or downstream of the solid waste facilities to ensure the correct sample bottles are obtained, proper sampling procedures are completed, and contamination of the samples is minimized.

9.3 Record Keeping

Records of activities, inspections, and sampling at the solid waste disposal facility should be kept. These records should be stored at the Hamlet office and kept by the Foreman and SAO. These records will assist with the planning of annual operations and maintenance of the solid waste disposal facility, as well as assess how successful facility practices (e.g., waste segregation, HHW storage, etc.) are operating.

st

Every year by March 31 , the Hamlet is required to submit an Annual Report to the NWB. The Annual Report provides the NWB with information pertaining to the results of the Monitoring Program, quantities of solid waste disposed, and summaries of any modifications, major maintenance work, and spills. Therefore, at a minimum, the following records should be kept:

- Number of trips the garbage truck makes per day;

- Quantity (weight) of MSW disposed of per day (tallied for monthly and annual quantities);

- Quantity (weight and/or volume) and types of HHW stored at the bulk metal/hazardous waste storage area;

- Dates any leachate sampling has been completed;

- Results from any leachate sampling;

- Dates and description of any maintenance activities (including inspections) carried out on the disposal

Facilities by Hamlet personnel or other Inspectors;

- Dates and descriptions of any modifications and/or major maintenance work, and abandonment and             restoration work carried out on the disposal facilities, including on associated structures, facilities and              equipment (e.g., old waste oil pit, compactor truck, CAT bulldozer, grader, etc.); and,

- Dates, description and clean-up activities of any spills (fuel, oil, hazardous waste, etc.) related to the MSW              disposal area, or bulk metal/hazardous waste storage area.

10.00   EMERGENCY RESPONSE

Surface Fires

If site personnel discover a surface fire in the solid waste disposal facility, the Hamlet of Grise Fiord Fire Department will be called immediately and informed of the situation.

###### GRISE FIORD FIRE DEPARTMENT: (867) -266-8888

In the event of an uncontrolled fire during routine burning of MSW, the Fire Department will be contacted and should assess the danger of the burn. Depending on the burn severity, the Fire Department may assume control of the MSW disposal area. The MSW disposal area should normally be closed to the public during any controlled open burn of MSW and will remain closed if a burn becomes uncontrolled, until the Fire Department has deemed the site safe. If site personnel discover a small surface fire, fire extinguishers located at the solid waste disposal facility or in site vehicles can be used to manage small fires. Covering a fire with soil by hand or using the CAT D6 bulldozer may also be used. However, site personnel should not attempt to fight a fire if it cannot be done safely.

The cause of any surface fires will be investigated and necessary steps taken to prevent an uncontrolled surface fire from recurring. The fire incident and all response measures should be documented on the weekly Solid Waste Disposal Facility Inspection Form (Appendix D), and reported to the Hamlet Foreman and Hamlet SAO.

Subsurface Fires

If a subsurface fire is suspected within the MSW disposal area, the Grise Fiord Fire Department will be called and informed of the situation. The solid waste disposal facility should be closed to the public whenever a subsurface fire is suspected.

The Fire Department should be called to site to determine if a subsurface fire is present and to assess the danger of the fire. The Fire Department may assume control of the solid waste disposal facility if the subsurface fire is deemed an emergency. Hamlet personnel should not excavate a suspected subsurface as the fire may quickly get worse when exposed to more oxygen, may release toxic or poisonous fumes, or may have caused underground voids causing an unstable surface prone to collapse. The Fire Department should manage the suppression of any subsurface fires.

The cause of any subsurface fires will be investigated and necessary steps taken to prevent a subsurface fire from recurring. The fire incident and all response measures should be documented on the weekly Solid Waste Disposal Facility Inspection Form (Appendix D), and reported to the Hamlet Foreman and Hamlet SAO.

11.0  Spill Contingency Plan  ( A stand alone SCP is also presented):

The intent of this Spill Contingency Plan (SCP) is to provide a guide to operators and other Hamlet personnel in the event of an accidental release of fuel and solid waste facilities in Grise Fiord. The SCP is planned to be protective of the local environment and public and personnel health and safety.  This SCP has been developed for implementation at the solid waste disposal facility in Grise Fiord. At these sites, there may be situations that arise that are beyond the scope of this SCP. In these situations, all activities at the site should stop until a revised procedure or SCP is prepared, reflecting the changing conditions at the site (e.g., operation of a new hazardous waste storage area [if developed] should not continue until this SCP is updated to reflect the new conditions).

All persons involved with operations at the solid waste facilities should read and be familiar with this SCP. To be effective, it is important that all personnel are familiar with their responsibilities and steps to take in the event of a spill. Personnel should not be reading the SCP for the first time during an emergency.

## 11.1 Site Descriptions

The solid waste facilities have been described in the preceding sections of this O&M Manual. The sites are shown in Fig.-2.

## 11.2 Regulations

Under Section 34 of the Environmental Protection Act, the Nunavut Consolidation of Spill Contingency Planning and Reporting Regulations was enabled by the Commissioner in 1998. In the Spill Contingency Planning and Reporting Regulations, a SCP is required to include the following:

- The name and address of the owner or person in charge, management or control of the site(s).

- The name, job title and 24-hour telephone number for the person(s) responsible for activating the              Contingency plan.

- A description of the facility(ies) including location, size, type and amount of contaminants normally stored on             the site(s), and site map(s).

- The steps to be taken to report, contain, clean up and dispose of a contaminant in the case of a spill.

- The means by which the contingency plan is activated.

- An inventory and location of the response and clean-up equipment available to implement the plan.

- A description of the training required and provided to employees who respond to a spill.

- The date the plan was prepared.

###### 11.3 Contacts and Regulatory Authorities

The SAO has overall responsibility of Hamlet solid waste facilities. The Foreman manages the facilities and is responsible for initiating the Spill Contingency Plan. The Foreman should be contacted when a spill occurs at the solid waste facilities. Contact information as follows.

Distribution List

This plan and most recent revisions will be distributed to:

Bhabesh Roy. P.Eng. 	 	 Municipal Planning Engineer, GN- CGS : Ph 8678997314

Marjorie Dobbson             Chief Administrative Officer (CAO); Ph 867 980 9959

Joseph Monteith              Inspector, CIRNAC . Ph 867 975 4289

Richard Dawyer 	             Manager of Licensing, Nunavut Water Board , Ph 867 360 6338

Every time a spill is identified at the solid waste facilities, the Foreman should be contacted as soon as possible. The 24-hour Emergency Spills Report Line should also be contacted in the event any quantity of contaminant is spilled.

###### 24-HOUR EMERGENCY SPILL REPORT LINE: (867) 920-8130

Any person reporting a spill is required to give as much information as possible, however reporting of a spill should not be delayed if all of the necessary information is not known. Additional information can be provided later. From the Consolidation of Spill Contingency Planning and Reporting Regulations (1998), as much of the following information should be reported during the initial spill report:

- Date and time of spill

- Location of spill

- Direction spill is moving

- Name and phone number of a contact person close to the location of the spill

- Type of contaminant spilled and quantity

- Cause of spill

- Whether spill is continuing or has stopped

- Description of existing contaminant

- Action taken to contain, recover, clean up, and dispose of spilled contaminant

- Name, address and phone number of person reporting the spill

- Name of owner or person in charge, management or control of contaminants at the time of the spill.

Other regulatory agencies which have a legislated (vested) interest in the event of a spill are summarized in Table 6-2 below. These authorities do not need to be immediately contacted if a spill occurs, however may be involved in follow-up or additional clean-up activities.

11.4 Potential Contaminants

At the date of this SCP, the Hamlet of Grise Fiord had not completed a waste inventory and exact types and quantities of contaminants are unknown. However the following contaminants are anticipated to be used at the facilities, and may be involved in a spill:

- Gasoline

- Other lubricating oil

- Diesel

- Antifreeze and other coolants

- Hydraulic oil

- Sewage

- Motor oil

- Batteries

At the solid waste facilities, spills may result from any of the following occurrences:

- Leaks or ruptures of fuel storage tanks

- Valve or line failure in systems, vehicles or heavy equipment

- Heat expansion due to overfilling or improper storage

- Improper storage of contaminants

- Vehicular accidents

- Spill during transfer of contaminant

- Vandalism.

11.5 Spill Response Procedures

The following steps outline the general spill response procedures for reporting, containing, cleaning up and disposing of materials in the event of hydrocarbon (e.g., fuel, oil, etc.) and other waste spill, or sewage spill.

11.6 Hydrocarbon Spills

Three procedures for hydrocarbon spills have been developed depending on the media on which the spill has occurred. The following sections outline procedures for hydrocarbon or other waste spills occurring on land (soil, gravel, sand, rock and vegetation), water, or snow/ice.

###### Spills on Land

- Once a spill is identified, all sources of ignition turned off (e.g., no smoking, shut off engines).

- The spilled material (e.g., gasoline, diesel, antifreeze, etc.) should be identified, if possible.

- The affected area should be secured, ensuring the area is safe for entry and does not represent a threat to human

Health and safety of the spill responders. Public access of the area should be restricted.

- If possible, identify where the spill is coming from (the source). Determine if the spill is still occurring (i.e., still      leaking) or if the spill has stopped. If the spill has not stopped, determine if it is safe to stop or control the spill (e.g.

plug hole, close valve, upright container), or contain the spill (e.g., place a container or tarp with built up edges

under the spill source to contain the spill).

- If the spill is too large to be controlled with the spill materials at hand, contact the Foreman and report the spill     immediately.

- If the spill is small enough to be controlled with the materials at hand, prevent spilled contaminants from spreading     or entering waterways by using sorbent (oil-absorbing) materials or a soil dyke down slope from the spill. This is     especially the case with liquid contaminants (e.g., gasoline, diesel). If some contaminant has entered a waterway,     follow procedures in the next section (Spills on Water) to contain and clean-up the contaminant in the water.

- Once the spill has been controlled and further spreading prevented, contact the Foreman and report the spill.

- If possible with spill response materials at hand, clean up the remaining spilled contaminant and store     contaminated materials in a secure container for disposal. Do not flush the affected area with water.

- If possible, remove any contained liquid by pumping into secure drums.

- If needed, assist the Foreman by providing details to complete the Nunavut Spill

Report Form with as much information as possible. This form is included in Appendix B.

- The Foreman will contact the 24-Hour Emergency Spill Report Line (Phone:

(867) 920-8130) to report the spill as soon as possible and obtain additional advice.

- The Foreman will fax the completed Nunavut Spill Report Form to the 24-Hour        Emergency Spill Report Line: Fax: (867) 873-6924.

###### Spills in Water

- Once a spill is identified, all sources of ignition turned off (e.g., no smoking, shut off engines).

- The spilled material (e.g., gasoline, diesel, antifreeze, etc.) should be identified, if possible.

- The affected area should be secured, ensuring the area is safe for entry and does not represent a threat to

Human health and safety of the spill responders. Public access of the area should be restricted.

- If possible, identify where the spill is coming from (the source). Determine if the spill is still occurring (i.e., still

leaking) or if the spillage has stopped. If the spill has not stopped, determine if it is safe to stop or control the

Spill (e.g., plug hole, close valve, upright container).

- If the spill is too large to be controlled with the spill materials at hand, contact the Foreman and report the

Spill immediately).

- If the spill is small enough to be controlled with the materials at hand, use sorbent (oil absorbing) booms to

contain the spill for recovery. Place sorbent sheets on the water within the boomed area to help contain the

Spill. For narrow waterways, place one or more sorbent booms across the waterway, downstream of the spill

location, and anchor the booms on the each bank.

- Once the spill has been controlled and further spreading prevented, contact the Foreman and report the spill.

- If possible with the spill response materials at hand, clean up the remaining spilled contaminant within the             boomed area. Store contaminated materials in a secure container for disposal.

- If needed, assist the Foreman by providing details to complete the Nunavut  Spill Report Form with as much              information as possible. This form is included in Appendix B of this O&M Manual.

10.       The Foreman will contact the 24-Hour Emergency Spill Report Line (Phone: (867) 920-8130) to report the

Spill as soon as possible and obtain additional advice.

- The Foreman will fax the completed Nunavut Spill Report Form to the 24-Hour Emergency Spill Report

Line  (Fax: (867) 873-6924).

###### Spills on Snow/Ice

- Once a spill is identified, all sources of ignition turned off (e.g., no smoking, shut off engines).

- The spilled material (e.g., gasoline, diesel, antifreeze, etc.) should be identified, if possible.

- The affected area should be secured, ensuring the area is safe for entry and does not represent a threat to human

Health and safety of the spill responders. Public access of the area should be restricted.

- If possible, identify where the spill is coming from (the source). Determine if the spill is still occurring (i.e., still      leaking) or if the spillage has stopped. If the spill has not stopped, determine if it is safe to stop or control the spill

(e.g., plug hole, close valve, upright container).

- If the spill is too large to be controlled with the spill materials at hand, contact the Foreman and report the spill

immediately (see Section 6.2.3 above for contact information), particularly since a spill occurring on snow or ice presents the potential for immediate access of contaminants into waterways.

- If the spill is small enough to be controlled with the spill response materials at hand, prevent spilled contaminants     from spreading or entering waterways by using sorbent materials or a snow/soil dyke down slope from the spill.

This is especially the case with liquid contaminants (e.g. gasoline, diesel).

- Once the spill has been controlled and further spreading prevented, the Foreman will provide a report.

- If possible with the spill response materials at hand, clean up the remaining spilled contaminant and store

Contaminated materials in a secure container for disposal. Impacted snow should also be stored in drums for         disposal.

- If needed, assist the Foreman by providing details to complete the Nunavut Spill Report Form with as much        information as possible. This form is included in Appendix -B of this O&M Manual.

- The Foreman will contact the 24-Hour Emergency Spill Report Line (Phone:

(867) 920-8130) to report the spill as soon as possible and obtain additional advice.

- The Foreman will fax the completed Nunavut Spill Report Form to the 24-Hour        Emergency Spill Report Line (Fax: (867) 873-6924).

###### Additional Spill Delineation or Monitoring

In the event of a large spill or a spill in which not all of the spilled contaminant can be readily cleaned up with materials at hand (as described above), delineation of the affected area may be required. This would include subsurface investigation of the area (i.e., digging of test pits, soil sampling, installation of monitoring wells) to determine how large and how deep the contaminant affected the subsurface soil and/or groundwater (horizontal and vertical extent of the spill). The delineation would result in the development of an appropriate remediation plan for the affected area. In this case, a qualified environmental consultant should be retained to provide advice on how to proceed with delineation and remediation of a large spill.

11.7 Spill Kit and Training Requirements

The following sections outline the recommended minimum requirements for contents and number of spill kits that should be present at the water, sewage and solid waste facilities. Personnel training requirements are also provided.

11.8 Spill Kit Contents

Each spill kit should be regularly inspected to ensure it always contains the following, at a minimum.

- 1 – 205 L open top steel drum with lid, bolting ring and gasket (spill kit container)

- 4 – 12.5 cm x 3 m (5 in. X 10 ft.) sorbent booms

- 10 kg bag of sorbent particulate

- 1 roll duct tape

- 1 field notebook and pencil

- 1 pick-axe

- 4 Tyvex® splash suits

- 4 pairs of splash protective goggles

- 10 disposable large 5 mil polyethylene bags (dimensions 65 cm x 100 cm) with ties

- 100 sheets (1 bail) of 50 cm x 50 cm sorbent sheets

- 2 large (5 m x 5 m) plastic tarps

- 1 utility knife

- 1 rake

- 3 spark-proof shovels

- 4 pairs chemical resistant gloves

- Instruction binder, including Spill Contingency Plan

The entire spill kit contents, with the exception of the spark-proof shovels, can be stored within the 205 L steel drum. The drum should be sealed securely to protect the spill kit contents though should always be accessible without the use of tools (i.e., finger tight bolt ring). The drum’s bolt ring should be inspected regularly during facility inspections to ensure it turns freely and is lubricated.

Extra spill response materials should also be available for use, in addition to the spill kit contents. These include:

- 10 – 205 L open top steel drum with lid, bolting ring and gasket

- 2 spark-proof shovels

- 50 disposeable large 5 mil polyethylene bags (dimensions 65 cm x 100 cm)

- 10 – 12.5 cm x 3 m (5 in. X 10 ft.) sorbent booms

- 5 – 10 kg bags of sorbent particulate

- 500 sheets (5 bails) of 50 cm x 50 cm sorbent sheets

- 2 Tyvex ® splash suits

- 2 pairs of chemical resistant gloves

- 2 pairs of splash protective goggles

### 11.9 Spill Kit Locations

At least one spill kit should be clearly marked and present at the solid waste disposal facility (within the facility). One spill kit should also be present within the water distribution facility, located at the pump house.

### 11.10 Required Training

To ensure the SCP is carried out effectively, the following actions should occur:

- The SCP should be reviewed annually to ensure it is still up-to-date for current conditions.

- When required, the SCP should be revised to reflect current conditions.

- The SCP should be distributed to and read by all personnel who work at the Hamlet’s water, sewage and             Solid waste facilities.

- Personnel at these facilities should be familiar with the location of all HHW and other potentially hazardous             materials, and their associated Material Safety Data Sheets (MSDS).

- Personnel at these facilities should be trained to read and use MSDS, and have their WHMIS training, at a             minimum.

- Personnel should receive proper spill response training to learn and understand the techniques and              Materials used to contain, clean up and remediate spills. Trained personnel will be aware of the importance              of first response in reducing the impact of spills with respect to protecting human health and safety, the

Environment and property.

11.11 Off-site Resources

The following resources are available for assistance if needed:

| Territorial 24-Hour Spill Line | (867) 920-8130 |
| --- | --- |
| Aboriginal and Northern Affair Canada (AANDC) | (867) 975 4289 |
| GN – Municipal Planning Engineer | (867) 899-7314 |
| Grise Fiord Health Centre | (867)-980- |
| RCMP (Grise Fiord) | (867)-980- |
| Environment Canada (Emergency) Yellowknife | (867) 669-4725 |

Canadian North Cargo:                                                         1-866-663-2223

###### 12.0 Record Keeping

Records of any spills, spill response activities, follow-up inspections, monitoring, and any additional remedial work must be kept. These records should be stored at the Hamlet office and kept by the Foreman and SAO. These records will assist with the annual review of the SCP, operations and maintenance practices at all facilities, and spill response requirements.

st

Every year by March 31 , the Hamlet is required to submit an Annual Report to the NWB. The Hamlet is required to provide a list of all spills and a summary of follow-up action taken for each spill. Therefore, at a minimum, the following records should be kept:

- Reports of all spills and spill reports submitted to the 24-Hour Emergency Spill Report Line;

- Types and quantities of spill contaminants;

- All spill follow-up activities;

- Inspections of spill kit contents and replacement records for any items; and,

- Records of spill response training for all Hamlet spill responder personnel.

References:

- Operation and Maintenance Manual for Water, Sewage and Solid waste Facilities of Baker Lake Nunavut prepared by Stantec, 2011

- “Guidelines for the Preparation of an Operations and Maintenance Manual for Sewage and   Solid Waste Disposal Facilities in the Northwest Territories, Duong and Kent, 1996”

Appendices:

Appendix-A:  Guidelines for sampling program

Appendix-B:  Spill Reporting Form for Grise Fiord

Appendix-C:  Monthly Municipal Solid Waste Quantity Form

Appendix-D:  Monthly Solid waste Disposal Facility Inspection Form

APPENDIX-A

GUIDELINES FOR WATER, WASTEWATER AND LEACHATE SAMPLING AND TESTING

Guide Lines for Water, Wastewater and Leachate Sampling

Baffin Communities

Drinking water:

Monthly Sampling: (Bacteria analysis)

- Collect five samples (200 ml each) from five different locations and send to Iqaluit Health Lab though your local health center. One of the five samples should be raw water sample.             Once in a month if population is less than 1000.

Twice in a month if population is in between 1000 to 2000

For Grise Fiord normal situation, once in a month until and unless  otherwise directed differently by CMO.

Monthly and Annual Sampling: (Both Bacteria and Chemical Analysis)

- Send samples to Caduecon Lab in Ottawa, Ontario:

Caduceon Environmental Lab

Gord Murphy, Lab Supervisor

2378 Holly Lane

Ottawa, ON, K1V 7V1

Ph-613-526-0123

Fax-613-526-1244

Precautions of Sampling:

- Be careful not to let the mouth of the bottle or lid touch anything including sampler’s fingers.

- Do not overfill the bottle or rinse out

- Fill the bottle to the 200ml line from water tap, valve or water truck delivery hose nozzle. When sampling from a water tap, remove screen, aerator or other attachment from tap and allow the cold water to run for 2-3 minutes before collecting. Do not dip into the filled water truck tank to take a sample.

- Ensure each bottle label information is filled for:

  - Date and time sample was taken

  - Sample point location

  - Sampler’s name

- Persons’ name and contact address where to send sample Test results and invoice.

- Samples must arrive at the Labs either Iqaluit or Ottawa within 24 hrs. from the time of sampling.

Wastewater:

- Collect five treated samples from the first point of discharge of Sewage (end of pipe).

- Collect Five raw samples directly from the truck discharge

Leachate:

1. Collect five leachate samples from the land fill site

Sample bottles specifications for Wastewater and leachate:

Five samples should be taken from a point in five different bottles: Bottle 1:  500 ml

Bottle 2:  100 ml

Bottle3:  1000 ml

Bottle 4:  250 ml

All the wastewater and Leachate samples will be sent to Winnipeg ALS Lab.

Precautions of sampling:

- Use hand gloves

- Ensure each bottle level information is filled:

  - -Date and time sample taken

  - -Location with GPS coordinates

  - -Sampler’s name

- Person’s name and contact information where to send sample Test Results and invoice.

- Samples must be arrived Winnipeg Lab within 24 hours from the time of sampling.

APPENAIX-B

SPILL REPORTING FORM

| A | REPORT DATE: MONTH – DAY – YEAR |  |  | REPORT TIME |  |  | ORIGINAL SPILL REPORT, OR UPDATE # TO THE ORIGINAL SPILL REPORT |  |  |  |  | REPORT NUMBER - |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B | OCCURRENCE DATE: MONTH – DAY – YEAR |  |  | OCCURRENCE TIME |  |  |  |  |  |  |  |  |  |
| C | LAND USE PERMIT NUMBER (IF APPLICABLE) |  |  |  |  | WATER LICENCE NUMBER (IF APPLICABLE) |  |  |  |  |  |  |  |
| D | GEOGRAPHIC PLACE NAME OR DISTANCE AND DIRECTION FROM THE NAMED LOCATION |  |  |  |  |  |  |  | REGION NWT NUNAVUT ADJACENT JURISDICTION OR |  |  |  |  |
| E | LATITUDE DEGREES MINUTES SECONDS |  |  |  |  | LONGITUDE DEGREES MINUTES SECONDS |  |  |  |  |  |  |  |
| F | RESPONSIBLE PARTY OR VESSEL NAME |  | RESPONSIBLE PARTY ADDRESS OR OFFICE LOCATION |  |  |  |  |  |  |  |  |  |  |
| G | ANY CONTRACTOR INVOLVED |  | CONTRACTOR ADDRESS OR OFFICE LOCATION |  |  |  |  |  |  |  |  |  |  |
| H | PRODUCT SPILLED |  | QUANTITY IN LITRES, KILOGRAMS OR CUBIC METRES |  |  |  |  |  |  |  | U.N. NUMBER |  |  |
|  | SECOND PRODUCT SPILL ED (IF APPLICABLE) |  | QUANTITY IN LITRES, KILOGRAMS OR CUBIC METRES |  |  |  |  |  |  |  | U.N. NUMBER |  |  |
| I | SPILL SOURCE |  | SPILL CAUSE |  |  |  |  |  |  | AREA OF CONTAMINATION IN SQUARE METRES |  |  |  |
| J | FACTORS AFFECTING SP ILL OR RECOVERY |  | DESCRIBE ANY ASSISTANCE REQUIRED |  |  |  |  |  |  | HAZARDS TO PERSONS, PROPERTY OR ENVIRONMENT |  |  |  |
| K | ADDITIONAL INFORMATION, COMMENTS, ACTIONS PROPOSED OR TAKEN TO CONTAIN, RECOVER OR DISPOSE OF SPILLED PRODUCT AND CONTAMINATED MATERIALS 44 |  |  |  |  |  |  |  |  |  |  |  |  |
| L | REPORTED TO SPILL LINE BY | POSITION |  |  | EMPLOYER |  |  | LOCATION CALLING FROM |  |  |  |  | TELEPHONE |
| M | ANY ALTERNATE CONTACT | POSITION |  |  | EMPLOYER |  |  | ALTERNATE CONTACT LOCATION |  |  |  |  | ALTERNATE TELEPHONE |

APPENDIX-C

MONTHLY MUNICIPAL SOLIDWASTE QUANTITY FORM

Hamlet of Grise Fiord

###### Monthly Municipal Solid Waste Quantity Form

Date:                         Month:                                     Year:

| Date | Monthly Loads by Hamlet | Estimated Quantity for Hamlet (m3) | Estimated quantity by others (m3) | Total (m3) | Activities completed | Staffs initial |
| --- | --- | --- | --- | --- | --- | --- |

APPENDIX-D

MONTHLY SOLIDWASTE DISPOSAL FACILITY INSPECTION FORM

Hamlet of Grise Fiord

###### Monthly Municipal Solid Waste Disposal Facility Inspection Form

Date:                                                 Inspector:                                   Air Temperature:

| Issues | Yes | No | Description | Action taken | Refer to: Yes | Refer to: NO |
| --- | --- | --- | --- | --- | --- | --- |
| Health and safety |  |  |  |  |  |  |
| Access Road |  |  |  |  |  |  |
| Signs |  |  |  |  |  |  |
| Litter |  |  |  |  |  |  |
| Fence |  |  |  |  |  |  |
| Waste Segregation |  |  |  |  |  |  |
| Burning |  |  |  |  |  |  |
| Wildelife |  |  |  |  |  |  |
| Odour |  |  |  |  |  |  |
| Equipment |  |  |  |  |  |  |