
ANNUAL REPORT 






FOR THE HAMLET OF HALL BEACH-2014


YEAR BEING REPORTED:  2014


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # NWB 3-HAL 0810 issued to the Hamlet of Hall Beach.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2014
	2,645,433.90
	Same

	February 2014
	2,747,644.70
	Same

	March 2014
	3,035,743.10
	Same

	April 2014
	2,724,251.00
	Same

	May 2014
	2,783,343.60
	Same

	June 2014
	2,592,878.00
	Same

	July 2014
	3,074,700.10
	Same

	August 2014
	3,118,097.20
	Same

	September 2014
	3,084,543.90
	Same

	October 2014
	3,064,621.50
	Same

	November 2014
	2,904,202.00
	Same

	December 2014
	2,806,413.00
	Same

	ANNUAL TOTAL
	34,581,872.00
	34,581,872.00


             Note: The consumption volume is considered equal to the discharge volume 
              because there is no meter at the discharge pipe.
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The waste management facility was partially fenced. No modifications and /or major maintenance work was carried out on water truck fill station or sewage lagoon. The design for rehabilitation of the sewage lagoon, cell -1 is 75% complete. The consultant exp Services Inc. will be producing final design document very soon.  

v. a list of unauthorized discharges and summary of follow-up action taken;    


The wastewater is being treated by two cells Lagoon system. Both cells are working on natural exfiltration process. The effluent is absorbed in the natural ground prior to discharge to the sea.
Spills: 2014177, 2014-05-26; Hall Beach Fox-M, NWS site, Jet -A-1, 20L.
2014216; 2014-06-16; Hall Beach, Premium plus 5W30.


vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work was completed during the reporting period.

The existing land fill site will be abandoned and restored once the new facility is built and commissioned.           _____________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  Waste management is the major concern. Segregation of hazardous wastes especially 

                  separation and stockpiling of batteries are the priority for each community.               

           ________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and



Leaking from Sewage Cell -1 is the concern of AANDC and Hamlet was asked to fix this problem as soon as possible.
           _________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


Hamlet has been using the existing O&M manual for water supply system.  The O&M manuals for sewage lagoon and waste management facilities were developed and submitted to NWB.
            _________________________________________________________________

     x.            ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                      The Hamlet has been using Caduecon Lab in Ottawa for testing water, wastewater and 
                    leachate samples. They are following CGS extended sampling program in order to keep their 
                    licence in compliancy. All the conditions under non-compliancy were satisfied 

       xi.             FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                     Hamlet is working very closely with water licence compliance group (WLCG) and 

                   receiving direction to move forward to satisfy all the requirements of their licence.
            ________________________________________________________________________     
                 The Lab Test results of 2014 are submitted in a separate document.
Page 3 of 3

