## Slide 1: Hall Beach Sewage Lagoon (Existing)
SEA
(1)Truck Discharge Raw Sewage
(N 68048.266’; W 81015.816’)
(2) Truck Discharge Raw Sewage
(N 68048.304’; W 81050.883’)
(3) End of Lagoon pipe
(5) Monitoring Point
Lined Collector drain
Wetland Flow Direction
Access Road
Containment Berm
Exfiltration Berm
Uniform exfiltration
(6) Monitoring Point
(4) Monitoring Point
N 68048.398’
W 81015.770’
Monitoring Point
N 68049.022’
W 81015.840’
N 68048.673’
W 81015.706’
Community
N
Detention Ponds
Flow of exfiltrated water
EASTERN BERM
+/-2km
Note: All berms were constructed with course material (gravel)
A
A
Capacity:
15,295 cubic meters
Capacity:
15,462 cubic meters
Collapsed area

## Slide 2: Details of Cross Section A-A (Existing)
EL=100.10m
EL=99.10m
EL=100.10m
EL=97.80m
EL=96.80m
EL=96.30
1.0m
0.50m
Exfiltration berms
N
Cell-1
Cell-2
Community
Containment (non- exfiltration )
Exfiltration
Section A-A
drain