
ANNUAL REPORT 






FOR THE HAMLET OF KIMMIRUT


YEAR BEING REPORTED:  2011                 


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-KIM0911 issued to the Hamlet of Kimmirut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2011
	1,506,911
	Same

	February 2011
	1,511,993
	Same

	March 2011
	1,590,293
	Same

	April 2011
	1,461,272
	Same

	May 2011
	1,508,507
	Same

	June 2011
	1,514,822
	Same

	July 2011
	1,559,740
	Same

	August 2011
	1,509,291
	Same

	September 2011
	1,498,352
	Same

	October 2011
	1,558,956
	Same

	November 2011
	1,551,314
	Same

	December 2011
	1,537,636
	Same

	ANNUAL TOTAL
	18,309,087
	Same


             Note: The average consumption volume is considered equal for each month.
             There is no meter existing at the discharge pipe. Therefore the monthly discharge 
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The construction of the new Sewage Lagoon was completed. This facility is ready to use. Solid waste project is on hold.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Nil. Once new sewage lagoon is commissioned, the existing sewage dumping place
will be abandoned and restored. The existing landfill site will be considered under the same principle.

           ________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste was completed recently. Waiting for the direction from 
                  CGS Capital Planning.        
           ___________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Current Sewage treatment process and waste management are the concerns of the 
                  Nunavut Water Board. 
           ______________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


                 O&M manual will be prepared for the future waste management site once built. The 

                 O&M for the new Sewage Lagoon will be delivered to NWB at the end of 

                  February, 2012.
            _______________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     A new Engineered Landfill site will be built and licensed along with the new sewage  

                Lagoon and the existing water supply system.

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working with CGS for INAC inspection concerns and Water License
               Compliancy.

Page 1 of 3

