
ANNUAL REPORT 






FOR THE HAMLET OF KIMMIRUT


YEAR BEING REPORTED:  2012


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-KIM0911 issued to the Hamlet of Kimmirut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2012
	1,541,820
	Same

	February 2012
	1,450,912
	Same

	March 2012
	1,513,824
	Same

	April 2012
	1,479,668
	Same

	May 2012
	1,516,341
	Same

	June 2012
	1,468,035
	Same

	July 2012
	1,569,010
	Same

	August 2012
	1,571,926
	Same

	September 2012
	1,433,425
	Same

	October 2012
	1,643,878
	Same

	November 2012
	1,584,187
	Same

	December 2012
	1,461,619
	Same

	ANNUAL TOTAL
	18,234,645
	18,234,645


             Note: The average consumption volume is considered equal to the discharge

               volume for each month because there is no meter at the discharge pipe.
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The construction of the new Sewage Lagoon was completed. This facility is ready to use. Solid waste project was initiated but not materialized yet. Waiting for funding to start the project.

v. a list of unauthorized discharges and summary of follow-up action taken;    


The Community is planning using the new sewage lagoon. Once commissioned, they will stop discharging sewage at the current location.  

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Nil. Once new sewage lagoon is commissioned, the existing sewage dumping place
will be abandoned and restored. Once the new solid waste site is built and commissioned, the existing landfill site will also be abandoned and restored.
           ________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste management was completed recently by the Consultant

                  named Arktis Solutions Inc. New guidelines have been developed. Funding is not 

                  available to start designing the new facility.        
           ___________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Current Sewage treatment process and waste management are the concerns of the 
                  Nunavut Water Board. 
           ______________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


                 O&M manual will be prepared for the future waste management site once built. The 

                 O&M for the new Sewage Lagoon was delivered to NWB.
            _______________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     A new Engineered Landfill site will be built and licensed along with the new sewage  

                Lagoon and the existing water supply system to satisfy the requirements of the hamlet 

               water License.

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working with CGS for AANDC inspection concerns and Water License
               Compliancy. Hamlet has started extended sampling program for water, wastewater and 
               leachate coming from the Land fill site.
               An Engineering Consulting firm named exp services Inc. is working on water license 

               Compliancy.

                Hamlet has started extended sampling and testing program of water, wastewater and 

               leachate coming out from the land fill site.

              Hamlet has initiated testing program with the Ottawa Lab.
                  
[image: image1.emf]Hamlet Of  Kimmirut_Bottle Req Nov 2212.pdf


Page 1 of 3

_1420442123.pdf





















