                                                ANNUAL REPORT 






FOR THE MUNICIPALITY OF KIMMIRUT, 2020


YEAR BEING REPORTED:  2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-KIM0911 issued to the Hamlet of Kimmirut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	1,446.017.84
	Same

	February 
	1,467,248.42
	Same

	March 
	1,468,246.48
	Same

	April 
	1,501,197.60
	Same

	May 
	1,578,254.36
	Same

	June
	1,529,090.90
	Same

	July 
	1,599,673.20
	Same

	August 
	1,584,604.89
	Same

	September 
	1,667,763.00
	Same

	October 
	1,502.677.60
	Same

	November 
	1,607,771.53
	Same

	December 
	1,533,133.14
	Same

	ANNUAL TOTAL
	18,485,679.02
	18,485,679.02


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



No modification and /or maintenance work was carried out during this reporting period.
                  However, minor maintenance works were needed to WTFS to keep the plant running 

                   smoothly.

           _______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


Historically, Hamlet has been dumping raw sewage at the top of a hill and the effluent running down toward the sea. Hardly any treatment takes place prior to reaching the receiving body. The Leachate is also uncontrolled.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


 No abandonment and restoration work were conducted during this reporting year and are not anticipated in the coming year or two.

            ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                 The water Treatment plant is one of the 9 SWTP program. The design is advancing 

                  very well. The location of the Sewage Lagoon is finalized. The Consultant is 

                  working on the future risk analysis of this facility.
           _________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


The existing dump site is a big concern. Hazardous wastes segregation is an issue. 

The feasibility study of the new site is underway. Hamlet is also planning to identify a secondary water source. They have started chemical analysis of the raw water from this source.

           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

 Hamlet is using the existing O&M manuals to operate the water Licensed facilities.
They will be using these until a new facility built and commission. The New facility will have its own Manual.

           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     Hamlet has three different consultants at present. One consultant is working on water 

                  supply, the second consultant is working on the New Sewage Lagoon and the third 

                  consultant is working on the new solid waste Facility. The design of none of these 

                  projects is completed. These projects are anticipated to be built in next 2 to 3 years. 

                  The existing water licence will be amended once the designs are ready.


    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                   The Hamlet has an active water licence. They are following the instructions of GN 

                Technical staff and CIRNAC inspector.
               They submit the Hamlet’s Annual report on time.


             The Test Lab Results for 2020 are submitted in a separate document.
Page 1 of 1

