
ANNUAL REPORT 







YEAR BEING REPORTED:   2011                


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence 3BM-REP0409 issued to the Repulse Bay.
.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 
	2,675,444
	Same

	February 
	2,391,874.20
	Same

	March 
	2,737,360.40
	Same

	April 
	2,624,367.30
	Same

	May 
	2,565,297
	Same

	June
	2,391,023.40
	Same

	July 
	2,756,544.90
	Same

	August 
	3,009,688
	Same

	September 
	2,949,487.70
	Same

	October 
	3,003,398.70
	Same

	November 
	2,899,641.30
	Same

	December 
	2,747,159
	Same

	ANNUAL TOTAL
	32,751,285.90
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

                  There is work being completed to upgrade to the operation of the landfill and                         water plant working on reacquiring water licence  


v. a list of unauthorized discharges and summary of follow-up action taken;    


N/A

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 



Plan to improve landfill operations
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                     None
             _______________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

                     N/A

updates or revisions to the approved Operation and Maintenance Plans.


                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:



Page 1 of 3

