
ANNUAL REPORT 






FOR THE HAMLET OF PANGNIRTUNG


YEAR BEING REPORTED:  2011                 


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3 BM-PAN 0810  issued to the Hamlet of Pangnirtung.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2011
	4,181,400
	Same

	February 2011
	3,697,449

	Same

	March 2011
	4,360,157

	Same

	April 2011
	3,875,120
	Same

	May 2011
	4,180,159
	Same

	June 2011
	4,113,898


	Same

	July 2011
	4,306,055
	Same

	August 2011
	4,381,674
	Same

	September 2011
	4,151,811
	Same

	October 2011
	4,284,142

	Same

	November 2011
	3,999,966
	Same

	December 2011
	4,219,877
	Same

	ANNUAL TOTAL
	49,751,708
	Same


             Note: The average consumption volume is considered equal for each month.
             There is no meter existing at the discharge pipe. Therefore the monthly discharge 
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The water supply system, sewage treatment plant and solid waste management facility are in design stage. Prior to construction, these design documents must be approved by NWB.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


The existing landfill site will be abandoned and restored once the new waste management facility is built and commissioned.
              ___________________________________________________________________    
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on Nunavut wide solid waste management was completed recently. 
                  Waiting for the direction from CGS Capital Planning. The study and design works of 
                  the water supply system, wastewater treatment plant and the waste management 
                  facility are in progress.  
           _____________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and






The existing waste management (land fill) site is the concern of the NWB. 
           _________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.




The new and updated O&M manuals for water supply system, wastewater treatment 
                   plant and waste management facility will be submitted to NWB.
            _______________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:



The unauthorised disposal site must be abandoned and restored.

                     FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                    Hamlet is working with CGS for INAC inspection concerns and Water License 
                 compliancy.

Page 1 of 3

