
ANNUAL REPORT 







YEAR BEING REPORTED:   2011                


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence 3BM-PEL0712 issued to the Hamlet of Kugaaruk.
.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 
	2,282,419.40
	Same

	February 
	2,129,376.97
	Same

	March 
	2,395,393.70
	Same

	April 
	2,274,044.80
	Same

	May 
	2,337,631.00
	Same

	June
	2,099,613.70
	Same

	July 
	2,332,954.50
	Same

	August 
	2,561,851.20
	Same

	September 
	2,398,588.70
	Same

	October 
	2,274,746.00
	Same

	November 
	2,384,512.40
	Same

	December 
	2,116,395.30
	Same

	ANNUAL TOTAL
	27,587,527.67
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;      


- Addition of new intake pump house and generator set. Also 3-phase power line will be added.  

- Original Water intake facility and Treatment System on hold, alternative on land reservoir is in consideration with new intake system.


- New sewage disposal Lagoon is in use. Metals and solid waste sites remediation completed.     

             - 188 barrels of contaminated liquid removed from site as reported by the Inspector on July 14, 2011(Waste oil Storage)
v. a list of unauthorized discharges and summary of follow-up action taken;    


Metal waste discharge was cleared (as reported) and dumping location indicated.

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 



 Old lagoon abandoned and shut down. Facility for decant effluent reserved.  
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

CGS initiated for salt water tests and sampling of supply water with new emergency supply. Review indicated salt intrusion problem happened once in a 20 years before. 
           _______________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

No request from water Board, but responding hamlet’s request, emergency supply of 
water been taken in place.


   ix
 updates or revisions to the approved Operation and Maintenance Plans.




Not applicable.
                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

New Water Treatment System will be useful in illuminating salt intrusion issue as well as turbidity issue. Contaminated barrels been removed from site and over dumping of solid waste been resolved. New Signage will be in place of new pump station with new power line for pump hose and intake system. All these are part of contract for new System and also for emergency system.     

          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:



Page 1 of 3

