YEAR BEING REPORTED:  2018

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM- ARC0810  issued to the Hamlet of Arctic Bay.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January | 1,956,594.70 | Same |
| February | 1,514,952.60 | Same |
| March | 1,898,868.50 | Same |
| April | 1,711,644.20 | Same |
| May | 1,876,223.41 | Same |
| June | 1,736,349.60 | Same |
| July | 1,813,190.88 | Same |
| August | 2,383,145.80 | Same |
| September | 2,166,598.50 | Same |
| October | 2,469.832.00 | Same |
| November | 2,369,719.40 | Same |
| December | 2,259,688.60 | Same |
| ANNUAL TOTAL | 24,156,808.19 | 24,156,808.19 |

Note: The water consumption volume is considered equal to the discharge volume

because there is no meter at the end of the discharge pipe.

- A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

During the year, no modification and /or major maintenance works were carried out on any Water Licensed facilities.

___________________________________________________________________

- A list of unauthorized discharges and summary of follow-up action taken;

Hamlet has been conducting wastewater effluent and leachate sampling and testing in the Ottawa accredited Lab CADUCEON following the condition and criteria as established in the Community Water Licence.

- A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

No abandonment and restoration work was conducted during this reporting year.

The existing solid waste sites will be decommissioned and abandoned once the new facility is built and commissioned. The design of the new waste management project is anticipated to start as soon as the capital dollars are available in next 2/3 years.

________________________________________________________________

- A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

Segregation of wastes and management of the Hazardous wastes are the major concern and priority of the Municipality of Arctic Bay to comply with the conditions and criteria of the Water licence

__________________________________________________________________

- Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

The existing waste management site is a big concern. Right now Hamlet is segregating wastes in proper manner. Batteries are being stocked in the sea scan for the future disposal to the South. Domestic wastes are burned, covered the ash with crushed run and compacted.

______________________________________________________________________

- Updates or revisions to the approved Operation and Maintenance Plans.

- ________________________________________________________________

No update or revision to the O&M manuals was required during this reporting period since no new infrastructure was built and no modification to any environmental facility was done.

______________________________________________________________________

x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Hamlet has started extended sampling and testing program. They are working more

closely with GN-CGS technical staffs in order to maintain the Environmental facilities

more productively. Hamlet has already initiated the renewal process of their existing

WL Licence with the Nunavut Planning Commission (NPC).

xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

Hamlet has improved the waste management strategy by segregating the wastes and

stocked batteries in the Sea can for future disposal to the South. Annual reporting is on

timely manner. The Hamlet has currently an active water licence until August 28, 2019.

The Lab Test Results for 2018 are submitted in a separate document.