ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT


YEAR BEING REPORTED: 2019


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3BM-PON1520 issued to the Hamlet of Pond Inlet, Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January
	4,00,927.00
	Same

	February
	3,508,433.80
	Same

	March
	3,891,700.60
	Same

	April
	3,863,712.20
	Same

	May
	3,999,387.90
	Same

	June
	3,800,014.10
	Same

	July
	3,920,621.60
	Same

	August
	3,841,518.20
	Same

	September
	3,529,386.00
	Same

	October
	4,872,110.10
	Same

	November
	4,195,145.10
	Same

	December
	4,204,487.10
	Same

	Annual Total
	47,621,4444.30
	Same


Note: The average consumption volume is considered equal to the discharge 
volume in each month because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



                  No modification and /or major maintenance work was carried out to any of the licensed 

                   facilities. However, design works are in progress to repair the Water Intake pipe of the 

                   existing Water Treatment plant.
            ______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


Leachate is an uncontrolled discharge took place during this reporting period.  The new facility will be designed in the way to control leachate.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


 No abandonment and restoration work were conducted during this reporting year and no plan in the next year. 
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                 Waste segregation and better hazardous wastes management are the main concerns. 
                  The waste site is expected to be considered under the capital program very soon. The 

                  new water treatment plant is under feasibility study stage. From this stage, design 

                  works will be started. 
                  Dalhouise University has recently started a Research Study on the Water Quality of 

                  Pond Inlet under different climatic conditions.  
viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


The existing wastes site is the concerns of the Nunavut Water Board. Hamlet is Planning different possibilities for segregation of wastes, stockpiling, packaging and shipping to the South. Nothing is finalized yet. However, they have initiated this process.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

No revision is required right now because the facilities remain unchanged.  The new manual will be prepared on case to case basis as the new facility is built and commissioned.
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                    Hamlet is following GN ‘s technical staffs and CIRNAC inspector’s advice to 

                 operate the water licensed facilities. They have started segregating of wastes. They are 

                 monitoring water , wastewater effluent and leachate by testing samples in the 

                 accredited  lab Caduecon lab in Ottawa.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet has currently an active water licence which will be expired on June 29,2020. 
               They are working closely with GN Technical staffs to keep the water licensed facilities 
                into Compliancy. GN Regional Municipal Engineer has already initiated this Type B 

               Water Licence renewal process on behalf of the Municipality. The renewal has been 

                requested for 5 yrs. Term and will be end on June 29,2025.

                       The Test Lab results for 2019 are attached as follows:

