Environmental Protection Operations Directorate

Prairie & Northern Region

5019 52

nd

Street, 4

th

Floor

ECCC File:

6200 000 00

3

/00

4

P.O. Box 2310

N

W

B File:

3

BM

-

PON1520

Yellowknife, NT X1A 2P7

May 1

, 20

20

via email at:

licensing@nwb

-

oen.ca

Richard Dwyer

Manager Licensing

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU X0B 1J0

Dear

Richard Dwyer

:

RE:

3

BM

-

PON1520

–

Hamlet

of Pond Inlet

–

Type

B Water Licence Renewal

Environment

Climate Change Canada

responses to Community and Government Services Responses.

Environment and Climate Change Canada (ECCC) has reviewed the

responses from Nunavut

Community and Government Service

s (the proponent)

to the Nunavut

Water Bo

ard (N

W

B)

regarding the

ECCC’s April 14, 2020 comments and recommendations

.

This letter contains

our

responses to CGS respon

s

es

.

ECCC’s specialist

advice

is

based on our mandate

pursuant to the

Canadian

Environmental

Protection Act

and

the pollution prevention provisions of the

Fisheries Act

.

ECCC has the following

responses

:

1.

Leachate from the Solid Waste Facility

Reference(s)



Municipality of

Pond Inlet

Plan for Compliance

Licence No. 3BM

-

PON

1520



Annual Report

for the Hamlet of

Pond Inlet, Nunavut

2019

Proponents Response

The existing Landfill is a non engineered facility and the leachate is uncontrolled. The

leachate will be tested 3 to 4 times in summer as long as the flow is seen and sampling

station will be established with GPS coordinates. The leachate flows into the nearby natural

ditch and highly diluted there prior to meeting the receiving body.

However, the new facility is anticipated to be built to control the leachate and treated insid

e

the facility before discharging to the land. This facility is under planning stage at this moment

and expected to be built in next 3 to 4 years.

ECCC Response

The Proponents notes that they are testing the leachate when it is observed. However, the proponent is not capturing and managing the leachate, and the leachate is being allowed to run into a natural ditch.

ECCC recommends that given that the new landfill is several years away from being developed, and given that leachate will continue to be generated until full closure is completed, the Proponent should develop a plan for interim management of leachate.

Ans. Agreed. It requires consultation with Council, Capital Planning and Consultants.

We need to wait until COVID -19 Pandemic situation is back to normal. We will prepare a business plan to Submit to NWB within four months from the date of  Nunavut Travel ban is withdrawn and COVID 19 Pandemic situation is back to normal. This item could be a condition of the new Water Licence.

- Monitoring Results

Reference(s)

 	Hamlet of Pond Inlet 2019 Monitoring Results.

Proponents Response

Hamlet will be using a GPS set to establish the monitoring station with Coordinates and name the monitoring station which correspond to the sampling and testing results. The Hamlet foreman has been trained to follow the conditions of the Monitoring Program of the Hamlet water licence.

I am currently working from Ottawa home and have no access to my office computer. Therefore, the updated QA/QC Plan will be made available soon after COVID 19 Pandemic situation is back to normal and travel restriction is withdrawn.

ECCC Response

The response provided by the proponent does not address ECCC’s initial recommendations. The proponent did not respond to the request to provide a figure depicting general site layout and sampling locations. Additionally, the proponent mentions that they will provide the QA/QC plan; however, ECCC is requesting the Quality Assurance/Quality Control (QA/QC) results from the sampling, not the plan.

Ans. A general site Plan showing all the Monitoring stations with the GPS coordinates will be made available within four months from the date of  Nunavut ravel restriction is withdrawn and

COVID 19 Pandemic situation is back to normal. To develop this, a field visit is required. I am still working from Ottawa home . This item could be a condition of the new Licence.  However a

Draft sketch is attached.

.

- Effluent Quality

Reference(s)

 	Municipality of Pond Inlet Plan for Compliance Licence No. 3BM-PON1520

Proponents Response

This Lagoon was built and commissioned in around 2004/5 and very close to its life expectancy. The future facility will address this requirement and definitely satisfy the new regulations of the Northern Wastewater Regulations.

Also, Hamlet has been advised to be very careful for sampling, preservation of samples and shipping the samples to the Ottawa Lab for testing to have better results.

ECCC Response

ECCC recommends that the proponent provide details on the timeline and plans for replacement, given that the lagoon is nearing the end of its lifespan.

Ans. This is a Capital Planning process and needs to consult with Council and Capital planning team for the necessary funding. However, a business plan will be available within four months from the date of COVID -19 Pandemic situation is back to normal and Nunavut Health emergency is over. This item could a condition of the new Water Licence.

- Updates to Plan for Compliance

Reference(s)

 	Municipality of Pond Inlet Plan for Compliance Licence No. 3BM-PON1520

Proponents Response

The Updated Plan for Compliance is attached

ECCC Response

The plan provided does not appear to be updated.  Also, the plan still provides references to results from 2013 and planned activities for 2014. For example:

  - D-3: “in compliance. 2013 test results are attached.”

  - D-8: “will be attempted in 2014 summer to sample and test”

The plan for compliance should be reviewed in its entirety by the proponent, and be updated to include information relevant to the 2020 renewal process.

Ans. The Plan of Compliance has been updated on May 07, 2020 and the new version is attached.

If you need more information, please contact Eva Walker at (867) 669-4744 or Eva.Walker@Canada.ca.

Sincerely,

[Original signed by]

Eva Walker

Environmental Assessment Coordinator

Attachment(s):

cc: 	John Olyslager, Acting Head, Environmental Assessment North (NT and NU)