## B18-15164
Certificate of Analysis | [6 empty] | REPORT No. B18-15164
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-05-31 14:55 |  |  |  | JOB/PROJECT NO.: | Drinking Water
DATE REPORTED: | 2018-06-12 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Water Truck
|  |  | Sample ID: |  | B18-15164-1
|  |  | Date Collected: |  | 29-May-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-06-07 | 54
Turbidity | NTU | 0.1 | SM 2130 | 01-Jun-18/O | 6.6
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 05-Jun-18/O | 4.9
Chloride | mg/L | 0.5 | SM4110C | 31-May-18/O | 10.6
Fluoride | mg/L | 0.1 | SM4110C | 31-May-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 31-May-18/O | 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 31-May-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 31-May-18/O | 6
Phenolics | mg/L | 0.001 | MOEE 3179 | 06-Jun-18/O | 0.088
Arsenic | mg/L | 0.0001 | EPA 200.8 | 01-Jun-18/O | 0.0001
Barium | mg/L | 0.001 | SM 3120 | 04-Jun-18/O | 0.018
Cadmium | mg/L | 1.5e-05 | EPA 200.8 | 01-Jun-18/O | 2.3e-05
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 01-Jun-18/O | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 04-Jun-18/O | 0.005
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 05-Jun-18/K | < 0.005
Iron | mg/L | 0.005 | SM 3120 | 04-Jun-18/O | 0.329
Lead | mg/L | 2e-05 | EPA 200.8 | 01-Jun-18/O | 0.00043
Manganese | mg/L | 0.001 | SM 3120 | 04-Jun-18/O | 0.015
Selenium | mg/L | 0.001 | EPA 200.8 | 01-Jun-18/O | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 01-Jun-18/O | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 04-Jun-18/O | 0.02
Total Coliform | cfu/100mL | 1 | MOE E3407 | 31-May-18/O | 0
E coli | cfu/100mL | 1 | MOE E3407 | 31-May-18/O | 0
Surfactants Content | mg/L | 0.05 | SM-5540-C | 05-Jun-18/O | < 0.05

## B18-18495
Certificate of Analysis | [7 empty] | REPORT No. B18-18495
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-06-27 10:52 |  |  |  | JOB/PROJECT NO.: |  | Raw Drinking Water
DATE REPORTED: | 2018-07-23 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Salmon Creek | Day Care | Water Truck
|  |  | Sample ID: |  | B18-18495-1 | B18-18495-2 | B18-18495-3
|  |  | Date Collected: |  | 25-Jun-18 | 25-Jun-18 | 25-Jun-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-07-10 | 8 | 57 | 50
Turbidity | NTU | 0.1 | SM 2130 | 28-Jun-18/O | 0.9 | 5.5 | 2.5
Chloride | mg/L | 0.5 | SM4110C | 27-Jun-18/O | 1.2 | 11 | 9.4
Fluoride | mg/L | 0.1 | SM4110C | 27-Jun-18/O | < 0.1 | < 0.1 | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 27-Jun-18/O | < 0.1 | < 0.1 | < 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 27-Jun-18/O | < 0.1 | < 0.1 | < 0.1
Sulphate | mg/L | 1 | SM4110C | 27-Jun-18/O | < 1 | 3 | 4
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 28-Jun-18/K | < 0.005 | < 0.005 | < 0.005
Arsenic | mg/L | 0.0001 | EPA 200.8 | 03-Jul-18/O | < 0.0001 | 0.0001 | 0.0002
Barium | mg/L | 0.001 | SM 3120 | 28-Jun-18/O | 0.005 | 0.016 | 0.016
Cadmium | mg/L | 1.5e-05 | EPA 200.8 | 03-Jul-18/O | < 0.000015 | < 0.000015 | 0.00042
Chromium | mg/L | 0.001 | EPA 200.8 | 03-Jul-18/O | < 0.001 | < 0.001 | < 0.001
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 27-Jun-18/O | < 0.002 | < 0.002 | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 28-Jun-18/O | < 0.002 | 1.33 | 0.277
Iron | mg/L | 0.005 | SM 3120 | 28-Jun-18/O | 0.048 | 0.852 | 0.439
Lead | mg/L | 2e-05 | EPA 200.8 | 03-Jul-18/O | < 0.00002 | 0.0114 | 0.0407
Manganese | mg/L | 0.001 | SM 3120 | 28-Jun-18/O | 0.001 | 0.137 | 0.014
Selenium | mg/L | 0.001 | EPA 200.8 | 03-Jul-18/O | < 0.001 | < 0.001 | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 03-Jul-18/O | < 0.0001 | < 0.0001 | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 28-Jun-18/O | < 0.005 | 0.101 | 0.432
Phenolics | mg/L | 0.001 | MOEE 3179 | 28-Jun-18/O | < 0.001 | < 0.001 | < 0.001
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 27-Jun-18/O | 2.9 | 3.4 | 4.6
Surfactants Content | mg/L | 0.05 | SM-5540-C | 23-Jul-18/O | < 0.05 | < 0.05 | < 0.05
E coli | cfu/100mL | 1 | MOE E3407 | 27-Jun-18/O | 0 | 0 | 0

## B18-20616
Certificate of Analysis | [6 empty] | REPORT No. B18-20616
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-07-16 11:21 |  |  |  | JOB/PROJECT NO.: | Raw Drinking Water
DATE REPORTED: | 2018-07-24 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Water Sample
|  |  | Sample ID: |  | B18-20616-1
|  |  | Date Collected: |  | 11-Jul-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-07-19 | 9
Turbidity | NTU | 0.1 | SM 2130 | 16-Jul-18/O | 1.7
Chloride | mg/L | 0.5 | SM4110C | 16-Jul-18/O | 1.6
Fluoride | mg/L | 0.1 | SM4110C | 16-Jul-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 16-Jul-18/O | < 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 16-Jul-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 16-Jul-18/O | < 1
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 17-Jul-18/K | < 0.005
Arsenic | mg/L | 0.0001 | EPA 200.8 | 24-Jul-18/O | < 0.0001
Barium | mg/L | 0.001 | SM 3120 | 17-Jul-18/O | 0.004
Cadmium | mg/L | 1.5e-05 | EPA 200.8 | 24-Jul-18/O | < 0.000015
Chromium | mg/L | 0.001 | EPA 200.8 | 24-Jul-18/O | < 0.001
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 16-Jul-18/O | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 17-Jul-18/O | < 0.002
Iron | mg/L | 0.005 | SM 3120 | 17-Jul-18/O | 0.048
Lead | mg/L | 2e-05 | EPA 200.8 | 24-Jul-18/O | 4e-05
Manganese | mg/L | 0.001 | SM 3120 | 17-Jul-18/O | < 0.001
Selenium | mg/L | 0.001 | EPA 200.8 | 24-Jul-18/O | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 24-Jul-18/O | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 17-Jul-18/O | < 0.005
Phenolics | mg/L | 0.001 | MOEE 3179 | 20-Jul-18/O | < 0.001
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 17-Jul-18/O | 2.5
Surfactants Content | mg/L | 0.05 | SM-5540-C | 23-Jul-18/O | 0.08
E coli | cfu/100mL | 1 | MOE E3407 | 16-Jul-18/O | 1

## B18-21508
Certificate of Analysis | [6 empty] | REPORT No. B18-21508
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | Jonah Koonark |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-07-23 10:50 |  |  |  | JOB/PROJECT NO.: | Raw Drinking Water
DATE REPORTED: | 2018-08-10 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Raw Drinking Water
|  |  | Sample ID: |  | B18-21508-1
|  |  | Date Collected: |  | 18-Jul-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-07-25 | 29
Chloride | mg/L | 0.5 | SM4110C | 23-Jul-18/O | 6
Fluoride | mg/L | 0.1 | SM4110C | 23-Jul-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 23-Jul-18/O | < 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 23-Jul-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 23-Jul-18/O | 2
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 24-Jul-18/K | < 0.005
Arsenic | mg/L | 0.0001 | EPA 200.8 | 24-Jul-18/O | < 0.0001
Barium | mg/L | 0.001 | SM 3120 | 24-Jul-18/O | 0.007
Cadmium | mg/L | 1.5e-05 | EPA 200.8 | 24-Jul-18/O | < 0.000015
Chromium | mg/L | 0.002 | SM 3120 | 24-Jul-18/O | < 0.002
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 26-Jul-18/O | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 24-Jul-18/O | < 0.002
Iron | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | 0.082
Lead | mg/L | 2e-05 | EPA 200.8 | 24-Jul-18/O | 5e-05
Manganese | mg/L | 0.001 | SM 3120 | 24-Jul-18/O | 0.009
Selenium | mg/L | 0.001 | EPA 200.8 | 24-Jul-18/O | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 24-Jul-18/O | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | < 0.005
Phenolics | mg/L | 0.001 | MOEE 3179 | 27-Jul-18/O | < 0.001
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 24-Jul-18/O | 3.3
Surfactants Content | mg/L | 0.05 | SM-5540-C | 08-Aug-18/O | < 0.05
E coli | cfu/100mL | 1 | MOE E3407 | 23-Jul-18/O | 0

## B18-21997
Certificate of Analysis | [6 empty] | REPORT No. B18-21997
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-07-25 14:58 |  |  |  | JOB/PROJECT NO.: | Raw Drinking Water
DATE REPORTED: | 2018-08-10 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Pond Inlet Health Centre
|  |  | Sample ID: |  | B18-21997-1
|  |  | Date Collected: |  | 25-Jul-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-07-30 | 40
Chloride | mg/L | 0.5 | SM4110C | 25-Jul-18/O | 8
Fluoride | mg/L | 0.1 | SM4110C | 25-Jul-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 25-Jul-18/O | < 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 25-Jul-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 25-Jul-18/O | 3
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 31-Jul-18/K | < 0.005
Arsenic | mg/L | 0.0001 | EPA 200.8 | 26-Jul-18/O | < 0.0001
Barium | mg/L | 0.001 | SM 3120 | 26-Jul-18/O | 0.01
Cadmium | mg/L | 1.5e-05 | EPA 200.8 | 26-Jul-18/O | 2.5e-05
Chromium | mg/L | 0.002 | SM 3120 | 26-Jul-18/O | < 0.002
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 30-Jul-18/O | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 26-Jul-18/O | 0.976
Iron | mg/L | 0.005 | SM 3120 | 26-Jul-18/O | 0.123
Lead | mg/L | 2e-05 | EPA 200.8 | 26-Jul-18/O | 0.00437
Manganese | mg/L | 0.001 | SM 3120 | 26-Jul-18/O | 0.014
Selenium | mg/L | 0.001 | EPA 200.8 | 26-Jul-18/O | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 26-Jul-18/O | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 26-Jul-18/O | 0.569
Phenolics | mg/L | 0.001 | MOEE 3179 | 27-Jul-18/O | < 0.001
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 30-Jul-18/O | 2.7
Surfactants Content | mg/L | 0.05 | SM-5540-C | 08-Aug-18/O | < 0.05
E coli | cfu/100mL | 1 | MOE E3407 | 25-Jul-18/O | 0

## B18-27938
Certificate of Analysis | [6 empty] | REPORT No. B18-27938
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet_Do Not Release |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-09-13 14:06 |  |  |  | JOB/PROJECT NO.: | Raw Drinking Water
DATE REPORTED: | 2018-10-05 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Drinking Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Raw Water
|  |  | Sample ID: |  | B18-27938-1
|  |  | Date Collected: |  | 10-Sep-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
TDS (Calc. from Cond.) | mg/L | 1 | Calc. | 2018-09-18 | 33
Chloride | mg/L | 0.5 | SM4110C | 14-Sep-18/O | 6
Fluoride | mg/L | 0.1 | SM4110C | 14-Sep-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 14-Sep-18/O | < 0.1
Nitrite (N) | mg/L | 0.1 | SM4110C | 14-Sep-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 14-Sep-18/O | 2
Cyanide (Total) | mg/L | 0.005 | SM 4500CN | 18-Sep-18/K | < 0.005
Arsenic | mg/L | 0.0001 | EPA 200.8 | 24-Sep-18/O | < 0.0001
Barium | mg/L | 0.001 | SM 3120 | 17-Sep-18/O | 0.008
Cadmium | mg/L | 2e-05 | EPA 200.8 | 24-Sep-18/O | < 0.00002
Chromium | mg/L | 0.002 | SM 3120 | 17-Sep-18/O | < 0.002
Chromium (VI) | mg/L | 0.002 | MOE E3056 | 18-Sep-18/O | < 0.002
Copper | mg/L | 0.002 | SM 3120 | 17-Sep-18/O | 0.003
Iron | mg/L | 0.005 | SM 3120 | 17-Sep-18/O | 0.065
Lead | mg/L | 2e-05 | EPA 200.8 | 24-Sep-18/O | 8e-05
Manganese | mg/L | 0.001 | SM 3120 | 17-Sep-18/O | 0.005
Selenium | mg/L | 0.001 | EPA 200.8 | 24-Sep-18/O | < 0.001
Silver | mg/L | 0.0001 | EPA 200.8 | 24-Sep-18/O | < 0.0001
Zinc | mg/L | 0.005 | SM 3120 | 17-Sep-18/O | < 0.005
Phenolics | mg/L | 0.002 | MOEE 3179 | 14-Sep-18/K | < 0.002
Dissolved Organic Carbon | mg/L | 0.2 | EPA 415.1 | 13-Sep-18/O | 3.8
Surfactants Content | mg/L | 0.05 | SM-5540-C | 20-Sep-18/O | 0.05
E coli | cfu/100mL | 1 | MOE E3407 | 13-Sep-18/O | 1

## B18-21506
Certificate of Analysis | [6 empty] | REPORT No. B18-21506
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | Jonah Koonark |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-07-23 10:39 |  |  |  | JOB/PROJECT NO.: | Landfill Leachate
DATE REPORTED: | 2018-07-31 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Leachate |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Landfill Leachate
|  |  | Sample ID: |  | B18-21506-1
|  |  | Date Collected: |  | 18-Jul-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 24-Jul-18/O | 69
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 23-Jul-18/O | 49
pH @25°C | pH Units |  | SM 4500H | 23-Jul-18/O | 7.45
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 23-Jul-18/O | 255
Total Suspended Solids | mg/L | 3 | SM2540D | 24-Jul-18/K | < 3
Chloride | mg/L | 0.5 | SM4110C | 26-Jul-18/O | 8
Nitrite (N) | mg/L | 0.1 | SM4110C | 26-Jul-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 26-Jul-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 26-Jul-18/O | 43
Aluminum | mg/L | 0.01 | SM 3120 | 24-Jul-18/O | 0.83
Arsenic | mg/L | 0.0005 | EPA 200.8 | 24-Jul-18/O | 0.0058
Cadmium | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | < 0.005
Calcium | mg/L | 0.02 | SM 3120 | 24-Jul-18/O | 15
Chromium | mg/L | 0.002 | SM 3120 | 24-Jul-18/O | 0.004
Cobalt | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | 0.008
Copper | mg/L | 0.002 | SM 3120 | 24-Jul-18/O | 0.071
Iron | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | 16.5
Lead | mg/L | 0.02 | SM 3120 | 24-Jul-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 24-Jul-18/O | 7.68
Manganese | mg/L | 0.001 | SM 3120 | 24-Jul-18/O | 0.653
Mercury | mg/L | 2e-05 | SM 3112 B | 26-Jul-18/O | 7e-05
Nickel | mg/L | 0.01 | SM 3120 | 24-Jul-18/O | 0.03
Potassium | mg/L | 0.1 | SM 3120 | 24-Jul-18/O | 10
Sodium | mg/L | 0.2 | SM 3120 | 24-Jul-18/O | 19.1
Zinc | mg/L | 0.005 | SM 3120 | 24-Jul-18/O | 0.07
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 25-Jul-18/K | 11.4
Phosphorus-Total | mg/L | 0.01 | E3199A.1 | 25-Jul-18/K | 0.34
Phenolics | mg/L | 0.001 | MOEE 3179 | 27-Jul-18/K | 0.027
BOD | mg/L | 3 | SM 5210B | 23-Jul-18/O | < 3
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 24-Jul-18/O | 7.2
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 23-Jul-18/O | < 10
Benzene | µg/L | 0.5 | EPA 8260 | 24-Jul-18/O | < 0.5
Toluene | µg/L | 0.5 | EPA 8260 | 24-Jul-18/O | < 0.5
Ethylbenzene | µg/L | 0.5 | EPA 8260 | 24-Jul-18/O | < 0.5
Xylene, m,p- | µg/L | 0.4 | EPA 8260 | 24-Jul-18/O | < 0.4
Xylene, o- | µg/L | 0.1 | EPA 8260 | 24-Jul-18/O | < 0.1
Xylene, m,p,o- | µg/L | 0.4 | EPA 8260 | 24-Jul-18/O | < 0.4
Toluene-d8 (SS) | % |  | EPA 8260 | 24-Jul-18/O | 100
PHC F1 (C6-C10) | µg/L | 20 | MOE E3421 | 24-Jul-18/O | < 20
PHC F2 (>C10-C16) | µg/L | 50 | MOE E3421 | 25-Jul-18/K | < 50
PHC F3 (>C16-C34) | µg/L | 400 | MOE E3421 | 25-Jul-18/K | < 400
PHC F4 (>C34-C50) | µg/L | 400 | MOE E3421 | 25-Jul-18/K | < 400
Oil & Grease-Total | mg/L | 1 | SM 5520 | 25-Jul-18/K | 20.2
Acenaphthene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Acenaphthylene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Anthracene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Benzo(a)anthracene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Benzo(a)pyrene | µg/L | 0.01 | EPA 8270 | 27-Jul-18/K | < 0.2
Benzo(b)fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Benzo(b+k)fluoranthene | µg/L | 0.1 | EPA 8270 | 27-Jul-18/K | < 2
Benzo(g,h,i)perylene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Benzo(k)fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Chrysene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Dibenzo(a,h)anthracene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | 1.91
Fluorene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Indeno(1,2,3,-cd)pyrene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Methylnaphthalene,1- | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Methylnaphthalene,2- | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Naphthalene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Phenanthrene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Pyrene | µg/L | 0.05 | EPA 8270 | 27-Jul-18/K | < 1.0
Terphenyl-d14 (SS) | % rec. | 10 | EPA 8270 | 27-Jul-18/K | 76

## B18-25330
Certificate of Analysis | [6 empty] | REPORT No. B18-25330
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-08-23 11:35 |  |  |  | JOB/PROJECT NO.: | Landfill Leachate
DATE REPORTED: | 2018-08-31 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Leachate |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Landfill Leachate
|  |  | Sample ID: |  | B18-25330-1
|  |  | Date Collected: |  | 15-Aug-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 28-Aug-18/O | 112
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 23-Aug-18/O | 449
pH @25°C | pH Units |  | SM 4500H | 23-Aug-18/O | 7.48
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 23-Aug-18/O | 1210
Total Suspended Solids | mg/L | 3 | SM 2540D | 24-Aug-18/O | 17
Chloride | mg/L | 0.5 | SM4110C | 23-Aug-18/O | 83.6
Nitrite (N) | mg/L | 0.1 | SM4110C | 23-Aug-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 23-Aug-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 23-Aug-18/O | < 1
Aluminum | mg/L | 0.01 | SM 3120 | 28-Aug-18/O | 0.11
Arsenic | mg/L | 0.0001 | EPA 200.8 | 23-Aug-18/O | 0.001
Cadmium | mg/L | 0.005 | SM 3120 | 28-Aug-18/O | < 0.005
Calcium | mg/L | 0.02 | SM 3120 | 28-Aug-18/O | 30.7
Chromium | mg/L | 0.002 | SM 3120 | 28-Aug-18/O | < 0.002
Cobalt | mg/L | 0.005 | SM 3120 | 28-Aug-18/O | < 0.005
Copper | mg/L | 0.002 | SM 3120 | 28-Aug-18/O | 0.003
Iron | mg/L | 0.005 | SM 3120 | 28-Aug-18/O | 3.49
Lead | mg/L | 0.02 | SM 3120 | 28-Aug-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 28-Aug-18/O | 8.67
Manganese | mg/L | 0.001 | SM 3120 | 28-Aug-18/O | 0.178
Mercury | mg/L | 2e-05 | SM 3112 B | 30-Aug-18/O | < 0.00002
Nickel | mg/L | 0.01 | SM 3120 | 28-Aug-18/O | < 0.01
Potassium | mg/L | 0.1 | SM 3120 | 28-Aug-18/O | 4.1
Sodium | mg/L | 0.2 | SM 3120 | 28-Aug-18/O | 6.2
Zinc | mg/L | 0.005 | SM 3120 | 28-Aug-18/O | 0.134
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 28-Aug-18/K | 7.68
Phosphorus-Total | mg/L | 0.01 | E3199A.1 | 27-Aug-18/K | 0.32
Phenolics | mg/L | 0.002 | MOEE 3179 | 27-Aug-18/K | 0.003
BOD | mg/L | 3 | SM 5210B | 24-Aug-18/O | 3
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 23-Aug-18/O | 92.7
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 23-Aug-18/O | < 10
Benzene | µg/L | 0.5 | EPA 8260 | 23-Aug-18/O | < 0.5
Toluene | µg/L | 0.5 | EPA 8260 | 23-Aug-18/O | < 0.5
Ethylbenzene | µg/L | 0.5 | EPA 8260 | 23-Aug-18/O | < 0.5
Xylene, m,p- | µg/L | 0.4 | EPA 8260 | 23-Aug-18/O | < 0.4
Xylene, o- | µg/L | 0.1 | EPA 8260 | 23-Aug-18/O | < 0.1
Xylene, m,p,o- | µg/L | 0.4 | EPA 8260 | 23-Aug-18/O | < 0.4
Toluene-d8 (SS) | % |  | EPA 8260 | 23-Aug-18/O | 99
PHC F1 (C6-C10) | µg/L | 20 | MOE E3421 | 23-Aug-18/O | < 20
PHC F2 (>C10-C16) | µg/L | 50 | MOE E3421 | 24-Aug-18/K | < 50
PHC F3 (>C16-C34) | µg/L | 400 | MOE E3421 | 24-Aug-18/K | < 400
PHC F4 (>C34-C50) | µg/L | 400 | MOE E3421 | 24-Aug-18/K | < 400
Oil & Grease-Total | mg/L | 1 | SM 5520 | 27-Aug-18/K | < 1.0
Acenaphthene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Acenaphthylene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Anthracene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Benzo(a)anthracene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Benzo(a)pyrene | µg/L | 0.01 | EPA 8270 | 27-Aug-18/K | < 0.01
Benzo(b)fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Benzo(b+k)fluoranthene | µg/L | 0.1 | EPA 8270 | 27-Aug-18/K | < 0.1
Benzo(g,h,i)perylene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Benzo(k)fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Chrysene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Dibenzo(a,h)anthracene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Fluoranthene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Fluorene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Indeno(1,2,3,-cd)pyrene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Methylnaphthalene,1- | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Methylnaphthalene,2- | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Naphthalene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Phenanthrene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
Pyrene | µg/L | 0.05 | EPA 8270 | 27-Aug-18/K | < 0.05
2-Fluorobiphenyl (SS) | % rec. | 10 | EPA 8270 | 27-Aug-18/K | 61

## B18-26311
Certificate of Analysis | [6 empty] | REPORT No. B18-26311
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-08-30 16:01 |  |  |  | JOB/PROJECT NO.: | Landfill Leachate
DATE REPORTED: | 2018-09-07 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Leachate |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Landfill Leachate
|  |  | Sample ID: |  | B18-26311-1
|  |  | Date Collected: |  | 22-Aug-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 05-Sep-18/O | 75
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 31-Aug-18/O | 325
pH @25°C | pH Units |  | SM 4500H | 31-Aug-18/O | 7.45
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 31-Aug-18/O | 873
Total Suspended Solids | mg/L | 3 | SM 2540D | 04-Sep-18/O | 300
Chloride | mg/L | 0.5 | SM4110C | 31-Aug-18/O | 57.3
Nitrite (N) | mg/L | 0.1 | SM4110C | 31-Aug-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 31-Aug-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 31-Aug-18/O | 1
Aluminum | mg/L | 0.01 | SM 3120 | 05-Sep-18/O | 0.07
Arsenic | mg/L | 0.0001 | EPA 200.8 | 31-Aug-18/O | 0.0002
Cadmium | mg/L | 0.005 | SM 3120 | 05-Sep-18/O | < 0.005
Calcium | mg/L | 0.02 | SM 3120 | 05-Sep-18/O | 17.9
Chromium | mg/L | 0.002 | SM 3120 | 05-Sep-18/O | < 0.002
Cobalt | mg/L | 0.005 | SM 3120 | 05-Sep-18/O | < 0.005
Copper | mg/L | 0.002 | SM 3120 | 05-Sep-18/O | 0.011
Iron | mg/L | 0.005 | SM 3120 | 05-Sep-18/O | 0.854
Lead | mg/L | 0.02 | SM 3120 | 05-Sep-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 05-Sep-18/O | 7.36
Manganese | mg/L | 0.001 | SM 3120 | 05-Sep-18/O | 0.047
Mercury | mg/L | 2e-05 | SM 3112 B | 07-Sep-18/O | < 0.00002
Nickel | mg/L | 0.01 | SM 3120 | 05-Sep-18/O | < 0.01
Potassium | mg/L | 0.1 | SM 3120 | 05-Sep-18/O | 3
Sodium | mg/L | 0.2 | SM 3120 | 05-Sep-18/O | 9.9
Zinc | mg/L | 0.005 | SM 3120 | 05-Sep-18/O | 0.118
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 04-Sep-18/K | 50.4
Phosphorus-Total | mg/L | 0.01 | E3199A.1 | 05-Sep-18/K | 14.1
Phenolics | mg/L | 0.002 | MOEE 3179 | 06-Sep-18/K | < 0.002
BOD | mg/L | 3 | SM 5210B | 31-Aug-18/O | 36
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 04-Sep-18/O | 28.3
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 31-Aug-18/O | < 2
Benzene | µg/L | 0.5 | EPA 8260 | 04-Sep-18/O | < 0.5
Toluene | µg/L | 0.5 | EPA 8260 | 04-Sep-18/O | < 0.5
Ethylbenzene | µg/L | 0.5 | EPA 8260 | 04-Sep-18/O | < 0.5
Xylene, m,p- | µg/L | 0.4 | EPA 8260 | 04-Sep-18/O | < 0.4
Xylene, o- | µg/L | 0.1 | EPA 8260 | 04-Sep-18/O | < 0.1
Xylene, m,p,o- | µg/L | 0.4 | EPA 8260 | 04-Sep-18/O | < 0.4
Toluene-d8 (SS) | % |  | EPA 8260 | 04-Sep-18/O | 107
PHC F1 (C6-C10) | µg/L | 20 | MOE E3421 | 04-Sep-18/O | < 20
PHC F2 (>C10-C16) | µg/L | 50 | MOE E3421 | 05-Sep-18/K | 60
PHC F3 (>C16-C34) | µg/L | 400 | MOE E3421 | 05-Sep-18/K | < 400
PHC F4 (>C34-C50) | µg/L | 400 | MOE E3421 | 05-Sep-18/K | < 400
Oil & Grease-Total | mg/L | 1 | SM 5520 | 06-Sep-18/K | 3.8
Acenaphthene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Acenaphthylene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Anthracene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Benzo(a)anthracene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Benzo(a)pyrene | µg/L | 0.01 | EPA 8270 | 04-Sep-18/K | < 0.1
Benzo(b)fluoranthene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Benzo(b+k)fluoranthene | µg/L | 0.1 | EPA 8270 | 04-Sep-18/K | < 1
Benzo(g,h,i)perylene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Benzo(k)fluoranthene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Chrysene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Dibenzo(a,h)anthracene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Fluoranthene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Fluorene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Indeno(1,2,3,-cd)pyrene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Methylnaphthalene,1- | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Methylnaphthalene,2- | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Naphthalene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Phenanthrene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
Pyrene | µg/L | 0.05 | EPA 8270 | 04-Sep-18/K | < 0.7
2-Fluorobiphenyl (SS) | % rec. | 10 | EPA 8270 | 04-Sep-18/K | 82

## B18-29303
Certificate of Analysis | [6 empty] | REPORT No. B18-29303
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet_Do Not Release |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-09-25 15:20 |  |  |  | JOB/PROJECT NO.: | Waste Water
DATE REPORTED: | 2018-10-05 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Waste Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Waste Water
|  |  | Sample ID: |  | B18-29303-1
|  |  | Date Collected: |  | 19-Sep-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 02-Oct-18/O | 67
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 25-Sep-18/O | 333
pH @25°C | pH Units |  | SM 4500H | 25-Sep-18/O | 7.49
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 25-Sep-18/O | 1140
Total Suspended Solids | mg/L | 3 | SM2540D | 28-Sep-18/K | 18
Chloride | mg/L | 0.5 | SM4110C | 27-Sep-18/O | 79.6
Nitrite (N) | mg/L | 0.1 | SM4110C | 27-Sep-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 27-Sep-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 27-Sep-18/O | 13
Aluminum | mg/L | 0.01 | SM 3120 | 02-Oct-18/O | 0.2
Arsenic | mg/L | 0.0005 | EPA 200.8 | 27-Sep-18/O | 0.0008
Calcium | mg/L | 0.02 | SM 3120 | 02-Oct-18/O | 14
Cadmium | mg/L | 0.005 | SM 3120 | 02-Oct-18/O | < 0.005
Chromium | mg/L | 0.002 | SM 3120 | 02-Oct-18/O | < 0.002
Cobalt | mg/L | 0.005 | SM 3120 | 02-Oct-18/O | < 0.005
Copper | mg/L | 0.002 | SM 3120 | 02-Oct-18/O | 0.151
Iron | mg/L | 0.005 | SM 3120 | 02-Oct-18/O | 0.785
Lead | mg/L | 0.02 | SM 3120 | 02-Oct-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 02-Oct-18/O | 7.82
Manganese | mg/L | 0.001 | SM 3120 | 02-Oct-18/O | 0.1
Mercury | mg/L | 2e-05 | SM 3112 B | 02-Oct-18/O | 3e-05
Nickel | mg/L | 0.01 | SM 3120 | 02-Oct-18/O | < 0.01
Potassium | mg/L | 0.1 | SM 3120 | 02-Oct-18/O | 27.8
Sodium | mg/L | 0.2 | SM 3120 | 02-Oct-18/O | 61.3
Zinc | mg/L | 0.005 | SM 3120 | 02-Oct-18/O | 0.081
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 28-Sep-18/K | 104
Phenolics | mg/L | 0.002 | MOEE 3179 | 28-Sep-18/K | 0.953
BOD | mg/L | 3 | SM 5210B | 28-Sep-18/O | 246
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 26-Sep-18/O | 90.6
Oil & Grease-Total | mg/L | 1 | SM 5520 | 01-Oct-18/K | 21
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 25-Sep-18/O | 38000

## B18-30657
Certificate of Analysis | [6 empty] | REPORT No. B18-30657
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-10-04 18:00 |  |  |  | JOB/PROJECT NO.: | Waste Water
DATE REPORTED: | 2018-10-15 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Waste Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Waste Water
|  |  | Sample ID: |  | B18-30657-1
|  |  | Date Collected: |  | 01-Oct-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 11-Oct-18/O | 75
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 09-Oct-18/O | 377
pH @25°C | pH Units |  | SM 4500H | 09-Oct-18/O | 7.62
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 09-Oct-18/O | 1160
Total Suspended Solids | mg/L | 3 | SM2540D | 10-Oct-18/K | 20
Chloride | mg/L | 0.5 | SM4110C | 10-Oct-18/O | 61.4
Nitrite (N) | mg/L | 0.1 | SM4110C | 10-Oct-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 10-Oct-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 10-Oct-18/O | < 1
Aluminum | mg/L | 0.01 | SM 3120 | 11-Oct-18/O | 0.19
Arsenic | mg/L | 0.0005 | EPA 200.8 | 10-Oct-18/O | 0.0008
Calcium | mg/L | 0.02 | SM 3120 | 11-Oct-18/O | 16.4
Cadmium | mg/L | 0.005 | SM 3120 | 11-Oct-18/O | < 0.005
Chromium | mg/L | 0.002 | SM 3120 | 11-Oct-18/O | 0.003
Cobalt | mg/L | 0.005 | SM 3120 | 11-Oct-18/O | < 0.005
Copper | mg/L | 0.002 | SM 3120 | 11-Oct-18/O | 0.175
Iron | mg/L | 0.005 | SM 3120 | 11-Oct-18/O | 0.96
Lead | mg/L | 0.02 | SM 3120 | 11-Oct-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 11-Oct-18/O | 8.25
Manganese | mg/L | 0.001 | SM 3120 | 11-Oct-18/O | 0.119
Mercury | mg/L | 2e-05 | SM 3112 B | 12-Oct-18/O | 4e-05
Nickel | mg/L | 0.01 | SM 3120 | 11-Oct-18/O | < 0.01
Potassium | mg/L | 0.1 | SM 3120 | 11-Oct-18/O | 28.7
Sodium | mg/L | 0.2 | SM 3120 | 11-Oct-18/O | 62
Zinc | mg/L | 0.005 | SM 3120 | 11-Oct-18/O | 0.105
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 10-Oct-18/K | 101
Phenolics | mg/L | 0.002 | MOEE 3179 | 11-Oct-18/K | 1.02
BOD | mg/L | 3 | SM 5210B | 10-Oct-18/O | 155
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 09-Oct-18/O | 78.2
Oil & Grease-Total | mg/L | 1 | SM 5520 | 15-Oct-18/K | 18.7
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 05-Oct-18/O | 480000

## B18-33546
Certificate of Analysis | [6 empty] | REPORT No. B18-33546
Final Report
Report To: |  |  |  |  | Caduceon Environmental Laboratories
Hamlet of Pond Inlet_Do Not Release |  |  |  |  | 2378 Holly Lane
P.O Box 379, |  |  |  |  | Ottawa Ontario K1V 7P1
Pond Inlet Nunavut X0A 0S0 Canada |  |  |  |  | Tel: 613-526-0123
Attention: | SAO - |  |  |  | Fax: 613-526-1244
DATE SUBMITTED: | 2018-10-30 14:28 |  |  |  | JOB/PROJECT NO.: | Waste Water
DATE REPORTED: | 2018-11-12 |  |  |  | P.O. NUMBER:
SAMPLE MATRIX: | Waste Water |  |  |  | WATERWORKS NO.:
|  |  | Client ID: |  | Sewage Lagoon
|  |  | Sample ID: |  | B18-33546-1
|  |  | Date Collected: |  | 08-Oct-18
Parameter | Units | M.D.L. | Reference Method | Date/Site Analyzed
Hardness (as CaCO3) | mg/L | 1 | SM 3120 | 08-Nov-18/O | 251
Alkalinity(CaCO3) to pH4.5 | mg/L | 5 | SM 2320B | 01-Nov-18/O | 404
pH @25°C | pH Units |  | SM 4500H | 01-Nov-18/O | 7.37
Conductivity @25°C | µmho/cm | 1 | SM 2510B | 01-Nov-18/O | 3190
Total Suspended Solids | mg/L | 3 | SM2540D | 01-Nov-18/K | 160
Chloride | mg/L | 0.5 | SM4110C | 05-Nov-18/O | 636
Nitrite (N) | mg/L | 0.1 | SM4110C | 04-Nov-18/O | < 0.1
Nitrate (N) | mg/L | 0.1 | SM4110C | 04-Nov-18/O | < 0.1
Sulphate | mg/L | 1 | SM4110C | 04-Nov-18/O | 80
Aluminum | mg/L | 0.01 | SM 3120 | 08-Nov-18/O | 0.19
Arsenic | mg/L | 0.0005 | EPA 200.8 | 31-Oct-18/O | 0.0009
Calcium | mg/L | 0.02 | SM 3120 | 08-Nov-18/O | 27.6
Cadmium | mg/L | 0.005 | SM 3120 | 08-Nov-18/O | < 0.005
Chromium | mg/L | 0.002 | SM 3120 | 08-Nov-18/O | < 0.002
Cobalt | mg/L | 0.005 | SM 3120 | 08-Nov-18/O | < 0.005
Copper | mg/L | 0.002 | SM 3120 | 08-Nov-18/O | 0.156
Iron | mg/L | 0.005 | SM 3120 | 08-Nov-18/O | 0.938
Lead | mg/L | 0.02 | SM 3120 | 08-Nov-18/O | < 0.02
Magnesium | mg/L | 0.02 | SM 3120 | 08-Nov-18/O | 44.4
Manganese | mg/L | 0.001 | SM 3120 | 08-Nov-18/O | 0.198
Mercury | mg/L | 2e-05 | SM 3112 B | 08-Nov-18/O | 4e-05
Nickel | mg/L | 0.01 | SM 3120 | 08-Nov-18/O | < 0.01
Potassium | mg/L | 0.1 | SM 3120 | 08-Nov-18/O | 40.4
Sodium | mg/L | 0.2 | SM 3120 | 08-Nov-18/O | 388
Zinc | mg/L | 0.005 | SM 3120 | 08-Nov-18/O | 0.089
Ammonia (N)-Total | mg/L | 0.01 | SM4500-NH3-H | 01-Nov-18/K | 93.5
Phenolics | mg/L | 0.002 | MOEE 3179 | 06-Nov-18/K | 0.959
BOD(5 day) | mg/L | 3 | SM 5210B | 01-Nov-18/K | 409
Total Organic Carbon | mg/L | 0.2 | EPA 415.1 | 02-Nov-18/O | 63.4
Oil & Grease-Total | mg/L | 1 | SM 5520 | 01-Nov-18/K | 12.6
Fecal Coliform | cfu/100mL | 1 | MOE E3371 | 30-Oct-18/O | 14000