ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT


YEAR BEING REPORTED: 2018


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3BM-PON1520 issued to the Hamlet of Pond Inlet, Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January
	4,983,498.40
	Same

	February
	3,705,173.00
	Same

	March
	4,317,866.50
	Same

	April
	3,324,259.90
	Same

	May
	4,252,403.70
	Same

	June
	4,269,851.10
	Same

	July
	4,277,566.30
	Same

	August
	4,033,245.02
	Same

	September
	3,517,676.90
	Same

	October
	4,206,598.00
	Same

	November
	3,638,859.50
	Same

	December
	3,657,391.40
	Same

	Annual Total
	48,184,389.72
	Same


Note: The average consumption volume is considered equal to the discharge 
volume in each month because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



                  No modification and /or major maintenance work was carried out to waste disposal 

                  facilities during this reporting period. In the truck fill station, electrical 

                  connection was upgraded/modified due to the fire hazard in the plant.

            ______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


No unauthorized discharge took place during this reporting period. However spills occurred as: 
TS Coop Spill (2018138): April 25, 2018; 200 litres, Petroleum –fuel oil;
Spill 2018286: July 22, 2018;  Petroleum Lubricating oil: 30 litres

Spill 2018369: September 10, 2018; 25 litres

Spill 2018412; October 2, 2018:  Petroleum –fuel oil, Unkown quantity

Spill 2018421; October 15, 2018: Sewage : Unknown quantity

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


 No abandonment and restoration work was conducted during this reporting year and no plan in the next year. However, water quality is being monitored by a consultant to develop a data base which will be used to design the new Water Treatment Plant. Once this new plant is built and commissioned, the existing Water truck fill station will be abandoned and decommissioned.
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                 Waste segregation and better hazardous wastes management are the main concern. 
                 Capital dollars are not yet available for the new waste management project.
                 Hamlet is still managing a land farm. Besides,   

                 National Research Council (NRC) and Dalhousie University conducted separate 

                 studies on Sewage Lagoon. NRC might continue for few more years.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Current waste management sites are the concerns of the Nunavut Water Board. Hamlet is looking for different possibilities for segregation of wastes, stockpiling, packaging and shipping to the South. Nothing is finalized yet. However they have initiated this process.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

 No revision or update is required at this stage. However, once a new facility is built,   the respective O&M manual will be upgraded. 
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                    Hamlet tries to follow GN ‘s technical staffs and CIRNAC inspector’s advice to 

                operate the water licensed facilities. They have segregated wastes partially. They have 
                extended sampling and testing program with the accredited lab in Ottawa. 

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet has currently an active water licence. They are working closely with GN 

               Technical staffs to keep the water licensed facilities in Compliancy.

                       The Test Lab results for 2018 are attached as follows:
