ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT


FOR THE HAMLET OF POND INLET, NUNAVUT

ANNUAL REPORT, 2020

FOR THE HAMLET OF POND INLET, NUNAVUT


YEAR BEING REPORTED: 2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3BM-PON1520 issued to the Hamlet of Pond Inlet, Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January
	4,185,422.20
	Same

	February
	3,904,729.40
	Same

	March
	4.451,583.20
	Same

	April
	4,163,361.30
	Same

	May
	4,189,911.50
	Same

	June
	4,124,056.50
	Same

	July
	4.401,214.90
	Same

	August
	4.489.489.40
	Same

	September
	4,509,304.50
	Same

	October
	4,821,850.80
	Same

	November
	4,448,055.80
	Same

	December
	4,490,162.00
	Same

	Annual Total
	52,179,038.50
	Same


Note: The average consumption volume is considered equal to the discharge 
volume in each month because there is no meter at the end of the discharge pipe.
Due to COVID, the water consumption in 2020 is in the higher scale than the previous years.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



                  No modification and /or major maintenance work was carried out to Sewage Lagoon and                   Waste facilities during this reporting period. 
                  In the truck fill station, the intake was damaged and disconnected from the filling station. 

                  A temporary intake was installed with heat trace and it is working well.
            ______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


No unauthorized discharge took place during this reporting period. However a suspected leakage was observed in the seaside berm of the Sewage Lagoon and this has been planned to be inspected this summer. 

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year. 


No abandonment and restoration work were conducted during this reporting year and no plan in the next year. 
A consultant is working on the improvement of the Water Treatment Plant. The Phase 1 planning study was completed with the Geotechnical studies, surveys and snow drift analysis etc. The Phase II is going to be started soon with the feasibility studies and so on.

           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                 Waste segregation and better hazardous wastes management are the main concerns. 
                 Capital dollars are not yet available for the new waste management project.
                 However, it is anticipated to conduct a Dye test to detect the possible leakage of the 

                 Sewage Lagoon in summer.
                 Pond inlet is considered as one of the nine communities in Nunavut where new water 

                 plant will be built on priority. A consultant is right now working on the 

                 Standardization of the water plant project. The condition of Pond inlet Water Truck 

                 filling station is at critical stage. Therefore, this project has been advanced to phase II 

                 planning study with feasibility studies etc. in order to start design and construction 
                 earlier.

           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Current waste management sites are the concerns of the Nunavut Water Board. Hamlet is looking for different possibilities for segregation of wastes, stockpiling, packaging and shipping to the South. Nothing is finalized yet. However they have initiated this process and making progress positively slowly.
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

 No revision or update is required at this stage. However, a new manual will be prepared for the New water Plant once it is constructed and commissioned. 
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                    Hamlet tries to follow GN ‘s technical staffs and CIRNAC inspector’s advice to 

                operate the water licensed facilities. They are sincerely sampling water, wastewater and 

                 Leachate and have them tested in Caduceon Lab in Ottawa.
                The new water plant carries a flow meter, a  fish screen and improves water quality to 

                satisfy Turbidity guidelines.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet has currently an active water licence. They are working closely with GN 

               Technical staffs to keep the water licensed facilities in Compliancy. They are 

               submitting annual reports on time  and trying to satisfy the conditions of the water 

                licence.

                       The Test Lab results for 2020 are attached:
