From: Johnston, Brian <BJohnston@GOV.NU.CA>
Sent: September 1, 2021 3:52 PM
To: Roy, Bhabesh <BRoy@gov.nu.ca>
Cc: Nelson, Gary <GNelson@GOV.NU.CA>
Subject: Pond Inlet Water Plant Reservoir Project

Bhabesh

As I understand the proposed project, this is what would be required;

Time frame 2-3 weeks

Stream is where water currently taken to fill reservoir

- Do a test run before the work begins, fill 2 trucks (early and late in day) – check turbidity upon filling and after 20 minutes

- Free chlorine to be >1.0 PPM

- Log sheets to be submitted daily

- A BWA would be enacted; removed after samples sent from Reservoir after completion of project

- Water samples taken and submitted first day; then weekly if first sample acceptable

Brian