
ANNUAL REPORT 






FOR THE HAMLET OF QIKIQTARJUAQ


YEAR BEING REPORTED:  2011                 


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3 BM -QIK 0712 issued to the Hamlet of Qikiqtarjuaq.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2011
	1445201.50
	Same

	February 2011
	1397800.10
	Same

	March 2011
	1560237.50
	Same

	April 2011
	1529936.50
	Same

	May 2011
	1477152.90
	Same

	June 2011
	1536940.70
	Same

	July 2011
	1379132.90
	Same

	August 2011
	1510892.10
	Same

	September 2011
	1528398.50
	Same

	October 2011
	1459592.90
	Same

	November 2011
	1473149.30
	Same

	December 2011
	1463133.10
	Same

	ANNUAL TOTAL
	17761568.00
	Same


             Note: The average consumption volume is considered equal for each month.
             There is no meter existing at the discharge pipe. Therefore the monthly discharge 
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The water supply system, Sewage lagoon and solid waste management site have been expanded, improved and upgraded.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


                   Nil

              ___________________________________________________________________    
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste was completed recently. Waiting for the direction from 
                  CGS Capital Planning.      
           ______________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and






                  Nil 
           __________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


Updated O&M manuals have been submitted to NWB.
            _______________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                      Hamlet is building a land farm. Once construction is completed, the O&M manual 
                  will be submitted to NWB to satisfy the requirement of the water license.

                     FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                    Hamlet is working with CGS for INAC inspection concerns and Water License 
                 compliancy.

Page 1 of 3

