                                                ANNUAL REPORT 






FOR THE HAMLET OF QIKQTARJUAQ, 2023


YEAR BEING REPORTED:  2023


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-QIK1924 issued to the Hamlet of Qikiqtarjuaq.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	1,881,918.40
	Same

	February 
	1,807,033.60
	Same

	March 
	2,084,473.60
	Same

	April 
	1,917,667.20
	Same

	May 
	1,992,387.20
	Same

	June 
	1,962,895.60
	Same

	July 
	1,991,848.60
	Same

	August 
	2,031,987.70
	Same

	September 
	2,012,406.80
	Same

	October 
	2,111,885.10
	Same

	November 
	1,968,102.60
	Same

	December 
	2,035,154.20
	Same

	ANNUAL TOTAL
	23,797,760.60
	23,797,760.60


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



No modification and/or any major maintenance work was carried out during this reporting period. 
            __________________________________________________________________________

v. A list of unauthorized discharges and summary of follow-up action taken;    


During summer, the leachate is uncontrolled from the wastes site since the wastes site is non -engineered. The lower part of the berms of the Sewage lagoon shows sign of leaking during summer. Hamlet is closely monitoring the situation for future remedial action if required.  

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Abandonment and restoration works were not planned this year. Land farm is still left abandoned and undecided to complete. In case it is abandoned, the decommissioning plan will be presented to the Board. The design of the new Landfarm will be presented to the Board once it is available. 
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                In 2024, Hamlet has planned to hire a Professional Engineer to conduct the water 

                system assessment. This study consists of the followings:

1. Hydrology study of the water source for sustainability

2. Technical assessment of the WTP
3. Inspection the liner by emptying the water storage Reservoir

4. Inspection of the Dams/Berms of Water Reservoir

5. Training the water truck drivers on sampling, water chlorination , in house testing and quality control

6. Water Licence compliancy
             ______________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


The flow meter at the intake was not installed yet. In order to record exact amount of water withdrawal from the source, a flow meter is suggested to be installed. Hamlet is still looking for a suitable device. It is expected to get installed in summer 2023.
Hazardous materials were not properly yet segregated and stored in order to future disposal to the south.

           ____________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

Hamlet is using the existing O&M manuals to operate the water licensed facilities 
because no modifications to the facilities were made since these were built.

           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                      Hamlet submits annual report on time. They are using Ottawa Caduceon lab for testing 
                  water, wastewater and leachate samples in summer on regular basis.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working closely with CIRNAC inspector and following his advice and 
               direction in order to keep their water licence into compliancy.
               The Hamlet works with CGS technical members as and when needed.

             The Test Lab Results for 2023 are submitted in a separate documents.
 
[image: image1.emf]B18-32501_R.pdf



 EMBED Acrobat.Document.11  [image: image2.emf]B18-32499_R.pdf



 EMBED Acrobat.Document.11  [image: image3.emf]B18-28052_R.pdf



 EMBED Acrobat.Document.11  [image: image4.emf]B18-28051_R.pdf



 EMBED Acrobat.Document.11  [image: image5.emf]B18-28050_R.pdf



 EMBED Acrobat.Document.11  [image: image6.emf]B18-28049_R.pdf



 EMBED Excel.Sheet.12  [image: image7.emf]Mun of  Qikiqtarjuaq_2018.xlsx


Page 1 of 1

_1613656520.pdf


06-Nov-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-32499


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


19-Oct-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


First
Discharge


Qik 6


Middle
Sample Qik 6


Client I.D.


B18-32499-1 B18-32499-2Sample I.D.
15-Oct-18 15-Oct-18Date Collected


Hardness (as CaCO3) 33 34mg/L 1 SM 3120 01-Nov-18/O
Alkalinity(CaCO3) to pH4.5 26 27mg/L 5 SM 2320B 26-Oct-18/O
pH @25°C 7.54 7.40pH Units SM 4500H 26-Oct-18/O
Conductivity @25°C 114 114µmho/cm 1 SM 2510B 26-Oct-18/O
Total Suspended Solids 26 10mg/L 3 SM2540D 24-Oct-18/K
Chloride 16.0 15.2mg/L 0.5 SM4110C 29-Oct-18/O
Nitrite (N) < 0.1 < 0.1mg/L 0.1 SM4110C 29-Oct-18/O
Nitrate (N) < 0.1 < 0.1mg/L 0.1 SM4110C 29-Oct-18/O
Sulphate 2 2mg/L 1 SM4110C 29-Oct-18/O
Calcium 8.84 9.19mg/L 0.02 SM 3120 01-Nov-18/O
Magnesium 2.61 2.67mg/L 0.02 SM 3120 01-Nov-18/O
Sodium 14.8 14.5mg/L 0.2 SM 3120 01-Nov-18/O
Potassium 3.6 3.5mg/L 0.1 SM 3120 01-Nov-18/O
Aluminum 0.21 0.05mg/L 0.01 SM 3120 01-Nov-18/O
Arsenic < 0.0005 < 0.0005mg/L 0.0005 EPA 200.8 23-Oct-18/O
Cadmium < 0.005 < 0.005mg/L 0.005 SM 3120 01-Nov-18/O
Chromium < 0.002 < 0.002mg/L 0.002 SM 3120 01-Nov-18/O
Cobalt < 0.005 < 0.005mg/L 0.005 SM 3120 01-Nov-18/O
Copper 0.010 0.012mg/L 0.002 SM 3120 01-Nov-18/O
Iron 1.02 0.845mg/L 0.005 SM 3120 01-Nov-18/O
Lead < 0.02 < 0.02mg/L 0.02 SM 3120 01-Nov-18/O
Manganese 0.041 0.037mg/L 0.001 SM 3120 01-Nov-18/O
Mercury < 0.00002 < 0.00002mg/L 0.00002 SM 3112 B 05-Nov-18/O
Nickel < 0.01 < 0.01mg/L 0.01 SM 3120 01-Nov-18/O
Zinc 0.017 0.013mg/L 0.005 SM 3120 01-Nov-18/O


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE:Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods are modified from specified reference method unless indicated by an *







06-Nov-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-32499


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


19-Oct-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


First
Discharge


Qik 6


Middle
Sample Qik 6


Client I.D.


B18-32499-1 B18-32499-2Sample I.D.
15-Oct-18 15-Oct-18Date Collected


Ammonia (N)-Total 1.47 1.55mg/L 0.01 SM4500-
NH3-H


24-Oct-18/K


Phenolics < 0.002 0.003mg/L 0.002 MOEE 3179 26-Oct-18/K
BOD(5 day) 6 5mg/L 2 SM 5210B 22-Oct-18/K
Total Organic Carbon 10.6 11.3mg/L 0.2 EPA 415.1 29-Oct-18/O
Oil & Grease-Total 1.1 < 1.0mg/L 1.0 SM 5520 25-Oct-18/K
Fecal Coliform < 2 < 2cfu/100mL 1 MOE E3371 19-Oct-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE:Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods are modified from specified reference method unless indicated by an *






_1613656521.pdf


Waste Water


06-Nov-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-32501


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


19-Oct-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik 6 Finish
Discharge


Client I.D.


B18-32501-1Sample I.D.
16-Oct-18Date Collected


Hardness (as CaCO3) 44mg/L 1 SM 3120 01-Nov-18/O
Alkalinity(CaCO3) to pH4.5 37mg/L 5 SM 2320B 26-Oct-18/O
pH @25°C 6.96pH Units SM 4500H 26-Oct-18/O
Conductivity @25°C 156µmho/cm 1 SM 2510B 26-Oct-18/O
Total Suspended Solids 142mg/L 3 SM2540D 24-Oct-18/K
Chloride 19.0mg/L 0.5 SM4110C 29-Oct-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 29-Oct-18/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 29-Oct-18/O
Sulphate 3mg/L 1 SM4110C 29-Oct-18/O
Calcium 11.4mg/L 0.02 SM 3120 01-Nov-18/O
Magnesium 3.71mg/L 0.02 SM 3120 01-Nov-18/O
Sodium 18.2mg/L 0.2 SM 3120 01-Nov-18/O
Potassium 6.4mg/L 0.1 SM 3120 01-Nov-18/O
Aluminum 0.60mg/L 0.01 SM 3120 01-Nov-18/O
Arsenic < 0.0005mg/L 0.0005 EPA 200.8 23-Oct-18/O
Cadmium < 0.005mg/L 0.005 SM 3120 01-Nov-18/O
Chromium 0.002mg/L 0.002 SM 3120 01-Nov-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 01-Nov-18/O
Copper 0.012mg/L 0.002 SM 3120 01-Nov-18/O
Iron 1.93mg/L 0.005 SM 3120 01-Nov-18/O
Lead < 0.02mg/L 0.02 SM 3120 01-Nov-18/O
Manganese 0.071mg/L 0.001 SM 3120 01-Nov-18/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 05-Nov-18/O
Nickel < 0.01mg/L 0.01 SM 3120 01-Nov-18/O
Zinc 0.036mg/L 0.005 SM 3120 01-Nov-18/O
Ammonia (N)-Total 2.11mg/L 0.01 SM4500-


NH3-H
24-Oct-18/K


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE:Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods are modified from specified reference method unless indicated by an *







Waste Water


06-Nov-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-32501


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


19-Oct-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik 6 Finish
Discharge


Client I.D.


B18-32501-1Sample I.D.
16-Oct-18Date Collected


Phenolics 0.015mg/L 0.002 MOEE 3179 26-Oct-18/K
BOD(5 day) > 100mg/L 2 SM 5210B 22-Oct-18/K
Total Organic Carbon 17.0mg/L 0.2 EPA 415.1 29-Oct-18/O
Oil & Grease-Total 11.5mg/L 1.0 SM 5520 25-Oct-18/K
Fecal Coliform < 2cfu/100mL 1 MOE E3371 19-Oct-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE:Fecal Coliform passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods are modified from specified reference method unless indicated by an *






_1613656518.pdf


Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28051


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-13Client I.D.
B18-28051-1Sample I.D.


12-Sep-18Date Collected


Hardness (as CaCO3) 16mg/L 1 SM 3120 21-Sep-18/O
Alkalinity(CaCO3) to pH4.5 < 5mg/L 5 SM 2320B 14-Sep-18/O
pH @25°C 5.64pH Units SM 4500H 14-Sep-18/O
Conductivity @25°C 30µmho/cm 1 SM 2510B 14-Sep-18/O
Total Suspended Solids < 3mg/L 3 SM 2540D 18-Sep-18/O
Chloride 5.3mg/L 0.5 SM4110C 14-Sep-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Nitrate (N) 0.2mg/L 0.1 SM4110C 14-Sep-18/O
Sulphate 3mg/L 1 SM4110C 14-Sep-18/O
Aluminum 0.19mg/L 0.01 SM 3120 21-Sep-18/O
Arsenic 0.0003mg/L 0.0001 EPA 200.8 26-Sep-18/O
Cadmium < 0.000015mg/L 0.000015 EPA 200.8 26-Sep-18/O
Calcium 4.53mg/L 0.02 SM 3120 21-Sep-18/O
Chromium < 0.001mg/L 0.001 EPA 200.8 26-Sep-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 21-Sep-18/O
Copper 0.0004mg/L 0.0001 EPA 200.8 26-Sep-18/O
Iron 0.141mg/L 0.005 SM 3120 21-Sep-18/O
Lead 0.00013mg/L 0.00002 EPA 200.8 26-Sep-18/O
Magnesium 1.21mg/L 0.02 SM 3120 21-Sep-18/O
Manganese 0.006mg/L 0.001 SM 3120 21-Sep-18/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 20-Sep-18/O
Molybdenum < 0.01mg/L 0.01 SM 3120 21-Sep-18/O
Nickel < 0.0002mg/L 0.0002 EPA 200.8 26-Sep-18/O
Potassium 0.3mg/L 0.1 SM 3120 21-Sep-18/O
Sodium 6.2mg/L 0.2 SM 3120 21-Sep-18/O
Zinc 0.018mg/L 0.005 SM 3120 21-Sep-18/O
Ammonia (N)-Total < 0.01mg/L 0.01 SM4500-


NH3-H
19-Sep-18/K


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28051


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-13Client I.D.
B18-28051-1Sample I.D.


12-Sep-18Date Collected


Phosphorus-Total 0.02mg/L 0.01 E3199A.1 19-Sep-18/K
Phenolics < 0.002mg/L 0.002 MOEE 3179 19-Sep-18/K
Total Organic Carbon 1.4mg/L 0.2 EPA 415.1 19-Sep-18/O
BOD < 3mg/L 3 SM 5210B 17-Sep-18/O
Fecal Coliform 0cfu/100mL 1 MOE E3371 14-Sep-18/O
Benzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Toluene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Ethylbenzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Xylene, m,p- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Xylene, o- < 0.1µg/L 0.1 EPA 8260 17-Sep-18/O
Xylene, m,p,o- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Toluene-d8 (SS) 103% EPA 8260 17-Sep-18/O
PHC F1 (C6-C10) < 20µg/L 20 MOE E3421 18-Sep-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






_1613656519.pdf


Drinking Water


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28052


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Drinking WaterSAMPLE MATRIX:


C.O.C.: DW 28052


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-1
Tuluqak


River


Qik-2
Reservoir


Client I.D.


B18-28052-1 B18-28052-2Sample I.D.
12-Sep-18 12-Sep-18Date Collected


TDS (Calc. from Cond.) 9 9mg/L 1 Calc. 18-Sep-18
Chloride 4.0 4.3mg/L 0.5 SM4110C 14-Sep-18/O
Fluoride < 0.1 < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Nitrate (N) 0.2 < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Nitrite (N) < 0.1 < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Sulphate < 1 < 1mg/L 1 SM4110C 14-Sep-18/O
Cyanide (Total) < 0.005 < 0.005mg/L 0.005 SM 4500CN 18-Sep-18/K
Arsenic < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 26-Sep-18/O
Barium 0.001 0.001mg/L 0.001 SM 3120 17-Sep-18/O
Cadmium < 0.000015 < 0.000015mg/L 0.000015 EPA 200.8 26-Sep-18/O
Chromium < 0.002 < 0.002mg/L 0.002 SM 3120 17-Sep-18/O
Chromium (VI) < 0.002 < 0.002mg/L 0.002 MOE E3056 21-Sep-18/O 1 1


Copper < 0.002 < 0.002mg/L 0.002 SM 3120 17-Sep-18/O
Iron 0.018 0.066mg/L 0.005 SM 3120 17-Sep-18/O
Lead < 0.00002 0.00003mg/L 0.00002 EPA 200.8 26-Sep-18/O
Manganese 0.001 0.001mg/L 0.001 SM 3120 17-Sep-18/O
Selenium < 0.001 < 0.001mg/L 0.001 EPA 200.8 26-Sep-18/O
Silver < 0.0001 < 0.0001mg/L 0.0001 EPA 200.8 26-Sep-18/O
Zinc < 0.005 < 0.005mg/L 0.005 SM 3120 17-Sep-18/O
Phenolics < 0.002 < 0.002mg/L 0.002 MOEE 3179 19-Sep-18/K
Dissolved Organic Carbon 0.3 0.3mg/L 0.2 EPA 415.1 19-Sep-18/O
Surfactants Content < 0.05 < 0.05mg/L 0.05 SM-5540-C 01-Oct-18/O
E coli 0 0cfu/100mL 1 MOE E3407 14-Sep-18/O


1 . Chromium (VI) result is based on total chromium


Page 1 of 1.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: E. coli passed acceptable holding time upon arrival at Lab.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






_1613656516.pdf


Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28049


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-6Client I.D.
B18-28049-1Sample I.D.


12-Sep-18Date Collected


Hardness (as CaCO3) < 1mg/L 1 SM 3120 21-Sep-18/O
Alkalinity(CaCO3) to pH4.5 < 5mg/L 5 SM 2320B 14-Sep-18/O
pH @25°C 6.31pH Units SM 4500H 14-Sep-18/O
Conductivity @25°C 30µmho/cm 1 SM 2510B 14-Sep-18/O
Total Suspended Solids < 3mg/L 3 SM 2540D 18-Sep-18/O
Chloride 5.4mg/L 0.5 SM4110C 14-Sep-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Sulphate < 1mg/L 1 SM4110C 14-Sep-18/O
Aluminum 0.17mg/L 0.01 SM 3120 21-Sep-18/O
Arsenic 0.0004mg/L 0.0001 EPA 200.8 24-Sep-18/O
Cadmium 0.000048mg/L 0.000015 EPA 200.8 24-Sep-18/O
Calcium 0.17mg/L 0.02 SM 3120 21-Sep-18/O
Chromium < 0.001mg/L 0.001 EPA 200.8 24-Sep-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 21-Sep-18/O
Copper 0.0432mg/L 0.0001 EPA 200.8 24-Sep-18/O
Iron 0.109mg/L 0.005 SM 3120 21-Sep-18/O
Lead 0.00046mg/L 0.00002 EPA 200.8 24-Sep-18/O
Magnesium 0.09mg/L 0.02 SM 3120 21-Sep-18/O
Manganese 0.001mg/L 0.001 SM 3120 21-Sep-18/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 20-Sep-18/O
Molybdenum < 0.01mg/L 0.01 SM 3120 21-Sep-18/O
Nickel 0.0030mg/L 0.0002 EPA 200.8 24-Sep-18/O
Potassium 0.3mg/L 0.1 SM 3120 21-Sep-18/O
Sodium 5.4mg/L 0.2 SM 3120 21-Sep-18/O
Zinc 0.018mg/L 0.005 SM 3120 21-Sep-18/O
Ammonia (N)-Total < 0.01mg/L 0.01 SM4500-


NH3-H
19-Sep-18/K


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28049


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-6Client I.D.
B18-28049-1Sample I.D.


12-Sep-18Date Collected


Phosphorus-Total 0.02mg/L 0.01 E3199A.1 19-Sep-18/K
Phenolics < 0.002mg/L 0.002 MOEE 3179 19-Sep-18/K
Total Organic Carbon 1.9mg/L 0.2 EPA 415.1 19-Sep-18/O
BOD < 3mg/L 3 SM 5210B 17-Sep-18/O
Fecal Coliform 0cfu/100mL 1 MOE E3371 14-Sep-18/O
Benzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Toluene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Ethylbenzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Xylene, m,p- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Xylene, o- < 0.1µg/L 0.1 EPA 8260 17-Sep-18/O
Xylene, m,p,o- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Toluene-d8 (SS) 102% EPA 8260 17-Sep-18/O
PHC F1 (C6-C10) < 20µg/L 20 MOE E3421 18-Sep-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






_1613656517.pdf


Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28050


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-8Client I.D.
B18-28050-1Sample I.D.


12-Sep-18Date Collected


Hardness (as CaCO3) < 1mg/L 1 SM 3120 21-Sep-18/O
Alkalinity(CaCO3) to pH4.5 < 5mg/L 5 SM 2320B 14-Sep-18/O
pH @25°C 6.48pH Units SM 4500H 14-Sep-18/O
Conductivity @25°C 28µmho/cm 1 SM 2510B 14-Sep-18/O
Total Suspended Solids < 3mg/L 3 SM 2540D 18-Sep-18/O
Chloride 5.2mg/L 0.5 SM4110C 14-Sep-18/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Nitrate (N) 0.1mg/L 0.1 SM4110C 14-Sep-18/O
Sulphate < 1mg/L 1 SM4110C 14-Sep-18/O
Aluminum 0.38mg/L 0.01 SM 3120 21-Sep-18/O
Arsenic 0.0005mg/L 0.0001 EPA 200.8 24-Sep-18/O
Cadmium 0.000016mg/L 0.000015 EPA 200.8 24-Sep-18/O
Calcium 0.15mg/L 0.02 SM 3120 21-Sep-18/O
Chromium < 0.001mg/L 0.001 EPA 200.8 24-Sep-18/O
Cobalt < 0.005mg/L 0.005 SM 3120 21-Sep-18/O
Copper 0.0005mg/L 0.0001 EPA 200.8 24-Sep-18/O
Iron 0.254mg/L 0.005 SM 3120 21-Sep-18/O
Lead 0.00018mg/L 0.00002 EPA 200.8 24-Sep-18/O
Magnesium 0.11mg/L 0.02 SM 3120 21-Sep-18/O
Manganese 0.001mg/L 0.001 SM 3120 21-Sep-18/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 20-Sep-18/O
Molybdenum < 0.01mg/L 0.01 SM 3120 21-Sep-18/O
Nickel < 0.0002mg/L 0.0002 EPA 200.8 24-Sep-18/O
Potassium 0.3mg/L 0.1 SM 3120 21-Sep-18/O
Sodium 5.3mg/L 0.2 SM 3120 21-Sep-18/O
Zinc < 0.005mg/L 0.005 SM 3120 21-Sep-18/O
Ammonia (N)-Total 0.02mg/L 0.01 SM4500-


NH3-H
19-Sep-18/K


Page 1 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *







Landfill Leachate


05-Oct-18DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B18-28050


Municipality of Qikiqtarjuaq
P.O. Box 4,
Qikiqtarjuaq Nunavut


Report To:


Attention: SAO -


14-Sep-18DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.LeachateSAMPLE MATRIX:


C.O.C.: ---


CERTIFICATE OF ANALYSIS


Parameter Units R.L.
Reference


Method
Date/Site
Analyzed


Qik-8Client I.D.
B18-28050-1Sample I.D.


12-Sep-18Date Collected


Phosphorus-Total 0.01mg/L 0.01 E3199A.1 19-Sep-18/K
Phenolics 0.002mg/L 0.002 MOEE 3179 19-Sep-18/K
Total Organic Carbon 1.5mg/L 0.2 EPA 415.1 19-Sep-18/O
BOD < 3mg/L 3 SM 5210B 17-Sep-18/O
Fecal Coliform 0cfu/100mL 1 MOE E3371 14-Sep-18/O
Benzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Toluene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Ethylbenzene < 0.5µg/L 0.5 EPA 8260 17-Sep-18/O
Xylene, m,p- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Xylene, o- < 0.1µg/L 0.1 EPA 8260 17-Sep-18/O
Xylene, m,p,o- < 0.4µg/L 0.4 EPA 8260 17-Sep-18/O
Toluene-d8 (SS) 102% EPA 8260 17-Sep-18/O
PHC F1 (C6-C10) < 20µg/L 20 MOE E3421 18-Sep-18/O


Page 2 of 2.


Greg Clarkin , BSc., C. Chem
Lab Manager - Ottawa District


R.L. = Reporting Limit


The analytical results reported herein refer to the samples as received.  Reproduction of this analytical report in full or in part is prohibited without prior consent from
Caduceon Environmental Laboratories.


NOTE: Fecal Coliform passed acceptable holding time upon arrival at Lab.  No 1L Amber Glass Bottles
received - unable to andlyze for PHC(F2-F4), PAH's & Oil & Grease.


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill,B-Barrie
Test methods may be modified from specified reference method unless indicated by an *






B18-28049

		Certificate of Analysis																		REPORT No. B18-28049

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		14/Sep/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		5/Oct/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Qik-6

								Sample ID:				B18-28049-1

								Date Collected:				12-Sep-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		21-Sep-18/O		< 1

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		14-Sep-18/O		< 5

		pH @25°C		pH Units				SM 4500H		14-Sep-18/O		6.31

		Conductivity @25°C		µmho/cm		1		SM 2510B		14-Sep-18/O		30

		Total Suspended Solids		mg/L		3		SM 2540D		18-Sep-18/O		< 3

		Chloride		mg/L		0.5		SM4110C		14-Sep-18/O		5.4

		Nitrite (N)		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1

		Sulphate		mg/L		1		SM4110C		14-Sep-18/O		< 1

		Aluminum		mg/L		0.01		SM 3120		21-Sep-18/O		0.17

		Arsenic		mg/L		0.0001		EPA 200.8		24-Sep-18/O		0.0004

		Cadmium		mg/L		0.000015		EPA 200.8		24-Sep-18/O		0.000048

		Calcium		mg/L		0.02		SM 3120		21-Sep-18/O		0.17

		Chromium		mg/L		0.001		EPA 200.8		24-Sep-18/O		< 0.001

		Cobalt		mg/L		0.005		SM 3120		21-Sep-18/O		< 0.005

		Copper		mg/L		0.0001		EPA 200.8		24-Sep-18/O		0.0432

		Iron		mg/L		0.005		SM 3120		21-Sep-18/O		0.109

		Lead		mg/L		0.00002		EPA 200.8		24-Sep-18/O		0.00046

		Magnesium		mg/L		0.02		SM 3120		21-Sep-18/O		0.09

		Manganese		mg/L		0.001		SM 3120		21-Sep-18/O		0.001

		Mercury		mg/L		0.00002		SM 3112 B		20-Sep-18/O		< 0.00002

		Molybdenum		mg/L		0.01		SM 3120		21-Sep-18/O		< 0.01

		Nickel		mg/L		0.0002		EPA 200.8		24-Sep-18/O		0.003

		Potassium		mg/L		0.1		SM 3120		21-Sep-18/O		0.3

		Sodium		mg/L		0.2		SM 3120		21-Sep-18/O		5.4

		Zinc		mg/L		0.005		SM 3120		21-Sep-18/O		0.018

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		19-Sep-18/K		< 0.01

		Phosphorus-Total		mg/L		0.01		E3199A.1		19-Sep-18/K		0.02

		Phenolics		mg/L		0.002		MOEE 3179		19-Sep-18/K		< 0.002

		Total Organic Carbon		mg/L		0.2		EPA 415.1		19-Sep-18/O		1.9

		BOD		mg/L		3		SM 5210B		17-Sep-18/O		< 3

		Fecal Coliform		cfu/100mL		1		MOE E3371		14-Sep-18/O		0

		Benzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Toluene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Xylene, m,p-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Xylene, o-		µg/L		0.1		EPA 8260		17-Sep-18/O		< 0.1

		Xylene, m,p,o-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Toluene-d8 (SS)		%				EPA 8260		17-Sep-18/O		102

		PHC F1 (C6-C10)		µg/L		20		MOE E3421		18-Sep-18/O		< 20







B18-28050

		Certificate of Analysis																		REPORT No. B18-28050

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		14/Sep/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		5/Oct/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Qik-8

								Sample ID:				B18-28050-1

								Date Collected:				12-Sep-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		21-Sep-18/O		< 1

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		14-Sep-18/O		< 5

		pH @25°C		pH Units				SM 4500H		14-Sep-18/O		6.48

		Conductivity @25°C		µmho/cm		1		SM 2510B		14-Sep-18/O		28

		Total Suspended Solids		mg/L		3		SM 2540D		18-Sep-18/O		< 3

		Chloride		mg/L		0.5		SM4110C		14-Sep-18/O		5.2

		Nitrite (N)		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		14-Sep-18/O		0.1

		Sulphate		mg/L		1		SM4110C		14-Sep-18/O		< 1

		Aluminum		mg/L		0.01		SM 3120		21-Sep-18/O		0.38

		Arsenic		mg/L		0.0001		EPA 200.8		24-Sep-18/O		0.0005

		Cadmium		mg/L		0.000015		EPA 200.8		24-Sep-18/O		0.000016

		Calcium		mg/L		0.02		SM 3120		21-Sep-18/O		0.15

		Chromium		mg/L		0.001		EPA 200.8		24-Sep-18/O		< 0.001

		Cobalt		mg/L		0.005		SM 3120		21-Sep-18/O		< 0.005

		Copper		mg/L		0.0001		EPA 200.8		24-Sep-18/O		0.0005

		Iron		mg/L		0.005		SM 3120		21-Sep-18/O		0.254

		Lead		mg/L		0.00002		EPA 200.8		24-Sep-18/O		0.00018

		Magnesium		mg/L		0.02		SM 3120		21-Sep-18/O		0.11

		Manganese		mg/L		0.001		SM 3120		21-Sep-18/O		0.001

		Mercury		mg/L		0.00002		SM 3112 B		20-Sep-18/O		< 0.00002

		Molybdenum		mg/L		0.01		SM 3120		21-Sep-18/O		< 0.01

		Nickel		mg/L		0.0002		EPA 200.8		24-Sep-18/O		< 0.0002

		Potassium		mg/L		0.1		SM 3120		21-Sep-18/O		0.3

		Sodium		mg/L		0.2		SM 3120		21-Sep-18/O		5.3

		Zinc		mg/L		0.005		SM 3120		21-Sep-18/O		< 0.005

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		19-Sep-18/K		0.02

		Phosphorus-Total		mg/L		0.01		E3199A.1		19-Sep-18/K		0.01

		Phenolics		mg/L		0.002		MOEE 3179		19-Sep-18/K		0.002

		Total Organic Carbon		mg/L		0.2		EPA 415.1		19-Sep-18/O		1.5

		BOD		mg/L		3		SM 5210B		17-Sep-18/O		< 3

		Fecal Coliform		cfu/100mL		1		MOE E3371		14-Sep-18/O		0

		Benzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Toluene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Xylene, m,p-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Xylene, o-		µg/L		0.1		EPA 8260		17-Sep-18/O		< 0.1

		Xylene, m,p,o-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Toluene-d8 (SS)		%				EPA 8260		17-Sep-18/O		102

		PHC F1 (C6-C10)		µg/L		20		MOE E3421		18-Sep-18/O		< 20







B18-28051

		Certificate of Analysis																		REPORT No. B18-28051

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		14/Sep/18								JOB/PROJECT NO.:				Landfill Leachate

		DATE REPORTED:		5/Oct/18								P.O. NUMBER:

		SAMPLE MATRIX:		Leachate								WATERWORKS NO.:				



								Client ID:				Qik-13

								Sample ID:				B18-28051-1

								Date Collected:				12-Sep-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		21-Sep-18/O		16

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		14-Sep-18/O		< 5

		pH @25°C		pH Units				SM 4500H		14-Sep-18/O		5.64

		Conductivity @25°C		µmho/cm		1		SM 2510B		14-Sep-18/O		30

		Total Suspended Solids		mg/L		3		SM 2540D		18-Sep-18/O		< 3

		Chloride		mg/L		0.5		SM4110C		14-Sep-18/O		5.3

		Nitrite (N)		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		14-Sep-18/O		0.2

		Sulphate		mg/L		1		SM4110C		14-Sep-18/O		3

		Aluminum		mg/L		0.01		SM 3120		21-Sep-18/O		0.19

		Arsenic		mg/L		0.0001		EPA 200.8		26-Sep-18/O		0.0003

		Cadmium		mg/L		0.000015		EPA 200.8		26-Sep-18/O		< 0.000015

		Calcium		mg/L		0.02		SM 3120		21-Sep-18/O		4.53

		Chromium		mg/L		0.001		EPA 200.8		26-Sep-18/O		< 0.001

		Cobalt		mg/L		0.005		SM 3120		21-Sep-18/O		< 0.005

		Copper		mg/L		0.0001		EPA 200.8		26-Sep-18/O		0.0004

		Iron		mg/L		0.005		SM 3120		21-Sep-18/O		0.141

		Lead		mg/L		0.00002		EPA 200.8		26-Sep-18/O		0.00013

		Magnesium		mg/L		0.02		SM 3120		21-Sep-18/O		1.21

		Manganese		mg/L		0.001		SM 3120		21-Sep-18/O		0.006

		Mercury		mg/L		0.00002		SM 3112 B		20-Sep-18/O		< 0.00002

		Molybdenum		mg/L		0.01		SM 3120		21-Sep-18/O		< 0.01

		Nickel		mg/L		0.0002		EPA 200.8		26-Sep-18/O		< 0.0002

		Potassium		mg/L		0.1		SM 3120		21-Sep-18/O		0.3

		Sodium		mg/L		0.2		SM 3120		21-Sep-18/O		6.2

		Zinc		mg/L		0.005		SM 3120		21-Sep-18/O		0.018

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		19-Sep-18/K		< 0.01

		Phosphorus-Total		mg/L		0.01		E3199A.1		19-Sep-18/K		0.02

		Phenolics		mg/L		0.002		MOEE 3179		19-Sep-18/K		< 0.002

		Total Organic Carbon		mg/L		0.2		EPA 415.1		19-Sep-18/O		1.4

		BOD		mg/L		3		SM 5210B		17-Sep-18/O		< 3

		Fecal Coliform		cfu/100mL		1		MOE E3371		14-Sep-18/O		0

		Benzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Toluene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Ethylbenzene		µg/L		0.5		EPA 8260		17-Sep-18/O		< 0.5

		Xylene, m,p-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Xylene, o-		µg/L		0.1		EPA 8260		17-Sep-18/O		< 0.1

		Xylene, m,p,o-		µg/L		0.4		EPA 8260		17-Sep-18/O		< 0.4

		Toluene-d8 (SS)		%				EPA 8260		17-Sep-18/O		103

		PHC F1 (C6-C10)		µg/L		20		MOE E3421		18-Sep-18/O		< 20







B18-28052

		Certificate of Analysis																		REPORT No. B18-28052

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		14/Sep/18								JOB/PROJECT NO.:				Drinking Water

		DATE REPORTED:		5/Oct/18								P.O. NUMBER:

		SAMPLE MATRIX:		Drinking Water								WATERWORKS NO.:				



								Client ID:				Qik-1  Tuluqak River		Qik-2  Reservoir

								Sample ID:				B18-28052-1		B18-28052-2

								Date Collected:				12-Sep-18		12-Sep-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		TDS (Calc. from Cond.)		mg/L		1		Calc.		18-Sep-18		9		9

		Chloride		mg/L		0.5		SM4110C		14-Sep-18/O		4		4.3

		Fluoride		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		14-Sep-18/O		0.2		< 0.1

		Nitrite (N)		mg/L		0.1		SM4110C		14-Sep-18/O		< 0.1		< 0.1

		Sulphate		mg/L		1		SM4110C		14-Sep-18/O		< 1		< 1

		Cyanide (Total)		mg/L		0.005		SM 4500CN		18-Sep-18/K		< 0.005		< 0.005

		Arsenic		mg/L		0.0001		EPA 200.8		26-Sep-18/O		< 0.0001		< 0.0001

		Barium		mg/L		0.001		SM 3120		17-Sep-18/O		0.001		0.001

		Cadmium		mg/L		0.000015		EPA 200.8		26-Sep-18/O		< 0.000015		< 0.000015

		Chromium		mg/L		0.002		SM 3120		17-Sep-18/O		< 0.002		< 0.002

		Chromium (VI)		mg/L		0.002		MOE E3056		21-Sep-18/O		< 0.002		< 0.002

		Copper		mg/L		0.002		SM 3120		17-Sep-18/O		< 0.002		< 0.002

		Iron		mg/L		0.005		SM 3120		17-Sep-18/O		0.018		0.066

		Lead		mg/L		0.00002		EPA 200.8		26-Sep-18/O		< 0.00002		0.00003

		Manganese		mg/L		0.001		SM 3120		17-Sep-18/O		0.001		0.001

		Selenium		mg/L		0.001		EPA 200.8		26-Sep-18/O		< 0.001		< 0.001

		Silver		mg/L		0.0001		EPA 200.8		26-Sep-18/O		< 0.0001		< 0.0001

		Zinc		mg/L		0.005		SM 3120		17-Sep-18/O		< 0.005		< 0.005

		Phenolics		mg/L		0.002		MOEE 3179		19-Sep-18/K		< 0.002		< 0.002

		Dissolved Organic Carbon		mg/L		0.2		EPA 415.1		19-Sep-18/O		0.3		0.3

		Surfactants Content		mg/L		0.05		SM-5540-C		01-Oct-18/O		< 0.05		< 0.05

		E coli		cfu/100mL		1		MOE E3407		14-Sep-18/O		0		0







B18-32499

		Certificate of Analysis																		REPORT No. B18-32499

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		19/Oct/18								JOB/PROJECT NO.:				

		DATE REPORTED:		6/Nov/18								P.O. NUMBER:

		SAMPLE MATRIX:		Waste Water								WATERWORKS NO.:				



								Client ID:				First Discharge Qik 6		Middle Sample Qik 6

								Sample ID:				B18-32499-1		B18-32499-2

								Date Collected:				15-Oct-18		15-Oct-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		01-Nov-18/O		33		34

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		26-Oct-18/O		26		27

		pH @25°C		pH Units				SM 4500H		26-Oct-18/O		7.54		7.4

		Conductivity @25°C		µmho/cm		1		SM 2510B		26-Oct-18/O		114		114

		Total Suspended Solids		mg/L		3		SM2540D		24-Oct-18/K		26		10

		Chloride		mg/L		0.5		SM4110C		29-Oct-18/O		16		15.2

		Nitrite (N)		mg/L		0.1		SM4110C		29-Oct-18/O		< 0.1		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		29-Oct-18/O		< 0.1		< 0.1

		Sulphate		mg/L		1		SM4110C		29-Oct-18/O		2		2

		Calcium		mg/L		0.02		SM 3120		01-Nov-18/O		8.84		9.19

		Magnesium		mg/L		0.02		SM 3120		01-Nov-18/O		2.61		2.67

		Sodium		mg/L		0.2		SM 3120		01-Nov-18/O		14.8		14.5

		Potassium		mg/L		0.1		SM 3120		01-Nov-18/O		3.6		3.5

		Aluminum		mg/L		0.01		SM 3120		01-Nov-18/O		0.21		0.05

		Arsenic		mg/L		0.0005		EPA 200.8		23-Oct-18/O		< 0.0005		< 0.0005

		Cadmium		mg/L		0.005		SM 3120		01-Nov-18/O		< 0.005		< 0.005

		Chromium		mg/L		0.002		SM 3120		01-Nov-18/O		< 0.002		< 0.002

		Cobalt		mg/L		0.005		SM 3120		01-Nov-18/O		< 0.005		< 0.005

		Copper		mg/L		0.002		SM 3120		01-Nov-18/O		0.01		0.012

		Iron		mg/L		0.005		SM 3120		01-Nov-18/O		1.02		0.845

		Lead		mg/L		0.02		SM 3120		01-Nov-18/O		< 0.02		< 0.02

		Manganese		mg/L		0.001		SM 3120		01-Nov-18/O		0.041		0.037

		Mercury		mg/L		0.00002		SM 3112 B		05-Nov-18/O		< 0.00002		< 0.00002

		Nickel		mg/L		0.01		SM 3120		01-Nov-18/O		< 0.01		< 0.01

		Zinc		mg/L		0.005		SM 3120		01-Nov-18/O		0.017		0.013

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		24-Oct-18/K		1.47		1.55

		Phenolics		mg/L		0.002		MOEE 3179		26-Oct-18/K		< 0.002		0.003

		BOD(5 day)		mg/L		2		SM 5210B		22-Oct-18/K		6		5

		Total Organic Carbon		mg/L		0.2		EPA 415.1		29-Oct-18/O		10.6		11.3

		Oil & Grease-Total		mg/L		1		SM 5520		25-Oct-18/K		1.1		< 1.0

		Fecal Coliform		cfu/100mL		1		MOE E3371		19-Oct-18/O		< 2		< 2







B18-32501

		Certificate of Analysis																		REPORT No. B18-32501

		Final Report

		Report To:										Caduceon Environmental Laboratories

		Municipality of Qikiqtarjuaq										2378 Holly Lane 

		P.O. Box 4, 										Ottawa Ontario K1V 7P1

		Qikiqtarjuaq Nunavut 										Tel: 613-526-0123

		Attention:		SAO -								Fax: 613-526-1244

		DATE SUBMITTED:		19/Oct/18								JOB/PROJECT NO.:				Waste Water

		DATE REPORTED:		6/Nov/18								P.O. NUMBER:

		SAMPLE MATRIX:		Waste Water								WATERWORKS NO.:				



								Client ID:				Qik 6 Finish Discharge

								Sample ID:				B18-32501-1

								Date Collected:				16-Oct-18

		Parameter		Units		M.D.L.		Reference Method		Date/Site Analyzed

		Hardness (as CaCO3)		mg/L		1		SM 3120		01-Nov-18/O		44

		Alkalinity(CaCO3) to pH4.5		mg/L		5		SM 2320B		26-Oct-18/O		37

		pH @25°C		pH Units				SM 4500H		26-Oct-18/O		6.96

		Conductivity @25°C		µmho/cm		1		SM 2510B		26-Oct-18/O		156

		Total Suspended Solids		mg/L		3		SM2540D		24-Oct-18/K		142

		Chloride		mg/L		0.5		SM4110C		29-Oct-18/O		19

		Nitrite (N)		mg/L		0.1		SM4110C		29-Oct-18/O		< 0.1

		Nitrate (N)		mg/L		0.1		SM4110C		29-Oct-18/O		< 0.1

		Sulphate		mg/L		1		SM4110C		29-Oct-18/O		3

		Calcium		mg/L		0.02		SM 3120		01-Nov-18/O		11.4

		Magnesium		mg/L		0.02		SM 3120		01-Nov-18/O		3.71

		Sodium		mg/L		0.2		SM 3120		01-Nov-18/O		18.2

		Potassium		mg/L		0.1		SM 3120		01-Nov-18/O		6.4

		Aluminum		mg/L		0.01		SM 3120		01-Nov-18/O		0.6

		Arsenic		mg/L		0.0005		EPA 200.8		23-Oct-18/O		< 0.0005

		Cadmium		mg/L		0.005		SM 3120		01-Nov-18/O		< 0.005

		Chromium		mg/L		0.002		SM 3120		01-Nov-18/O		0.002

		Cobalt		mg/L		0.005		SM 3120		01-Nov-18/O		< 0.005

		Copper		mg/L		0.002		SM 3120		01-Nov-18/O		0.012

		Iron		mg/L		0.005		SM 3120		01-Nov-18/O		1.93

		Lead		mg/L		0.02		SM 3120		01-Nov-18/O		< 0.02

		Manganese		mg/L		0.001		SM 3120		01-Nov-18/O		0.071

		Mercury		mg/L		0.00002		SM 3112 B		05-Nov-18/O		< 0.00002

		Nickel		mg/L		0.01		SM 3120		01-Nov-18/O		< 0.01

		Zinc		mg/L		0.005		SM 3120		01-Nov-18/O		0.036

		Ammonia (N)-Total		mg/L		0.01		SM4500-NH3-H		24-Oct-18/K		2.11

		Phenolics		mg/L		0.002		MOEE 3179		26-Oct-18/K		0.015

		BOD(5 day)		mg/L		2		SM 5210B		22-Oct-18/K		> 100

		Total Organic Carbon		mg/L		0.2		EPA 415.1		29-Oct-18/O		17

		Oil & Grease-Total		mg/L		1		SM 5520		25-Oct-18/K		11.5

		Fecal Coliform		cfu/100mL		1		MOE E3371		19-Oct-18/O		< 2








