YEAR BEING REPORTED:  2024

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-QIK2427 issued to the Hamlet of Qikiqtarjuaq.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January | 2,002,206.60 | Same |
| February | 2,102,128.70 | Same |
| March | 2,062,625.00 | Same |
| April | 2,078,087.70 | Same |
| May | 2,166,030.00 | Same |
| June | 2,028,877.00 | Same |
| July | 2,015,362.70 | Same |
| August | 2,043,357.70 | Same |
| September | 1,909,410.60 | Same |
| October | 2,033,854.10 | Same |
| November | 1,888,526.50 | Same |
| December | 2,098,866.90 | Same |
| ANNUAL TOTAL | 24,429,333.50 | 24,429,333.50 |

Note: The water consumption volume is considered equal to the discharge volume

because there is no meter at the end of the discharge pipe.

- A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

No modification and/or any major maintenance work was carried out during this reporting period.

__________________________________________________________________________

- A list of unauthorized discharges and summary of follow-up action taken;

During each summer, the leachate is normally uncontrolled from the wastes site since the wastes site is non -engineered. The lower part of the berms of the Sewage lagoon shows sign of leaks during summer. Both types of flows are uncontrolled and run over the 1km long wetland towards the sea.

- A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

The Design of the rehabilitation of the Land farm was started. After 25% completion, this project was stopped due to lack of funding. As a result, this is still considered abandoned facility. Hamlet is looking for funding to rehabilitate this facility in 2025 or later.

________________________________________________________________

- A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

In 2024, The Hamlet’s  Water Licence was renewed for three yrs. Terms.

Currently Hamlet is planning to apply for funding to CIRNAC, NRC and CHIF.

CIRNAC: Hamlet’s funding application to CIRNAC to assess the leaks of the Sewage

Lagoon was approved. Hamlet  will be signing an agreement with CIRNAC once GN’s

support letter is presented.

NRC: Hamlet’s letter of Interest to NRC for the long term water supply was approved.

Hamlet is working on the final proposal for funding for three years terms.

CHIF: Hamlet is also planning to submit an application for the funding to upgrade the

Water treatment Plant and repair the leaks of the water reservoir  , also to build a

new Land farm.

______________________________________________________________

- Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

The flow meter at the intake was not installed yet. In order to record exact amount of water withdrawal from the source, a flow meter is suggested to be installed. Hamlet is still looking for a suitable device. It is expected to get installed in summer 2025.

Also, Hazardous materials were asked to segregate and store in order to future disposal to the south. Hamlet is still working on it.

____________________________________________________________________

- Updates or revisions to the approved Operation and Maintenance Plans.

- ________________________________________________________________

Hamlet is using the existing O&M manuals to operate the water licensed facilities

because no modifications to the facilities were made since these were built.

______________________________________________________________________

x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Hamlet submits annual report on time. They are using Ottawa Caduceon lab for testing

water, wastewater and leachate samples in summer on regular basis.

xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

Hamlet is working closely with CIRNAC inspector and following his advice and

direction in order to keep their water licence into compliancy.

The Hamlet works with CGS technical members as and when needed.

The Lab Test Results for 2024 are submitted .