[image: image1.png]Nunavut





Phyllis Beaulieu                                                                    November 02, 2010
Manager of Licensing

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU  X0B 1J0

Reply to Sanikiluaq Water Licensing Issues: Sanikiluaq Water License #3BM-SAN0308
Dear Ms. Beaulieu,

In response to your letter dated on January 26, 2009 and subsequent reminder on July 29, 2010, I am replying to your questions as follows.

1. Annual reports from 2003 onward:

SAO was conducted. Annual report for 2007 is available. The annual report for 2009 is also available and was sent to NWB to support the Water License renewal process. He is now working for the rest

 2008, 2006, 2005, 2004 and 2003 annual reports. 

2. Report on finial discharge points

       Final Sewage discharge point (79015’2.104”W,56032’36.1085”N) is tentatively 
       established at the end of the Lagoon on the wetlands prior to mixing and diluting 
       with the surface water of the Eskimo Harbour, which is  more than 2 km from the 
      lagoon. Please see the location Map attached.

3. An O&M manual 

For three facilities, there should be three O&M manuals: A draft O&M manual of water supply system was sent to NWB already.  O&M manual is neither available for sewage lagoon nor MSM because these are not the engineered facilities. O&M manuals will be developed once design works of these facilities are completed. We are presently in RFP process for tendering wastewater improvement project. Draft O&M manual might be available in 2011.

4. QA/QC plan

The QA/QC plan belongs to the O&M manual of Sewage Lagoon. This plan will be developed along with the O&M manual of the Sewage Lagoon. This document might be ready some time in 2011.
5. Any maps, drawings, and or figures for the license 

       The Community location Plan is attached. The as built drawings of the WTF station 
       will be part of the final O&M manual and ready at the end of 2010. Attach recent 
       inspection report where description and pictures of waste site and Sewage lagoon 
       is provided.

6. ID of water source

The Sanikiluaq natural water lake is the ID of Source Water.

7. Mesh size on intake

The screen slot opening  is 1.5mm (0.06inches) as indicated in the drawings and O&M manual built in 1982. This is still there.

8. Explanation of unsatisfactory conditions of water supply facilities

This facility has been designed for rehabilitation. The construction is in progress and scheduled to complete in November 2010.

9. Update on modifications to water supply/msw/sewage treatment facilities

Water supply: Discussed in item 8.

Sewage Lagoon: Funding is available and RFP is ready for advertisement to hire a consultant

MSW: The Solid waste project is under feasibility study. Fund is not available for capital project.

10. Burning procedures for msw

      The Community has a netting structure two sides open. They burn garbage inside 
      that structure. The attached inspection report shows the picture of the structure. 

11. No ID of what waste was in msw facility

       Domestic wastes and metal wastes. This site is located next to the lagoon. Recent 
       inspection report is attached.

12. No date for the most recent INAC inspection

The INAC inspected recently Sanikiluaq on August 16, 2010

13. No sampling information

       Water sampling: Daily water is being tested by CGS maintainer for free Chlorine 
       residual. Microbiological quality of Water is tested monthly in Winnipeg Health
      Centre.
14. Application states 68 m3 of water returned to the source; from where to

 where?

 Currently Sewage truck has no metre for measuring quantity of water discharged.   

 Therefore annual volume of potable water consumed is considered as the same  

 volume of wastewater discharge by trucking to the Sewage lagoon annually. 

 Documents attached:
 Appendix –A: Location Map of Sanikiluaq

 Appendix-- B: Hamlet Annual Reports: 2003-2009

 Appendix-  C: Inspection Report
If you have any question, Please do not hesitate to contact me.
Thanks.

Bhabesh Roy, M.A.Sc., P.Eng.
Municipal Planning Engineer

Community & Government Services

Baffin Region,Government of Nunavut

P.O.Box 379,Pond Inlet, X0A 0S0

Ph-867 899 7314

Fax-867 899 7328

E-mail: broy@gov.nu.ca
Copy to : 
Gregor Hope, Project Officer, GN-CGS, Baffin Region

Patricio Fuentes, Project Manager Capital Projects,GN-CGS, Baffin Region

Tom Livinston, P.Eng., Acting Asstt. Regional Director,GN-CGS, Baffin Region

Timoon Toonoo, Regional Director, GN-CGS, Baffin Region

Roy Green, Director, Community Infrastructure,GN-CGS, Iqaluit

Rosemary Kilpatrick, Manager, Community Infrastructure,GN-CGS, Iqaluit

Bill Westwell, SMPE,  Community Infrastructure, GN-CGS, Iqaluit

Steven Burden, P.Eng, Trow Associates Inc.

Muhamud Hassan, SAO, Hamlet of Sanikiluaq

P.O. Box 379, Government of Nunavut, Pond Inlet 
( (867) 899-7301 ( (867) 899-7330

