
ANNUAL REPORT 






FOR THE MUNICIPALITY OF SANIKILUAQ 2004


YEAR BEING REPORTED:  2004                 


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence NWB3PON0409  issued to the Municipality of  Sanikiluaq.

i)- iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.

	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 2004
	2,104,005
	Same

	February 2004
	1,765,275
	Same

	March 2004
	1,955,578
	Same

	April 2004
	1,853,325
	Same

	May 2004
	1,885,660
	Same

	June 2004
	1,988,853
	Same

	July 2004
	1,811,036
	Same

	August 2004
	1,806,735
	Same

	September 2004
	1,929,736
	Same

	October 2004
	2,139,183
	Same

	November 2004
	1,919,899
	Same

	December 2004
	1,970,985
	Same

	ANNUAL TOTAL
	23,130,470
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


               Some Repairing works will be carried out on this facility to keep running until the new 

              facility is designed , built and commissioned. The consultant is on board and right now                 they are designing for the new facility. 





v. a list of unauthorized discharges and summary of follow-up action taken;    


                                                    N/A





vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


                                                                  N/A





vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

________________________________________________________________________A study and design will be conducted on Sewage Lagoon and Solidwaste Management once capital funds are available.  ________________________________________________________________
viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


                                                               N/A





ix. updates or revisions to the approved Operation and Maintenance Plans.


                                 N/A


ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                   A new Water Truck Fill station is expected in summer 2010.










FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                                                          NIL







 

Page 1 of 3

