
ANNUAL REPORT 






FOR THE HAMLET OF SANIKILUAQ, 2013


YEAR BEING REPORTED:  2013


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3 NWB -SAN 1214 issued to the Hamlet of Sanikiluaq.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2013
	2,721,505.00
	Same

	February 2013
	2,575,902.33
	Same

	March 2013
	2,695,366.50
	Same

	April 2013
	2,727,929.30
	Same

	May 2013
	2,942,098.10
	Same

	June 2013
	2,729,522.90
	Same

	July 2013
	2,743,620,70
	Same

	August 2013
	2,747,160.90
	Same

	September 2013
	2,778,833.00
	Same

	October 2013
	2,836,249.50
	Same

	November 2013
	
	Same

	December 2013
	
	Same

	ANNUAL TOTAL
	27,498,188.23
	Same


             Note: There is no meter existing at the discharge pipe. Therefore the monthly
              discharge is considered as equal to the monthly water consumption.

iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


The rehabilitation of the Water Truck fill Station was completed. Design and drawings are attached. The design for the new sewage lagoon is in progress.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Once the new Sewage lagoon is built and commissioned, the existing ditch so called lagoon will be abandoned and restored.
           ________________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste management was completed. Waiting for the direction 
                  from CGS Capital Planning. Design of the new Sewage Lagoon is in progress. This 

                  project is still on hold.     
           ___________________________________________________________________           

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and





Wastes management in the Community are the concerns of the Nunavut Water Board. 
Intake screen of the water Truck fill station has been replaced.

           _________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


                 O&M manual of the Truck fill station has been updated. The O&M manual of the new 

                 Sewage Lagoon will be prepared and made available once the new facility is built and 

                 commissioned.
            _________________________________________________________________

                 ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     Improvement of the Solid waste management and Fencing.

                   FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                Hamlet is working with CGS for Water License Compliancy. Hamlet has started 

             extended sampling and testing program for Water, Wastewater and Leachate coming 
             from the landfill site. The Lab test results for 2013 are attached
           
[image: image1.emf]

 EMBED AcroExch.Document.7  [image: image2.emf]

 EMBED AcroExch.Document.7  [image: image3.emf]

 EMBED AcroExch.Document.7  [image: image4.emf]

 EMBED AcroExch.Document.7  [image: image5.emf]

 EMBED AcroExch.Document.7  [image: image6.emf]

 EMBED AcroExch.Document.7  [image: image7.emf]

 EMBED AcroExch.Document.7  [image: image8.emf]

 EMBED AcroExch.Document.7  [image: image9.emf]

 EMBED AcroExch.Document.7  [image: image10.emf]

 EMBED AcroExch.Document.7  [image: image11.emf]

 EMBED AcroExch.Document.7  [image: image12.emf]

 EMBED AcroExch.Document.7  [image: image13.emf]

 EMBED AcroExch.Document.7  [image: image14.emf]

 EMBED AcroExch.Document.7  [image: image15.emf]

 EMBED AcroExch.Document.7  [image: image16.emf]

 EMBED AcroExch.Document.7  [image: image17.emf]

 EMBED Word.Document.8 \s [image: image18.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani 2 (waste disposal ground - stream)       Lab # :   L1376170 - 1     Date Sampled :   09 - Oct - 13     Email :    sanis ao@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   KF         Date:   1 5 - Oct - 13  



 EMBED Word.Document.8 \s [image: image19.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani  4   ( lagoon - stream)       Lab # :   L1376170 - 4     Date Sampled :   09 - Oct - 13     Email :    sanisao@qiniq.com; b roy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   KF         Date:   1 5 - Oct - 13  



 EMBED Word.Document.8 \s [image: image20.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sewage Truck       Lab # :   L1272653 - 3     Date Sampled :   25 - Feb - 13     Email :    sa nisao@qiniq.com; sanllands@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:   100%  mortality observed   in 100% concentration             Name:   LS         Date:   01 - Mar - 13  



 EMBED Word.Document.8 \s [image: image21.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sewage Truck       Lab # :   L1272653 - 2,3     Date Sampled :   25 - Feb - 13     Email :    sanisao@qiniq.com; sanllands@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:   100% mortality in 100% concentration             Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:   100% immobility in 100% concentration             Name:   LS         Date:   28 - Feb - 13  



 EMBED AcroExch.Document.7  [image: image22.emf]

 EMBED AcroExch.Document.7  [image: image23.emf]

 EMBED AcroExch.Document.7  [image: image24.emf]

 EMBED Word.Document.8 \s [image: image25.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani 2 (waste disposal ground - stream)       Lab # :   L1376170 - 1     Date Sampled :   09 - Oct - 13     Email :    sanis ao@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   DJG         Date:   12 - Oct - 13  



 EMBED Word.Document.8 \s [image: image26.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani 2 (waste disposal ground - stream)       Lab # :   L1376170 - 2     Date Sampled :   09 - Oct - 13     Email :    sanis ao@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   DJG         Date:   12 - Oct - 13  



 EMBED Word.Document.8 \s [image: image27.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani  4   ( lagoon - stream)       Lab # :   L1376170 - 4     Date Sampled :   09 - Oct - 13     Email :    sanisao@qiniq.com; b roy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   DJG         Date:   12 - Oct - 13  



 EMBED Word.Document.8 \s [image: image28.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani  4   ( lagoon - stream)       Lab # :   L1376170 - 5     Date Sampled :   09 - Oct - 13     Email :    sanisao@qiniq.com; b roy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   DJG         Date:   12 - Oct - 13  



 EMBED Word.Document.8 \s [image: image29.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani 2 (waste disposal ground - stream)       Lab # :   L1376170 - 2     Date Sampled :   09 - Oct - 13     Email :    sanis ao@qiniq.com; broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   KF         Date:   11 - Oct - 13  



 EMBED Word.Document.8 \s [image: image30.emf]ACUTE TOXICITY BIOASSAY UPDATE       Client :   Municipality of Sanikiluaq     Contact :  Andre Larabie     Sample ID :   Sani  40   ( lagoon - stream)       Lab # :   L1376170 - 5     Date Sampled :   09 - Oct - 13     Email :    sanisao@qiniq.com;  broy@gov.nu.ca               Fax   # :              Phone # :                     Trout       24 Hour                 LC50                  Pass/Fail     96 Hour       No Mortality/Stress observed:         Mortality/Stress observed:         Details:                         Daphnia     24 Hour                 LC50                  Pass/Fail     48   Hour       No Mortality/Stress o bserved:         Mortality/Stress observed:         Details:               Name:   KF         Date:   11 - Oct - 13  



 EMBED AcroExch.Document.7  [image: image31.emf]

 EMBED AcroExch.Document.7  [image: image32.emf]
Page 1 of 35

