
ANNUAL REPORT 






FOR THE HAMLET OF SANIKILUAQ


YEAR BEING REPORTED 2011                 


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # NWB 3-SAN 0308 issued to the Hamlet of Sanikiluaq.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2011
	2392650
	Same

	February 2011
	2306252
	Same

	March 2011
	2520061
	Same

	April 2011
	2453895
	Same

	May 2011
	2645229
	Same

	June 2011
	2640281
	Same

	July 2011
	2341972
	Same

	August 2011
	2678512
	Same

	September 2011
	2668221
	Same

	October 2011
	2498193
	Same

	November 2011
	2607298
	Same

	December 2011
	2474936
	Same

	ANNUAL TOTAL
	30227500
	Same


             Note: The average consumption volume is considered equal for each month.
             There is no meter existing at the discharge pipe. Therefore the monthly discharge 
iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


Water Truck fill station has been rehabilitated and upgraded. Design on Sewage Lagoon is in progress.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


If the new Sewage lagoon location is changed, the existing ditch being currently used will be abandoned and restored.
           ________________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste was completed recently. Waiting for the direction from 
                  CGS Capital Planning. Study and design on the Sewage Lagoon are in progress.      
           ___________________________________________________________________           

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


                 Sewage Lagoon and present waste management are the concerns of the 
                 Nunavut Water Board. 
           ______________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


                 O&M manual will be prepared for the new sewage lagoon once it is built.
            _______________________________________________________________________

                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     NIL

                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working with CGS for INAC inspection concerns and Water License 
               compliancy.
Page 1 of 2

