
ANNUAL REPORT 






FOR THE HAMLET OF SANIKILUAQ, 2012


YEAR BEING REPORTED:  2012


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3 NWB -SAN 1214 issued to the Hamlet of Sanikiluaq.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2012
	2,462,223.40
	Same

	February 2012
	2,456,945.50
	Same

	March 2012
	2,678,975.90
	Same

	April 2012
	2,502,260.50
	Same

	May 2012
	2,761,450.40
	Same

	June 2012
	2,702,899.70
	Same

	July 2012
	2,578,328.88
	Same

	August 2012
	2,667,042.30
	Same

	September 2012
	2,590,431.60
	Same

	October 2012
	2,971,867.90
	Same

	November 2012
	2,749,486.00
	Same

	December 2012
	2,496,365.20
	Same

	ANNUAL TOTAL
	31,618,277.28
	31,618,277.28


             Note: There is no meter existing at the discharge pipe. Therefore the monthly
              discharge is considered as equal to the monthly water consumption.

iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


Water Truck fill station has been rehabilitated and upgraded. Maintenance works will be carried out as needed basis. Design of Sewage Lagoon is in progress.

v. a list of unauthorized discharges and summary of follow-up action taken;    


      Nil

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Once the new Sewage lagoon is built and commissioned, the existing ditch so called lagoon will be abandoned and restored.
           ________________________________________________________________________ 
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste management was completed. Waiting for the direction 
                  from CGS Capital Planning. Design of the Sewage Lagoon is in progress.      
           ___________________________________________________________________           

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and





Wastes management in the Community are the concerns of the Nunavut Water Board. 
           _________________________________________________________________

ix. updates or revisions to the approved Operation and Maintenance Plans.


                 O&M manual of the Truck fill station has been updated. The O&M manual of the new 

                 Sewage Lagoon will be prepared and made available once the new facility is built and 

                 commissioned.
            _________________________________________________________________

                 ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     Improvement of the Solid waste management and Fencing.

                   FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                   Hamlet is working with CGS for Water License Compliancy. Hamlet has started 

             extended sampling and testing program of Water, Wastewater and Leachate coming from 

             the landfill site.

[image: image1.emf]L1216768_COA.PDF


[image: image2.emf]L1257223_COA.PDF

           
[image: image3.emf]L1260495_SRC.pdf


Page 3 of 3

_1420435741.pdf


L1260495-1
L1260495-2
L1260495-3
L1260495-4
L1260495-5


TRUCK NOZZLE
PAATSAALIK SCHOOL
NUIJAK SCHOOL
HEALTH CENTRE
HAMLET OFFICE


21-JAN-13 11:45
21-JAN-13 11:40
21-JAN-13 10:26
21-JAN-13 10:20
21-JAN-13 12:35


22-JAN-13 12:00
22-JAN-13 12:00
22-JAN-13 12:00
22-JAN-13 12:00
22-JAN-13 12:00


25-JAN-13
25-JAN-13
25-JAN-13
25-JAN-13
25-JAN-13


Water
Water
Water
Water
Water


Lab
Sample ID


Client 
Sample ID


Date 
Sampled


Date 
Received


Sample
 Due Date


Priority
  Flag


Sample
Type


N/AQuote #:


Project PO #:
N/ALegal Site Description:


Client Information:


--
Sampled By:


Date Sampled:
Date Received:


Job Reference #: SANIKILUAQ WTP - DRINKING WATER


Moses
22-JAN-13
21-JAN-13


Chain Of Custody:


Samples received at ALS in


Lab Work Order #:
Estimated completion date:


Account Manager:
Estimated sample disposal date:


5 WINNIPEG


Paul Nicolas
25-JAN-13
L1260495


24-FEB-13


Workorder Summary:


MOSES NOVALINGA


Sanikiluaq, NU, X0A 0W0
867-266-7900
867-266-7924Fax:


Contact:


Phone:


Report Distribution:


sanisao@qiniq.com
broy@gov.nu.ca
cvanlankveld1@gov.nu.ca
sanilands@qiniq.com
sanisrec@qiniq.com


Email:


Digital Email: --
--Digital Type:
STANDARDReport Name:


YY Fax:NHard Copy:Distribution: Email:


Client Job #: SANIKILUAQ WTP - DRINKING WATER


Page 1 of
22-JAN-13 20:26 (MT)


N/AProject  #:
W10375Account #:


sanisao@qiniq.comInvoice Email:


867-266-7924Fax:
867-266-7900Phone:
Sanikiluaq, NU, X0A 0W0


PO Box 157, Address:


Sample Receipt Confirmation


Accounts PayableContact:


Invoice Distribution:


PO Box 157, Address:


Company Name: Municipality of Sanikiluaq Acct Name: Municipality of Sanikiluaq


2







TRUCK NOZZLE


PAATSAALIK SCHOOL


NUIJAK SCHOOL


HEALTH CENTRE


HAMLET OFFICE


Analysis 
Requested :


To
ta


l C
ol


ifo
rm


 a
nd


 E
.c


ol
i


   
   


   
   


   
   


   
   


   
   


   
   


   
   


   
   


   
   


  
S


am
pl


e 
H


an
dl


in
g 


an
d 


D
is


po
sa


l F
ee


ALS Group strives to deliver on-time results to our clients at all times. However, there are times when due to 
capacity issues or other unforeseen circumstances we are unable to meet our expected turnaround times. The 
information above is related to a recent workorder you have submitted to our laboratory. In the event that you have 
an inquiry, please refer to the  Lab Work Order # when calling your Account Manager. 


Page 2 of


Sample Integrity Observations: No observations were identified for this work order submission.


22-JAN-13 20:26 (MT)
2










_1420435742.pdf


[This report shall not be reproduced except in full without the written authority of the Laboratory.]


11-JAN-13


Lab Work Order #:  L1257223


Date Received:Municipality of Sanikiluaq


PO Box 157
Sanikiluaq  NU  X0A 0W0


ATTN: MOSES NOVALINGA
FINAL   
14-JAN-13 08:03 (MT)Report Date:


Version:


Certificate of Analysis


ALS CANADA LTD     Part of the ALS Group     A Campbell Brothers Limited Company


                                                      ____________________________________________ 


Paul Nicolas
Account Manager


ADDRESS: 1329 Niakwa Road East, Unit 12, Winnipeg, MB R2J 3T4 Canada | Phone: +1 204 255 9720 | Fax: +1 204 255 9721


Client Phone: 867-266-7900


SANIKILUAQ WTPJob Reference: 
NOT SUBMITTEDProject P.O. #: 


C of C Numbers: 
Legal Site Desc: 







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1257223 CONTD....
2PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
SANIKILUAQ WTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
3


L1257223-1


L1257223-2


L1257223-3


L1257223-4


L1257223-5


1 - TRUCK NOZZLE


2 - PAATSALIK SCHOOL


3 - NUIJAK SCHOOL


4 - HEALTH CENTER


5 - HAMLET OFFICE


MOSES on 11-JAN-13 @ 09:30


MOSES on 11-JAN-13 @ 09:20


MOSES on 11-JAN-13 @ 09:10


MOSES on 11-JAN-13 @ 08:45


MOSES on 11-JAN-13 @ 09:40


Sampled By:


Sampled By:


Sampled By:


Sampled By:


Sampled By:


WATER


WATER


WATER


WATER


WATER


Total Coliforms
Escherichia Coli


Total Coliforms
Escherichia Coli


Total Coliforms
Escherichia Coli


Total Coliforms
Escherichia Coli


Total Coliforms
Escherichia Coli


MPN/100mL
MPN/100mL


MPN/100mL
MPN/100mL


MPN/100mL
MPN/100mL


MPN/100mL
MPN/100mL


MPN/100mL
MPN/100mL


12-JAN-13
12-JAN-13


12-JAN-13
12-JAN-13


12-JAN-13
12-JAN-13


12-JAN-13
12-JAN-13


12-JAN-13
12-JAN-13


0
0


0
0


0
0


0
0


0
0


Total Coliform and E.coli


Total Coliform and E.coli


Total Coliform and E.coli


Total Coliform and E.coli


Total Coliform and E.coli


0
0


0
0


0
0


0
0


0
0


Matrix:


Matrix:


Matrix:


Matrix:


Matrix:


R2508487
R2508487


R2508487
R2508487


R2508487
R2508487


R2508487
R2508487


R2508487
R2508487







TC,EC-QT51-WP


TC,EC-QT51-WP


Reference Information


Total Coliform and E.coli


Total Coliform and E.coli


L1257223 CONTD....


3PAGE of


SANIKILUAQ WTP


The analysis of Total Coliform (TC) & Escherichia coli (EC) is processed by Quanti-tray (QT): Two substrates, ONPG for TC detection and MUG for EC 
detection are used.  The substrates are added to the 100 ml sample dispensed into the 51 well tray.  The tray is incubated at 35 Celcius for 24 hours.  A
colour reaction develops to indicate a positve reaction (presence of TC, EC).  The number of positive wells are counted and converted to Most Probable
Number Units (MPNU) per 100 ml.  This test is also called ’rapid MPN method’, therefore, the MPN results are derived from a statistical table with a 
95% confidence and report as MPN units.  The QT detection limit for a negative result is reported as zero.


The analysis of Total Coliform (TC) & Escherichia coli (EC) is processed by Quanti-tray (QT): Two substrates, ONPG for TC detection and MUG for EC 
detection are used.  The substrates are added to the 100 ml sample dispensed into the 51 well tray.  The tray is incubated at 35 Celcius for 24 hours.  A
colour reaction develops to indicate a positve reaction (presence of TC, EC).  The number of positive wells are counted and converted to Most Probable
Number Units (MPNU) per 100 ml.  This test is also called ’rapid MPN method’, therefore, the MPN results are derived from a statistical table with a 
95% confidence and report as MPN units.  The QT detection limit for a negative result is reported as zero.


ALS Test Code Test Description


Water


Water


APHA 9223


APHA 9223 QT


Method Reference** 


** ALS test methods may incorporate modifications from specified reference methods to improve performance.


Matrix 


The last two letters of the above test code(s) indicate the laboratory that performed analytical analysis for that test. Refer to the list below:


Laboratory Definition Code Laboratory Location


WP ALS ENVIRONMENTAL - WINNIPEG, MANITOBA, CANADA


Test Method References:            


Chain of Custody Numbers:


GLOSSARY OF REPORT TERMS
Surrogates are compounds that are similar in behaviour to target analyte(s), but that do not normally occur in environmental samples. For    
applicable tests, surrogates are added to samples prior to analysis as a check on recovery. In reports that display the D.L. column, laboratory 
objectives for surrogates are listed there.
mg/kg - milligrams per kilogram based on dry weight of sample
mg/kg wwt - milligrams per kilogram based on wet weight of sample
mg/kg lwt - milligrams per kilogram based on lipid-adjusted weight 
mg/L  - unit of concentration based on volume, parts per million.
<  - Less than.
D.L. - The reporting limit.
N/A - Result not available. Refer to qualifier code and definition for explanation.


Test results reported relate only to the samples as received by the laboratory.
UNLESS OTHERWISE STATED, ALL SAMPLES WERE RECEIVED IN ACCEPTABLE CONDITION.
Analytical results in unsigned test reports with the DRAFT watermark are subject to change, pending final QC review.


Version:  FINAL   
3










_1419922707.pdf


[This report shall not be reproduced except in full without the written authority of the Laboratory.]


28-SEP-12


Lab Work Order #:  L1216768


Date Received:Municipality of Sanikiluaq


PO Box 157
Sanikiluaq  NU  X0A 0W0


ATTN: ANDRE LARABIE SAO
FINAL   
17-OCT-12 19:47 (MT)Report Date:


Version:


Certificate of Analysis


ALS CANADA LTD     Part of the ALS Group     A Campbell Brothers Limited Company


                                                      ____________________________________________ 


Gail Hill
Account Manager


ADDRESS: 1329 Niakwa Road East, Unit 12, Winnipeg, MB R2J 3T4 Canada | Phone: +1 204 255 9720 | Fax: +1 204 255 9721


Client Phone: 867-266-7900


HAMLET OF SANIKILUAQ WWTPJob Reference: 
NOT SUBMITTEDProject P.O. #: 


C of C Numbers: 
Legal Site Desc: 







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1216768 CONTD....
2PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
HAMLET OF SANIKILUAQ WWTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
9


L1216768-1 SANIKILUAQ - SANI 2
SEAN PHILLIPS on 28-SEP-12 @ 09:00Sampled By:


WASTEWATER
BTEX plus F1-F4


   Miscellaneous Parameters


Benzene
Toluene
Ethyl benzene
o-Xylene
m+p-Xylenes
Xylenes
F1 (C6-C10)
Surrogate: 4-Bromofluorobenzene (SS)


F1-BTEX
F2-Naphth
F3-PAH
Total Hydrocarbons (C6-C50)


F2 (C10-C16)
F3 (C16-C34)
F4 (C34-C50)
Surrogate: 2-Bromobenzotrifluoride


Ammonia, Total (as N)
Biochemical Oxygen Demand
BOD Carbonaceous
Fecal Coliforms
Phenols (4AAP)
Phosphorus (P)-Total
Total Organic Carbon
Total Suspended Solids


1-Methyl Naphthalene
2-Methyl Naphthalene
Acenaphthene
Acenaphthylene
Anthracene
Acridine
Benzo(a)anthracene
Benzo(a)pyrene
Benzo(b&j)fluoranthene
Benzo(g,h,i)perylene
Benzo(k)fluoranthene
Chrysene
Dibenzo(a,h)anthracene
Fluoranthene
Fluorene
Indeno(1,2,3-cd)pyrene
Naphthalene
Phenanthrene
Pyrene
Quinoline
B(a)P Total Potency Equivalent
Surrogate: Acenaphthene d10


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


%


mg/L
mg/L
mg/L
mg/L


mg/L
mg/L
mg/L


%


mg/L
mg/L
mg/L


MPN/100mL
mg/L
mg/L
mg/L
mg/L


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


%


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


29-SEP-12
29-SEP-12


05-OCT-12


03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12


06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12


10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


01-OCT-12
04-OCT-12
04-OCT-12
02-OCT-12
05-OCT-12
04-OCT-12
05-OCT-12
01-OCT-12


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


<0.00050
<0.0010
<0.00050
<0.00050
<0.00050
<0.0015
<0.10
92.3


<0.10
<0.25
<0.25
<0.44


<0.25
<0.25
<0.25
94.8


<0.010
<6.0
<6.0
23


<0.0010
<0.010


3.6
<5.0


<0.000020
<0.000020
<0.000020
<0.000020
<0.000010
<0.000020
<0.000010
<0.0000050
<0.000010
<0.000020
<0.000010
<0.000020
<0.0000050
<0.000020
<0.000020
<0.000010
<0.000050
<0.000050
<0.000010
<0.000020
<0.000030


96.6


BTX  plus F1 by GCMS


CCME Total Hydrocarbons


F2-F4 PHC method


Polyaromatic Hydrocarbons (PAHs)


0.00050
0.0010
0.00050
0.00050
0.00050
0.0015
0.10


70-130


0.10
0.25
0.25
0.44


0.25
0.25
0.25


65-135


0.010
6.0
6.0
3


0.0010
0.010
1.0
5.0


0.000020
0.000020
0.000020
0.000020
0.000010
0.000020
0.000010
0.0000050
0.000010
0.000020
0.000010
0.000020
0.0000050
0.000020
0.000020
0.000010
0.000050
0.000050
0.000010
0.000020
0.000030
50-150


Matrix:


R2448472
R2448472
R2448472
R2448472
R2448472
R2448472
R2448472
R2448472


R2446755
R2446755
R2446755
R2446755


R2447410
R2448952
R2448951
R2448486
R2450272
R2449172
R2451620
R2447372


R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1216768 CONTD....
3PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
HAMLET OF SANIKILUAQ WWTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
9


L1216768-1 SANIKILUAQ - SANI 2
SEAN PHILLIPS on 28-SEP-12 @ 09:00Sampled By:


WASTEWATER


ROU4W total


Surrogate: Acridine d9
Surrogate: Chrysene d12
Surrogate: Naphthalene d8
Surrogate: Phenanthrene d10


Alkalinity, Total (as CaCO3)
Bicarbonate (HCO3)
Carbonate (CO3)
Hydroxide (OH)


Chloride


Conductivity


Fluoride


Hardness (as CaCO3)


Nitrate-N


Nitrate and Nitrite as N


Nitrite-N


Sulfate


TDS (Calculated)


Aluminum (Al)-Total
Antimony (Sb)-Total
Arsenic (As)-Total
Barium (Ba)-Total
Beryllium (Be)-Total
Bismuth (Bi)-Total
Boron (B)-Total
Cadmium (Cd)-Total
Calcium (Ca)-Total
Cesium (Cs)-Total
Chromium (Cr)-Total
Cobalt (Co)-Total
Copper (Cu)-Total
Iron (Fe)-Total
Lead (Pb)-Total
Lithium (Li)-Total
Magnesium (Mg)-Total
Manganese (Mn)-Total
Molybdenum (Mo)-Total
Nickel (Ni)-Total
Phosphorus (P)-Total
Potassium (K)-Total
Rubidium (Rb)-Total


%
%
%
%


mg/L
mg/L
mg/L
mg/L


mg/L


umhos/cm


mg/L


mg/L


mg/L


mg/L


mg/L


mg/L


mg/L


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


29-SEP-12


29-SEP-12


29-SEP-12


11-OCT-12


29-SEP-12


03-OCT-12


29-SEP-12


29-SEP-12


11-OCT-12


10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12


95.4
75.2
89.1
96.3


209
250
<12
<6.8


58.5


673


<0.10


256


0.166


0.166


<0.050


58.9


392


0.032
<0.0010
<0.0010
0.0175


<0.0010
<0.00050


0.181
<0.00020


61.8
<0.00050
<0.0020
<0.00050
0.0059
<0.10


<0.0010
0.0036
24.6


<0.0010
0.00103
<0.0020
<0.50
4.13


0.00172


Polyaromatic Hydrocarbons (PAHs)


Alkalinity


Chloride by Ion Chromatography


Conductivity


Fluoride by Ion Chromatography


Hardness Calculated


Nitrate as N by Ion Chromatography


Nitrate+Nitrite


Nitrite as N by Ion Chromatography


Sulfate by Ion Chromatography


TDS calculated


Total Metals by ICP-MS


50-150
50-150
50-150
50-150


20
24
12
6.8


0.50


20


0.10


0.30


0.050


0.071


0.050


0.50


5.0


0.020
0.0010
0.0010
0.00050
0.0010
0.00050
0.030


0.00020
0.20


0.00050
0.0020
0.00050
0.0020
0.10


0.0010
0.0020
0.050
0.0010
0.00050
0.0020
0.50
0.10


0.00050


Matrix:


R2452323
R2452323
R2452323
R2452323


R2446360
R2446360
R2446360
R2446360


R2448095


R2446360


R2448095


R2448095


R2448095


R2448095


R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1216768 CONTD....
4PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
HAMLET OF SANIKILUAQ WWTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
9


L1216768-1


L1216768-2


SANIKILUAQ - SANI 2


SANIKILUAQ - SANI 4


SEAN PHILLIPS on 28-SEP-12 @ 09:00


SEAN PHILLIPS on 28-SEP-12 @ 09:00


Sampled By:


Sampled By:


WASTEWATER


WASTEWATER
BTEX plus F1-F4


   Miscellaneous Parameters


Selenium (Se)-Total
Silicon (Si)-Total
Silver (Ag)-Total
Sodium (Na)-Total
Strontium (Sr)-Total
Tellurium (Te)-Total
Thallium (Tl)-Total
Thorium (Th)-Total
Tin (Sn)-Total
Titanium (Ti)-Total
Tungsten (W)-Total
Uranium (U)-Total
Vanadium (V)-Total
Zinc (Zn)-Total
Zirconium (Zr)-Total


Turbidity


pH


Benzene
Toluene
Ethyl benzene
o-Xylene
m+p-Xylenes
Xylenes
F1 (C6-C10)
Surrogate: 4-Bromofluorobenzene (SS)


F1-BTEX
F2-Naphth
F3-PAH
Total Hydrocarbons (C6-C50)


F2 (C10-C16)
F3 (C16-C34)
F4 (C34-C50)
Surrogate: 2-Bromobenzotrifluoride


Ammonia, Total (as N)
Biochemical Oxygen Demand
BOD Carbonaceous
Fecal Coliforms
Oil and Grease, Total
Phenols (4AAP)
Phosphorus (P)-Total


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


NTU


pH units


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


%


mg/L
mg/L
mg/L
mg/L


mg/L
mg/L
mg/L


%


mg/L
mg/L
mg/L


MPN/100mL
mg/L
mg/L
mg/L


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


29-SEP-12
29-SEP-12


02-OCT-12
05-OCT-12


10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12


29-SEP-12


29-SEP-12


06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12
06-OCT-12


10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


01-OCT-12
04-OCT-12
04-OCT-12
02-OCT-12
02-OCT-12
05-OCT-12
04-OCT-12


<0.0050
1.91


<0.0010
58.4
0.179


<0.0010
<0.0050
<0.0010
<0.00060
0.0012


<0.0020
0.00412
<0.0020
<0.020
<0.0010


0.21


8.32


<0.00050
<0.0010
<0.00050
<0.00050
<0.00050
<0.0015
<0.10
105.5


<0.10
<0.25
<0.25
<0.44


<0.25
<0.25
<0.25
88.0


<0.010
<6.0
<6.0
<3


<2.0
<0.0010
0.058


Total Metals by ICP-MS


Turbidity


pH


BTX  plus F1 by GCMS


CCME Total Hydrocarbons


F2-F4 PHC method


0.0050
0.30


0.0010
0.050


0.00050
0.0010
0.0050
0.0010
0.00060
0.0010
0.0020
0.00050
0.0020
0.020
0.0010


0.10


0.10


0.00050
0.0010
0.00050
0.00050
0.00050
0.0015
0.10


70-130


0.10
0.25
0.25
0.44


0.25
0.25
0.25


65-135


0.010
6.0
6.0
3


2.0
0.0010
0.010


Matrix:


Matrix:


R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446


R2445980


R2446360


R2448472
R2448472
R2448472
R2448472
R2448472
R2448472
R2448472
R2448472


R2446755
R2446755
R2446755
R2446755


R2447410
R2448952
R2448951
R2448486
R2447533
R2450272
R2449172







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1216768 CONTD....
5PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
HAMLET OF SANIKILUAQ WWTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
9


L1216768-2 SANIKILUAQ - SANI 4
SEAN PHILLIPS on 28-SEP-12 @ 09:00Sampled By:


WASTEWATER


ROU4W total


Total Organic Carbon
Total Suspended Solids


1-Methyl Naphthalene
2-Methyl Naphthalene
Acenaphthene
Acenaphthylene
Anthracene
Acridine
Benzo(a)anthracene
Benzo(a)pyrene
Benzo(b&j)fluoranthene
Benzo(g,h,i)perylene
Benzo(k)fluoranthene
Chrysene
Dibenzo(a,h)anthracene
Fluoranthene
Fluorene
Indeno(1,2,3-cd)pyrene
Naphthalene
Phenanthrene
Pyrene
Quinoline
B(a)P Total Potency Equivalent
Surrogate: Acenaphthene d10
Surrogate: Acridine d9
Surrogate: Chrysene d12
Surrogate: Naphthalene d8
Surrogate: Phenanthrene d10


Alkalinity, Total (as CaCO3)
Bicarbonate (HCO3)
Carbonate (CO3)
Hydroxide (OH)


Chloride


Conductivity


Fluoride


Hardness (as CaCO3)


Nitrate-N


Nitrate and Nitrite as N


Nitrite-N


Sulfate


TDS (Calculated)


mg/L
mg/L


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


%
%
%
%
%


mg/L
mg/L
mg/L
mg/L


mg/L


umhos/cm


mg/L


mg/L


mg/L


mg/L


mg/L


mg/L


mg/L


03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12
03-OCT-12


05-OCT-12
01-OCT-12


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


29-SEP-12
29-SEP-12
29-SEP-12
29-SEP-12


29-SEP-12


29-SEP-12


29-SEP-12


17-OCT-12


29-SEP-12


03-OCT-12


29-SEP-12


29-SEP-12


17-OCT-12


6.7
<5.0


<0.000020
<0.000020
<0.000020
<0.000020
<0.000010
<0.000020
<0.000010
<0.0000050
<0.000010
<0.000020
<0.000010
<0.000020
<0.0000050
<0.000020
<0.000020
<0.000010
<0.000050
<0.000050
<0.000010
<0.000020
<0.000030


96.1
94.2
77.5
88.7
95.5


172
209
<12
<6.8


678


2660


<0.50


580


<0.25


<0.35


<0.25


163


1460


Polyaromatic Hydrocarbons (PAHs)


Alkalinity


Chloride by Ion Chromatography


Conductivity


Fluoride by Ion Chromatography


Hardness Calculated


Nitrate as N by Ion Chromatography


Nitrate+Nitrite


Nitrite as N by Ion Chromatography


Sulfate by Ion Chromatography


TDS calculated


1.0
5.0


0.000020
0.000020
0.000020
0.000020
0.000010
0.000020
0.000010
0.0000050
0.000010
0.000020
0.000010
0.000020
0.0000050
0.000020
0.000020
0.000010
0.000050
0.000050
0.000010
0.000020
0.000030
50-150
50-150
50-150
50-150
50-150


20
24
12
6.8


2.5


20


0.50


0.30


0.25


0.35


0.25


2.5


5.0


Matrix:


DLM


DLM


DLM


R2451620
R2447372


R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323
R2452323


R2446360
R2446360
R2446360
R2446360


R2448095


R2446360


R2448095


R2448095


R2448095


R2448095







ALS  ENVIRONMENTAL  ANALYTICAL  REPORT


L1216768 CONTD....
6PAGE 


Result D.L. Units Extracted AnalyzedSample Details/Parameters 


of
HAMLET OF SANIKILUAQ WWTP


Qualifier* Batch


* Refer to Referenced Information for Qualifiers (if any) and Methodology.


Version:  FINAL   
9


L1216768-2 SANIKILUAQ - SANI 4
SEAN PHILLIPS on 28-SEP-12 @ 09:00Sampled By:


WASTEWATER


Aluminum (Al)-Total
Antimony (Sb)-Total
Arsenic (As)-Total
Barium (Ba)-Total
Beryllium (Be)-Total
Bismuth (Bi)-Total
Boron (B)-Total
Cadmium (Cd)-Total
Calcium (Ca)-Total
Cesium (Cs)-Total
Chromium (Cr)-Total
Cobalt (Co)-Total
Copper (Cu)-Total
Iron (Fe)-Total
Lead (Pb)-Total
Lithium (Li)-Total
Magnesium (Mg)-Total
Manganese (Mn)-Total
Molybdenum (Mo)-Total
Nickel (Ni)-Total
Phosphorus (P)-Total
Potassium (K)-Total
Rubidium (Rb)-Total
Selenium (Se)-Total
Silicon (Si)-Total
Silver (Ag)-Total
Sodium (Na)-Total
Strontium (Sr)-Total
Tellurium (Te)-Total
Thallium (Tl)-Total
Thorium (Th)-Total
Tin (Sn)-Total
Titanium (Ti)-Total
Tungsten (W)-Total
Uranium (U)-Total
Vanadium (V)-Total
Zinc (Zn)-Total
Zirconium (Zr)-Total


Turbidity


pH


mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L
mg/L


NTU


pH units


09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12
09-OCT-12


10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
16-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12
10-OCT-12


29-SEP-12


29-SEP-12


<0.020
<0.0010
0.0013
0.0171


<0.0010
<0.00050


0.186
<0.00020


125
<0.00050
<0.0020
<0.00050
0.0024
<0.10


<0.0010
0.0133
65.2


0.0069
0.00709
<0.0020
<0.50
7.78


0.00181
0.0051
2.10


<0.0010
318


0.633
<0.0010
<0.0050
<0.0010
<0.00060
0.0030


<0.0020
0.00478
<0.0020
<0.020
<0.0010


0.23


8.19


Total Metals by ICP-MS


Turbidity


pH


0.020
0.0010
0.0010
0.00050
0.0010
0.00050
0.030


0.00020
0.20


0.00050
0.0020
0.00050
0.0020
0.10


0.0010
0.0020
0.050
0.0010
0.00050
0.0020
0.50
0.10


0.00050
0.0050
0.30


0.0010
0.50


0.00050
0.0010
0.0050
0.0010
0.00060
0.0010
0.0020
0.00050
0.0020
0.020
0.0010


0.10


0.10


Matrix:


DLA


R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2457073
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446
R2453446


R2445980


R2446360







ALK-TOT-WP


BOD-CBOD-WP


BOD-WP


BTEXS+F1-HSMS-WP


C-TOT-ORG-WP


CL-IC-WP


EC-WP


ETL-HARDNESS-TOT-WP


ETL-SOLIDS-CALC-WP


F-IC-WP


F1-F4-CALC-WP


Reference Information


Alkalinity


Carbonaceous BOD


Biochemical Oxygen Demand (BOD)


BTX  plus F1 by GCMS


Total Organic Carbon


Chloride by Ion Chromatography


Conductivity


Hardness Calculated


TDS calculated


Fluoride by Ion Chromatography


CCME Total Hydrocarbons


L1216768 CONTD....


7PAGE of


HAMLET OF SANIKILUAQ WWTP


Alkalinity of water is a measure of its acid neutralizing capacity.  Alkalinity is imparted by bicarbonate, carbonate and hydroxide components of water. It 
is determined by titration with a standard solution of strong mineral acid to the successive HCO3- and H2CO3 endpoints indicated electrometrically.


A sample of water is incubated for 5 days at 20 degrees Celcius.  Comparison of dissolved oxygen content at beginning and end of incubation provides 
a measure of Biochemical oxygen demand. If carbonaceous BOD is requested, TCMP is added to the sample to chemically inhibit nitrogenous oxygen 
demand. If soluble BOD is requested, the sample is filtered prior to analysis.


The sample is incubated for 5 days at 20 degrees Celcius.  Comparison of dissolved oxygen content at the beginning and end of incubation provides a 
measure of biochemical oxygen demand. If carbonaceous BOD is requested, TCMP is added to the sample to chemically inhibit nitrogenous oxygen 
demand. If soluble BOD is requested, the sample is filtered prior to analysis. Surface waters have a DL of 1 mg/L. Effluents are diluted according to 
their history and will have a sample DL of 6 mg/L or greater, depending on the dilutions used.


The water sample, with added reagents, is heated in a sealed vial to equilibrium. The headspace from the vial is transfered into a gas chromatograph. 
Target compound concentrations are measured using mass spectrometry detection.


This method is applicable to the analysis of ground water, wastewater, and surface water samples.  The form detected depends upon sample 
pretreatment: Unfiltered sample = TC, 0.45um filtered = TDC. Samples are injected into a combustion tube containing an oxidation catalyst.  The carrier
gas containing the combustion product from the combustion tube flows through an inorganic carbon reactor vessel and is then sent through a halogen 
scrubber into a sample cell set in a non-dispersive infrared gas analyzer (NDIR) where carbon dioxide is detected. For total inorganic carbon and 
dissolved inorganic carbon, the sample is injected into an IC reactor vessel where only the IC component is decomposed to become carbon dioxide. 


The peak area generated by the NDIR indicates the TC/TDC or TIC/DIC as applicable. The total organic carbon content of the sample is calculated by 
subtracting the TIC from the TC. 
TOC = TC-TIC, DOC = TDC-DIC, Particulate = Total - Dissolved. 


Anions in aqueous matrices are analyzed using ion chromatography with conductivity and/or UV absorbance detectors.


Conductivity of an aqueous solution refers to its ability to carry an electric current.  Conductance of a solution is measured between two spatially fixed 
and chemically inert electrodes.


Anions in aqueous matrices are analyzed using ion chromatography with conductivity and/or UV absorbance detectors.


Analytical methods used for analysis of CCME Petroleum Hydrocarbons have been validated and comply with the Reference Method for the CWS PHC.


In cases where results for both F4 and F4G are reported, the greater of the two results must be used in any application of the CWS PHC guidelines and
the gravimetric heavy hydrocarbons cannot be added to the C6 to C50 hydrocarbons. 
In samples where BTEX and F1 were analyzed ,  F1-BTEX represents a value where the sum of Benzene, Toluene, Ethylbenzene and total Xylenes has
been subtracted from F1.  


In samples where PAHs, F2 and F3 were analyzed, F2-Naphth represents the result where Naphthalene has been subtracted from F2.  F3-PAH 
represents a result where the sum of Benzo(a)anthracene, Benzo(a)pyrene, Benzo(b)fluoranthene, Benzo(k)fluoranthene, Dibenzo(a,h)anthracene, 
Fluoranthene, Indeno(1,2,3-cd)pyrene, Phenanthrene, and Pyrene has been subtracted from F3.


Unless otherwise qualified, the following quality control criteria have been met for the F1 hydrocarbon range:
1. All extraction and analysis holding times were met.
2. Instrument performance showing response factors for C6 and C10 within 30% of the response factor for toluene.


ALS Test Code Test Description


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


DLA


DLM


Detection Limit Adjusted For required dilution


Detection Limit Adjusted For Sample Matrix Effects


Sample Parameter Qualifier Key:


APHA 2320B


APHA 5210 B-5 day Incub.-O2 electrode


APHA 5210 B


EPA SW846 8260B REV 2 SEPT 1994


APHA 5310 B-INSTRUMENTAL-WP


EPA 300.1 (modified)


APHA 2510B


HARDNESS CALCULATED


CALCULATION


EPA 300.1 (modified)


CCME CWS-PHC DEC-2000 - PUB# 1310-L


Method Reference** 


Description Qualifier    


Matrix 


Test Method References:            


Version:  FINAL   
9







F2-F4-WS-WP


FC-MPN-WP


IONBALANCE-OP05-WP


MET-T-MS-WP


NH3-COL-WP


NO2+NO3-CALC-WP


NO2-IC-WP


NO3-IC-WP


OGG-TOT-WT


P-T-COL-WP


PAH,PANH-WP


PH-WP


PHENOLS-4AAP-WT


SO4-IC-WP


SOLIDS-TOTSUS-WP


Reference Information


F2-F4 PHC method


Fecal Coliform


Ion Balance Calculation  No Reporting


Total Metals by ICP-MS


Ammonia by colour


Nitrate+Nitrite


Nitrite as N by Ion Chromatography


Nitrate as N by Ion Chromatography


Oil and Grease, Total


Phosphorus, Total


Polyaromatic Hydrocarbons (PAHs)


pH


Phenol (4AAP)


Sulfate by Ion Chromatography


Total Suspended Solids


L1216768 CONTD....


8PAGE of


HAMLET OF SANIKILUAQ WWTP


3. Linearity of gasoline response within 15% throughout the calibration range.


Unless otherwise qualified, the following quality control criteria have been met for the F2-F4 hydrocarbon ranges:
1. All extraction and analysis holding times were met.
2. Instrument performance showing C10, C16 and C34 response factors within 10% of their average.
3. Instrument performance showing the C50 response factor within 30% of the average of the C10, C16 and C34 response factors.
4. Linearity of diesel or motor oil response within 15% throughout the calibration range.


This is the determination of the Petroleum Hydrocarbon fractions in water (F2, F3 and F4).  A water sample volume of 200 mL in a 250 mL glass amber 
bottle is shaken with 10 mL hexane for two hours on a wrist action shaker, and then sonicated for 5 minutes.  After extraction, the solvent layer is drawn 
off and analyzed against C10, C16 and C34 standards on a gas chromatograph equipped with a flame ionization detector.


The Most Probable Number (MPN) method is based on the Multiple Tube Fermentation technique.  The results of examination of replicate tubes and 
dilutions of a sample are reported after confirmations specific to total coliform, fecal coliform and E. coli are performed.  Results are reported in 
MPN/100 mL for water      and MPN/gram for food and solid samples.  


Total Metals by ICP-MS: This analysis is carried out using sample preparation procedures adapted from Standard Methods for the examination of Water
and Wastewater Method 3030E and analytical procedures adapted from U.S EPA Method 200.8 for analyis of metals by inductively coupled-mass 
spectrometery. 
 
 
 
 


Ammonia in water samples forms indophenol when reacted with hypochlorite and phenol. The intensity is amplified by the addition of sodium 
nitroprusside and measured colourmetrically.


Anions in aqueous matrices are analyzed using ion chromatography with conductivity and/or UV absorbance detectors.


Anions in aqueous matrices are analyzed using ion chromatography with conductivity and/or UV absorbance detectors.


Sample is extracted with hexane, extract is then evaporated and the residue is weighed to determine total oil and grease.


This analysis is carried out using procedures adapted from APHA Method 4500-P "Phosphorus". Total Phosphorous is determined colourimetrically 
after persulphate digestion of the sample.


Water is spiked with a surrogate spike mix and extracted using solvent extraction techniques.  Analysis is performed by GC/MS in the selected ion 
monitoring (SIM) mode.


The pH of a sample is the determination of the activity of the hydrogen ions by potentiometric measurement using a standard hydrogen electrode and a 
reference electrode.


An automated method is used to distill the sample. The distillate is then buffered to pH 9.4 which reacts with 4AAP and potassium ferricyanide to form a
red complex which is measured colorimetrically.


Anions in aqueous matrices are analyzed using ion chromatography with conductivity and/or UV absorbance detectors.


Total suspended solids in aquesous matrices is determined gravimetrically after drying the residue at 103 � 105°C.


ALS Test Code Test Description


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


Water


EPA 3510/8000


APHA 9221A-C


APHA 1030E


U.S. EPA 200.8-T


APHA 4500 NH3 F


CALCULATION


EPA 300.1 (modified)


EPA 300.1 (modified)


APHA 5520 B


APHA 4500 P PHOSPHORUS


EPA SW 846/8270-GC/MS


APHA 4500H


EPA 9066


EPA 300.1 (modified)


APHA 2540 D (modified)


Method Reference** Matrix 


Test Method References:            


Version:  FINAL   
9







TURBIDITY-WP


Reference Information


Turbidity


L1216768 CONTD....


9PAGE of


HAMLET OF SANIKILUAQ WWTP


Turbidity in aqueous matrices is determined by the nephelometric method.


ALS Test Code Test Description


Water APHA 2130B (modified)


Method Reference** 


** ALS test methods may incorporate modifications from specified reference methods to improve performance.


Matrix 


The last two letters of the above test code(s) indicate the laboratory that performed analytical analysis for that test. Refer to the list below:


Laboratory Definition Code Laboratory Location


WP


WT


ALS ENVIRONMENTAL - WINNIPEG, MANITOBA, CANADA


ALS ENVIRONMENTAL - WATERLOO, ONTARIO, CANADA


Test Method References:            


Chain of Custody Numbers:


GLOSSARY OF REPORT TERMS
Surrogates are compounds that are similar in behaviour to target analyte(s), but that do not normally occur in environmental samples. For    
applicable tests, surrogates are added to samples prior to analysis as a check on recovery. In reports that display the D.L. column, laboratory 
objectives for surrogates are listed there.
mg/kg - milligrams per kilogram based on dry weight of sample
mg/kg wwt - milligrams per kilogram based on wet weight of sample
mg/kg lwt - milligrams per kilogram based on lipid-adjusted weight 
mg/L  - unit of concentration based on volume, parts per million.
<  - Less than.
D.L. - The reporting limit.
N/A - Result not available. Refer to qualifier code and definition for explanation.


Test results reported relate only to the samples as received by the laboratory.
UNLESS OTHERWISE STATED, ALL SAMPLES WERE RECEIVED IN ACCEPTABLE CONDITION.
Analytical results in unsigned test reports with the DRAFT watermark are subject to change, pending final QC review.


Version:  FINAL   
9







Chrom Perfect Chromatogram Report


Printed on 10/1/2012 10:20:30 AM Page 1 of 1


ALS Sample ID: L1216768-1
Client ID: SANIKILUAQ - SANI 2


2.0 2.5 3.0 3.5 4.0 4.5 5.0 5.5 6.0 6.5 7.0 7.5 8.0 8.5 9.0 9.5
Time - Minutes


0


500


1000


1500


2000


2500


3000


3500


4000


4500


5000


R
es


po
ns


e 
- M


ill
iV


ol
ts


<-nC10---------nC16-------------------------nC34------------------nC50-------------------------------->
<-------nC11----------------------nC30-------------------------------------------------------------->
<----Gasoline--------------> <-------------------Heavy Oils------------------------------------------->


|---------------Diesel----------------|


The Canada Wide Standard Hydrocarbon Distribution Report is intended to assist you in characterizing 
hydrocarbon products that may be present in your sample. The scale at the bottom of the chromatogram 
indicates the approximate retention times of common petroleum products as well as a number of 
specified n-alkane hydrocarbon marker compounds. Comparison of this report with those of reference 
standards may also assist in characterizing hydrocarbons present in the sample.


Peak heights in this report are a function of the sample concentration, the sample amount extracted,
the sample dilution factor, and the scale at left.


Note: This chromatogram was produced with a high temperature GC method that is specific to the
Canada-Wide Standard method (December 2007 version). Note that retention times and distribution
profiles from reports produced using different GC programs will differ.







Chrom Perfect Chromatogram Report


Printed on 10/1/2012 10:20:34 AM Page 1 of 1


ALS Sample ID: L1216768-2
Client ID: SANIKILUAQ - SANI 4


2.0 2.5 3.0 3.5 4.0 4.5 5.0 5.5 6.0 6.5 7.0 7.5 8.0 8.5 9.0 9.5
Time - Minutes


0


500


1000


1500


2000


2500


3000


3500


4000


4500


5000


R
es


po
ns


e 
- M


ill
iV


ol
ts


<-nC10---------nC16-------------------------nC34------------------nC50-------------------------------->
<-------nC11----------------------nC30-------------------------------------------------------------->
<----Gasoline--------------> <-------------------Heavy Oils------------------------------------------->


|---------------Diesel----------------|


The Canada Wide Standard Hydrocarbon Distribution Report is intended to assist you in characterizing 
hydrocarbon products that may be present in your sample. The scale at the bottom of the chromatogram 
indicates the approximate retention times of common petroleum products as well as a number of 
specified n-alkane hydrocarbon marker compounds. Comparison of this report with those of reference 
standards may also assist in characterizing hydrocarbons present in the sample.


Peak heights in this report are a function of the sample concentration, the sample amount extracted,
the sample dilution factor, and the scale at left.


Note: This chromatogram was produced with a high temperature GC method that is specific to the
Canada-Wide Standard method (December 2007 version). Note that retention times and distribution
profiles from reports produced using different GC programs will differ.










