YEAR BEING REPORTED:  2018

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-SAN1520 issued to the Hamlet of Sanikiluaq.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January | 3,705,174.60 | Same |
| February | 3,239,472.60 | Same |
| March | 3,878,476.50 | Same |
| April | 3,493,502.30 | Same |
| May | 3,701,670.30 | Same |
| June | 3,378,545.00 | Same |
| July | 3,067,163.20 | Same |
| August | 3,447,200.10 | Same |
| September | 3,263,535.10 | Same |
| October | 3,437,997.10 | Same |
| November | 3,480,937.20 | Same |
| December | 2,180,261.30 | Same |
| ANNUAL TOTAL | 40,273,935.30 |  |

Note: The water consumption volume is considered equal to the discharge volume

because there is no meter at the end of the discharge pipe.

- A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

Sanikiluaq Water source showed higher metal concentration. Hamlet did monthly chemical analysis of the source water and treated water. Also they did one special test for metals and the results were found satisfactory.

No structural modification or repair was done to any of the structures under this water licence during this reporting period.

_______________________________________________________________

- A list of unauthorized discharges and summary of follow-up action taken;

Historically Sanikiluaq has been treated their wastewater in the natural lagoon and this facility has a capacity issue.   During the summer season, this lagoon overflows to the wetland and the effluent is being further treated in the wetland prior to reaching the receiving body about 3km away.

Leachate is uncontrolled.

Spills:

February 05, 2018; Spill 2018803: Waste oil 40 litres behind the airport garage.

March 04, 2018; 2018151: Petroleum fuel oil: unknown quantity

July 30, 2018; Spill 2018304: Petroleum Fuel oil: 2.0 litres.

August 28, 2018: Spill 2018357: Petroleum Fuel oil due to breakage; unknown quantity.

September 29, 2018; Spill 2018424: Petroleum Fuel oil: due to breakage; Unknown quantity

October 31, 2018; Spills 2018439: Petroleum Fuel oil 15 litres

November 12, 2018: Spills 2018452: Petroleum Fuel oil: Unknown Quantity.

- A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

A Minor adjustment was made to the water Truck filling station in order to keep running.

No abandonment and restoration work was conducted during this reporting year.

However, the existing water treatment process is expected to be upgraded. Once the new plant is built, the existing one will be decommissioned.

________________________________________________________________

- A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

____________________________________________________________________

The planning for the better waste management in the Community is in progress.

A Consultant will be engaged soon for a feasibility study of the Community wastes management.

Hamlet is conducting chemical analysis of the source raw water and treated water on

monthly basis to develop a data base to future design of the new water treatment

plant.

__________________________________________________________________

viii     Any other details on water use or waste disposal requested by the Board by November

1st of the year being reported; and

The existing waste management is a big concern. Right now Hamlet is segregating wastes in proper manner. Batteries are being stocked in the sea scan for the future disposal outside of the Community.

RO Units were installed in the Residential buildings belong to housing department and water quality is being monitored to identify the efficiency of these RO units.

RO units were also installed in the High school and they are being maintained.

__________________________________________________________________

- ix        Updates or revisions to the approved Operation and Maintenance Plans.

- ________________________________________________________________

No update or revision is required at this stage. However, once the new facility is built, the new O&M manual will be prepared to operate that facility

_____________________________________________________________________

x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Hamlet has started extended sampling and testing program. A consultant will be hired in

next financial year to start design work on the new water treatment plant to satisfy the

Community demand.

Also current waste sites will be abandoned and remediated soon after the new site is

Designed, built and commissioned. The capital planning process is in advance stage

to deal this new project soon.

xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

Hamlet is working closely with the GN Technical staffs and CIRNAC’s inspector to keep

their water licensed facilities into compliancy.

The Hamlet has currently an active water licence

The Test Lab Results for 2018 are submitted in a separate document.