YEAR BEING REPORTED:  2019

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-SAN1520 issued to the Hamlet of Sanikiluaq.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January | 2,637,450.00 | Same |
| February | 3,250,650.40 | Same |
| March | 3,487,993.50 | Same |
| April | 3,603,923.90 | Same |
| May | 3,918,576.70 | Same |
| June | 3,503,021.70 | Same |
| July | 3,605,879.50 | Same |
| August | 3,460,631.80 | Same |
| September | 3,404,176.70 | Same |
| October | 3,723,303.70 | Same |
| November | 3,767,461.20 | Same |
| December | 3,749,125.10 | Same |
| ANNUAL TOTAL | 42,112,194.20 |  |

Note: The water consumption volume is considered equal to the discharge volume

because there is no meter at the end of the discharge pipe.

- A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

No structural modification or repair was done to any of the structures under this water licence during this reporting period.

Whereas, they are conducting chemical analysis of raw and treated water on monthly basis.

_______________________________________________________________

- A list of unauthorized discharges and summary of follow-up action taken;

Historically Sanikiluaq has been treated their wastewater in the natural lagoon and this facility has a capacity issue.   During the summer season, this lagoon overflows to the wetland and the effluent is being further treated in the wetland prior to reaching the receiving body about 3km away. It means unauthorized discharge takes place in each summer.

Leachate is uncontrolled.

- A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

No abandonment and restoration works were conducted during this reporting year.

However, a feasibility study is expected to be conducted this year for waste water treatment Technology and location.

________________________________________________________________

- A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

____________________________________________________________________

The planning for the better waste management in the Community is in progress.

A Consultant will be engaged soon for a feasibility study of the Community wastes management. A RFP is going out soon.

Hamlet is conducting chemical analysis of the source raw water and treated water on

monthly basis to develop a data base to future design of the new water treatment

plant. It is expected to continue using the current potable water source and optimize

the treatment trends.

__________________________________________________________________

viii     Any other details on water use or waste disposal requested by the Board by November

1st of the year being reported; and

The existing waste management is a big concern. The Feasibility study is almost completed. The document will be made available once available.

RO Units are being maintained in the Residential buildings belong to housing department and water quality is being monitored to identify the efficiency of these RO units.

RO units are also being maintained in the High School.

_______________________________________________________________

- ix        Updates or revisions to the approved Operation and Maintenance Plans.

- ________________________________________________________________

No update or revision is required at this stage. However, once the new facility is built, the new O&M manual will be prepared to operate those facilities.

_____________________________________________________________________

x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Hamlet has started extensive sampling and testing program. A consultant is expected to

be hired to start feasibility studies on waste water treatment technology at any time now.

However, the feasibility study of the Wastes site is almost completed and the final report

will be available in next 3 to 4 months.

xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

Hamlet is working closely with the GN Technical staffs and CIRNAC’s inspector to keep

their water licensed facilities into compliancy.

The Hamlet has currently an active water licence which will be expired on May 13,2020.

The Renewal application will be submitted in March 2020 for 5 yrs. term.

The Test Lab Results for 2019 are submitted in a separate document.